## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 22-Oct-2021 04:52 PM Tender Title: AMC for Operation and Maintenance of E and M installation installed Tender ID: 2021_AAI_78750_1
Tender Inviting Authority:
Name of Work: AMC for Operation & Maintenance of E & M installation installed at AAI Quarters, Community Hall, AAI Hostel, ASTI at RHQ - NER, Guwahati (2021-23).
Contract No: 2021_AAI_78750_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s K.N.Construction(GSTN-20AAHFK7857Q1ZP) |  | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-27AAIAB4511C1Z9) |  | M/s S.T. Electricals(GSTN-18AJRPK5206C1ZA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | M/s J H Associates(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Head-1:- Operation & Maintenance
2.00 | Operation and Maintenance of all E & M installations at various site of RHQ-NER, Guwahati like AAI Quaters including New Residential Colony, Hostel, Community Center, ASTI, NDB at CISF Campus, Jagran & New Colony Pump House, etc. complete as required and attending the complaints / faults, break downs complaints and taking rectification action, ensuring serviceability / satisfactory working condition of the system, carrying out preventive maintenance, premonsoon checks, maintenance & submission of records/documentation /store/dismantle materials etc., providing tools and tackles, sundries as per the detailed specifications, schedule, Annexure, terms and condition givern under SCC, on all working days including sundays and holidays complete as per special conditions of contract.
3.00 | a) For 1st Year | 12.00 | Month | 0.00 | 150268.00 | 1803216.00 | 145519.00 | 1746228.00 | 144501.00 | 1734012.00 | 150500.00 | 1806000.00 | 144444.00 | 1733328.00 | 145000.00 | 1740000.00 | 1733328.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | b) For 2nd Year | 12.00 | Month | 0.00 | 180700.00 | 2168400.00 | 145519.00 | 1746228.00 | 144501.00 | 1734012.00 | 150500.00 | 1806000.00 | 144444.00 | 1733328.00 | 145000.00 | 1740000.00 | 1733328.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Sub Head-2:- Painting, Rewinding, Lifting & Lowering, Servicing etc.
6.00 | Rewinding of burnt out ceiling fans/exhaust fans/air circulator of all sizes & makes with suitable size of enamelled copper conductor i/c to and fro transportation, testing etc as required. (Dismantled material / wire shall be property of the tenderer).
7.00 | a) For 1st Year | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 360.00 | 3600.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 2000.00 | M/s J H Associates
8.00 | b) For 2nd Year | 10.00 | Each | 0.00 | 410.00 | 4100.00 | 370.00 | 3700.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 2000.00 | M/s J H Associates
9.00 | Replacement of defective ball bearings of ceiling fans/exhaust fans/air circulator of all sizes & makes i/c to and fro transportion, and testing etc as required
10.00 | a) For 1st Year | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 60.00 | 600.00 | 110.00 | 1100.00 | 60.00 | 600.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 500.00 | M/s J H Associates
11.00 | b) For 2nd Year | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 65.00 | 650.00 | 110.00 | 1100.00 | 60.00 | 600.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 500.00 | M/s J H Associates
12.00 | Spray painting of existing outdoor panels/feeder pillars, junction boxes with one or more coat of synthetic enamel paint of approved brand and shade including cleaning and scrapping the existing surface complete as per site requirements.
13.00 | a) For 1st Year | 10.00 | Sqm | 0.00 | 40.00 | 400.00 | 190.00 | 1900.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 400.00 | M/s K.N.Construction
14.00 | b) For 2nd Year | 10.00 | Sqm | 0.00 | 40.00 | 400.00 | 199.00 | 1990.00 | 101.00 | 1010.00 | 150.00 | 1500.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 400.00 | M/s K.N.Construction
15.00 | Painting of street lighting poles of different heights up to 11mtr with aluminium paint of one or more coat of approved brand i/c cleaning & scrapping the existing surface complete as per actual site requirements.
16.00 | a) For 1st Year | 10.00 | Each | 0.00 | 3500.00 | 35000.00 | 190.00 | 1900.00 | 501.00 | 5010.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 200.00 | 2000.00 | 1900.00 | sudarshnacoolingcentre andelectricals
17.00 | b) For 2nd Year | 10.00 | Each | 0.00 | 3800.00 | 38000.00 | 199.00 | 1990.00 | 501.00 | 5010.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 200.00 | 2000.00 | 1990.00 | sudarshnacoolingcentre andelectricals
18.00 | Lifting and lowering of submersible pump motor set of following capacity from the depth upto 80 feet including dismantling of the column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required new gasket & nut bolts, and welding & threading of GI pipe and flange etc as required and making connection to the discharge line after dry revolution test complete as required. From 7.5 HP to 12.5 HP
19.00 | 1st year | 2.00 | Job | 0.00 | 15000.00 | 30000.00 | 3200.00 | 6400.00 | 2000.00 | 4000.00 | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3600.00 | M/s S.T. Electricals
20.00 | 2nd year | 2.00 | Job | 0.00 | 17500.00 | 35000.00 | 3400.00 | 6800.00 | 2100.00 | 4200.00 | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 3600.00 | M/s S.T. Electricals
21.00 | Replacement of painted marine type wooden strips upto "1.5m x .05m x .01m" sizes at the existing aeration tank at different pump houses etc. including hard ware item if required complete as required.
22.00 | 1st year | 50.00 | Each | 0.00 | 600.00 | 30000.00 | 180.00 | 9000.00 | 25.00 | 1250.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 100.00 | 5000.00 | 1250.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
23.00 | 2nd year | 50.00 | Each | 0.00 | 650.00 | 32500.00 | 184.00 | 9200.00 | 25.00 | 1250.00 | 100.00 | 5000.00 | 30.00 | 1500.00 | 100.00 | 5000.00 | 1250.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
24.00 | Rewinding of following 3-phase,415 VAC, 50 HZ, submersible / monoblock motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back and re- installation i/c repair, servicing, testing, & commissioning (Dismantled material / wire shall be property of the tenderer).
25.00 | a) 1st year
26.00 | From 5 HP to 7.5 HP monoblock motor | 2.00 | Job | 0.00 | 7500.00 | 15000.00 | 4500.00 | 9000.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 2000.00 | M/s J H Associates
27.00 | 5/7.5 HP submersible motor | 1.00 | Job | 0.00 | 8000.00 | 8000.00 | 5400.00 | 5400.00 | 7500.00 | 7500.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | M/s J H Associates
28.00 | 10/12.5 HP submersible motor | 1.00 | Job | 0.00 | 6500.00 | 6500.00 | 7200.00 | 7200.00 | 12500.00 | 12500.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 4000.00 | M/s J H Associates
29.00 | 2nd year
30.00 | From 5 HP to 7.5 HP monoblock motor | 2.00 | Job | 0.00 | 8000.00 | 16000.00 | 4800.00 | 9600.00 | 6500.00 | 13000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 2000.00 | M/s J H Associates
31.00 | 5/7.5 HP submersible motor | 1.00 | Job | 0.00 | 7500.00 | 7500.00 | 5400.00 | 5400.00 | 7500.00 | 7500.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | M/s J H Associates
32.00 | 10/12.5 HP submersible motor | 1.00 | Job | 0.00 | 11000.00 | 11000.00 | 7400.00 | 7400.00 | 12500.00 | 12500.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 4000.00 | 4000.00 | 4000.00 | M/s J H Associates
33.00 | Cleaning of aeration tank including rubbing and scrapping of side walls and painting of sprinkler pipe and wire mess complete as per instructions of engineer- in- charge.
34.00 | 1st year | 2.00 | Job | 0.00 | 2000.00 | 4000.00 | 2387.00 | 4774.00 | 2800.00 | 5600.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 3000.00 | M/s J H Associates, M/s S.T. Electricals
35.00 | 2nd year | 2.00 | Job | 0.00 | 2000.00 | 4000.00 | 2487.00 | 4974.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 3000.00 | M/s J H Associates, M/s S.T. Electricals
36.00 | Complete servicing & over hauling i/c replacement of bush/ball bearings, wornout internal parts, shaft etc of following 3-phase, 415vAC, 50 HZ monoblock pumpset. 5 HP to 7.5 HP monoblock pump set.
37.00 | 1st year | 2.00 | Nos | 0.00 | 20000.00 | 40000.00 | 4104.00 | 8208.00 | 2200.00 | 4400.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 4400.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
38.00 | 2nd year | 2.00 | Nos | 0.00 | 7500.00 | 15000.00 | 4400.00 | 8800.00 | 2500.00 | 5000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 5000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD, M/s J H Associates
39.00 | Complete servicing & over hauling i/c replacement of bush/ball bearings, wornout internal parts, shaft etc of following 3-phase, 415vAC, 50 HZ submersible pumpset. From 10 HP to 12.5 HP submersible pump set.
40.00 | 1st year | 1.00 | Nos | 0.00 | 7500.00 | 7500.00 | 4100.00 | 4100.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | M/s J H Associates
41.00 | 2nd year | 1.00 | Nos | 0.00 | 7500.00 | 7500.00 | 4200.00 | 4200.00 | 2800.00 | 2800.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | M/s J H Associates
42.00 | Sub Head-3 (i):- Supply of Material (Consumable) as and when requirement placed by EIC during the currency of the Contract.
43.00 | Supply of 18/20W, T-8, LED Tube suitable to operate on 230 v, 50Hz, AC supply. (Make Bajaj or similar type as per AAI approved make list) | 60.00 | Nos. | 0.00 | 712.00 | 42720.00 | 263.00 | 15780.00 | 350.00 | 21000.00 | 290.00 | 17400.00 | 690.00 | 41400.00 | 200.00 | 12000.00 | 12000.00 | M/s J H Associates
44.00 | Supply of LED Batten suitable for 18/20W, T-8, LED Tube suitable to operate on 230 v, 50Hz, AC supply. (Make Bajaj or similar type as per AAI approved make list) | 20.00 | Nos | 0.00 | 600.00 | 12000.00 | 212.00 | 4240.00 | 200.00 | 4000.00 | 220.00 | 4400.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 4000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD, M/s J H Associates
45.00 | Supply of Piano type Switch 5/6 A.( Model Penta Cherry, Make Anchor or similar type as per AAI approved make list) | 50.00 | Nos. | 0.00 | 15.00 | 750.00 | 14.00 | 700.00 | 11.00 | 550.00 | 15.00 | 750.00 | 12.00 | 600.00 | 20.00 | 1000.00 | 550.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
46.00 | Supply of Piano type Switch 15/16 A. ( Model Urea Back piece, Make Anchor or similar type as per AAI approved make list) | 20.00 | Nos. | 0.00 | 55.00 | 1100.00 | 74.00 | 1480.00 | 55.00 | 1100.00 | 65.00 | 1300.00 | 80.00 | 1600.00 | 80.00 | 1600.00 | 1100.00 | M/s K.N.Construction, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
47.00 | Supply of Piano Socket 5/6A, 3 Pin Type.(Make Anchor or similar type as per AAI approved make list) | 50.00 | Nos. | 0.00 | 23.00 | 1150.00 | 28.00 | 1400.00 | 21.00 | 1050.00 | 28.00 | 1400.00 | 40.00 | 2000.00 | 20.00 | 1000.00 | 1000.00 | M/s J H Associates
48.00 | Supply of Piano Socket 15/16A, 6 Pin Type.(Make Anchor or similar type as per AAI approved make list) | 20.00 | Nos. | 0.00 | 35.00 | 700.00 | 73.00 | 1460.00 | 58.00 | 1160.00 | 75.00 | 1500.00 | 50.00 | 1000.00 | 80.00 | 1600.00 | 700.00 | M/s K.N.Construction
49.00 | Supply of Capacitor 2.5 microfarad, suitable to operate on 230 v, 50Hz, AC supply.(Make havells or similar type as per AAI approved make list) | 25.00 | Nos. | 0.00 | 18.00 | 450.00 | 20.00 | 500.00 | 22.00 | 550.00 | 25.00 | 625.00 | 20.00 | 500.00 | 20.00 | 500.00 | 450.00 | M/s K.N.Construction
50.00 | Supply of Single core, 1.5 Sq. mm, mixed colour, FR-PVC insulated, multistranded copper conductor wire, suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 600.00 | Meter | 0.00 | 18.00 | 10800.00 | 12.00 | 7200.00 | 17.00 | 10200.00 | 13.00 | 7800.00 | 20.00 | 12000.00 | 10.00 | 6000.00 | 6000.00 | M/s J H Associates
51.00 | Supply of Single core, 2.5 Sq. mm, of mixed colour, FR-PVC insulated, multistranded copper conductor wire, suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 400.00 | Meter | 0.00 | 35.00 | 14000.00 | 20.00 | 8000.00 | 26.00 | 10400.00 | 18.00 | 7200.00 | 30.00 | 12000.00 | 20.00 | 8000.00 | 7200.00 | M/s S.T. Electricals
52.00 | Supply of Single core 4.0 Sq. mm, mixed colour, FR-PVC insulated, multistranded copper conductor wire, suitable for upto 1100 V. 1 no= 1 coil of 90 mtrs (Make havells or similar type as per AAI approved make list) | 200.00 | Meter | 0.00 | 48.00 | 9600.00 | 28.00 | 5600.00 | 38.00 | 7600.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 20.00 | 4000.00 | 4000.00 | M/s J H Associates
53.00 | Supply of 3 pin, 5 A ceiling rose suitable to operate on 230 v, 50Hz, AC supply.(Make havells or similar type as per AAI approved make list) | 20.00 | Nos. | 0.00 | 20.00 | 400.00 | 17.50 | 350.00 | 25.00 | 500.00 | 18.00 | 360.00 | 28.00 | 560.00 | 20.00 | 400.00 | 350.00 | sudarshnacoolingcentre andelectricals
54.00 | Supply of PVC Board 4 inch x 4 inch (As per AAI approved make list/EIC) | 25.00 | Nos. | 0.00 | 40.00 | 1000.00 | 42.80 | 1070.00 | 35.00 | 875.00 | 40.00 | 1000.00 | 50.00 | 1250.00 | 30.00 | 750.00 | 750.00 | M/s J H Associates
55.00 | Supply of PVC Board 7 inch x 4 inch (As per AAI approved make list/EIC) | 25.00 | Nos. | 0.00 | 45.00 | 1125.00 | 66.00 | 1650.00 | 85.00 | 2125.00 | 69.00 | 1725.00 | 55.00 | 1375.00 | 50.00 | 1250.00 | 1125.00 | M/s K.N.Construction
56.00 | Supply of PVC Board 8 inch x 6 inch (As per AAI approved make list/EIC) | 25.00 | Nos. | 0.00 | 48.00 | 1200.00 | 84.80 | 2120.00 | 110.00 | 2750.00 | 85.00 | 2125.00 | 57.00 | 1425.00 | 50.00 | 1250.00 | 1200.00 | M/s K.N.Construction
57.00 | Supply of 6A Top 3 pin (Make Anchor or similar type as per AAI approved make list) | 15.00 | Nos. | 0.00 | 13.00 | 195.00 | 46.50 | 697.50 | 36.00 | 540.00 | 50.00 | 750.00 | 57.00 | 855.00 | 50.00 | 750.00 | 195.00 | M/s K.N.Construction
58.00 | Supply of 16A Top 3 pin (Make Anchor or similar type as per AAI approved make list) | 15.00 | Nos. | 0.00 | 18.00 | 270.00 | 62.00 | 930.00 | 48.00 | 720.00 | 359.00 | 5385.00 | 70.00 | 1050.00 | 50.00 | 750.00 | 270.00 | M/s K.N.Construction
59.00 | Supply of Single Phase energy meter of rating 1-ph energy meter. 5-30A/ 10-60A. as per approved make suitable for 240V. | 3.00 | Nos. | 0.00 | 1200.00 | 3600.00 | 933.77 | 2801.31 | 1187.00 | 3561.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 500.00 | 1500.00 | 1500.00 | M/s J H Associates
60.00 | Supply of CT operated, Three Phase LCD display, Energy Meter of Rating 1/5A as per approved make suitable for operation on 415 VAC, 50 Hz including syntex meter box of suitable size as approved by EIC. | 3.00 | Nos. | 0.00 | 1800.00 | 5400.00 | 2228.00 | 6684.00 | 3800.00 | 11400.00 | 2200.00 | 6600.00 | 3500.00 | 10500.00 | 600.00 | 1800.00 | 1800.00 | M/s J H Associates
61.00 | Supply of Rectangular type CTs (Metering) Resin low tension current transformer, Ratio 200/5A, Burden 5 VA, Accuracy class 1, as required. | 12.00 | Nos | 0.00 | 600.00 | 7200.00 | 644.00 | 7728.00 | 1000.00 | 12000.00 | 600.00 | 7200.00 | 1500.00 | 18000.00 | 500.00 | 6000.00 | 6000.00 | M/s J H Associates
62.00 | Supply of PVC Casing Caping 25mm along with accessories like one socket and bend with every one meter length (as per AAI approved make list/EIC) | 100.00 | Mtr | 0.00 | 22.00 | 2200.00 | 34.60 | 3460.00 | 25.00 | 2500.00 | 32.00 | 3200.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 2000.00 | M/s J H Associates
63.00 | Supply of PVC Casing Caping 20mm along with accessories like one socket and bend with every one meter length (as per AAI approved make list/EIC) | 100.00 | Mtr | 0.00 | 25.00 | 2500.00 | 29.10 | 2910.00 | 20.00 | 2000.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 2000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD, M/s J H Associates
64.00 | Supplying of 12 volt 180 AH, lead acid automobile battery for DG engine as required | 2.00 | Nos | 0.00 | 1500.00 | 3000.00 | 12800.00 | 25600.00 | 11000.00 | 22000.00 | 14000.00 | 28000.00 | 18000.00 | 36000.00 | 6000.00 | 12000.00 | 3000.00 | M/s K.N.Construction
65.00 | Supply of DOL starter suitable for 7.5 HP monobloc pump, 440V, 50Hz. | 2.00 | Nos | 0.00 | 5200.00 | 10400.00 | 2127.00 | 4254.00 | 1825.00 | 3650.00 | 250.00 | 500.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 500.00 | M/s S.T. Electricals
66.00 | Supply of S/D starter suitable for 10/12 HP submersible motor, 440V, 50Hz. | 2.00 | Nos | 0.00 | 6500.00 | 13000.00 | 11075.00 | 22150.00 | 7500.00 | 15000.00 | 14000.00 | 28000.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 10000.00 | M/s J H Associates
67.00 | PVC conduit of following size along with accessories like one socket and bend with every one meter length (as per AAI approved make list/EIC) 20 mm dia | 60.00 | Meter | 0.00 | 18.00 | 1080.00 | 19.80 | 1188.00 | 21.00 | 1260.00 | 20.00 | 1200.00 | 25.00 | 1500.00 | 20.00 | 1200.00 | 1080.00 | M/s K.N.Construction
68.00 | PVC conduit of following size along with accessories like one socket and bend with every one meter length (as per AAI approved make list/ EIC) 25 mm dia | 60.00 | Meter | 0.00 | 25.00 | 1500.00 | 27.93 | 1675.80 | 29.50 | 1770.00 | 29.00 | 1740.00 | 30.00 | 1800.00 | 25.00 | 1500.00 | 1500.00 | M/s K.N.Construction, M/s J H Associates
69.00 | PVC conduit of following size along with accessories like one socket and bend with every one meter length (as per AAI approved make list/EIC) 32 mm dia | 24.00 | Meter | 0.00 | 32.00 | 768.00 | 45.95 | 1102.80 | 36.00 | 864.00 | 40.00 | 960.00 | 125.00 | 3000.00 | 40.00 | 960.00 | 768.00 | M/s K.N.Construction
70.00 | Supply of stepped type fan regulator suitable for 220V, 50Hz. (As per AAI approved make list/EIC) | 12.00 | Nos | 0.00 | 150.00 | 1800.00 | 187.00 | 2244.00 | 130.00 | 1560.00 | 200.00 | 2400.00 | 150.00 | 1800.00 | 150.00 | 1800.00 | 1560.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
71.00 | Supply of LED type panel indicators (Pilot lamp head) of RYB colour, suitable to operate 220V, 50HZ. | 12.00 | Nos | 0.00 | 690.00 | 8280.00 | 93.80 | 1125.60 | 26.00 | 312.00 | 125.00 | 1500.00 | 120.00 | 1440.00 | 80.00 | 960.00 | 312.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
72.00 | Supply of following size Brass compression gland. 28MM | 6.00 | Nos | 0.00 | 30.00 | 180.00 | 417.00 | 2502.00 | 80.00 | 480.00 | 475.00 | 2850.00 | 30.00 | 180.00 | 300.00 | 1800.00 | 180.00 | M/s K.N.Construction, ABHISHEK INTEGRATIONS LIMITED
73.00 | Supply of following size Brass compression gland. 32MM | 6.00 | Nos | 0.00 | 34.00 | 204.00 | 743.00 | 4458.00 | 80.00 | 480.00 | 800.00 | 4800.00 | 30.00 | 180.00 | 200.00 | 1200.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
74.00 | Supply of following size Brass compression gland. 35MM | 6.00 | Nos | 0.00 | 38.00 | 228.00 | 743.00 | 4458.00 | 90.00 | 540.00 | 800.00 | 4800.00 | 30.00 | 180.00 | 500.00 | 3000.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
75.00 | Supply of following size Brass compression gland. 38MM | 6.00 | Nos | 0.00 | 38.00 | 228.00 | 889.00 | 5334.00 | 90.00 | 540.00 | 850.00 | 5100.00 | 30.00 | 180.00 | 400.00 | 2400.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
76.00 | Supply of following size Brass compression gland. 45MM | 6.00 | Nos | 0.00 | 45.00 | 270.00 | 1050.00 | 6300.00 | 90.00 | 540.00 | 1100.00 | 6600.00 | 30.00 | 180.00 | 500.00 | 3000.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
77.00 | Supply of following size Brass compression gland. 57MM | 6.00 | Nos | 0.00 | 60.00 | 360.00 | 1739.00 | 10434.00 | 110.00 | 660.00 | 1850.00 | 11100.00 | 30.00 | 180.00 | 1500.00 | 9000.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED
78.00 | Supply of following size aluminium lugs. 16 Sqmm | 30.00 | Nos | 0.00 | 8.00 | 240.00 | 2.00 | 60.00 | 10.00 | 300.00 | 2.00 | 60.00 | 5.00 | 150.00 | 5.00 | 150.00 | 60.00 | sudarshnacoolingcentre andelectricals, M/s S.T. Electricals
79.00 | Supply of following size aluminium lugs. 25 Sqmm | 30.00 | Nos | 0.00 | 10.00 | 300.00 | 3.00 | 90.00 | 10.00 | 300.00 | 2.00 | 60.00 | 6.00 | 180.00 | 5.00 | 150.00 | 60.00 | M/s S.T. Electricals
80.00 | Supply of following size aluminium lugs. 50 Sqmm | 30.00 | Nos | 0.00 | 22.00 | 660.00 | 7.00 | 210.00 | 15.00 | 450.00 | 5.00 | 150.00 | 8.00 | 240.00 | 10.00 | 300.00 | 150.00 | M/s S.T. Electricals
81.00 | Supply of following size aluminium lugs. 70 Sqmm | 18.00 | Nos | 0.00 | 140.00 | 2520.00 | 10.00 | 180.00 | 15.00 | 270.00 | 10.00 | 180.00 | 10.00 | 180.00 | 15.00 | 270.00 | 180.00 | ABHISHEK INTEGRATIONS LIMITED, sudarshnacoolingcentre andelectricals, M/s S.T. Electricals
82.00 | Supply of following size aluminium lugs. 95 Sqmm | 18.00 | Nos | 0.00 | 160.00 | 2880.00 | 13.00 | 234.00 | 20.00 | 360.00 | 15.00 | 270.00 | 15.00 | 270.00 | 20.00 | 360.00 | 234.00 | sudarshnacoolingcentre andelectricals
83.00 | Supply of following size aluminium lugs. 120 Sqmm | 12.00 | Nos | 0.00 | 190.00 | 2280.00 | 19.00 | 228.00 | 25.00 | 300.00 | 20.00 | 240.00 | 20.00 | 240.00 | 30.00 | 360.00 | 228.00 | sudarshnacoolingcentre andelectricals
84.00 | Supply of following size aluminium lugs. 185 Sqmm | 10.00 | Nos | 0.00 | 230.00 | 2300.00 | 28.00 | 280.00 | 25.00 | 250.00 | 35.00 | 350.00 | 25.00 | 250.00 | 40.00 | 400.00 | 250.00 | ABHISHEK INTEGRATIONS LIMITED, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
85.00 | Suppy of constant current LED driver (Make: Bajaj, Cat no. BGD 36 240 5Y) compatable for existing 90W bajaj make LED street light fitting for model/ cat no. BRTFG 44 LED 90W and suitable for operation on 230V, 1Ph, 50Hz ac supply as required. | 6.00 | Nos | 0.00 | 200.00 | 1200.00 | 2800.00 | 16800.00 | 350.00 | 2100.00 | 4000.00 | 24000.00 | 5600.00 | 33600.00 | 2000.00 | 12000.00 | 1200.00 | M/s K.N.Construction
86.00 | Sub Head-3 (ii):- Supply of Material (T & P) as and when required.
87.00 | Supply of Aluminium Extension Tiltable Tower ladder of 24 Ft (extended height) and 14 Ft (Closed height) in two fold design, sides made out of heavy duty Aluminium rectangular Zig-Zag type channel section, steps made out of heavy duty Aluminium corrugated tubing, aluminium cross scissor type supports, chequered platform of size 24''x24'' having load bearing capacity of minimum 120kg, side rails and tool tray fiited on the top, heavy duty hand operated winch gear machine with 8mm dia double steel wire ropes, mounted on M.S. Trolley base of suitable made out of M.S channels and angles with rubber casted/polymer wheels, towbar, foldable jacks etc. including all accessories etc complete as required. | 1.00 | Nos | 0.00 | 22000.00 | 22000.00 | 82900.00 | 82900.00 | 18000.00 | 18000.00 | 86000.00 | 86000.00 | 50000.00 | 50000.00 | 75000.00 | 75000.00 | 18000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
88.00 | Sub Head-4:-DSR 2018 items as and when required.
89.00 | Execution of item of schedule of rates 'CPWD DSR (E&M) 2018' as and when required for attending breakdown, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different AAI units/locations complete as per the special terms and conditions in addition to General Terms and conditions of contract as required. The bidder shall quote the rate in INR only for the job corresponding to Rs. 1,00,000/- and percentage (%) above/below shall be calculated by AAI and paid accordingly.
90.00 | 1st year | 1.00 | Job | 0.00 | 65000.00 | 65000.00 | 32000.00 | 32000.00 | 80000.00 | 80000.00 | 50000.00 | 50000.00 | 90000.00 | 90000.00 | 50000.00 | 50000.00 | 32000.00 | sudarshnacoolingcentre andelectricals
91.00 | 2nd year | 1.00 | Job | 0.00 | 71000.00 | 71000.00 | 38900.00 | 38900.00 | 80000.00 | 80000.00 | 50000.00 | 50000.00 | 90000.00 | 90000.00 | 50000.00 | 50000.00 | 38900.00 | sudarshnacoolingcentre andelectricals
92.00 | Sub Head-5:- CMC of Water Filtration Plant.
93.00 | Comprehensive maintenance contract of iron removal filter plant with consumables, such as soda ash, liquid chlorine etc. and weekly visit of trained technician to supervise the maintenance, dosing , backwash etc. i.e. attending breakdown calls as an when required and maintaining the required pH value as per required specification including quarterly water testing reports for all the sites etc. complete as required.
94.00 | 1st year | 12.00 | Month | 0.00 | 3000.00 | 36000.00 | 6253.00 | 75036.00 | 2500.00 | 30000.00 | 3000.00 | 36000.00 | 3000.00 | 36000.00 | 5500.00 | 66000.00 | 30000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
95.00 | 2nd year | 12.00 | Month | 0.00 | 3500.00 | 42000.00 | 6853.00 | 82236.00 | 3000.00 | 36000.00 | 3000.00 | 36000.00 | 3500.00 | 42000.00 | 6000.00 | 72000.00 | 36000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD, M/s S.T. Electricals
| Total in Figures |  |  |  |  | 4733054.00 |  | 4117983.01 |  | 3986821.00 |  | 4182980.00 |  | 4157501.00 |  | 3982960.00
Lowest Amount Quoted BY: M/s J H Associates(3982960.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC for Operation and Maintenance of E and M installation installed Tender ID: 2021_AAI_78750_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s J H Associates | 3982960.00 | L1
| 2 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 3986821.00 | L2
| 3 | sudarshnacoolingcentre andelectricals | 4117983.01 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 4157501.00 | L4
| 5 | M/s S.T. Electricals | 4182980.00 | L5
| 6 | M/s K.N.Construction | 4733054.00 | L6