## BoQ1
Government eProcurement System Created By: Kuldeep Raikwar Created Date/Time: 13-Aug-2021 12:52 PM Tender Title: Supply, Installation, Testing and Commissioning (SITC) of Laying of armored Optical Fiber Cable (OFC) from old Technical block to New Technical block At Khajuraho Airport Tender ID: 2021_AAI_79044_1
Tender Inviting Authority: Airport Director, Airports Authority of India, Airport, Khajuraho.
Name of Work: “Supply, Installation, Testing and Commissioning (SITC) of Laying of armored Optical Fiber Cable (OFC) from old Technical block to New Technical block At Khajuraho Airport”.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | electromacsystem(GSTN-33AEWPM8003R1ZQ) |  | Parameter Associates(GSTN-08AEBPC7899C1ZF) |  | Arcelia IT Services Private Limited(GSTN-07AAICA3621J1ZS) |  | AALFA eNETWORK PVT LTD(GSTN-07AANCA5850E1ZN) |  | Netcom Communications Pvt. Ltd.(GSTN-24AADCN3682M1Z5) |  | R R GUPTA STEEL INDUSTRIES(GSTN-06AHLPG3163C2ZP) |  | Vijaya Enterprises(GSTN-36AAHFV4577G1ZR) |  | M/s JAMANA LAL GURJAR(GSTN-08AFHPG8872Q2ZI) |  | Sandeep Tradex Pvt Ltd(GSTN-19AAECS0389R1ZI) |  | TNS Networking Solutions Pvt Ltd(GSTN-07AACCT6872E1Z7) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | RAJASTHAN CRANE SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | OFC Cable –06 Core Armoured SM (9/125μm OS2 Single Mode Six Core Optical Fiber Cable). Armoured Gel filled with Multi Loose Tube Low Smoke Zero Halogen (LSZH)) as per Technical specification(Annexure–IX) | 3000.00 | Mtrs |  | 63.00 | 189000.00 | 85.00 | 255000.00 | 59.40 | 178200.00 | 156.00 | 468000.00 | 40.00 | 120000.00 | 74.00 | 222000.00 | 25.80 | 77400.00 | 80.00 | 240000.00 | 50.00 | 150000.00 | 120.00 | 360000.00 | 130.00 | 390000.00 | 49.00 | 147000.00 | 77400.00 | Vijaya Enterprises
2.00 | HDPE Pipe with jointer and mounting accessories (40mm(32mmID,40mmOD)Double Wall Corrugated High Density Polyethylene Pipes as per Technical specification (Annexure–IX) | 3000.00 | Mtrs |  | 72.00 | 216000.00 | 90.00 | 270000.00 | 34.29 | 102870.00 | 147.00 | 441000.00 | 55.00 | 165000.00 | 93.00 | 279000.00 | 55.20 | 165600.00 | 120.00 | 360000.00 | 80.00 | 240000.00 | 90.00 | 270000.00 | 115.00 | 345000.00 | 75.00 | 225000.00 | 102870.00 | Arcelia IT Services Private Limited
3.00 | Single mode patch - SC-SC Single mode patch cord- Duplex, as per site Requirement - as per Technical specification (compatible with media converter) (Annexure–IX) | 4.00 | nos |  | 9900.00 | 39600.00 | 5000.00 | 20000.00 | 1566.00 | 6264.00 | 2400.00 | 9600.00 | 900.00 | 3600.00 | 1500.00 | 6000.00 | 1020.00 | 4080.00 | 1500.00 | 6000.00 | 925.00 | 3700.00 | 1428.00 | 5712.00 | 10800.00 | 43200.00 | 500.00 | 2000.00 | 2000.00 | RAJASTHAN CRANE SERVICES
4.00 | Supply of 12 Port LIU fully loaded with internal Pigtail, Adapters, Connector and other Accessories with OFC termination box.(Annexure–IX) | 2.00 | nos |  | 24000.00 | 48000.00 | 10000.00 | 20000.00 | 9936.00 | 19872.00 | 16200.00 | 32400.00 | 4050.00 | 8100.00 | 12000.00 | 24000.00 | 7308.00 | 14616.00 | 15000.00 | 30000.00 | 14500.00 | 29000.00 | 12600.00 | 25200.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 8100.00 | Netcom Communications Pvt. Ltd.
5.00 | Supply of 04 media converters OTE, 2 port 1GBPS(Annexure–IX) | 4.00 | nos |  | 9000.00 | 36000.00 | 15000.00 | 60000.00 | 8171.28 | 32685.12 | 10800.00 | 43200.00 | 7000.00 | 28000.00 | 8000.00 | 32000.00 | 3102.00 | 12408.00 | 15000.00 | 60000.00 | 7500.00 | 30000.00 | 15960.00 | 63840.00 | 3500.00 | 14000.00 | 5000.00 | 20000.00 | 12408.00 | Vijaya Enterprises
6.00 | Network Rack- Wall Mount (12U) with 5-Socket PDU & all standard accessories with mounting accessories Standard: 21″ Wall Mount as per Technical specification (Annexure –IX) | 2.00 | nos |  | 18000.00 | 36000.00 | 10000.00 | 20000.00 | 4644.00 | 9288.00 | 13200.00 | 26400.00 | 17000.00 | 34000.00 | 14000.00 | 28000.00 | 7920.00 | 15840.00 | 20000.00 | 40000.00 | 8900.00 | 17800.00 | 12600.00 | 25200.00 | 18000.00 | 36000.00 | 20000.00 | 40000.00 | 9288.00 | Arcelia IT Services Private Limited
7.00 | CAT 6 PATCH CHORD: 2 MTR at rack end as per requirement at site ( as per Annexure –IX) | 6.00 | nos |  | 950.00 | 5700.00 | 500.00 | 3000.00 | 167.40 | 1004.40 | 294.00 | 1764.00 | 132.00 | 792.00 | 1500.00 | 9000.00 | 198.00 | 1188.00 | 1000.00 | 6000.00 | 165.00 | 990.00 | 218.00 | 1308.00 | 32000.00 | 192000.00 | 500.00 | 3000.00 | 792.00 | Netcom Communications Pvt. Ltd.
8.00 | Job work: Laying/pulling of 3000m, 06 core optical fibre cable in HDPE pipe (3000m) on surface/wall/pipe/undergroundlaying trench digging of Nominal depth 100cms as per specification including HDD in required identified portions after surveyincluding consumable kits ,splicing of fibre, termination of fibre at both end, interconnection of networking equipments at each floor (G+2)of new technical block, UAH, Old Technical Block with termination of networking equipments etc. | 1.00 | nos |  | 540000.00 | 540000.00 | 600000.00 | 600000.00 | 1290000.00 | 1290000.00 | 450000.00 | 450000.00 | 1050000.00 | 1050000.00 | 500000.00 | 500000.00 | 1155000.00 | 1155000.00 | 497977.00 | 497977.00 | 808509.00 | 808509.00 | 270000.00 | 270000.00 | 450000.00 | 450000.00 | 786000.00 | 786000.00 | 270000.00 | TNS Networking Solutions Pvt Ltd
9.00 | Job work: Installation of 6o route indication markers preferably in steel or concrete, along the route at an interval of 50 mtrs. | 60.00 | Nos |  | 1800.00 | 108000.00 | 1500.00 | 90000.00 | 450.00 | 27000.00 | 800.00 | 48000.00 | 300.00 | 18000.00 | 1500.00 | 90000.00 | 840.00 | 50400.00 | 1000.00 | 60000.00 | 3500.00 | 210000.00 | 1260.00 | 75600.00 | 450.00 | 27000.00 | 750.00 | 45000.00 | 18000.00 | Netcom Communications Pvt. Ltd.
| Total in Figures |  |  |  |  | 1218300.00 |  | 1338000.00 |  | 1667183.52 |  | 1520364.00 |  | 1427492.00 |  | 1190000.00 |  | 1496532.00 |  | 1299977.00 |  | 1489999.00 |  | 1096860.00 |  | 1509200.00 |  | 1278000.00
Lowest Amount Quoted BY: TNS Networking Solutions Pvt Ltd(1096860.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and Commissioning (SITC) of Laying of armored Optical Fiber Cable (OFC) from old Technical block to New Technical block At Khajuraho Airport Tender ID: 2021_AAI_79044_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TNS Networking Solutions Pvt Ltd | 1096860.00 | L1
| 2 | R R GUPTA STEEL INDUSTRIES | 1190000.00 | L2
| 3 | electromacsystem | 1218300.00 | L3
| 4 | RAJASTHAN CRANE SERVICES | 1278000.00 | L4
| 5 | M/s JAMANA LAL GURJAR | 1299977.00 | L5
| 6 | Parameter Associates | 1338000.00 | L6
| 7 | Netcom Communications Pvt. Ltd. | 1427492.00 | L7
| 8 | Sandeep Tradex Pvt Ltd | 1489999.00 | L8
| 9 | Vijaya Enterprises | 1496532.00 | L9
| 10 | Manish Electricals | 1509200.00 | L10
| 11 | AALFA eNETWORK PVT LTD | 1520364.00 | L11
| 12 | Arcelia IT Services Private Limited | 1667183.52 | L12