## BoQ1
Government eProcurement System Created By: ARUN BABU R Created Date/Time: 05-Jul-2021 05:28 PM Tender Title: Facility Management of Fire Fighting System and Fire Alarm system at Chennai Airport 2021-2023 Tender ID: 2021_AAI_79229_1
Tender Inviting Authority: Jt.Gen.Manager (Engg-Elect)-II
Name of Work: Facility management of Fire fighting & Fire Alarm system at Chennai Airport 2021-23
Contract No: 2021_AAI_79229_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH1: Fire fighting system
2.00 | Facility management services for fire hydrant and sprinkler Systems at Chennai Airport as per inventory, monitoring and maintenance activities to ensure the serviceability on round the clock basis including maintaining records/ data entry/ Supervision of the total system etc as per the specifications & directions of Engineer-In-Charge. (Refer Annexure-A1 for inventory of equipments, Annexure-B1 for monitoring & maintenance activities, Annexure-C Man power details)
3.00 | For First Year | 12.00 | Month | 0.00 | 509000.00 | 6108000.00 | 467219.00 | 5606628.00 | 5606628.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | For Second Year | 12.00 | Month | 0.00 | 511000.00 | 6132000.00 | 467219.00 | 5606628.00 | 5606628.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Supply and replacement of both side bearings, mechanical seal, petty materials like stud bolts, gland packing, gasket, rubber bush for coupling etc. cleaning and greasing of bearings, reassembling, realignment of the pump with motor, testing, commissioning and painting etc. complete as required. Approved Makes:Siemens,Alstom,Kirlosker.
6.00 | Kirloskar 85HP to 92 HP | 1.00 | Nos. | 0.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Kirloskar 60HP to 75 HP | 1.00 | Nos. | 0.00 | 14000.00 | 14000.00 | 5000.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Kirloskar/Mather-platt 15HP | 1.00 | Nos. | 0.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
9.00 | 10-12.5HP | 1.00 | Nos. | 0.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
10.00 | 1-5HP | 1.00 | Nos. | 0.00 | 2000.00 | 2000.00 | 3800.00 | 3800.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
11.00 | Dismantling of following valves from the existing fire fighting water pipe line, Complete removal as required etc.
12.00 | For 6" and 8" Gate/Non Return /Foot valves | 4.00 | Nos. | 0.00 | 2000.00 | 8000.00 | 300.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
13.00 | From 2" to 4" Gate/Non Return/Foot valves | 4.00 | Nos. | 0.00 | 1000.00 | 4000.00 | 300.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
14.00 | Providing & fixing of following size MS C class IS:1239 heavy type pipe with double type welding, Suitable Bends and arranging scaffoding with proper jointing with nuts ,bolts and channel in the pipe fixing on surface etc. complete with flanges, bends, tees. supports etc. by welding with approved make & specification as required.complete as required as per the direction of E.I.C
15.00 | 25 mm ( IS:1239, Heavy class) | 12.00 | Mtr | 0.00 | 400.00 | 4800.00 | 250.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
16.00 | 32 mm ( IS:1239, Heavy class) | 6.00 | Mtr | 0.00 | 450.00 | 2700.00 | 310.00 | 1860.00 | 1860.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | 40 mm ( IS:1239, Heavy class) | 6.00 | Mtr | 0.00 | 470.00 | 2820.00 | 310.00 | 1860.00 | 1860.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | 80mm ( IS:1239, Heavy class) | 30.00 | Mtr | 0.00 | 1200.00 | 36000.00 | 850.00 | 25500.00 | 25500.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | 100mm ( IS:1239, Heavy class) | 30.00 | Mtr | 0.00 | 1500.00 | 45000.00 | 1180.00 | 35400.00 | 35400.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | 150mm ( IS:1239, Heavy class) | 60.00 | Mtr | 0.00 | 3000.00 | 180000.00 | 2750.00 | 165000.00 | 165000.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Providing & fixing of following size MS C class IS:1239 heavy type pipe with double type welding, Suitable Bends and arranging scaffoding with proper jointing with nuts ,bolts and channel in the pipe fixing under ground all type of flooring with suitable 4mm thick insulation wrapping tar sheet etc. complete with flanges, bends, tees. supports etc. by welding with approved make & specification as required.complete as required as per the direction of E.I.C (Excluding excavation & concreting)
22.00 | 80mm (IS: 1239, Heavy class) | 18.00 | Mtr | 0.00 | 1300.00 | 23400.00 | 1200.00 | 21600.00 | 21600.00 | DElite System Engineering (India) Pvt. Ltd.
23.00 | 100mm ( IS:1239, Heavy class) | 18.00 | Mtr | 0.00 | 1600.00 | 28800.00 | 1400.00 | 25200.00 | 25200.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | 150mm ( IS:1239, Heavy class) | 60.00 | Mtr | 0.00 | 3500.00 | 210000.00 | 2750.00 | 165000.00 | 165000.00 | DElite System Engineering (India) Pvt. Ltd.
25.00 | Providing and fixing the following size of lever operated butterfly valves of approved make after dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. as required.
26.00 | 65mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 1000.00 | 1000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
27.00 | 80mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | NATIONAL SAFETY ENGINEERS
28.00 | 100mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
29.00 | 125mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 3000.00 | 3000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | 150mm dia (PN 16 Rated) | 5.00 | Nos. | 0.00 | 4000.00 | 20000.00 | 4500.00 | 22500.00 | 20000.00 | NATIONAL SAFETY ENGINEERS
31.00 | 200mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 6000.00 | 6000.00 | 4999.00 | 4999.00 | 4999.00 | DElite System Engineering (India) Pvt. Ltd.
32.00 | 250mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 8000.00 | 8000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
33.00 | 300mm dia (PN 16 Rated) | 1.00 | Nos. | 0.00 | 9000.00 | 9000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
34.00 | Providing and fixing the following size of Non return valves/ check Valve/ Gate valves of approved make after dismantling the existing damaged one i/c replacement of the gasket, nut, bolts etc. as required.
35.00 | 100 mm Non return valve | 1.00 | Nos. | 0.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | DElite System Engineering (India) Pvt. Ltd.
36.00 | 150 mm Non return valve | 2.00 | Nos. | 0.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
37.00 | 200 mm dia Non return valve | 1.00 | Nos. | 0.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
38.00 | 100 mm swing type water check valve | 1.00 | Nos. | 0.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
39.00 | 150 mm swing type water check valve | 1.00 | Nos. | 0.00 | 6000.00 | 6000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
40.00 | 80mm sluice Gate valve | 1.00 | Nos. | 0.00 | 5000.00 | 5000.00 | 6500.00 | 6500.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
41.00 | 150mm sluice Gate valve | 1.00 | Nos. | 0.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
42.00 | Dismantling of following existing faulty sprinkler flexible hose drops from the system, which are inside the false ceiling, supplying and installing new flexible hose drops up to 1.5Mtr length along with all required connectors, threading, coupler etc. as required. | 25.00 | Nos. | 0.00 | 1000.00 | 25000.00 | 950.00 | 23750.00 | 23750.00 | DElite System Engineering (India) Pvt. Ltd.
43.00 | Fabrication, Supply and Fixing of 6mm thick chequered plates including providing and fixing 40mm×40mm×6mm angle iron supports on cable trenches, Fire hydrant tanks, 25mm×6mm MS flat around the chequered plate by welding, providing lifting hook, painting etc., as required. | 50.00 | Kg | 0.00 | 120.00 | 6000.00 | 99.00 | 4950.00 | 4950.00 | DElite System Engineering (India) Pvt. Ltd.
44.00 | Providing one welder and one Khalasi along with Electric welding/ gas cutting machine and welding rods/ Oxygen Acetlyne gas for carrrying out leak arresting/ welding of fire fighting lines or other welding works during any urgent Preventive Maintenance/ Breakdown Maintenance/ Emergency work as and when required. | 50.00 | Days | 0.00 | 3000.00 | 150000.00 | 999.00 | 49950.00 | 49950.00 | DElite System Engineering (India) Pvt. Ltd.
45.00 | Wrapping of existing Mild steel pipe with suitable 4mm thick insulation of tar felt sheet as per the specifications & directions of E.I.C. | 25.00 | Sq Mtr | 0.00 | 400.00 | 10000.00 | 299.00 | 7475.00 | 7475.00 | DElite System Engineering (India) Pvt. Ltd.
46.00 | Supply & replacement of following suitable parts in hydrant delivery/ Landing valves(Single/ Double head), First aid Hose reel drums, other related accessories and valves in Fire hydrant and sprinkler system (as and when required basis).
47.00 | Coupling washer | 50.00 | Nos. | 0.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
48.00 | Seating washer | 50.00 | Nos. | 0.00 | 70.00 | 3500.00 | 40.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
49.00 | Gasket of suitable thickness | 50.00 | Sq.m | 0.00 | 200.00 | 10000.00 | 150.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
50.00 | Nut bolts 12mm dia, 3" long | 50.00 | Set | 0.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
51.00 | Rubber hose 20mm x 30 Mtr. Suitable for First aid Hose reel drum | 20.00 | Nos. | 0.00 | 3000.00 | 60000.00 | 3200.00 | 64000.00 | 60000.00 | NATIONAL SAFETY ENGINEERS
52.00 | O ring seal inside First aid Hose reel drum | 50.00 | Nos. | 0.00 | 50.00 | 2500.00 | 15.00 | 750.00 | 750.00 | DElite System Engineering (India) Pvt. Ltd.
53.00 | 25mm forged brass Ball Valve | 25.00 | Nos. | 0.00 | 700.00 | 17500.00 | 100.00 | 2500.00 | 2500.00 | DElite System Engineering (India) Pvt. Ltd.
54.00 | Brass Shutoff Nozzle with 1/2" ball valve | 25.00 | Nos. | 0.00 | 650.00 | 16250.00 | 100.00 | 2500.00 | 2500.00 | DElite System Engineering (India) Pvt. Ltd.
55.00 | Hose clamps for rubber hose | 50.00 | Nos. | 0.00 | 30.00 | 1500.00 | 12.00 | 600.00 | 600.00 | DElite System Engineering (India) Pvt. Ltd.
56.00 | 25mm GM Air release valve (Screwed type) | 10.00 | Nos | 0.00 | 850.00 | 8500.00 | 1500.00 | 15000.00 | 8500.00 | NATIONAL SAFETY ENGINEERS
57.00 | Providing & Replacement of 100mm dia Pressure gauges, 0-200PSI, H. Guru make or as per the approved make, specifications & directions of E.I.C. Approved makes : H Guru, Jaspin & General instruments | 10.00 | Nos. | 0.00 | 500.00 | 5000.00 | 1499.00 | 14990.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
58.00 | Providing & Replacement of pressure switch suitable for the existing system with a pressure range of 1 to 10 Bar. Approved makes : Danfoss & Swizer | 10.00 | Nos. | 0.00 | 1200.00 | 12000.00 | 2499.00 | 24990.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
59.00 | Disconnecting and dismantling of burnt out Induction motor from the system. Complete dismantling of burntout stator winding and thorough cleaning of stator slots. Rewinding the stator with Class 'F' polyester coated super enameled copper wire and insulating materials i/c. baking, varnishing, finishing and refixing the stator in the motor frame & re-installation in Fire pump room including transportation to and fro from Pump room etc as required. Approved Makes : Seimens, Alstom & Kirlosker.
60.00 | 100HP | 1.00 | Job | 0.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
61.00 | 60 to 75HP | 1.00 | Job | 0.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd., NATIONAL SAFETY ENGINEERS
62.00 | 15 HP | 1.00 | Job | 0.00 | 5000.00 | 5000.00 | 8250.00 | 8250.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
63.00 | 10 to 12.5HP | 1.00 | Job | 0.00 | 4000.00 | 4000.00 | 7000.00 | 7000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
64.00 | 1 to 3HP | 1.00 | Job | 0.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
65.00 | Painting with two coats of Synthetic enamel paint of approved shade and colour over a coat of red oxide primer over pipe lines including cleaning/ scrapping and remarking the existing indications/numbers with white paint/sticker etc., as required. | 500.00 | Sq Mtr | 0.00 | 80.00 | 40000.00 | 105.00 | 52500.00 | 40000.00 | NATIONAL SAFETY ENGINEERS
66.00 | Providing Minor Civil Repair Works as required as detailed below:
67.00 | Earth work (all types of soil) in excavation by mechanical means (Hydraulic excavator) /manual means including disposal of excavated earth, disposed earth to be levelled and neatly dressed. | 30.00 | Cum. | 0.00 | 300.00 | 9000.00 | 999.00 | 29970.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
68.00 | Demolishing cement concrete manually/mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - Charge. | 15.00 | Cum. | 0.00 | 800.00 | 12000.00 | 999.00 | 14985.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
69.00 | Laying cement concrete in 1:2:4 (1 cement: 2 coarse sand : 4 graded stone aggregate 20mm nominal size) i/c curing etc. | 15.00 | Cum. | 0.00 | 6000.00 | 90000.00 | 4800.00 | 72000.00 | 72000.00 | DElite System Engineering (India) Pvt. Ltd.
70.00 | Cement mortar in 1:6 (1 cement: 6 coarse sand) i/c curing etc. | 3.00 | Cum. | 0.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 13500.00 | DElite System Engineering (India) Pvt. Ltd.
71.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: 1:6 (1 cement: 6 coarse sand) i/c curing etc. | 3.00 | Cum. | 0.00 | 4000.00 | 12000.00 | 1200.00 | 3600.00 | 3600.00 | DElite System Engineering (India) Pvt. Ltd.
72.00 | Cement plaster 12mm mix 1:6 i/c curing etc. | 3.00 | Sq Mtr | 0.00 | 180.00 | 540.00 | 450.00 | 1350.00 | 540.00 | NATIONAL SAFETY ENGINEERS
73.00 | Supplying and filling in plinth with river sand under floors, including watering, ramming, consolidating and dressing complete. | 15.00 | Cum. | 0.00 | 2000.00 | 30000.00 | 1800.00 | 27000.00 | 27000.00 | DElite System Engineering (India) Pvt. Ltd.
74.00 | Carriage of materials by Mechanical Transport including loading ,unloading and stacking complete for a lead of 1 Km. Earth/ building rubbish/ similar unserviceable, dismantled or waste material | 15.00 | Cum. | 0.00 | 500.00 | 7500.00 | 200.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
75.00 | Providing & fixing of MS fire box with nut and bolt as per standard etc. complete as required. Approved makes : Minimax, Newage & Safex | 10.00 | Each | 0.00 | 2500.00 | 25000.00 | 4200.00 | 42000.00 | 25000.00 | NATIONAL SAFETY ENGINEERS
76.00 | Providing & replacement of SS holding lugs with nut and bolt etc. complete as required. Approved makes : Minimax, Newage & Safex | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 650.00 | 6500.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
77.00 | Providing & fixing of female coupling with nut and bolt etc. complete as required. Approved makes : Minimax,Newage & Safex | 10.00 | Each | 0.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
78.00 | Providing & fixing of MS wheel with nut and bolt with suitable as complete as required. Approved makes : Minimax, Newage & Safex | 10.00 | Each | 0.00 | 150.00 | 1500.00 | 300.00 | 3000.00 | 1500.00 | NATIONAL SAFETY ENGINEERS
79.00 | Providing & fixing MS trim kit and gong bell for alarm valve 150 NB with nut and bolt etc. complete as required. Approved makes : Minimax, Newage & Safex | 1.00 | Each | 0.00 | 60000.00 | 60000.00 | 5999.00 | 5999.00 | 5999.00 | DElite System Engineering (India) Pvt. Ltd.
80.00 | Providing of 15mm and 50 mm ball valve etc. complete as required. Approved makes : Zoloto, Sant & Audco | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd.
81.00 | Providing & fixing of pressure gauge needle valve set with suitable existing pipe etc. complete as required. Approved makes : Minimax, Newage & Safex | 6.00 | Each | 0.00 | 2000.00 | 12000.00 | 1200.00 | 7200.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd.
82.00 | Providing & fixing of hose reel nozzle with exisiting suitable nut and bolt etc. complete as required. Approved makes : Minimax, Newage & Safex | 5.00 | Each | 0.00 | 200.00 | 1000.00 | 350.00 | 1750.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
83.00 | Providing and Fixing of hose reel SS nozzle with nut and bolt etc. complete as required. Approved makes: Minimax, Newage & Safex | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 700.00 | 7000.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
84.00 | Providing & fixing of hydrant valve PVC cap, disk washer with nut and screws etc. complete as required. Approved makes : Minimax, Newage & Safex | 25.00 | Each | 0.00 | 150.00 | 3750.00 | 150.00 | 3750.00 | 3750.00 | DElite System Engineering (India) Pvt. Ltd., NATIONAL SAFETY ENGINEERS
85.00 | Supply of Exide express battery 12V 180 Amps etc. complete as required. | 6.00 | Each | 0.00 | 14000.00 | 84000.00 | 13500.00 | 81000.00 | 81000.00 | DElite System Engineering (India) Pvt. Ltd.
86.00 | Providing and fixing of soleloid valve (model ISD - 15) SS 30 body nitrle dia phragm with nut and bolt etc. complete as required. | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 6500.00 | 13000.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
87.00 | Providing & fixing of MS 1" heavy class C type etc. complete as required. Approved makes : Zoloto,Sant & Audco | 1.00 | Mtr | 0.00 | 100.00 | 100.00 | 250.00 | 250.00 | 100.00 | NATIONAL SAFETY ENGINEERS
88.00 | Providing & fixing of MS key & SS branch with washers etc with complete as required . Approved makes : Zoloto,sant & Audco | 5.00 | Each | 0.00 | 800.00 | 4000.00 | 1600.00 | 8000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
89.00 | Providing & fixing of suitable glass with screws and nuts with fire box etc. complete as required. | 10.00 | Each | 0.00 | 1000.00 | 10000.00 | 120.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
90.00 | Providing & fixing of fire fighting hose with nut in fire box each length of 15 meters with suitable couplings etc, complete as required. Approved makes: Minimax, Newage & Safex | 10.00 | Each | 0.00 | 4000.00 | 40000.00 | 4200.00 | 42000.00 | 40000.00 | NATIONAL SAFETY ENGINEERS
91.00 | Providing & fixing of Nipple etc. complete as required. Approved makes : Minimax,Newage & Safex | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
92.00 | Supply of distilled water etc. complete as required. | 100.00 | ltrs | 0.00 | 15.00 | 1500.00 | 25.00 | 2500.00 | 1500.00 | NATIONAL SAFETY ENGINEERS
93.00 | Providing & fixing of 200 mm PN16 Butter fly valve hand lever type with suitable nut and bolt with washers etc. complete as required. | 1.00 | No | 0.00 | 10000.00 | 10000.00 | 9999.00 | 9999.00 | 9999.00 | DElite System Engineering (India) Pvt. Ltd.
94.00 | Providing & fixing of 250 mm PN16 Butter fly valve wheel type with nut and bolt with washers etc. complete as required | 1.00 | No | 0.00 | 13000.00 | 13000.00 | 9999.00 | 9999.00 | 9999.00 | DElite System Engineering (India) Pvt. Ltd.
95.00 | Providing & fixing of 100 mm Butter fly valve hand type with nut and bolt with washers etc. complete as required. | 2.00 | No | 0.00 | 7000.00 | 14000.00 | 4500.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
96.00 | Supply & fixing of 150 mm PN16 Butter fly valve and hand type & 150mm flanges with nut and bolt with washers etc. complete as required. | 5.00 | No | 0.00 | 9000.00 | 45000.00 | 5800.00 | 29000.00 | 29000.00 | DElite System Engineering (India) Pvt. Ltd.
97.00 | Supply of 25mm ball valve etc. complete as required. | 4.00 | No | 0.00 | 800.00 | 3200.00 | 900.00 | 3600.00 | 3200.00 | NATIONAL SAFETY ENGINEERS
98.00 | Providing & fixing of hose reel drum set with hose 20mm x 30 mtr, hose reel nozzle with nut, bolt, clamp etc. complete as required. Approved makes: Minimax,Newage & Safex | 5.00 | No | 0.00 | 4500.00 | 22500.00 | 6120.00 | 30600.00 | 22500.00 | NATIONAL SAFETY ENGINEERS
99.00 | Providing & fixing of Double headed landing hydrant valve with nut, bolt, washer, gaskets etc., complete as required.. Approved makes: Minimax,Newage & Safex | 2.00 | Each | 0.00 | 11000.00 | 22000.00 | 9500.00 | 19000.00 | 19000.00 | DElite System Engineering (India) Pvt. Ltd.
100.00 | Providing & fixing of single headed fire hydrant landing valve with suitable bolt nuts and gaskets, etc., complete as required. Approved makes : Minimax, Newage & Safex | 2.00 | Each | 0.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 11000.00 | DElite System Engineering (India) Pvt. Ltd.
101.00 | Numbering of Fire hydrant box/Fire hydrant landing pipe with double coated Red enamel paint with numbering in white paint of suitable size as complete as required.. Approved makes : Minimax, Newage & Safex | 100.00 | Each | 0.00 | 400.00 | 40000.00 | 45.00 | 4500.00 | 4500.00 | DElite System Engineering (India) Pvt. Ltd.
102.00 | Dismantling of following damaged existing MS Heavy class pipes from the system which are on surface and under ground at a depth of 1.5 metres from ground level and shifting the same to AAI stores etc complete as required.
103.00 | 25 mm to 80mm | 75.00 | Mtr. | 0.00 | 100.00 | 7500.00 | 50.00 | 3750.00 | 3750.00 | DElite System Engineering (India) Pvt. Ltd.
104.00 | 100mm to 150mm | 75.00 | Mtr. | 0.00 | 150.00 | 11250.00 | 50.00 | 3750.00 | 3750.00 | DElite System Engineering (India) Pvt. Ltd.
105.00 | Providing & Fixing of Sprinkler bulb with washer, gaskets, nipple etc., complete as required. | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 280.00 | 14000.00 | 12500.00 | NATIONAL SAFETY ENGINEERS
106.00 | SH2: Fire Alarm system
107.00 | Fire Alarm system & VESDA: Monitoring & Maintenance of Fire Alarm Systems at T1 & T4 as per inventory comprising of Fire Alarm system (Low Ceiling), VESDA (High ceiling) and Monitoring and supervision of BMS on round the clock basis including maintaining records/ reports/ Supervision of the total system etc up to the specifications & directions of Engineer-In-Charge. (Excluding software & spares for BMS) (Refer Annexure-A2 for inventory of Fire alarm system, VESDA and BMS. Annexure-B2 for monitoring & maintenance activities, Annexure-C for man power)
108.00 | For First Year | 12.00 | Months | 0.00 | 430000.00 | 5160000.00 | 411568.00 | 4938816.00 | 4938816.00 | DElite System Engineering (India) Pvt. Ltd.
109.00 | For Second Year | 12.00 | Months | 0.00 | 432000.00 | 5184000.00 | 411568.00 | 4938816.00 | 4938816.00 | DElite System Engineering (India) Pvt. Ltd.
110.00 | Monitoring & Maintenance of Fire Alarm Systems at AIT (T3-Terminal) as per inventory comprising of Fire Alarm system and related PA system Monitoring and supervision round the clock basis including maintaining records/ reports/ Supervision of the total system etc up to the specifications & directions of Engineer-In-Charge. (Refer Annexure-A3 for inventory of Fire alarm system, Annexure-B2 for monitoring & maintenance activities, Annexure-C for Man power)
111.00 | For First Year | 12.00 | Months | 0.00 | 54600.00 | 655200.00 | 49016.00 | 588192.00 | 588192.00 | DElite System Engineering (India) Pvt. Ltd.
112.00 | For Second Year | 12.00 | Months | 0.00 | 54600.00 | 655200.00 | 49016.00 | 588192.00 | 588192.00 | DElite System Engineering (India) Pvt. Ltd.
113.00 | Providing mobile communication facility at four locations with annual package of Rs. 1498/- for one year for each mobiles etc., as required for the entire contract period.
114.00 | For First Year | 2.00 | Each | 0.00 | 6000.00 | 12000.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
115.00 | For Second Year | 2.00 | Each | 0.00 | 6000.00 | 12000.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
116.00 | Providing & Fixing of Temporal Horn, 84.4/79.4 dB, 15,30,75,110 cd Strobe, red complete as required. XLSG1R-HDVM. Make : Honeywell/EST | 10.00 | Each | 0.00 | 4600.00 | 46000.00 | 1899.00 | 18990.00 | 18990.00 | DElite System Engineering (India) Pvt. Ltd.
117.00 | Providing & Fixing of Single Input Module complete as required.SIGA-CT1. Make: Honeywell/EST | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 1899.00 | 18990.00 | 18990.00 | DElite System Engineering (India) Pvt. Ltd.
118.00 | Providing & Fixing of Detector Base - Standard complete as required. SIGA-SB. Make : Honeywell/EST | 10.00 | Each | 0.00 | 200.00 | 2000.00 | 1899.00 | 18990.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
119.00 | Providing & Fixing of Intelligent Fixed Temperature Heat Detector - 135F complete as required. XLS-HFS. Make : Honeywell/EST | 10.00 | Each | 0.00 | 1650.00 | 16500.00 | 50.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
120.00 | Providing & Fixing of Isolator Module complete as required. XLS-IM. Make : Honeywell/EST | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 1899.00 | 18990.00 | 18990.00 | DElite System Engineering (India) Pvt. Ltd.
121.00 | Providing & Fixing of Intelligent Photoelectric Smoke Detector with base complete as required. XLS-PS. Make : Honeywell/EST | 25.00 | Each | 0.00 | 1700.00 | 42500.00 | 1899.00 | 47475.00 | 42500.00 | NATIONAL SAFETY ENGINEERS
122.00 | Providing & Fixing of Intelligent 3D Multisensor Detector with base - Photoelectric, Heat complete as required. XLS-PHS. Make : Honeywell/EST | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 50.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
123.00 | Providing & Fixing of Signal module - single source complete as required. SIGA - CC1. Make : Honeywell/EST | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 1899.00 | 18990.00 | 18990.00 | DElite System Engineering (India) Pvt. Ltd.
124.00 | Providing & Fixing of Control relay module complete as required. SIGA - CR. Make: Honeywell/EST | 4.00 | Each | 0.00 | 2000.00 | 8000.00 | 1899.00 | 7596.00 | 7596.00 | DElite System Engineering (India) Pvt. Ltd.
125.00 | Providing & Fixing of Manual pull station - Lexan complete as required. XLS-278. Make: Honeywell/EST | 6.00 | Each | 0.00 | 2500.00 | 15000.00 | 1899.00 | 11394.00 | 11394.00 | DElite System Engineering (India) Pvt. Ltd.
126.00 | Providing & Fixing of Network communication board complete as required. 3-RS 485B. Make: Honeywell/EST | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
127.00 | Providing & Fixing of RS232 communication board complete as required. 3-RS 232. Make: Honeywell/EST | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
128.00 | Providing & Fixing of LCD operator interface complete as required. 3-LCD. Make: Honeywell/EST | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 9999.00 | 9999.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
129.00 | Providing & Fixing of Dual Signature Driver Controller complete as required. 3-DSDC1. Make: Honeywell/EST | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 9999.00 | 9999.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
130.00 | Providing & Fixing of Booster power supply - 7 Amps complete as required. 3-PPS/M-230. Make: Honeywell/EST | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 500.00 | DElite System Engineering (India) Pvt. Ltd.
131.00 | Providing & Fixing of CPU complete as required. 3-CPU3. Make: Honeywell/EST | 1.00 | Each | 0.00 | 25000.00 | 25000.00 | 9999.00 | 9999.00 | 9999.00 | DElite System Engineering (India) Pvt. Ltd.
132.00 | Providing & Fixing of F-Box complete as required. 32004871-009/U. Make: Honeywell/EST | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 49999.00 | 49999.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
133.00 | Providing & Fixing of 12V, 65 AH, SMF battery complete as required. Make: Exide | 6.00 | Each | 0.00 | 6000.00 | 36000.00 | 4999.00 | 29994.00 | 29994.00 | DElite System Engineering (India) Pvt. Ltd.
134.00 | Providing & Fixing of VESDA complete as required.
135.00 | Make : FAAST System Sensor model ; 8100 | 1.00 | Each | 0.00 | 50000.00 | 50000.00 | 20000.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
136.00 | Make: VLP 400 Xtralis | 1.00 | Each | 0.00 | 200000.00 | 200000.00 | 40999.00 | 40999.00 | 40999.00 | DElite System Engineering (India) Pvt. Ltd.
137.00 | Make: VLP 250 Xtralis | 2.00 | Each | 0.00 | 200000.00 | 400000.00 | 99999.00 | 199998.00 | 199998.00 | DElite System Engineering (India) Pvt. Ltd.
138.00 | Providing & Fixing of 110 / 220VAC to 24VDC 1.5Amp Power Supply (FM Approved) complete as required. VPS220E, Approved make : Polycab | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 7500.00 | 15000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
139.00 | Providing of 2 core 1.5 Sq.mm Copper conductor overall PVC sheathed GI wire Braided (flexible Armoured) FRLS grade cable complete as required. Approved make : Polycab | 200.00 | Mtr | 0.00 | 80.00 | 16000.00 | 79.00 | 15800.00 | 15800.00 | DElite System Engineering (India) Pvt. Ltd.
140.00 | Laying of one number 2 core 1.5 Sq.mm Copper conductor overall PVC sheathed GI wire Braided (flexible Armoured) FRLS grade cable on surface for fire alarm circuit etc., complete as required. Approved make : Polycab | 200.00 | Mtr | 0.00 | 50.00 | 10000.00 | 19.00 | 3800.00 | 3800.00 | DElite System Engineering (India) Pvt. Ltd.
141.00 | Providing & Fixing of Repeater Panel complete as required. (XLS-LCDANN). Make : Honeywell/EST | 2.00 | Each | 0.00 | 50000.00 | 100000.00 | 15000.00 | 30000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
142.00 | Providing & Fixing of Pla relay complete as required. (Pla mpc-2c-24D-5A-L). Approved makes : Seimens, L&T & Areva | 2.00 | Each | 0.00 | 200.00 | 400.00 | 1150.00 | 2300.00 | 400.00 | NATIONAL SAFETY ENGINEERS
143.00 | Providing & Fixing of power supply for Pla relay complete as required. (230/24v Dc). Approved makes : Seimens, L&T & Areva | 1.00 | Each | 0.00 | 300.00 | 300.00 | 2300.00 | 2300.00 | 300.00 | NATIONAL SAFETY ENGINEERS
144.00 | Providing & Fixing of Fire fighters telephone wall plate complete as required. (6833-1). Make: Honeywell/EST | 1.00 | Each | 0.00 | 500.00 | 500.00 | 575.00 | 575.00 | 500.00 | NATIONAL SAFETY ENGINEERS
145.00 | Providing & Fixing of PCB Mount 8 pole relay complete as required. Approved makes : Seimens, L&T & Areva | 1.00 | Each | 0.00 | 500.00 | 500.00 | 15999.00 | 15999.00 | 500.00 | NATIONAL SAFETY ENGINEERS
146.00 | Providing & Fixing of Morely loop card complete as required. Make: Morely | 1.00 | Each | 0.00 | 20000.00 | 20000.00 | 14999.00 | 14999.00 | 14999.00 | DElite System Engineering (India) Pvt. Ltd.
147.00 | Providing & Fixing of Desktop Speaker as required. Make: Zebronics | 2.00 | Each | 0.00 | 500.00 | 1000.00 | 920.00 | 1840.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
148.00 | Providing & Fixing of power supply for SMPS complete as required. (230/24v Dc) | 2.00 | Each | 0.00 | 4000.00 | 8000.00 | 1150.00 | 2300.00 | 2300.00 | DElite System Engineering (India) Pvt. Ltd.
149.00 | Solo A5 -001 Smoke Dedector Tester 250 ml | 8.00 | Can | 0.00 | 3000.00 | 24000.00 | 5999.00 | 47992.00 | 24000.00 | NATIONAL SAFETY ENGINEERS
150.00 | Solo A10S -001 HFC Free Smoke Dedector Tester 250 ml | 8.00 | Can | 0.00 | 5000.00 | 40000.00 | 6999.00 | 55992.00 | 40000.00 | NATIONAL SAFETY ENGINEERS
151.00 | Smoke Detector Testing Kit (Aerosol Dispenser and Telescopic Access Poles (6m Maximum Reach) ) | 2.00 | Nos | 0.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 50000.00 | DElite System Engineering (India) Pvt. Ltd., NATIONAL SAFETY ENGINEERS
152.00 | Providing & Fixing of Horn cum strobe complete as required.XLSG1R-HDVM. Make : Honeywell/EST | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 2013.00 | 4026.00 | 4026.00 | DElite System Engineering (India) Pvt. Ltd.
153.00 | SUB HEAD: III AMC of KIRLOSKAR make Diesel Engines.
154.00 | Inspection and service contract for kirloskar make Diesel Engines located at various fire fighting pump rooms as per Manufacturer's standard Instructions/ catalogues/ Practices as required.
155.00 | Model-6R1080T, Sr.No : 6H.2419.16/ 1000032 at Utility Building, Sprinkler.
156.00 | First Year | 12.00 | Months | 0.00 | 2500.00 | 30000.00 | 1950.00 | 23400.00 | 23400.00 | DElite System Engineering (India) Pvt. Ltd.
157.00 | Second Year | 12.00 | Months | 0.00 | 2600.00 | 31200.00 | 1950.00 | 23400.00 | 23400.00 | DElite System Engineering (India) Pvt. Ltd.
158.00 | Model-6R1080T, Sr.No : 6H.2419.16/ 1000056 at Utility Building, Hydrant.
159.00 | First Year | 12.00 | Months | 0.00 | 2500.00 | 30000.00 | 1950.00 | 23400.00 | 23400.00 | DElite System Engineering (India) Pvt. Ltd.
160.00 | Second Year | 12.00 | Months | 0.00 | 2600.00 | 31200.00 | 1950.00 | 23400.00 | 23400.00 | DElite System Engineering (India) Pvt. Ltd.
161.00 | Model-RB66FE, Sr.No : 4H.2280.16/1920011 at Admin Fire Pump House.
162.00 | First Year | 12.00 | Months | 0.00 | 2500.00 | 30000.00 | 1800.00 | 21600.00 | 21600.00 | DElite System Engineering (India) Pvt. Ltd.
163.00 | Second Year | 12.00 | Months | 0.00 | 2600.00 | 31200.00 | 1800.00 | 21600.00 | 21600.00 | DElite System Engineering (India) Pvt. Ltd.
164.00 | Model-4R1040T, Sr.No : 4H.2431.16/ 0900011 at Spice Jet Hanger
165.00 | First Year | 12.00 | Months | 0.00 | 2500.00 | 30000.00 | 1550.00 | 18600.00 | 18600.00 | DElite System Engineering (India) Pvt. Ltd.
166.00 | Second Year | 12.00 | Months | 0.00 | 2600.00 | 31200.00 | 1550.00 | 18600.00 | 18600.00 | DElite System Engineering (India) Pvt. Ltd.
167.00 | Supply of B-Check spares including transportation,loading,unloading etc complete as required for second year
168.00 | KOEL CARE Super Genuine oil
169.00 | 20 litresc CAN | 2.00 | Each | 0.00 | 8000.00 | 16000.00 | 6999.00 | 13998.00 | 13998.00 | DElite System Engineering (India) Pvt. Ltd.
170.00 | 13 litres CAN | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 6999.00 | 13998.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
171.00 | SPINON LUBE OIL FILTER | 6.00 | Each | 0.00 | 600.00 | 3600.00 | 699.00 | 4194.00 | 3600.00 | NATIONAL SAFETY ENGINEERS
172.00 | FUEL FILTER KIT 1.1 LTR | 4.00 | Each | 0.00 | 500.00 | 2000.00 | 699.00 | 2796.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
173.00 | Freight Charges | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 799.00 | 799.00 | 799.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 27186110.00 |  | 24717358.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(24717358.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management of Fire Fighting System and Fire Alarm system at Chennai Airport 2021-2023 Tender ID: 2021_AAI_79229_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 24717358.00 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 27186110.00 | L2