## BoQ1
Government eProcurement System Created By: RAMESHWAR GAUTAM Created Date/Time: 22-Jul-2021 12:11 PM Tender Title: Renovation/replacement of internal existing Fire Fighting system at LBSI Airport Varanasi Tender ID: 2021_AAI_79319_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Renovation/replacement of internal existing Fire Fighting system at LBSI Airport Varanasi.
Contract No: 2021_AAI_79319_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | SUPER INDIA BUILDPRO PRIVATE LIMITED(GSTN-22AASCS8674F1ZU) |  | FIRE REMEDY SYSTEMS(GSTN-07ABQPT0509A2ZT) |  | Skylight Innovations(GSTN-07AAOFS3481P1ZC) |  | MANALI ENGINEERING INDIA(GSTN-06AJLPG5885H1ZU) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | fire safety engineers(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. in ground including providing of suitable size and cement concret blocks support of 400mmx 400mm x 150mm size ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 150 mm. Dia | 330.00 | Mtr. |  | 2500.00 | 825000.00 | 2900.00 | 957000.00 | 3130.00 | 1032900.00 | 3000.00 | 990000.00 | 2200.00 | 726000.00 | 2614.00 | 862620.00 | 2850.00 | 940500.00 | 726000.00 | MANALI ENGINEERING INDIA
2.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. in ground including providing of suitable size and cement concret blocks support of 400mmx 400mm x 150mm size ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 100 mm. Dia | 20.00 | Mtr. |  | 1900.00 | 38000.00 | 2000.00 | 40000.00 | 2130.00 | 42600.00 | 2200.00 | 44000.00 | 1670.00 | 33400.00 | 2100.00 | 42000.00 | 1850.00 | 37000.00 | 33400.00 | MANALI ENGINEERING INDIA
3.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. in ground including providing of suitable size and cement concret blocks support of 400mmx 400mm x 150mm size ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 80 mm. Dia | 20.00 | Mtr. |  | 1250.00 | 25000.00 | 1500.00 | 30000.00 | 1450.00 | 29000.00 | 1900.00 | 38000.00 | 1110.00 | 22200.00 | 1459.00 | 29180.00 | 1500.00 | 30000.00 | 22200.00 | MANALI ENGINEERING INDIA
4.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 150 mm. Dia | 865.00 | Mtr. |  | 1825.00 | 1578625.00 | 2900.00 | 2508500.00 | 2980.00 | 2577700.00 | 2800.00 | 2422000.00 | 2200.00 | 1903000.00 | 2270.00 | 1963550.00 | 2280.00 | 1972200.00 | 1578625.00 | advent electric technologies pvt. ltd.
5.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 100 mm. Dia | 412.00 | Mtr. |  | 1500.00 | 618000.00 | 2000.00 | 824000.00 | 2025.00 | 834300.00 | 2000.00 | 824000.00 | 1670.00 | 688040.00 | 1649.00 | 679388.00 | 1600.00 | 659200.00 | 618000.00 | advent electric technologies pvt. ltd.
6.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 80 mm. Dia | 140.00 | Mtr. |  | 1100.00 | 154000.00 | 1500.00 | 210000.00 | 1385.00 | 193900.00 | 1700.00 | 238000.00 | 1110.00 | 155400.00 | 1234.00 | 172760.00 | 1400.00 | 196000.00 | 154000.00 | advent electric technologies pvt. ltd.
7.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 65 mm. Dia | 150.00 | Mtr. |  | 900.00 | 135000.00 | 1200.00 | 180000.00 | 1100.00 | 165000.00 | 1200.00 | 180000.00 | 900.00 | 135000.00 | 1104.00 | 165600.00 | 1020.00 | 153000.00 | 135000.00 | advent electric technologies pvt. ltd., MANALI ENGINEERING INDIA
8.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 40 mm. Dia | 150.00 | Mtr. |  | 600.00 | 90000.00 | 700.00 | 105000.00 | 600.00 | 90000.00 | 900.00 | 135000.00 | 635.00 | 95250.00 | 716.00 | 107400.00 | 650.00 | 97500.00 | 90000.00 | advent electric technologies pvt. ltd., FIRE REMEDY SYSTEMS
9.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 32 mm. Dia | 150.00 | Mtr. |  | 540.00 | 81000.00 | 600.00 | 90000.00 | 530.00 | 79500.00 | 800.00 | 120000.00 | 500.00 | 75000.00 | 580.00 | 87000.00 | 580.00 | 87000.00 | 75000.00 | MANALI ENGINEERING INDIA
10.00 | Providing, laying, testing & commissioning of following sizes of 'C' class heavy duty M.S. Pipe conforming to IS 1239 in existing trenches,above the groud ,wall,above the false ceiling including fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets, painting etc. including providing hanging MS support ,clamp, including cutting & proper connection in existing line etc complete as required as per special condtion of contract . 25 mm. Dia | 150.00 | Mtr. |  | 450.00 | 67500.00 | 500.00 | 75000.00 | 420.00 | 63000.00 | 600.00 | 90000.00 | 330.00 | 49500.00 | 518.00 | 77700.00 | 450.00 | 67500.00 | 49500.00 | MANALI ENGINEERING INDIA
11.00 | Supplying and fixing of Single headed oblique type flanged Stainless steel type fire hydrant valve, 63 mm dia with cast iron wheel ISI marked conforming to IS 5290-1993 with blank Gun metal cap and chain as required. | 2.00 | Each |  | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 5450.00 | 10900.00 | 6586.00 | 13172.00 | 5800.00 | 11600.00 | 10000.00 | FIRE REMEDY SYSTEMS
12.00 | Supplying and fixing of double headed oblique type flanged Stainless steel type fire hydrant valve, 63 mm dia with cast iron wheel ISI marked conforming to IS 5290-1993 with blank Gun metal cap and chain as required. | 2.00 | Each |  | 8000.00 | 16000.00 | 10000.00 | 20000.00 | 9400.00 | 18800.00 | 12000.00 | 24000.00 | 6200.00 | 12400.00 | 6586.00 | 13172.00 | 11500.00 | 23000.00 | 12400.00 | MANALI ENGINEERING INDIA
13.00 | Repairing and maintenance testing and commissioning of single/double headed oblique type fire hydrant valve, 63 mm dia including replacement of gasket, cap and chain as required. | 13.00 | Each |  | 2000.00 | 26000.00 | 200.00 | 2600.00 | 1500.00 | 19500.00 | 2000.00 | 26000.00 | 1250.00 | 16250.00 | 500.00 | 6500.00 | 650.00 | 8450.00 | 2600.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
14.00 | Supply, installation, testing and commissioning of RRL hose with external elastomeric coating, 63 mm inside dia conforming to IS:636 and gun metal 63 mm size male coupling at one end and female coupling at olher end conforming to IS:636 of length 15 mtrs | 12.00 | Each |  | 7500.00 | 90000.00 | 5500.00 | 66000.00 | 3900.00 | 46800.00 | 10000.00 | 120000.00 | 3600.00 | 43200.00 | 5100.00 | 61200.00 | 4850.00 | 58200.00 | 43200.00 | MANALI ENGINEERING INDIA
15.00 | Poviding and fixing of Shut off Nozzle/gun metal in existing hose real complete as required. | 16.00 | Each |  | 2500.00 | 40000.00 | 1000.00 | 16000.00 | 300.00 | 4800.00 | 1000.00 | 16000.00 | 1400.00 | 22400.00 | 450.00 | 7200.00 | 550.00 | 8800.00 | 4800.00 | FIRE REMEDY SYSTEMS
16.00 | Dismantling and Supply, installation, testing and commissioning of gun metal adopter for existing single/double headed fire hydrant valve completed as required. | 11.00 | Each |  | 2600.00 | 28600.00 | 500.00 | 5500.00 | 1400.00 | 15400.00 | 3500.00 | 38500.00 | 1800.00 | 19800.00 | 9152.00 | 100672.00 | 950.00 | 10450.00 | 5500.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
17.00 | Supply, installation, testing and commissioning of branch pipe short, gun metal 63 mm male instantaneous inlet, male threaded outlet, complete with hexagonal base, 20 mm bore nozzle conforming to IS:903 completed as required. | 35.00 | Each |  | 2900.00 | 101500.00 | 1500.00 | 52500.00 | 1790.00 | 62650.00 | 3000.00 | 105000.00 | 2600.00 | 91000.00 | 1895.00 | 66325.00 | 2250.00 | 78750.00 | 52500.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
18.00 | Supply, installation, testing and commissioning of hose boxes wall/pedestal type of size 750 x 250 x 600 mm made out of 16 SWG stainless steel sheet with front side glass, locking arrangement and painted with approved colour completed as required and as per specifications. | 5.00 | Each |  | 9000.00 | 45000.00 | 4000.00 | 20000.00 | 2900.00 | 14500.00 | 11000.00 | 55000.00 | 12500.00 | 62500.00 | 11000.00 | 55000.00 | 4202.00 | 21010.00 | 14500.00 | FIRE REMEDY SYSTEMS
19.00 | Providing anti-corrosive protection treatment to embaded MS pipe & fitting by applying anti corrosive bituminous primer thereafter wrapping 4mm thick pypekote /Coatek with 15mm overlapping complete as per spesification.(for 150mm dia pipe) | 330.00 | Mtr. |  | 200.00 | 66000.00 | 150.00 | 49500.00 | 238.00 | 78540.00 | 600.00 | 198000.00 | 660.00 | 217800.00 | 550.00 | 181500.00 | 230.00 | 75900.00 | 49500.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
20.00 | Providing anti-corrosive protection treatment to embaded MS pipe & fitting by applying anti corrosive bituminous primer thereafter wrapping 4mm thick pypekote /Coatek with 15mm overlapping complete as per spesification.(100 mm dia pipe) | 20.00 | Mtr. |  | 175.00 | 3500.00 | 150.00 | 3000.00 | 210.00 | 4200.00 | 400.00 | 8000.00 | 450.00 | 9000.00 | 525.00 | 10500.00 | 150.00 | 3000.00 | 3000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED, fire safety engineers
21.00 | Providing anti-corrosive protection treatment to embaded MS pipe & fitting by applying anti corrosive bituminous primer thereafter wrapping 4mm thick pypekote /Coatek with 15mm overlapping complete as per spesification.(80 mm dia pipe) | 20.00 | Mtr. |  | 150.00 | 3000.00 | 150.00 | 3000.00 | 190.00 | 3800.00 | 300.00 | 6000.00 | 355.00 | 7100.00 | 500.00 | 10000.00 | 125.00 | 2500.00 | 2500.00 | fire safety engineers
22.00 | Supplying, fixing, testing and commissioning of dual plate spring operated butterfly valve with CI Body, Epoxy coated Disc duly ISI marked complete with Nuts, Bolts, Washers, Neoprene rubber gaskets, conforming to IS: 13095, of following sizes as required. 150 mm. | 28.00 | Each |  | 15000.00 | 420000.00 | 8000.00 | 224000.00 | 5765.00 | 161420.00 | 7000.00 | 196000.00 | 4700.00 | 131600.00 | 10003.00 | 280084.00 | 6250.00 | 175000.00 | 131600.00 | MANALI ENGINEERING INDIA
23.00 | Supplying, fixing, testing and commissioning of dual plate spring operated butterfly valve with CI Body, Epoxy coated Disc duly ISI marked complete with Nuts, Bolts, Washers, Neoprene rubber gaskets, conforming to IS: 13095, of following sizes as required. 100 mm. | 10.00 | Each |  | 12000.00 | 120000.00 | 6000.00 | 60000.00 | 4770.00 | 47700.00 | 5500.00 | 55000.00 | 4300.00 | 43000.00 | 7422.00 | 74220.00 | 4850.00 | 48500.00 | 43000.00 | MANALI ENGINEERING INDIA
24.00 | Supplying, fixing, testing and commissioning of dual plate spring operated butterfly valve with CI Body, Epoxy coated Disc duly ISI marked complete with Nuts, Bolts, Washers, Neoprene rubber gaskets, conforming to IS: 13095, of following sizes as required. 80 mm. | 1.00 | Each |  | 8200.00 | 8200.00 | 3500.00 | 3500.00 | 4200.00 | 4200.00 | 4500.00 | 4500.00 | 3700.00 | 3700.00 | 5568.00 | 5568.00 | 4200.00 | 4200.00 | 3500.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
25.00 | Supplying, fixing, testing and commissioning of dual plate spring operated butterfly valve with CI Body, Epoxy coated Disc duly ISI marked complete with Nuts, Bolts, Washers, Neoprene rubber gaskets, conforming to IS: 13095, of following sizes as required. 65 mm. | 18.00 | Each |  | 7000.00 | 126000.00 | 3000.00 | 54000.00 | 2965.00 | 53370.00 | 4000.00 | 72000.00 | 3500.00 | 63000.00 | 4771.00 | 85878.00 | 3800.00 | 68400.00 | 53370.00 | FIRE REMEDY SYSTEMS
26.00 | Supplying, fixing, testing and commissioning of blank flange complete as per site requirement. 200 mm. | 1.00 | Each |  | 1700.00 | 1700.00 | 500.00 | 500.00 | 1200.00 | 1200.00 | 1400.00 | 1400.00 | 2500.00 | 2500.00 | 1250.00 | 1250.00 | 1000.00 | 1000.00 | 500.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
27.00 | Supplying, fixing, testing and commissioning of blank flange complete as per site requirement. 150 mm. | 6.00 | Each |  | 1500.00 | 9000.00 | 500.00 | 3000.00 | 850.00 | 5100.00 | 1200.00 | 7200.00 | 2300.00 | 13800.00 | 750.00 | 4500.00 | 650.00 | 3900.00 | 3000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
28.00 | Supplying, fixing, testing and commissioning of blank flange complete as per site requirement. 100 mm. | 2.00 | Each |  | 1400.00 | 2800.00 | 500.00 | 1000.00 | 700.00 | 1400.00 | 1000.00 | 2000.00 | 2200.00 | 4400.00 | 360.00 | 720.00 | 400.00 | 800.00 | 720.00 | DOGRA AND DOGRA ENTERPRISES
29.00 | Excavation and refilling of trenches for laying of pipe of depth upto 1.2 mtr. in soft soil including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 meter. | 250.00 | Cum |  | 400.00 | 100000.00 | 140.00 | 35000.00 | 260.00 | 65000.00 | 400.00 | 100000.00 | 90.00 | 22500.00 | 2000.00 | 500000.00 | 230.00 | 57500.00 | 22500.00 | MANALI ENGINEERING INDIA
30.00 | Excavation and refilling of trenches for laying of pipe/cable in hard rock not exceeding 1.5mtr. In width, and lift upto 1.5 mtr.,including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 meter. | 30.00 | Cum |  | 2500.00 | 75000.00 | 140.00 | 4200.00 | 1100.00 | 33000.00 | 600.00 | 18000.00 | 50.00 | 1500.00 | 2000.00 | 60000.00 | 320.00 | 9600.00 | 1500.00 | MANALI ENGINEERING INDIA
31.00 | Providing and fixing 25mm dia gunmetal air release valve. | 10.00 | Each |  | 3500.00 | 35000.00 | 1000.00 | 10000.00 | 1800.00 | 18000.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 1350.00 | 13500.00 | 1600.00 | 16000.00 | 10000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
32.00 | Providing and fixing adjustable fully concealed type sprinkler operating on 57/68 deg. C of approved complete etc as required | 100.00 | Each |  | 600.00 | 60000.00 | 400.00 | 40000.00 | 700.00 | 70000.00 | 600.00 | 60000.00 | 950.00 | 95000.00 | 484.00 | 48400.00 | 380.00 | 38000.00 | 38000.00 | fire safety engineers
33.00 | Providing and fixing adjustable upright type sprinkler operating on 57/68 deg. C of approved complete etc as required | 100.00 | Each |  | 600.00 | 60000.00 | 400.00 | 40000.00 | 240.00 | 24000.00 | 600.00 | 60000.00 | 315.00 | 31500.00 | 484.00 | 48400.00 | 380.00 | 38000.00 | 24000.00 | FIRE REMEDY SYSTEMS
34.00 | Providing and fixing flexible hose from MS pipe to sprinkler(1.0 mtr each length) including clampig/fixing arrangement complete etc as required | 200.00 | Each |  | 1000.00 | 200000.00 | 1000.00 | 200000.00 | 700.00 | 140000.00 | 1500.00 | 300000.00 | 900.00 | 180000.00 | 1540.00 | 308000.00 | 850.00 | 170000.00 | 140000.00 | FIRE REMEDY SYSTEMS
35.00 | Providing and fixing of analog pressure gauge range 0 to 16 kg/Cm2 complete as per site requirement. | 3.00 | Each |  | 8500.00 | 25500.00 | 1000.00 | 3000.00 | 1150.00 | 3450.00 | 1200.00 | 3600.00 | 2200.00 | 6600.00 | 800.00 | 2400.00 | 1100.00 | 3300.00 | 2400.00 | DOGRA AND DOGRA ENTERPRISES
36.00 | Supply & fixing of pressure switch make Danfoss complete as required. | 3.00 | Each |  | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 1400.00 | 4200.00 | 1500.00 | 4500.00 | 2600.00 | 7800.00 | 1500.00 | 4500.00 | 3200.00 | 9600.00 | 4200.00 | FIRE REMEDY SYSTEMS
37.00 | Dismantling ,supply installation testing and commsioning of gang valve sprinkler complete as per site requirement. | 1.00 | Each |  | 45000.00 | 45000.00 | 7350.00 | 7350.00 | 15000.00 | 15000.00 | 45000.00 | 45000.00 | 52000.00 | 52000.00 | 41000.00 | 41000.00 | 51500.00 | 51500.00 | 7350.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
38.00 | Servicing and rectification testing and commissioning of fire hydrant panel along with auto manaual operation of hydrant pump, jokey pump and sprinkler pump complete as required | 1.00 | Job |  | 47000.00 | 47000.00 | 10000.00 | 10000.00 | 47500.00 | 47500.00 | 90000.00 | 90000.00 | 125000.00 | 125000.00 | 15000.00 | 15000.00 | 78000.00 | 78000.00 | 10000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
39.00 | Servising(B.Check) of Deisel engine pump including replacement of diesel filter,mobile oil comple as required. | 1.00 | Job |  | 46000.00 | 46000.00 | 10000.00 | 10000.00 | 33500.00 | 33500.00 | 50000.00 | 50000.00 | 35000.00 | 35000.00 | 12000.00 | 12000.00 | 26076.00 | 26076.00 | 10000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
40.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 40 mm nominal size) | 16.00 | Cum |  | 5000.00 | 80000.00 | 400.00 | 6400.00 | 6120.00 | 97920.00 | 8000.00 | 128000.00 | 5700.00 | 91200.00 | 1300.00 | 20800.00 | 5200.00 | 83200.00 | 6400.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
41.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 48.00 | Cum |  | 6500.00 | 312000.00 | 400.00 | 19200.00 | 8554.00 | 410592.00 | 8000.00 | 384000.00 | 6000.00 | 288000.00 | 1450.00 | 69600.00 | 6850.00 | 328800.00 | 19200.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
42.00 | Constructing of masonry chamber 90x90x100 cm inside in brick work in cement mortar 1:4 (1 cement: 4 coarse sand) for sluce valve and RCC top slab 1:2:4 mix(1 cement: 2 caorse sand : 4 graded stone aggregate 20mm nominal size) including necessary excavation, foundaton concrete 1:5:10 (1 cement: 5 fine sand : 10 graded stone aggregate 40mm nominal size) and inside plastering with cement mortar 1:3 (1 cement: 3 coarse sand) 12 mm thick finished floating coat of neat cement complete as per standard design. | 5.00 | Job |  | 20000.00 | 100000.00 | 1000.00 | 5000.00 | 7300.00 | 36500.00 | 20000.00 | 100000.00 | 10000.00 | 50000.00 | 18500.00 | 92500.00 | 8500.00 | 42500.00 | 5000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
43.00 | Horizontal road crossing by manual HDD method of 200 mm dia under the road upto depth approx 1.5 Mtr for laying of 150mm dia MS pipe inluding required excavation and refilling work etc. complete as required. | 50.00 | Mtr |  | 3000.00 | 150000.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 2000.00 | 100000.00 | 6500.00 | 325000.00 | 1000.00 | 50000.00 | 850.00 | 42500.00 | 15000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
44.00 | Dismantling of 150 mm dia butter fly valve/NRV along with cutting and transport to AAI store from site etc complete as requiired. | 25.00 | Each |  | 150.00 | 3750.00 | 50.00 | 1250.00 | 200.00 | 5000.00 | 250.00 | 6250.00 | 500.00 | 12500.00 | 250.00 | 6250.00 | 250.00 | 6250.00 | 1250.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED
45.00 | Dismantling of 150 mm dia MS pipe along with cuting in pieces including transportation from site to AAI store house etc complete as required. | 100.00 | Mtr |  | 125.00 | 12500.00 | 75.00 | 7500.00 | 200.00 | 20000.00 | 300.00 | 30000.00 | 40.00 | 4000.00 | 400.00 | 40000.00 | 250.00 | 25000.00 | 4000.00 | MANALI ENGINEERING INDIA
46.00 | Dismantling of 100 mm dia MS pipe along with cuting in pieces including transportation from site to AAI store etc complete as required. | 100.00 | Mtr |  | 100.00 | 10000.00 | 75.00 | 7500.00 | 145.00 | 14500.00 | 200.00 | 20000.00 | 30.00 | 3000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 3000.00 | MANALI ENGINEERING INDIA
47.00 | Dismantling of 25mm to 80mm dia MS pipe along with cuting in pieces including transportation from site to AAI store etc complete as required. | 200.00 | Mtr |  | 75.00 | 15000.00 | 75.00 | 15000.00 | 78.00 | 15600.00 | 250.00 | 50000.00 | 30.00 | 6000.00 | 150.00 | 30000.00 | 180.00 | 36000.00 | 6000.00 | MANALI ENGINEERING INDIA
48.00 | Painting of 150 mm dia existing MS pipe inclduding scraping along with one coat of red oxide primer and two coat Synthetic Enamel Paint complete as required | 300.00 | Mtr |  | 65.00 | 19500.00 | 40.00 | 12000.00 | 68.00 | 20400.00 | 400.00 | 120000.00 | 40.00 | 12000.00 | 50.00 | 15000.00 | 82.00 | 24600.00 | 12000.00 | SUPER INDIA BUILDPRO PRIVATE LIMITED, MANALI ENGINEERING INDIA
49.00 | Painting of 100 mm dia existing MS pipe inclduding scraping along with one coat of red oxide primer and two coat Synthetic Enamel Paint complete as required | 200.00 | Mtr |  | 75.00 | 15000.00 | 40.00 | 8000.00 | 52.00 | 10400.00 | 300.00 | 60000.00 | 32.00 | 6400.00 | 40.00 | 8000.00 | 75.00 | 15000.00 | 6400.00 | MANALI ENGINEERING INDIA
50.00 | Painting of 25 mm to 80 mm dia existing MS pipe inclduding scraping along with one coat of red oxide primer and two coat Synthetic Enamel Paint complete as required | 500.00 | Mtr |  | 50.00 | 25000.00 | 40.00 | 20000.00 | 38.00 | 19000.00 | 200.00 | 100000.00 | 26.00 | 13000.00 | 250.00 | 125000.00 | 70.00 | 35000.00 | 13000.00 | MANALI ENGINEERING INDIA
| Total in Figures |  |  |  |  | 6180675.00 |  | 6100000.00 |  | 6782342.00 |  | 7877950.00 |  | 6043140.00 |  | 6705009.00 |  | 5999786.00
Lowest Amount Quoted BY: fire safety engineers(5999786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation/replacement of internal existing Fire Fighting system at LBSI Airport Varanasi Tender ID: 2021_AAI_79319_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | fire safety engineers | 5999786.00 | L1
| 2 | MANALI ENGINEERING INDIA | 6043140.00 | L2
| 3 | SUPER INDIA BUILDPRO PRIVATE LIMITED | 6100000.00 | L3
| 4 | advent electric technologies pvt. ltd. | 6180675.00 | L4
| 5 | DOGRA AND DOGRA ENTERPRISES | 6705009.00 | L5
| 6 | FIRE REMEDY SYSTEMS | 6782342.00 | L6
| 7 | Skylight Innovations | 7877950.00 | L7