## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 13-Jul-2021 11:32 AM Tender Title: ARMO of Electrical and Mechanical Installations and Fire Fighting and Fire Alarm Systems at CAT Agra for the year 2021-23. Tender ID: 2021_AAI_79328_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: ARMO of Electrical and Mechanical Installations & Fire Fighting and Fire Alarm Systems at CAT Agra for the year 2021-23.
Contract No: AAI/AGRA/ARMO/2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | ARNAV ENGINEERING CONSULTANCY SERVICES(GSTN-07ABKFA7102Q1Z4) |  | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | U.K ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical maintenance and operation of all electrical & mechanical installations of Terminal Building, Carpark lighting, Conveyors , AFL substation equipments (except DG sets & AMF Panel), GLF installations & E&M installations at residential colony & CISF barrack etc. on daily/ weekly/ monthly/ quarterly/ yearly basis as per maintenance schedule including preparation & maintenance of records /documents etc as per scope of work given in special conditions and technical specifications of contract etc complete as required. The contractor is required to deploy following minimum manpower in shift of eight hours on all days including holidays except on weekly off day : a) Wireman- 05 Nos (Skilled) b) Asst wireman/Operator - 02 Nos. (Semi-skilled) c) Helper - 04 Nos.( Un-skilled) | 24.00 | Month | 0.00 | 186863.00 | 4484712.00 | 185700.00 | 4456800.00 | 170000.00 | 4080000.00 | 215000.00 | 5160000.00 | 190666.00 | 4575984.00 | 195000.00 | 4680000.00 | 4080000.00 | ANAND AND COMPANTY
2.00 | Servicing of 25 KVA DG set of Cummins make including Local control panel by supply and replacement of B check kit (Oil filters, fuel filters, Air cleaner Element, Foil Sealed test strip, Lube Oil, Inhibitor) and carrying out the preventive maintenance by OEM/authorised service agency etc complete as required. | 2.00 | Job | 0.00 | 1000.00 | 2000.00 | 7500.00 | 15000.00 | 14000.00 | 28000.00 | 4000.00 | 8000.00 | 16000.00 | 32000.00 | 6000.00 | 12000.00 | 2000.00 | Anoop Refrigeration
3.00 | Checking, servicing, calibration testing & submission of report of following protection relays provided on 415 KV , LT Air circuit breaker panel complete as per site requirement - 1) IDMT relays a) Over Current:-4 Nos. b) Earth Fault:- 2 Nos. | 2.00 | Job | 0.00 | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 5000.00 | Anoop Refrigeration
4.00 | Inspection, servicing, overhauling of 3 Ph, 400 A GEC Alstom make HT Oil circuit breaker and testing of dielectric strength of oil upto 60 KV and submission of report etc complete as required | 6.00 | Job | 0.00 | 1500.00 | 9000.00 | 5500.00 | 33000.00 | 2500.00 | 15000.00 | 10000.00 | 60000.00 | 7200.00 | 43200.00 | 1400.00 | 8400.00 | 8400.00 | U.K ENTERPRISES
5.00 | Inspection, servicing, overhauling, testing of 1000/1600 A L&T make Air circuit breaker and submission of report etc complete as required. | 8.00 | Job | 0.00 | 1500.00 | 12000.00 | 2500.00 | 20000.00 | 2500.00 | 20000.00 | 3000.00 | 24000.00 | 5200.00 | 41600.00 | 1800.00 | 14400.00 | 12000.00 | Anoop Refrigeration
6.00 | Inspection, servicing, overhauling, testing of 1000/1600 A GEC Alstom make Air circuit breaker and submission of report etc complete as required. | 6.00 | Job | 0.00 | 2000.00 | 12000.00 | 2700.00 | 16200.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 5200.00 | 31200.00 | 1800.00 | 10800.00 | 10800.00 | U.K ENTERPRISES
7.00 | Checking, servicing, calibration testing & submission of report of following protection relays provided on 11 KV, oil circuit breaker panel complete as per site requirement - 1) IDMT relays a) Over Current:-6 Nos. b) Earth Fault:- 3 Nos. 2) Auxiliary Relay ( Type-VAA) for transformer protection -03 Nos | 2.00 | Job | 0.00 | 4000.00 | 8000.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 24000.00 | 48000.00 | 10000.00 | 20000.00 | 6200.00 | 12400.00 | 8000.00 | Anoop Refrigeration
8.00 | De-hydration / centrifuging and testing of transformer oil by using filtration machine for installed transformer of 1 MVA capacity and oil capacity of 650 ltrs to get desired dielectric strength of oil upto 60 KV BDV etc as required. | 4.00 | Job | 0.00 | 2500.00 | 10000.00 | 6500.00 | 26000.00 | 6000.00 | 24000.00 | 1500.00 | 6000.00 | 10000.00 | 40000.00 | 6200.00 | 24800.00 | 6000.00 | Manish Electricals
9.00 | Supply and topping up the transformer/OCB with new transformer oil after dehydration/centrifuging and testing of dielectric strength of oil upto 60 KV BDV etc as required. | 1300.00 | Ltr | 0.00 | 30.00 | 39000.00 | 120.00 | 156000.00 | 120.00 | 156000.00 | 10.00 | 13000.00 | 110.00 | 143000.00 | 75.00 | 97500.00 | 13000.00 | Manish Electricals
10.00 | Servicing of 1 MVA Capacity oil type transformer of (Make- Volt Amp) including replacement of complete gasket set and 4 Nos LV bushing , testing , commissioning and submission of report etc complete as required. | 2.00 | Job | 0.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 15000.00 | 30000.00 | 9000.00 | Anoop Refrigeration
11.01 | Painting of following items in one or more coats using enamel paint of approved make including cleaning of surface etc., re-writing the identification letters etc complete as required. a) GI Poles of height upto 4 Mtrs i/c cable junction box. | 110.00 | Job | 0.00 | 30.00 | 3300.00 | 250.00 | 27500.00 | 150.00 | 16500.00 | 300.00 | 33000.00 | 100.00 | 11000.00 | 95.00 | 10450.00 | 3300.00 | Anoop Refrigeration
11.02 | Painting of following items in one or more coats using enamel paint of approved make including cleaning of surface etc., re-writing the identification letters etc complete as required. b) GI Poles of height more than 4 Mtrs and upto 9 Mtrs i/c cable junction box. | 30.00 | Job | 0.00 | 250.00 | 7500.00 | 300.00 | 9000.00 | 200.00 | 6000.00 | 450.00 | 13500.00 | 100.00 | 3000.00 | 155.00 | 4650.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
11.03 | Painting of following items in one or more coats using enamel paint of approved make including cleaning of surface etc., re-writing the identification letters etc complete as required. c) MIRL runway fittings | 98.00 | Job | 0.00 | 80.00 | 7840.00 | 250.00 | 24500.00 | 100.00 | 9800.00 | 100.00 | 9800.00 | 55.00 | 5390.00 | 55.00 | 5390.00 | 5390.00 | U.K ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
12.00 | Spray painting of sheet metal enclosures of electrical equipments such as feeder pillars, distribution boards, electrical panel, frame etc. including cleaning the surface, painting with one or more coats of grey or any other colour of approved make including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc complete as reqd. | 150.00 | Sq Mtr | 0.00 | 50.00 | 7500.00 | 150.00 | 22500.00 | 250.00 | 37500.00 | 180.00 | 27000.00 | 55.00 | 8250.00 | 110.00 | 16500.00 | 7500.00 | Anoop Refrigeration
13.00 | Painting of 500mm X 500mm X 200mm (nominal) size Earth pits in two or more coats of desired color and of approved make including cleaning of surface, re-writing the identification letters etc complete as required. | 120.00 | Job | 0.00 | 30.00 | 3600.00 | 110.00 | 13200.00 | 100.00 | 12000.00 | 50.00 | 6000.00 | 55.00 | 6600.00 | 110.00 | 13200.00 | 3600.00 | Anoop Refrigeration
14.01 | Servicing of following size ABS body desert water cooler including cleaning the surface, oiling/ greasing of all joints/ nuts/ bolts, changing cooler grass in desired/ satisfactory quantity, checking electrical connections/ wiring for smooth functioning including minor repairs/replacement but excluding motor winding and desert cooler water pump etc complete as required. a) 520mm x390 mm x600mm (LXBXH) size ABS body desert cooler | 35.00 | Job | 0.00 | 17.00 | 595.00 | 250.00 | 8750.00 | 500.00 | 17500.00 | 500.00 | 17500.00 | 500.00 | 17500.00 | 225.00 | 7875.00 | 595.00 | Anoop Refrigeration
14.02 | Servicing of following size ABS body desert water cooler including cleaning the surface, oiling/ greasing of all joints/ nuts/ bolts, changing cooler grass in desired/ satisfactory quantity, checking electrical connections/ wiring for smooth functioning including minor repairs/replacement but excluding motor winding and desert cooler water pump etc complete as required. b) 660mm x590 mm x 750mm (LXBXH) size ABS body desert cooler | 10.00 | Job | 0.00 | 25.00 | 250.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 280.00 | 2800.00 | 250.00 | Anoop Refrigeration
15.00 | Servicing of 710mm x 720mm x 890mm size steel body desert water cooler including cleaning the surface, oiling/ greasing of all joints/ nuts/ bolts and painting the cooler body and other required parts with two or more coats in desired color for arresting corrosion etc, changing cooler grass in desired/ satisfactory quantity, checking electrical connections/ wiring for smooth functioning including minor repairs/ replacement but excluding motor winding and desert cooler water pump etc complete as required. | 8.00 | Job | 0.00 | 32.00 | 256.00 | 750.00 | 6000.00 | 500.00 | 4000.00 | 700.00 | 5600.00 | 500.00 | 4000.00 | 110.00 | 880.00 | 256.00 | Anoop Refrigeration
16.00 | Extension of 250 KVA DG set stack height with 210 mm (Nominal) dia, MS 'C' class pipe along with bends, tees etc including 0.63 mm aluminium cladding, rockwool insulation, pipe welding etc complete as required. | 12.00 | Mtr | 0.00 | 1000.00 | 12000.00 | 2800.00 | 33600.00 | 4500.00 | 54000.00 | 4500.00 | 54000.00 | 2000.00 | 24000.00 | 6250.00 | 75000.00 | 12000.00 | Anoop Refrigeration
17.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | 2.00 | Cum | 0.00 | 3000.00 | 6000.00 | 1200.00 | 2400.00 | 300.00 | 600.00 | 800.00 | 1600.00 | 500.00 | 1000.00 | 9000.00 | 18000.00 | 600.00 | ANAND AND COMPANTY
18.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 1.00 | Cum | 0.00 | 1000.00 | 1000.00 | 8600.00 | 8600.00 | 6500.00 | 6500.00 | 6000.00 | 6000.00 | 300.00 | 300.00 | 3000.00 | 3000.00 | 300.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | .25 | Cum | 0.00 | 10000.00 | 2500.00 | 6500.00 | 1625.00 | 6500.00 | 1625.00 | 4500.00 | 1125.00 | 300.00 | 75.00 | 4500.00 | 1125.00 | 75.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for foundations, footings, bases of columns, etc. for mass concrete. | 4.00 | Sqm | 0.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 300.00 | 1200.00 | 1200.00 | 4800.00 | 300.00 | 1200.00 | 2320.00 | 9280.00 | 1200.00 | ANAND AND COMPANTY, ABHISHEK INTEGRATIONS LIMITED
21.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. 1.Hot finished welded type tubes. | 600.00 | KG | 0.00 | 20.00 | 12000.00 | 40.00 | 24000.00 | 85.00 | 51000.00 | 120.00 | 72000.00 | 18.00 | 10800.00 | 88.00 | 52800.00 | 10800.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade one or more coats on old work. | 20.00 | Sqm | 0.00 | 40.00 | 800.00 | 180.00 | 3600.00 | 175.00 | 3500.00 | 70.00 | 1400.00 | 80.00 | 1600.00 | 117.00 | 2340.00 | 800.00 | Anoop Refrigeration
23.00 | Stack emission and Noise testing of 2 Nos. 250 KVA DG Sets which includes testing of particulate matter, sulphur dioxide, NOx, carbon monoxide and other hydrocarbon contents and submission of report etc complete as required. | 2.00 | Job | 0.00 | 50.00 | 100.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 12000.00 | 24000.00 | 6500.00 | 13000.00 | 8800.00 | 17600.00 | 100.00 | Anoop Refrigeration
24.00 | Stamping of 200 Kg, platform type electronic weighing scales installed at Agra Airport from local state deptt of metrology including submission of certification etc. complete as required. | 10.00 | Job | 0.00 | 400.00 | 4000.00 | 2500.00 | 25000.00 | 500.00 | 5000.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 1120.00 | 11200.00 | 4000.00 | Anoop Refrigeration
25.00 | Rewinding of 7.5 HP submersible pump set including replacement of defective parts such as seal , bush bearing etc including less for dismantled copper wire etc complete as required. | 2.00 | Job | 0.00 | 1400.00 | 2800.00 | 9500.00 | 19000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 7000.00 | 14000.00 | 4200.00 | 8400.00 | 2800.00 | Anoop Refrigeration
26.00 | Rewinding of 5.0 HP submersible pump set including replacement of defective parts such as seal , bush bearing etc including less for dismantled copper wire etc complete as required. | 2.00 | Job | 0.00 | 1000.00 | 2000.00 | 6500.00 | 13000.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 7000.00 | 14000.00 | 4200.00 | 8400.00 | 2000.00 | Anoop Refrigeration
27.00 | Lifting and lowering of submersible pump upto 7.5 HP capacity upto 300 ft deep borewell including replacement of pipe nuts and gaskets including arranging machine or chain pulley block, tripod stand etc complete as required. | 4.00 | Job | 0.00 | 1000.00 | 4000.00 | 6500.00 | 26000.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 6000.00 | 24000.00 | 5250.00 | 21000.00 | 4000.00 | Anoop Refrigeration
28.01 | Complete rewinding of 1200mm sweep Ceiling Fan | 10.00 | Job | 0.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 550.00 | 5500.00 | 3000.00 | Anoop Refrigeration
28.02 | Complete rewinding of 400mm sweep wall mounting Fan | 10.00 | Job | 0.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 3000.00 | Anoop Refrigeration
28.03 | Complete rewinding of 600mm sweep wall mounting Fan | 10.00 | Job | 0.00 | 300.00 | 3000.00 | 450.00 | 4500.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 3000.00 | Anoop Refrigeration
28.04 | Complete rewinding of 400mm sweep Exhaust Fan | 20.00 | Job | 0.00 | 300.00 | 6000.00 | 500.00 | 10000.00 | 500.00 | 10000.00 | 600.00 | 12000.00 | 450.00 | 9000.00 | 550.00 | 11000.00 | 6000.00 | Anoop Refrigeration
28.05 | Complete rewinding of 200mm sweep Exhaust Fan | 10.00 | Job | 0.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 750.00 | 7500.00 | 450.00 | 4500.00 | 550.00 | 5500.00 | 3000.00 | Anoop Refrigeration
29.00 | Decoration/Beautification of Airport on Various Occasions by carrying out following works on per day basis:- a) Arrangement of round pipe rope LED Lights of length upto 150 Mtrs b) Arrangement of jhallar/Christmas LED lights - 200 Nos. c) Arrangement of multi coloured façade lights -10 Nos | 40.00 | Days | 0.00 | 250.00 | 10000.00 | 5000.00 | 200000.00 | 1000.00 | 40000.00 | 10000.00 | 400000.00 | 1300.00 | 52000.00 | 2200.00 | 88000.00 | 10000.00 | Anoop Refrigeration
30.01 | Supply of 63 Amp, DP, C series, 6 kA MCB | 2.00 | Each | 0.00 | 350.00 | 700.00 | 230.00 | 460.00 | 700.00 | 1400.00 | 1200.00 | 2400.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 460.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
30.02 | Supply of 63 Amp, TPN/FP, C series, 6 kA MCB | 5.00 | Each | 0.00 | 700.00 | 3500.00 | 325.00 | 1625.00 | 1200.00 | 6000.00 | 1600.00 | 8000.00 | 1310.00 | 6550.00 | 1300.00 | 6500.00 | 1625.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
30.03 | Supply of 63 Amp, DP, 30 mA, RCCB | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 280.00 | 560.00 | 3000.00 | 6000.00 | 2400.00 | 4800.00 | 2200.00 | 4400.00 | 900.00 | 1800.00 | 560.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
30.04 | Supply of SFU -63 Amp TPN (without enclosure) | 5.00 | Each | 0.00 | 1000.00 | 5000.00 | 1560.00 | 7800.00 | 2500.00 | 12500.00 | 4500.00 | 22500.00 | 5340.00 | 26700.00 | 850.00 | 4250.00 | 4250.00 | U.K ENTERPRISES
30.05 | Supply of SFU -125 Amp TPN (without enclosure) | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 2560.00 | 5120.00 | 5500.00 | 11000.00 | 7000.00 | 14000.00 | 5340.00 | 10680.00 | 1450.00 | 2900.00 | 2000.00 | Anoop Refrigeration
30.06 | Supply of cylindrical Fuse-2 Amp HNS | 10.00 | Each | 0.00 | 30.00 | 300.00 | 35.00 | 350.00 | 80.00 | 800.00 | 120.00 | 1200.00 | 160.00 | 1600.00 | 20.00 | 200.00 | 200.00 | U.K ENTERPRISES
30.07 | Supply of Fuse-63 Amp HN (Size-00) | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 450.00 | 4500.00 | 205.00 | 2050.00 | 70.00 | 700.00 | 700.00 | U.K ENTERPRISES
30.08 | Supply of Fuse-100 Amp HN(Size-00) | 5.00 | Each | 0.00 | 130.00 | 650.00 | 310.00 | 1550.00 | 250.00 | 1250.00 | 550.00 | 2750.00 | 385.00 | 1925.00 | 70.00 | 350.00 | 350.00 | U.K ENTERPRISES
30.09 | Supply of Fuse-125 Amp HN(Size-00) | 8.00 | Each | 0.00 | 150.00 | 1200.00 | 350.00 | 2800.00 | 300.00 | 2400.00 | 650.00 | 5200.00 | 380.00 | 3040.00 | 110.00 | 880.00 | 880.00 | U.K ENTERPRISES
30.10 | Supply of 3 phase, 96x96mm, Digital Voltmeter with accuracy 1.0 | 2.00 | Each | 0.00 | 800.00 | 1600.00 | 1200.00 | 2400.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1250.00 | 2500.00 | 1600.00 | Anoop Refrigeration
30.11 | Supply of 3 phase, 96x96mm, Digital Ammeter with accuracy 1.0 | 2.00 | Each | 0.00 | 800.00 | 1600.00 | 1500.00 | 3000.00 | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1250.00 | 2500.00 | 1600.00 | Anoop Refrigeration
30.12 | Supply of 3 pin 5/6 amps socket outlet, piano type ISI marked | 5.00 | Each | 0.00 | 25.00 | 125.00 | 58.00 | 290.00 | 20.00 | 100.00 | 30.00 | 150.00 | 55.00 | 275.00 | 65.00 | 325.00 | 100.00 | ANAND AND COMPANTY
30.13 | Supply of S.P. 15/16 amps, one way switch, piano type ISI marked | 5.00 | Each | 0.00 | 55.00 | 275.00 | 95.00 | 475.00 | 30.00 | 150.00 | 45.00 | 225.00 | 80.00 | 400.00 | 25.00 | 125.00 | 125.00 | U.K ENTERPRISES
30.14 | Supply of 6 pin 15/16 amps socket outlet, piano type ISI marked | 5.00 | Each | 0.00 | 55.00 | 275.00 | 120.00 | 600.00 | 40.00 | 200.00 | 60.00 | 300.00 | 80.00 | 400.00 | 88.00 | 440.00 | 200.00 | ANAND AND COMPANTY
30.15 | Supply of 4Cx 16 sqmm aluminium XLPE insulated /PVC sheathed armoured 1.1KV grade conforming to IS:7098 (Part-1) 1988 with up to date amendments power cable etc. as required. | 200.00 | Mtr | 0.00 | 60.00 | 12000.00 | 155.00 | 31000.00 | 85.00 | 17000.00 | 160.00 | 32000.00 | 150.00 | 30000.00 | 110.00 | 22000.00 | 12000.00 | Anoop Refrigeration
30.16 | Supply of 5 core X 4 sq mm , High Mast trailing cable Confirming to applicable IS Code and suitable for replacement of existing cable etc complete as required | 70.00 | Mtr | 0.00 | 70.00 | 4900.00 | 270.00 | 18900.00 | 50.00 | 3500.00 | 450.00 | 31500.00 | 800.00 | 56000.00 | 190.00 | 13300.00 | 3500.00 | ANAND AND COMPANTY
30.17 | Supply of 6 mm High mast SS Cable Confirming to applicable IS Code and suitable for replacement of existing cable etc complete as required | 80.00 | Mtr | 0.00 | 80.00 | 6400.00 | 75.00 | 6000.00 | 120.00 | 9600.00 | 90.00 | 7200.00 | 90.00 | 7200.00 | 195.00 | 15600.00 | 6000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
30.18 | Supply of 2.5 MFD 230V /440 AC Capacitor | 10.00 | Each | 0.00 | 20.00 | 200.00 | 80.00 | 800.00 | 35.00 | 350.00 | 20.00 | 200.00 | 15.00 | 150.00 | 35.00 | 350.00 | 150.00 | ABHISHEK INTEGRATIONS LIMITED
30.19 | Supply of Electronic fan regulator | 10.00 | Each | 0.00 | 100.00 | 1000.00 | 150.00 | 1500.00 | 250.00 | 2500.00 | 150.00 | 1500.00 | 300.00 | 3000.00 | 125.00 | 1250.00 | 1000.00 | Anoop Refrigeration
30.20 | Supply of 15/16Amp 4 way PVC Electrical Switch box (w/o switch & socket) | 5.00 | Each | 0.00 | 400.00 | 2000.00 | 55.00 | 275.00 | 150.00 | 750.00 | 60.00 | 300.00 | 50.00 | 250.00 | 145.00 | 725.00 | 250.00 | ABHISHEK INTEGRATIONS LIMITED
30.21 | Supply of 5/6Amp 4 way PVC Electrical Switch box (w/o switch & socket) | 5.00 | Each | 0.00 | 150.00 | 750.00 | 50.00 | 250.00 | 150.00 | 750.00 | 60.00 | 300.00 | 50.00 | 250.00 | 145.00 | 725.00 | 250.00 | ARNAV ENGINEERING CONSULTANCY SERVICES, ABHISHEK INTEGRATIONS LIMITED
30.22 | Supply of 15/16Amp 2 way PVC Electrical Switch box (w/o switch & socket) | 5.00 | Each | 0.00 | 200.00 | 1000.00 | 45.00 | 225.00 | 30.00 | 150.00 | 40.00 | 200.00 | 80.00 | 400.00 | 120.00 | 600.00 | 150.00 | ANAND AND COMPANTY
30.23 | Supply of 5/6Amp 2 way PVC Electrical Switch box (w/o switch & socket) | 5.00 | Each | 0.00 | 50.00 | 250.00 | 35.00 | 175.00 | 50.00 | 250.00 | 40.00 | 200.00 | 80.00 | 400.00 | 120.00 | 600.00 | 175.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
30.24 | Supply of Desert water cooler Pump | 20.00 | Each | 0.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 150.00 | 3000.00 | 550.00 | 11000.00 | 220.00 | 4400.00 | 2000.00 | Anoop Refrigeration
30.25 | Supply of 12 V, 135 AH , Tubular, Lead Acid battery | 2.00 | Each | 0.00 | 4500.00 | 9000.00 | 11500.00 | 23000.00 | 7500.00 | 15000.00 | 14000.00 | 28000.00 | 9000.00 | 18000.00 | 9800.00 | 19600.00 | 9000.00 | Anoop Refrigeration
31.01 | Supply of 45W, Optical Lamp , G6.35 suitable for existing fittings | 15.00 | Each | 0.00 | 75.00 | 1125.00 | 1500.00 | 22500.00 | 150.00 | 2250.00 | 350.00 | 5250.00 | 900.00 | 13500.00 | 150.00 | 2250.00 | 1125.00 | Anoop Refrigeration
31.02 | Supply of 45W, 50Hz, 5 KV, 6.6/6.6A Isolating Transformer | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 2800.00 | 5600.00 | 250.00 | 500.00 | 2900.00 | 5800.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 500.00 | ANAND AND COMPANTY
32.00 | To carry out the complete item of work n CPWD schedule of rates (DSR 2018 - E&M) as per CPWD specifications complete as required for an amount of Rs. 30,000.00. (Note: Rate of DSR items shall be calculated by deducting GST component from schedule rate on account of GST and the quantity. Rs. 30,000.00 is after deducting the GST component.) Note: (i) The rate for this item has to be quoted carefully. (ii) The items covered in DSR 2018 (E&M) shall be executed as per site requirement. (iii) The guidelines for quoting the rate for this item is mentioned in Guidance to tenderer, Clause No. 35. | 1.00 | Job | 0.00 | 18000.00 | 18000.00 | 30000.00 | 30000.00 | 20000.00 | 20000.00 | 270000.00 | 270000.00 | 25000.00 | 25000.00 | 22000.00 | 22000.00 | 18000.00 | Anoop Refrigeration
33.00 | Periodical maintenance of Fire fighting system installed at Agra Airport as per Special conditions of contracts. Job include operation and periodical maintenance of fire fighting system as per preventive maintenance schedule, testing of fire fighting system as per special conditions of contract, attending complaints/ faults/ breakdowns and taking rectification actions, ensuring serviceability / satisfactory working condition of the fire hydrant and fire fighting system, maintenance of records / documentations etc. as per terms and conditions by providing following manpower in shift of eight hours on all days including holidays except on weekly off days: a) Semi-Skilled (Pump operator cum Technician)- 01 No. | 24.00 | Month | 0.00 | 16151.00 | 387624.00 | 16800.00 | 403200.00 | 16000.00 | 384000.00 | 19500.00 | 468000.00 | 16699.00 | 400776.00 | 14999.00 | 359976.00 | 359976.00 | U.K ENTERPRISES
34.01 | Annual Comprehensive maintenance of Morley IAS make (model ZX5Se) intelligent Addressable fire detection and alarm system complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at Agra Airport through OEM or authorized service provider of OEM. Job include quarterly visit of Engineer from OEM or OEM's authorized service provider, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints received through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required. Note :- Spares such as detectors/MCPs/Hooters will be provided by AAI. a) First Year | 12.00 | Month | 0.00 | 1500.00 | 18000.00 | 10500.00 | 126000.00 | 12000.00 | 144000.00 | 4000.00 | 48000.00 | 9000.00 | 108000.00 | 6000.00 | 72000.00 | 18000.00 | Anoop Refrigeration
34.02 | Annual Comprehensive maintenance of Morley IAS make (model ZX5Se) intelligent Addressable fire detection and alarm system complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at Agra Airport through OEM or authorized service provider of OEM. Job include quarterly visit of Engineer from OEM or OEM's authorized service provider, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints received through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required. Note :- Spares such as detectors/MCPs/Hooters will be provided by AAI. b) Second Year | 12.00 | Month | 0.00 | 2000.00 | 24000.00 | 11500.00 | 138000.00 | 12000.00 | 144000.00 | 5000.00 | 60000.00 | 9500.00 | 114000.00 | 6500.00 | 78000.00 | 24000.00 | Anoop Refrigeration
35.00 | Providing & fixing 63mm dia., 15mtr. long (Reinforced rubber line) RRL hose pipe with 63mm dia. male and female Stainless steel couplings duly binded with GI wire, rivets etc. conforming to IS- 636 (Type-A) complete as required & as per tender specification. | 20.00 | Each | 0.00 | 200.00 | 4000.00 | 1800.00 | 36000.00 | 4500.00 | 90000.00 | 3000.00 | 60000.00 | 2600.00 | 52000.00 | 2500.00 | 50000.00 | 4000.00 | Anoop Refrigeration
36.00 | Supply of Addressable optical smoke detectors with base compatible to existing system at site etc complete as required. | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 1400.00 | 14000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 5000.00 | Anoop Refrigeration
37.00 | Supply of Addressable Hooter compatible to existing system at site etc complete as required. | 5.00 | Each | 0.00 | 700.00 | 3500.00 | 950.00 | 4750.00 | 800.00 | 4000.00 | 8000.00 | 40000.00 | 7000.00 | 35000.00 | 2300.00 | 11500.00 | 3500.00 | Anoop Refrigeration
38.00 | Supply of Addressable manual call point compatible to existing system at site etc complete as required. | 20.00 | Each | 0.00 | 200.00 | 4000.00 | 1800.00 | 36000.00 | 1400.00 | 28000.00 | 3000.00 | 60000.00 | 4000.00 | 80000.00 | 2450.00 | 49000.00 | 4000.00 | Anoop Refrigeration
39.00 | Supply of Electrically operated pressure switch with adjustable differential suitable for connecting in liquid media at site complete as required. | 2.00 | Each | 0.00 | 650.00 | 1300.00 | 3500.00 | 7000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 3500.00 | 7000.00 | 1300.00 | Anoop Refrigeration
40.00 | Supply of 12 volt, 17 AH nominal SMF battery suitable for replacement of existing Fire panel battery at site etc complete as required. | 2.00 | Each | 0.00 | 1100.00 | 2200.00 | 1200.00 | 2400.00 | 1800.00 | 3600.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 2100.00 | 4200.00 | 2200.00 | Anoop Refrigeration
41.00 | SITC of MS body 180 degree wall mounted swinging type hose reel drum with hub width of approx. 230mm confirming to IS :513 including all accessories, valves etc but without rubber hose and nozzle suitable for replacement of existing installations/compatible to existing system etc complete as required. | 8.00 | Each | 0.00 | 100.00 | 800.00 | 2800.00 | 22400.00 | 4500.00 | 36000.00 | 8000.00 | 64000.00 | 6000.00 | 48000.00 | 5200.00 | 41600.00 | 800.00 | Anoop Refrigeration
42.00 | Installation, testing and commissioning of wall mounted 180 degree swinging type hose reel drum with all accessories including dismantling of existing drums and submitting it to AAI store etc complete as required. | 8.00 | Each | 0.00 | 100.00 | 800.00 | 1500.00 | 12000.00 | 500.00 | 4000.00 | 1500.00 | 12000.00 | 300.00 | 2400.00 | 2650.00 | 21200.00 | 800.00 | Anoop Refrigeration
43.00 | Painting of existing external Fire Hose cabinet mounted on floor surface of sizes 1000 mm X 450 mm X 600 mm nominal with one or more coats of synthetic enamel paint of required colour including cleaning the surface and re-numbering of hydrant etc complete as required. | 24.00 | Each | 0.00 | 100.00 | 2400.00 | 450.00 | 10800.00 | 400.00 | 9600.00 | 400.00 | 9600.00 | 55.00 | 1320.00 | 260.00 | 6240.00 | 1320.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Painting of exposed fire hydrant pipe line with one or more coats of synthetic enamel paint of required colour including cleaning the surface etc complete as required. | 60.00 | Sq mtr | 0.00 | 50.00 | 3000.00 | 150.00 | 9000.00 | 150.00 | 9000.00 | 180.00 | 10800.00 | 55.00 | 3300.00 | 160.00 | 9600.00 | 3000.00 | Anoop Refrigeration
45.00 | Providing, laying and fixing of 100 mm dia MS ( C class) pipe in ground complete with MS fittings including trenching deep upto 2 mtr, welding of pipes and re-filling etc as required | 10.00 | Mtr | 0.00 | 95.00 | 950.00 | 2560.00 | 25600.00 | 2100.00 | 21000.00 | 1500.00 | 15000.00 | 55.00 | 550.00 | 2200.00 | 22000.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
46.00 | Providing, laying and fixing of 100 mm dia MS ( C class) pipe complete with MS fittings on surface including welding of pipes etc as required | 10.00 | Mtr | 0.00 | 400.00 | 4000.00 | 1800.00 | 18000.00 | 1800.00 | 18000.00 | 1500.00 | 15000.00 | 55.00 | 550.00 | 2200.00 | 22000.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Providing, laying and fixing of 80 mm dia MS ( C class) pipe complete with MS fittings on surface including welding of pipes etc as required | 10.00 | Mtr | 0.00 | 300.00 | 3000.00 | 1600.00 | 16000.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 55.00 | 550.00 | 1750.00 | 17500.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
48.00 | Excavation by demolishing cement concrete manually by mechanical means including disposal of material within 50 meters lead as directed complete as required. | 10.00 | Cum | 0.00 | 70.00 | 700.00 | 2500.00 | 25000.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 55.00 | 550.00 | 1350.00 | 13500.00 | 550.00 | ABHISHEK INTEGRATIONS LIMITED
49.00 | Rewinding & repairing of 3 ph , 11 KW induction pump set motor along with replacement of spares like bearings, bushes, bush coupling, sleeves, oil seal etc (except shaft & impeller) including dismantling, transportation, assembling, testing and commissioning etc complete as required. | 1.00 | Job | 0.00 | 4000.00 | 4000.00 | 14500.00 | 14500.00 | 12500.00 | 12500.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 2500.00 | U.K ENTERPRISES
| Total in Figures |  |  |  |  | 5249877.00 |  | 6387180.00 |  | 5776125.00 |  | 7539200.00 |  | 6404065.00 |  | 6255876.00
Lowest Amount Quoted BY: Anoop Refrigeration(5249877.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations and Fire Fighting and Fire Alarm Systems at CAT Agra for the year 2021-23. Tender ID: 2021_AAI_79328_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anoop Refrigeration | 5249877.00 | L1
| 2 | ANAND AND COMPANTY | 5776125.00 | L2
| 3 | U.K ENTERPRISES | 6255876.00 | L3
| 4 | ARNAV ENGINEERING CONSULTANCY SERVICES | 6387180.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 6404065.00 | L5
| 6 | Manish Electricals | 7539200.00 | L6