## BoQ1
Government eProcurement System Created By: RAKIBUL ISLAM Created Date/Time: 09-Aug-2021 05:31 PM Tender Title: SITC of OFC Ring Network for Monitoring of Navaids Remote Indications and Ancillary Facilities with 5 years Service Support at Dibrugarh Airport Assam Tender ID: 2021_AAI_79369_1
Tender Inviting Authority:
Name of Work: SITC of OFC Ring Network for Monitoring of Nav-Aids Remote Indications & Ancillary Facilities with 5 years’ Service Support at Dibrugarh Airport, Assam.
Contract No: AAI/NER/DIB/CNS/NAVAIDS/OFC/1-2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sandeep Tradex Pvt Ltd(GSTN-19AAECS0389R1ZI) |  | Suraj Informatics Pvt Ltd(GSTN-27AAICS9442B1ZA) |  | A S INFOTECH E SOLUTIONS PVT LTD(GSTN-07AAKCA1067E1ZX) |  | cybersoft and softwares solutions pvt ltd(GSTN-NA) |  | RAJASTHAN CRANE SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 16×10/100/1000T POE+ Ports, 4×100/1000X SFP, Advanced L3 Dual Power Supply (Industrial) | 2.00 | Nos | 100.00 | 180811.00 | 361622.00 | 210000.00 | 420000.00 | 192039.00 | 384078.00 | 170850.00 | 341700.00 | 85000.00 | 170000.00 | 170000.00 | RAJASTHAN CRANE SERVICES
2.00 | SITC of 16 port L2 Fully Managed switch + 2 Nos. 1G SFP slot Dual Power Supply | 4.00 | Nos | 100.00 | 158571.00 | 634284.00 | 180000.00 | 720000.00 | 335247.00 | 1340988.00 | 165599.00 | 662396.00 | 60000.00 | 240000.00 | 240000.00 | RAJASTHAN CRANE SERVICES
3.00 | SITC of 1G SFP Module | 10.00 | Nos | 10.00 | 7110.00 | 71100.00 | 5500.00 | 55000.00 | 10878.95 | 108789.50 | 6999.00 | 69990.00 | 1000.00 | 10000.00 | 10000.00 | RAJASTHAN CRANE SERVICES
4.00 | SITC of 42”Large formal Display | 2.00 | Nos | 10.00 | 54375.00 | 108750.00 | 42300.00 | 84600.00 | 32000.00 | 64000.00 | 58456.00 | 116912.00 | 25000.00 | 50000.00 | 50000.00 | RAJASTHAN CRANE SERVICES
5.00 | SITC of Serial to IP converter with one 10/100 BaseT (RJ45) Ethernet Interface & two RS-232/422/485 Serial interface | 10.00 | Nos | 10.00 | 30300.00 | 303000.00 | 23400.00 | 234000.00 | 18000.00 | 180000.00 | 29500.00 | 295000.00 | 3500.00 | 35000.00 | 35000.00 | RAJASTHAN CRANE SERVICES
6.00 | SITC of RS 232 DB9 Female to Female Cable 3 Mtrs | 12.00 | Nos | 10.00 | 360.00 | 4320.00 | 200.00 | 2400.00 | 250.00 | 3000.00 | 240.00 | 2880.00 | 250.00 | 3000.00 | 2400.00 | Suraj Informatics Pvt Ltd
7.00 | SITC of RS 232 DB9 Female Connector | 12.00 | Nos | 10.00 | 630.00 | 7560.00 | 300.00 | 3600.00 | 20.00 | 240.00 | 300.00 | 3600.00 | 200.00 | 2400.00 | 240.00 | A S INFOTECH E SOLUTIONS PVT LTD
8.00 | SITC of RS 232 DB9 Male Connector | 12.00 | Nos | 10.00 | 360.00 | 4320.00 | 500.00 | 6000.00 | 20.00 | 240.00 | 240.00 | 2880.00 | 200.00 | 2400.00 | 240.00 | A S INFOTECH E SOLUTIONS PVT LTD
9.00 | SITC of RS 232 DB9 Female to Female Adaptor | 12.00 | Nos | 10.00 | 210.00 | 2520.00 | 400.00 | 4800.00 | 50.00 | 600.00 | 240.00 | 2880.00 | 250.00 | 3000.00 | 600.00 | A S INFOTECH E SOLUTIONS PVT LTD
10.00 | SITC of RS 232 DB9 Male to Male Adaptor | 12.00 | Nos | 10.00 | 360.00 | 4320.00 | 200.00 | 2400.00 | 75.00 | 900.00 | 300.00 | 3600.00 | 250.00 | 3000.00 | 900.00 | A S INFOTECH E SOLUTIONS PVT LTD
11.00 | SITC of NAVAIDS Monitoring System Software | 1.00 | Nos | 10.00 | 247000.00 | 247000.00 | 650000.00 | 650000.00 | 165000.00 | 165000.00 | 350000.00 | 350000.00 | 250000.00 | 250000.00 | 165000.00 | A S INFOTECH E SOLUTIONS PVT LTD
12.00 | SITC of Laptop for OFC Performance Check with specifications given in Section-VI, Technical Specifications | 1.00 | Nos | 10.00 | 69240.00 | 69240.00 | 75990.00 | 75990.00 | 104950.00 | 104950.00 | 54590.00 | 54590.00 | 50000.00 | 50000.00 | 50000.00 | RAJASTHAN CRANE SERVICES
13.00 | IP Based Controller for Sensing Humidity with Software with minimum two years' Valid Calibration Certificate | 6.00 | Nos | 10.00 | 16800.00 | 100800.00 | 38900.00 | 233400.00 | 18435.00 | 110610.00 | 25300.00 | 151800.00 | 45000.00 | 270000.00 | 100800.00 | Sandeep Tradex Pvt Ltd
14.00 | IP Based Controller for Sensing Temperature with Software with minimum two years' Valid Calibration Certificate | 6.00 | Nos | 10.00 | 91000.00 | 546000.00 | 79000.00 | 474000.00 | 18435.00 | 110610.00 | 87990.00 | 527940.00 | 45000.00 | 270000.00 | 110610.00 | A S INFOTECH E SOLUTIONS PVT LTD
15.00 | Workstation for Monitoring System | 2.00 | Nos | 10.00 | 107800.00 | 215600.00 | 89000.00 | 178000.00 | 65900.00 | 131800.00 | 99500.00 | 199000.00 | 40000.00 | 80000.00 | 80000.00 | RAJASTHAN CRANE SERVICES
16.00 | 12 Core Single Mode fiber Optic Cable | 11000.00 | Mtrs | 10.00 | 60.00 | 660000.00 | 89.00 | 979000.00 | 28.00 | 308000.00 | 54.00 | 594000.00 | 55.00 | 605000.00 | 308000.00 | A S INFOTECH E SOLUTIONS PVT LTD
17.00 | Supply of 10 Pair Armored Jelly Filled Remote Cable | 5500.00 | Mtrs | 10.00 | 154.00 | 847000.00 | 123.00 | 676500.00 | 90.00 | 495000.00 | 149.00 | 819500.00 | 129.00 | 709500.00 | 495000.00 | A S INFOTECH E SOLUTIONS PVT LTD
18.00 | SITC of 24 Port LIU loaded with SC SM Pigtails, SC Adaptor & Splice Tray | 4.00 | Nos | 10.00 | 17850.00 | 71400.00 | 19578.00 | 78312.00 | 5600.00 | 22400.00 | 16430.00 | 65720.00 | 5500.00 | 22000.00 | 22000.00 | RAJASTHAN CRANE SERVICES
19.00 | SITC of OFC Patch Cord Single Mode SC-LC Duplex | 12.00 | Pairs | 10.00 | 1330.00 | 15960.00 | 1250.00 | 15000.00 | 250.00 | 3000.00 | 1550.00 | 18600.00 | 250.00 | 3000.00 | 3000.00 | RAJASTHAN CRANE SERVICES, A S INFOTECH E SOLUTIONS PVT LTD
20.00 | Supply of Cat 6 UTP Cable | 3.00 | Drums | 10.00 | 9100.00 | 27300.00 | 17500.00 | 52500.00 | 5800.00 | 17400.00 | 11894.00 | 35682.00 | 9500.00 | 28500.00 | 17400.00 | A S INFOTECH E SOLUTIONS PVT LTD
21.00 | SITC of 12U Wall Mount Networking Rack with all accessories | 3.00 | Nos | 10.00 | 8400.00 | 25200.00 | 9500.00 | 28500.00 | 4400.00 | 13200.00 | 7500.00 | 22500.00 | 15000.00 | 45000.00 | 13200.00 | A S INFOTECH E SOLUTIONS PVT LTD
22.00 | SITC of 27U floor Mount Networking Rack with all accessories | 1.00 | Nos | 10.00 | 36000.00 | 36000.00 | 35000.00 | 35000.00 | 18800.00 | 18800.00 | 39400.00 | 39400.00 | 35000.00 | 35000.00 | 18800.00 | A S INFOTECH E SOLUTIONS PVT LTD
23.00 | Supply of 40 MM GI Pipe | 300.00 | Mtrs | 10.00 | 240.00 | 72000.00 | 150.00 | 45000.00 | 260.00 | 78000.00 | 300.00 | 90000.00 | 150.00 | 45000.00 | 45000.00 | Suraj Informatics Pvt Ltd, RAJASTHAN CRANE SERVICES
24.00 | Supply of 50 MM HDPE Pipe | 10000.00 | Mtrs | 10.00 | 136.50 | 1365000.00 | 160.00 | 1600000.00 | 55.00 | 550000.00 | 140.00 | 1400000.00 | 95.00 | 950000.00 | 550000.00 | A S INFOTECH E SOLUTIONS PVT LTD
25.00 | SITC of Smart Electronic Passive Route Marker | 80.00 | Nos | 10.00 | 2250.00 | 180000.00 | 2890.00 | 231200.00 | 2100.00 | 168000.00 | 2210.00 | 176800.00 | 590.00 | 47200.00 | 47200.00 | RAJASTHAN CRANE SERVICES
26.00 | SITC of Smart Marker Locator with In-Built GPS & Marker Database Software | 1.00 | Nos | 10.00 | 316400.00 | 316400.00 | 390000.00 | 390000.00 | 374500.00 | 374500.00 | 326000.00 | 326000.00 | 155000.00 | 155000.00 | 155000.00 | RAJASTHAN CRANE SERVICES
27.00 | Laying of HDPE Pipe through HDD(Primary)/Manual Trenching (Secondary) including joining of pipes | 10000.00 | Mtrs | 10.00 | 174.00 | 1740000.00 | 350.00 | 3500000.00 | 210.00 | 2100000.00 | 180.00 | 1800000.00 | 355.00 | 3550000.00 | 1740000.00 | Sandeep Tradex Pvt Ltd
28.00 | Laying of Fibre Optic Cable through HDPE Pipe | 10000.00 | Mtrs | 10.00 | 13.00 | 130000.00 | 50.00 | 500000.00 | 25.00 | 250000.00 | 10.00 | 100000.00 | 25.00 | 250000.00 | 100000.00 | cybersoft and softwares solutions pvt ltd
29.00 | Laying of 10 Pair Armored Jelly Filled Remote Cable through HDPE Pipe | 5500.00 | Mtrs | 10.00 | 14.00 | 77000.00 | 60.00 | 330000.00 | 20.00 | 110000.00 | 10.00 | 55000.00 | 25.00 | 137500.00 | 55000.00 | cybersoft and softwares solutions pvt ltd
30.00 | OFC Joint Chamber: 5-Inch-Thick & 2f x 2.5f metal slab with hinge joint as pit top cover. An underground chamber having 2f x 2.5f inner space, 5-inch thickness of brick side walls & 5-inch-thick concrete slab as chamber base with supply of sand and bricks. Minimum 10-meter cable to kept inside the chamber | 40.00 | Nos | 10.00 | 12100.00 | 484000.00 | 12900.00 | 516000.00 | 10500.00 | 420000.00 | 11590.00 | 463600.00 | 5000.00 | 200000.00 | 200000.00 | RAJASTHAN CRANE SERVICES
31.00 | Supply and Fixing of Physical Route Marker | 40.00 | Nos | 10.00 | 2100.00 | 84000.00 | 1890.00 | 75600.00 | 450.00 | 18000.00 | 2100.00 | 84000.00 | 500.00 | 20000.00 | 18000.00 | A S INFOTECH E SOLUTIONS PVT LTD
32.00 | Installation & Configuration of Switch & Controller for Temperature and Humidity Sensor System, Rack Fixing & Dressing, Splicing, over all Integration, Testing, Commissioning & Documentation including 5-years’ Service Support. | 1.00 | Nos | 10.00 | 345053.00 | 345053.00 | 250000.00 | 250000.00 | 250000.00 | 250000.00 | 475000.00 | 475000.00 | 15100.00 | 15100.00 | 15100.00 | RAJASTHAN CRANE SERVICES
33.00 | Supply of OFC Joining/Cable Binder/Mounting Kit | 10.00 | Nos | 10.00 | 980.00 | 9800.00 | 600.00 | 6000.00 | 2500.00 | 25000.00 | 750.00 | 7500.00 | 2500.00 | 25000.00 | 6000.00 | Suraj Informatics Pvt Ltd
34.00 | Supply of CAT-6 Patch Panel | 5.00 | Nos | 10.00 | 5530.00 | 27650.00 | 2500.00 | 12500.00 | 2100.00 | 10500.00 | 6540.00 | 32700.00 | 2500.00 | 12500.00 | 10500.00 | A S INFOTECH E SOLUTIONS PVT LTD
35.00 | Supply of CAT-6 Patch Cord – 3 Mtrs | 40.00 | Nos | 10.00 | 280.00 | 11200.00 | 280.00 | 11200.00 | 155.00 | 6200.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 6200.00 | A S INFOTECH E SOLUTIONS PVT LTD
36.00 | Supply of I/O Box (with Faceplate and Keystone) | 40.00 | Nos | 10.00 | 490.00 | 19600.00 | 360.00 | 14400.00 | 260.00 | 10400.00 | 340.00 | 13600.00 | 350.00 | 14000.00 | 10400.00 | A S INFOTECH E SOLUTIONS PVT LTD
37.00 | Supply of OTDR | 1.00 | Nos | 10.00 | 184200.00 | 184200.00 | 189000.00 | 189000.00 | 198000.00 | 198000.00 | 222300.00 | 222300.00 | 110000.00 | 110000.00 | 110000.00 | RAJASTHAN CRANE SERVICES
38.00 | Supply of Splicing Machine | 1.00 | Nos | 10.00 | 235200.00 | 235200.00 | 165000.00 | 165000.00 | 168570.00 | 168570.00 | 276440.00 | 276440.00 | 151000.00 | 151000.00 | 151000.00 | RAJASTHAN CRANE SERVICES
| Total in Figures |  |  |  |  | 9644399.00 |  | 12844902.00 |  | 8320775.50 |  | 9915510.00 |  | 8579100.00
Lowest Amount Quoted BY: A S INFOTECH E SOLUTIONS PVT LTD(8320775.50)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of OFC Ring Network for Monitoring of Navaids Remote Indications and Ancillary Facilities with 5 years Service Support at Dibrugarh Airport Assam Tender ID: 2021_AAI_79369_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A S INFOTECH E SOLUTIONS PVT LTD | 8320775.50 | L1
| 2 | RAJASTHAN CRANE SERVICES | 8579100.00 | L2
| 3 | Sandeep Tradex Pvt Ltd | 9644399.00 | L3
| 4 | cybersoft and softwares solutions pvt ltd | 9915510.00 | L4
| 5 | Suraj Informatics Pvt Ltd | 12844902.00 | L5