## BoQ1
Government eProcurement System Created By: kamlesh anand Created Date/Time: 27-Jul-2021 05:26 PM Tender Title: Annual repair and maintenance of fire detection, alarm and hydrant system at Kullu Manali Airport for the Year (2021-23). Tender ID: 2021_AAI_79541_1
Tender Inviting Authority: Sr. Manager (Engg-E), AAI, RHQ-NR, New Delhi
Name of Work: Annual repair & maintenance of fire detection, alarm and hydrant system at Kullu Manali Airport for the Year (2021-23).
Contract No: AAI/KMA/ARMO FIRE/2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Katyayni Engineering And Services(GSTN-07ADZPV0433A1ZG) |  | Modern Agencies(GSTN-04AAWFM7893F1ZL) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | R. D. ENGINEERS(GSTN-07AAOPG1416G1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Comprehensive Maintenance Contract of Morley-IAS make Addressable intelligent fire alarm and detection system installed in NTB, ATC Tower and NDB through one no. monthly visit, performing routine/ preventive maintenance as per manufacturer's recommendations, attending faults/ unlimited breakdown complaints, taking rectification action, ensuring serviceability / satisfactory working condition of the system complete as required. (a) First Year | 12.00 | Months | 0.00 | 9000.00 | 108000.00 | 8000.00 | 96000.00 | 12000.00 | 144000.00 | 4993.00 | 59916.00 | 59916.00 | R. D. ENGINEERS
2.00 | Annual Comprehensive Maintenance Contract of Morley-IAS make Addressable intelligent fire alarm and detection system installed in NTB, ATC Tower and NDB through one no. monthly visit, performing routine/ preventive maintenance as per manufacturer's recommendations, attending faults/ unlimited breakdown complaints, taking rectification action, ensuring serviceability / satisfactory working condition of the system complete as required. (b) Second Year | 12.00 | Months | 0.00 | 9000.00 | 108000.00 | 8000.00 | 96000.00 | 14000.00 | 168000.00 | 4993.00 | 59916.00 | 59916.00 | R. D. ENGINEERS
3.00 | Annual maintenance of fire fighting and hydrant system comprising of main fire hydrant pump, Diesel engine pump set, Jockey pump, panels, pipe lines, valves, hose boxes, hose reels, fire brigade inlets, fog nozzles, air vessels etc. including routine. preventive maintenance as per AAI maintenance schedule/ OEM recommendations through monthly visit, attending faults/ unlimited breakdown complaints, taking rectification action and ensuring serviceability/ satisfactory working conditions of fire fighting & hydrant system complete as required. (a) First Year | 12.00 | Months | 0.00 | 9000.00 | 108000.00 | 8000.00 | 96000.00 | 6000.00 | 72000.00 | 4993.00 | 59916.00 | 59916.00 | R. D. ENGINEERS
4.00 | Annual maintenance of fire fighting and hydrant system comprising of main fire hydrant pump, Diesel engine pump set, Jockey pump, panels, pipe lines, valves, hose boxes, hose reels, fire brigade inlets, fog nozzles, air vessels etc. including routine. preventive maintenance as per AAI maintenance schedule/ OEM recommendations through monthly visit, attending faults/ unlimited breakdown complaints, taking rectification action and ensuring serviceability/ satisfactory working conditions of fire fighting & hydrant system complete as required. (b) Second Year | 12.00 | Months | 0.00 | 9000.00 | 108000.00 | 8000.00 | 96000.00 | 6000.00 | 72000.00 | 4993.00 | 59916.00 | 59916.00 | R. D. ENGINEERS
5.00 | Servicing and maintenance of Kirloskar make Diesel engine set of 72 HP capacity through the OEM/ authorized service dealer including supply & replacement of B-Check kits, engine oil, coolant filters, Belt set, houses, houses clamps etc. complete as required. | 2.00 | Job | 0.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 10000.00 | 20000.00 | 10000.00 | Katyayni Engineering And Services
6.00 | Refilling of ABC type fire extinguishers of 2 Kg capacity etc. complete as required | 6.00 | Each | 0.00 | 500.00 | 3000.00 | 450.00 | 2700.00 | 1200.00 | 7200.00 | 1000.00 | 6000.00 | 2700.00 | Modern Agencies
7.00 | Refilling of ABC type fire extinguishers of 5 Kg capacity etc. complete as required. | 6.00 | Each | 0.00 | 850.00 | 5100.00 | 800.00 | 4800.00 | 1800.00 | 10800.00 | 1000.00 | 6000.00 | 4800.00 | Modern Agencies
8.00 | Refilling of Dry Chemical power type fire extinguishers of 5 Kg capacity etc. complete as required. | 6.00 | Each | 0.00 | 850.00 | 5100.00 | 700.00 | 4200.00 | 1800.00 | 10800.00 | 1000.00 | 6000.00 | 4200.00 | Modern Agencies
9.00 | Refilling of Dry Chemical power type fire extinguishers of 10 Kg capacity etc. complete as required. | 2.00 | Each | 0.00 | 1250.00 | 2500.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 1000.00 | 2000.00 | 2000.00 | Modern Agencies, R. D. ENGINEERS
10.00 | Refilling of carbon - dioxide extinguisher of 2kg capacity etc. complete as required. | 8.00 | Each | 0.00 | 630.00 | 5040.00 | 300.00 | 2400.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 2400.00 | Modern Agencies
11.00 | Refilling of carbon - dioxide extinguisher of 4.5 kg capacity etc. complete as required. | 8.00 | Each | 0.00 | 704.00 | 5632.00 | 500.00 | 4000.00 | 3000.00 | 24000.00 | 1000.00 | 8000.00 | 4000.00 | Modern Agencies
12.00 | Refilling of carbon - dioxide extinguisher of 6.5 kg capacity etc. complete as required. | 8.00 | Each | 0.00 | 882.00 | 7056.00 | 600.00 | 4800.00 | 4500.00 | 36000.00 | 1000.00 | 8000.00 | 4800.00 | Modern Agencies
13.00 | Refilling of 200gms capacity carbon - dioxide type extinguisher cartage etc. complete as required | 4.00 | Each | 0.00 | 500.00 | 2000.00 | 50.00 | 200.00 | 600.00 | 2400.00 | 1000.00 | 4000.00 | 200.00 | Modern Agencies
14.00 | Refilling of 60gms capacity carbon - dioxide type extinguisher cartage etc. complete as required. | 4.00 | Each | 0.00 | 300.00 | 1200.00 | 100.00 | 400.00 | 600.00 | 2400.00 | 1000.00 | 4000.00 | 400.00 | Modern Agencies
15.00 | Supply of Addressable sounder suitable for existing Addressable sounder installed in New terminal Building & ATC building etc. complete as required. | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 4200.00 | 16800.00 | 5500.00 | 22000.00 | 4000.00 | Modern Agencies
16.00 | Supply of Manual call point (Addressable Type) with break glass (Red colour) suitable for existing Manual call point (Addressable Type) installed in New terminal Building & ATC building etc. complete as required. | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 3000.00 | 12000.00 | 4000.00 | Modern Agencies
17.00 | Supply of Heat Detector (Addressable Type) with sensor suitable for existing Heat Detector (Addressable Type) etc. complete as required. | 4.00 | Each | 0.00 | 4800.00 | 19200.00 | 1000.00 | 4000.00 | 3500.00 | 14000.00 | 20000.00 | 80000.00 | 4000.00 | Modern Agencies
18.00 | Supply of 12 volt 180AH sealed maintenance free battery for DG set, with 18 months replacement warrantee, Make: Exide or as per make of list. | 2.00 | Each | 0.00 | 18500.00 | 37000.00 | 13000.00 | 26000.00 | 16500.00 | 33000.00 | 12000.00 | 24000.00 | 24000.00 | R. D. ENGINEERS
| Total in Figures |  |  |  |  | 558828.00 |  | 467500.00 |  | 653200.00 |  | 449664.00
Lowest Amount Quoted BY: R. D. ENGINEERS(449664.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual repair and maintenance of fire detection, alarm and hydrant system at Kullu Manali Airport for the Year (2021-23). Tender ID: 2021_AAI_79541_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | R. D. ENGINEERS | 449664.00 | L1
| 2 | Modern Agencies | 467500.00 | L2
| 3 | Katyayni Engineering And Services | 558828.00 | L3
| 4 | Manish Electricals | 653200.00 | L4