## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 05-Jul-2021 05:51 PM Tender Title: Running operation and maintenance of Electrical and Mechanical Installation of DVOR stations Lunka-I and Lunka-II at Bikaner (2021-22). Tender ID: 2021_AAI_79664_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: Running operation & maintenance of Electrical & Mechanical Installation of DVOR Stations Lunka-I & Lunka-II at Bikaner (2021-22)
Contract No: AAI/BKN/ENGG(E)/LUNKA 1&2/BKN-13/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE(GSTN-09AAMFT5683N1Z5) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s Shri Shyam Enterprises(GSTN-08ADXPR8123R1ZA) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Subham Electrical(GSTN-NA) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | M/s.180 DEGREE STRAIGHT(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing one number SKILLED Manpower in one shift of 8 hour on all days including sundays & holidays for ONE MONTH for operation & maintenance of electrical installations at Lunka -I. | 36.00 | Job | 100.00 | 19800.00 | 712800.00 | 18879.00 | 679644.00 | 20064.00 | 722304.00 | 21000.00 | 756000.00 | 19200.00 | 691200.00 | 15834.00 | 570024.00 | 21000.00 | 756000.00 | 18999.00 | 683964.00 | 19666.00 | 707976.00 | 570024.00 | Subham Electrical
2.00 | Providing one number UN-SKILLED Manpower in one shift of 8 hour on all days including sundays & holidays for ONE MONTH for operation & maintenance of electrical installations at Lunka-I. | 27.00 | Job | 100.00 | 14500.00 | 391500.00 | 13361.00 | 360747.00 | 15514.00 | 418878.00 | 15000.00 | 405000.00 | 14200.00 | 383400.00 | 11206.00 | 302562.00 | 14420.00 | 389340.00 | 13999.00 | 377973.00 | 13888.00 | 374976.00 | 302562.00 | Subham Electrical
3.00 | Providing one number SKILLED Manpower in one shift of 8 hour on all days including sundays & holidays for ONE MONTH for operation & maintenance of electrical installations at Lunka -II. | 36.00 | Job | 100.00 | 19800.00 | 712800.00 | 18879.00 | 679644.00 | 20064.00 | 722304.00 | 21000.00 | 756000.00 | 19200.00 | 691200.00 | 15834.00 | 570024.00 | 21000.00 | 756000.00 | 18999.00 | 683964.00 | 19666.00 | 707976.00 | 570024.00 | Subham Electrical
4.00 | Providing one number UN-SKILLED Manpower in one shift of 8 hour on all days including sundays & holidays for ONE MONTH for operation & maintenance of electrical installations at Lunka-II. | 27.00 | Job | 100.00 | 14500.00 | 391500.00 | 13361.00 | 360747.00 | 15514.00 | 418878.00 | 15000.00 | 405000.00 | 14200.00 | 383400.00 | 11206.00 | 302562.00 | 14420.00 | 389340.00 | 13999.00 | 377973.00 | 13888.00 | 374976.00 | 302562.00 | Subham Electrical
5.00 | Annual comprehensive maintenance of 1.5 TR/ 2TR split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/ replacement of PCB card and defective component i/c comprehensive repair & maintenance of voltage stabilizer and time delay unit for above units etc. complete as required at Lunka -I | 42.00 | Job | 100.00 | 400.00 | 16800.00 | 250.00 | 10500.00 | 4500.00 | 189000.00 | 500.00 | 21000.00 | 2450.00 | 102900.00 | 400.00 | 16800.00 | 3500.00 | 147000.00 | 3000.00 | 126000.00 | 3000.00 | 126000.00 | 10500.00 | Manish Electricals
6.00 | Annual comprehensive maintenance of 1.5 TR/ 2TR split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, repair/ replacement of PCB card and defective component i/c comprehensive repair & maintenance of voltage stabilizer and time delay unit for above units etc. complete as required at Lunka -II | 42.00 | Job | 100.00 | 400.00 | 16800.00 | 250.00 | 10500.00 | 4500.00 | 189000.00 | 500.00 | 21000.00 | 2450.00 | 102900.00 | 400.00 | 16800.00 | 3500.00 | 147000.00 | 3000.00 | 126000.00 | 3000.00 | 126000.00 | 10500.00 | Manish Electricals
7.00 | Fuel cost for running of the above DG set/hour/DG set basis (contractor has to quote his running cost of fuel/hour/running operation of DG set which he has to assess according to the condition & capacity of the DG set given in item no. 1 above at the Lunka -I : | 2000.00 | P.Hrs. | 100.00 | 270.00 | 540000.00 | 330.00 | 660000.00 | 295.00 | 590000.00 | 269.00 | 538000.00 | 352.00 | 704000.00 | 350.00 | 700000.00 | 320.00 | 640000.00 | 400.00 | 800000.00 | 350.00 | 700000.00 | 538000.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | Fuel cost for running of the above DG set/hour/DG set basis (contractor has to quote his running cost of fuel/hour/running operation of DG set which he has to assess according to the condition & capacity of the DG set given in item no. 1 above at the Lunka -II : | 2000.00 | P.Hrs. | 100.00 | 270.00 | 540000.00 | 330.00 | 660000.00 | 295.00 | 590000.00 | 269.00 | 538000.00 | 352.00 | 704000.00 | 350.00 | 700000.00 | 320.00 | 640000.00 | 400.00 | 800000.00 | 350.00 | 700000.00 | 538000.00 | M/s BHARAT ELECTRIC, NAGPUR
9.00 | B-check servicing of 30 KVA DG set (Kirloskar make) at Lunka -I Site i/c supply & replacing of mobile oil (Koel Care Super Genuine ) for B-check servicing as per manufacturer's recommendation (servicing is to be carried out through authorised dealer only). | 2.00 | Job | 100.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 12000.00 | 24000.00 | 3700.00 | 7400.00 | 20000.00 | 40000.00 | 6000.00 | Manish Electricals
10.00 | B-check servicing of 30 KVA DG set (Kirloskar make) at Lunka -II Site i/c supply & replacing of mobile oil (Koel Care Super Genuine ) for B-check servicing as per manufacturer's recommendation (servicing is to be carried out through authorised dealer only). | 2.00 | Job | 100.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 8000.00 | 16000.00 | 12000.00 | 24000.00 | 3700.00 | 7400.00 | 20000.00 | 40000.00 | 6000.00 | Manish Electricals
11.00 | Painting of electrical cubical panels, feeder pillers, marshalling boxes, desert coolers etc. with 2 coats of enamelled paint of approved make and colour etc. as reqd. | 20.00 | sqm | 100.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 450.00 | 9000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 30.00 | 600.00 | 70.00 | 1400.00 | 500.00 | 10000.00 | 100.00 | 2000.00 | 600.00 | Subham Electrical
12.00 | Visit of DG set mechanic of authorized dealer(Kirloskar) for the complete check up / replacement of defective component etc. on the installed DG set (spares will be provided by AAI). As an when requried. | 2.00 | Visit | 100.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 14000.00 | 28000.00 | 5000.00 | M/s Shri Shyam Enterprises
13.00 | Supply of 12V,180AH SMF Battery suitable for DG Set Operation. Complete as required with buyback of existing 180 Ah DG set battries. | 2.00 | Nos. | 100.00 | 12500.00 | 25000.00 | 16000.00 | 32000.00 | 15500.00 | 31000.00 | 12750.00 | 25500.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 16000.00 | 32000.00 | 7000.00 | 14000.00 | 12000.00 | 24000.00 | 14000.00 | M/s.180 DEGREE STRAIGHT
14.00 | CPWD / DSR-2018 (E&M) Note: (i) The rate for this item has to be quoted carefully. (ii) The guidelines for quoting the rate for this item is mentioned in clause 25 (c) of Page GTT-4. | 30000.00 | One | 100.00 | .75 | 22500.00 | .50 | 15000.00 | .95 | 28500.00 | .75 | 22500.00 | .90 | 27000.00 | 1.00 | 30000.00 | .80 | 24000.00 | .60 | 18000.00 | .90 | 27000.00 | 15000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 3417700.00 |  | 3488782.00 |  | 3941864.00 |  | 3520000.00 |  | 3883000.00 |  | 3281372.00 |  | 3990080.00 |  | 4042674.00 |  | 3978904.00
Lowest Amount Quoted BY: Subham Electrical(3281372.00)

## BOQ Summary
BOQ Summary Details Tender Title: Running operation and maintenance of Electrical and Mechanical Installation of DVOR stations Lunka-I and Lunka-II at Bikaner (2021-22). Tender ID: 2021_AAI_79664_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Subham Electrical | 3281372.00 | L1
| 2 | M/S TURBO POWER AND INFRASTRUCTURE | 3417700.00 | L2
| 3 | Manish Electricals | 3488782.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR | 3520000.00 | L4
| 5 | M K ENTERPRISES | 3883000.00 | L5
| 6 | M/s Shri Shyam Enterprises | 3941864.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 3978904.00 | L7
| 8 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 3990080.00 | L8
| 9 | M/s.180 DEGREE STRAIGHT | 4042674.00 | L9