## BoQ1
Government eProcurement System Created By: S.THIRVMAL MURUGAN Created Date/Time: 08-Jul-2021 03:40 PM Tender Title: ARMO of E and M Installations at Vijayawada Airport 2021-22. SH Supply of Electrical Spares Tender ID: 2021_AAI_79865_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: ARMO OF E&M INSTALLATION AT VIJAYAWADA AIRPORT 2021-22 SH:Electrical spare
Contract No: AAI/BZ/ENGG (E)/ MW-05/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE NURSING TIMER AND ELECTRIC STORES(GSTN-22AAQFS7594F1ZP) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | electromach sales agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3 pole Contactors with L&T make with following sizes as Required
1.10 | 9A; MNX9 Model | 2.00 | EACH |  | 522.00 | 1044.00 | 605.94 | 1211.88 | 750.00 | 1500.00 | 1044.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.20 | 12A; MNX12 Model | 2.00 | EACH |  | 607.00 | 1214.00 | 703.80 | 1407.60 | 850.00 | 1700.00 | 1214.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.30 | 25A: MNX25 Model | 2.00 | EACH |  | 863.00 | 1726.00 | 1001.12 | 2002.24 | 1250.00 | 2500.00 | 1726.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.40 | 50A, MNX50 Model | 2.00 | EACH |  | 3735.00 | 7470.00 | 4328.16 | 8656.32 | 5200.00 | 10400.00 | 7470.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.50 | 80A, MNX80 Model | 2.00 | EACH |  | 6567.00 | 13134.00 | 7610.04 | 15220.08 | 9500.00 | 19000.00 | 13134.00 | SHREE NURSING TIMER AND ELECTRIC STORES
2.00 | Supply of 4 pole 32Amp Contactors with L&T make with MCX03 Model etc as required | 2.00 | EACH |  | 717.00 | 1434.00 | 831.76 | 1663.52 | 1000.00 | 2000.00 | 1434.00 | SHREE NURSING TIMER AND ELECTRIC STORES
3.00 | Supply of Add ON BLOCKS L&T Make Model
3.10 | MNXA1(2NO+2NC) | 2.00 | EACH |  | 337.00 | 674.00 | 391.42 | 782.84 | 500.00 | 1000.00 | 674.00 | SHREE NURSING TIMER AND ELECTRIC STORES
3.20 | MNXA2(1NO+1NC) | 2.00 | EACH |  | 224.00 | 448.00 | 259.69 | 519.38 | 500.00 | 1000.00 | 448.00 | SHREE NURSING TIMER AND ELECTRIC STORES
4.00 | Supply of following Auxillary Contact L&T Make a) Model MXO 22E(2NO+2NC) | 2.00 | EACH |  | 743.00 | 1486.00 | 861.87 | 1723.74 | 1050.00 | 2100.00 | 1486.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.00 | Supply of MPCB with following Amps as required. Model MOG-H1M L&T make
5.10 | a)10Amps | 2.00 | EACH |  | 2140.00 | 4280.00 | 2480.23 | 4960.46 | 3000.00 | 6000.00 | 4280.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.20 | a)20Amps | 2.00 | EACH |  | 2169.00 | 4338.00 | 2514.10 | 5028.20 | 3000.00 | 6000.00 | 4338.00 | SHREE NURSING TIMER AND ELECTRIC STORES
5.30 | a)25Amps | 2.00 | EACH |  | 2426.00 | 4852.00 | 2811.40 | 5622.80 | 3500.00 | 7000.00 | 4852.00 | SHREE NURSING TIMER AND ELECTRIC STORES
6.00 | Supply of Volatge Monitoring Relay SM-500(GIC) 3P 4W 240V,47 to 63Hz Model no. MG73BH Make L&T | 3.00 | EACH |  | 1055.00 | 3165.00 | 1500.67 | 4502.01 | 1450.00 | 4350.00 | 3165.00 | SHREE NURSING TIMER AND ELECTRIC STORES
7.00 | Supply of Modular MCB of 16Amp Single Pole make Legrand etc as required. | 20.00 | EACH |  | 160.00 | 3200.00 | 230.84 | 4616.80 | 160.00 | 3200.00 | 3200.00 | electromach sales agencies, SHREE NURSING TIMER AND ELECTRIC STORES
8.00 | Supply of Following single pole MCB with following Amp rating as required
8.10 | a)2Amp. MCB | 20.00 | EACH |  | 172.00 | 3440.00 | 184.55 | 3691.00 | 150.00 | 3000.00 | 3000.00 | electromach sales agencies
8.20 | a) 4Amp. MCB | 20.00 | EACH |  | 172.00 | 3440.00 | 184.55 | 3691.00 | 150.00 | 3000.00 | 3000.00 | electromach sales agencies
8.30 | a) 6Amp | 10.00 | EACH |  | 466.00 | 4660.00 | 110.28 | 1102.80 | 150.00 | 1500.00 | 1102.80 | Yash Energy Pvt. Ltd
8.40 | a) pole 10Amp.MCB | 40.00 | EACH |  | 466.00 | 18640.00 | 110.28 | 4411.20 | 150.00 | 6000.00 | 4411.20 | Yash Energy Pvt. Ltd
8.50 | a) pole 16Amp.MCB | 40.00 | EACH |  | 466.00 | 18640.00 | 110.28 | 4411.20 | 150.00 | 6000.00 | 4411.20 | Yash Energy Pvt. Ltd
8.60 | a) pole 20Amp.MCB | 20.00 | EACH |  | 466.00 | 9320.00 | 110.28 | 2205.60 | 150.00 | 3000.00 | 2205.60 | Yash Energy Pvt. Ltd
9.00 | Supply of Following double pole MCB with following Amp rating as required
9.10 | Double pole 4Amp. MCB | 5.00 | EACH |  | 431.00 | 2155.00 | 515.38 | 2576.90 | 600.00 | 3000.00 | 2155.00 | SHREE NURSING TIMER AND ELECTRIC STORES
9.20 | Double pole 6Amp. MCB | 5.00 | EACH |  | 431.00 | 2155.00 | 366.84 | 1834.20 | 600.00 | 3000.00 | 1834.20 | Yash Energy Pvt. Ltd
9.30 | Double pole 20Amp. MCB | 10.00 | EACH |  | 431.00 | 4310.00 | 366.84 | 3668.40 | 600.00 | 6000.00 | 3668.40 | Yash Energy Pvt. Ltd
9.40 | Double pole 25Amp. MCB | 10.00 | EACH |  | 431.00 | 4310.00 | 366.84 | 3668.40 | 600.00 | 6000.00 | 3668.40 | Yash Energy Pvt. Ltd
9.50 | Double pole 32Amp. MCB | 10.00 | EACH |  | 431.00 | 4310.00 | 366.84 | 3668.40 | 600.00 | 6000.00 | 3668.40 | Yash Energy Pvt. Ltd
9.60 | Double pole 63Amp. MCB | 5.00 | EACH |  | 551.00 | 2755.00 | 614.40 | 3072.00 | 1000.00 | 5000.00 | 2755.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.00 | Supply of Following Three pole MCB with following Amp rating as required a) Three Pole 32Amp. MCB | 5.00 | EACH |  | 551.00 | 2755.00 | 571.64 | 2858.20 | 1000.00 | 5000.00 | 2755.00 | SHREE NURSING TIMER AND ELECTRIC STORES
11.00 | Supply of Following Four pole MCB with following Amp rating as required
11.10 | Four pole 32Amp. MCB | 10.00 | EACH |  | 722.00 | 7220.00 | 803.45 | 8034.50 | 1200.00 | 12000.00 | 7220.00 | SHREE NURSING TIMER AND ELECTRIC STORES
11.20 | Four pole 40Amp. MCB | 40.00 | EACH |  | 1041.00 | 41640.00 | 1102.77 | 44110.80 | 1550.00 | 62000.00 | 41640.00 | SHREE NURSING TIMER AND ELECTRIC STORES
11.30 | Four pole 63Amp. MCB | 30.00 | EACH |  | 1041.00 | 31230.00 | 1138.78 | 34163.40 | 1750.00 | 52500.00 | 31230.00 | SHREE NURSING TIMER AND ELECTRIC STORES
12.00 | Supply of 100Amp isolator 4 pole mcb type as required Conforms to IEC 60947-3,Utilization category AC-22A L&T Make | 5.00 | EACH |  | 642.00 | 3210.00 | 951.45 | 4757.25 | 1000.00 | 5000.00 | 3210.00 | SHREE NURSING TIMER AND ELECTRIC STORES
13.00 | Supply of 40Amp isolator double pole mcb type as required Conforms to IEC 60947-3,Utilization category AC-22A L&T Make | 5.00 | EACH |  | 226.00 | 1130.00 | 335.81 | 1679.05 | 375.00 | 1875.00 | 1130.00 | SHREE NURSING TIMER AND ELECTRIC STORES
14.00 | Supply of Timers. Of model 240 VAC Base/DIN Mounting cat no. J648B1 (MAKE GIC) L&T | 10.00 | EACH |  | 1569.00 | 15690.00 | 2212.65 | 22126.50 | 1750.00 | 17500.00 | 15690.00 | SHREE NURSING TIMER AND ELECTRIC STORES
15.00 | Supply of selector(auto manual switches) switch 6Amp 3 P 2W etc as required Make L&T | 5.00 | EACH |  | 200.00 | 1000.00 | 260.59 | 1302.95 | 780.00 | 3900.00 | 1000.00 | SHREE NURSING TIMER AND ELECTRIC STORES
16.00 | Supply of LED Indication Lamps of Red , yellow, blue , Green, Orange, White etc as required make ESBEE (L&T) | 100.00 | EACH |  | 131.00 | 13100.00 | 145.52 | 14552.00 | 290.00 | 29000.00 | 13100.00 | SHREE NURSING TIMER AND ELECTRIC STORES
17.00 | Supply of Following size Pin type Lugs of ALUMINIUM material as required.
17.11 | 10 Sq.mm. | 100.00 | EACH |  | 7.00 | 700.00 | 5.37 | 537.00 | 9.00 | 900.00 | 537.00 | Yash Energy Pvt. Ltd
17.12 | 16 Sq.mm. | 100.00 | EACH |  | 14.00 | 1400.00 | 8.79 | 879.00 | 10.00 | 1000.00 | 879.00 | Yash Energy Pvt. Ltd
17.13 | 25 Sq.mm. | 100.00 | EACH |  | 21.00 | 2100.00 | 9.02 | 902.00 | 14.00 | 1400.00 | 902.00 | Yash Energy Pvt. Ltd
17.14 | 35 Sq.mm. | 100.00 | EACH |  | 22.00 | 2200.00 | 15.36 | 1536.00 | 19.00 | 1900.00 | 1536.00 | Yash Energy Pvt. Ltd
17.15 | 50 Sq.mm. | 50.00 | EACH |  | 24.00 | 1200.00 | 20.81 | 1040.50 | 33.00 | 1650.00 | 1040.50 | Yash Energy Pvt. Ltd
17.16 | 70 Sq.mm. | 50.00 | EACH |  | 48.00 | 2400.00 | 27.75 | 1387.50 | 48.00 | 2400.00 | 1387.50 | Yash Energy Pvt. Ltd
17.17 | 95 Sq.mm. | 50.00 | EACH |  | 54.00 | 2700.00 | 37.74 | 1887.00 | 62.00 | 3100.00 | 1887.00 | Yash Energy Pvt. Ltd
17.18 | 120 Sq.mm. | 20.00 | EACH |  | 77.00 | 1540.00 | 49.18 | 983.60 | 72.00 | 1440.00 | 983.60 | Yash Energy Pvt. Ltd
17.19 | 185 Sq.mm. | 20.00 | EACH |  | 156.00 | 3120.00 | 73.50 | 1470.00 | 76.00 | 1520.00 | 1470.00 | Yash Energy Pvt. Ltd
17.20 | 240 Sq.mm. | 10.00 | EACH |  | 266.00 | 2660.00 | 137.41 | 1374.10 | 85.00 | 850.00 | 850.00 | electromach sales agencies
17.21 | 300 Sq.mm. | 10.00 | EACH |  | 266.00 | 2660.00 | 204.73 | 2047.30 | 140.00 | 1400.00 | 1400.00 | electromach sales agencies
18.00 | Supply of Following size Pin/reducer type Lugs of ALUMINIUM material as required.
18.10 | 16 Sq.mm. | 50.00 | EACH |  | 14.00 | 700.00 | 8.79 | 439.50 | 20.00 | 1000.00 | 439.50 | Yash Energy Pvt. Ltd
18.20 | 35 Sq.mm. | 50.00 | EACH |  | 22.00 | 1100.00 | 15.36 | 768.00 | 25.00 | 1250.00 | 768.00 | Yash Energy Pvt. Ltd
19.00 | Supply of following size single compression brass cable gland as required.
19.10 | a)25mm | 30.00 | EACH |  | 96.00 | 2880.00 | 46.91 | 1407.30 | 120.00 | 3600.00 | 1407.30 | Yash Energy Pvt. Ltd
19.20 | a)28mm | 20.00 | EACH |  | 119.00 | 2380.00 | 71.07 | 1421.40 | 130.00 | 2600.00 | 1421.40 | Yash Energy Pvt. Ltd
19.30 | A)32mm | 20.00 | EACH |  | 159.00 | 3180.00 | 81.02 | 1620.40 | 180.00 | 3600.00 | 1620.40 | Yash Energy Pvt. Ltd
19.40 | a) 35mm | 20.00 | EACH |  | 199.00 | 3980.00 | 105.89 | 2117.80 | 210.00 | 4200.00 | 2117.80 | Yash Energy Pvt. Ltd
19.50 | a) 38mm | 20.00 | EACH |  | 235.00 | 4700.00 | 132.90 | 2658.00 | 250.00 | 5000.00 | 2658.00 | Yash Energy Pvt. Ltd
19.60 | a) 50mm | 20.00 | EACH |  | 349.00 | 6980.00 | 203.97 | 4079.40 | 350.00 | 7000.00 | 4079.40 | Yash Energy Pvt. Ltd
19.70 | a) 63mm | 20.00 | EACH |  | 432.00 | 8640.00 | 308.44 | 6168.80 | 550.00 | 11000.00 | 6168.80 | Yash Energy Pvt. Ltd
20.00 | Supply of following sizes of 1.1 KV grade, Single Core FR-LSH PVC Insulated industrial grade copper conductor (unsheathed) confirms to IS 694.with up to date amendments etc as and when required( Each coil =200Mtrs)
20.10 | i) 1.5 sq.mm.( Red 2 Nos., Black 2Nos. Green 2Nos.) | 6.00 | EACH COIL |  | 2762.00 | 16572.00 | 3333.90 | 20003.40 | 4000.00 | 24000.00 | 16572.00 | SHREE NURSING TIMER AND ELECTRIC STORES
20.20 | ii) 2.5 sq.mm. ( Red 2 Nos., Black 2Nos. Green 2Nos.) | 6.00 | EACH COIL |  | 4424.00 | 26544.00 | 5404.62 | 32427.72 | 7000.00 | 42000.00 | 26544.00 | SHREE NURSING TIMER AND ELECTRIC STORES
20.30 | iii) 4 sq.mm.( Red 1 Nos., Black12Nos. Green 1Nos.) | 3.00 | EACH COIL |  | 6467.00 | 19401.00 | 8219.40 | 24658.20 | 10000.00 | 30000.00 | 19401.00 | SHREE NURSING TIMER AND ELECTRIC STORES
20.40 | iv) 6 sq.mm. | 1.00 | EACH COIL |  | 9651.00 | 9651.00 | 12285.84 | 12285.84 | 16000.00 | 16000.00 | 9651.00 | SHREE NURSING TIMER AND ELECTRIC STORES
21.00 | Supply of following sizes PVC insulated, PVC round sheathed multicore industrial Cables for voltage grade upto 1100 V. as per IS 694:1990. a) 3 Corex2.5sq.mm( Each Coil =100Mtrs) | 4.00 | EACH COIL |  | 7318.00 | 29272.00 | 9055.76 | 36223.04 | 10000.00 | 40000.00 | 29272.00 | SHREE NURSING TIMER AND ELECTRIC STORES
22.00 | Supply of following sizes PVC insulated, PVC round sheathed multicore industrial Cables for voltage grade upto 1100 V. as per IS 694:1990. a) 3 Corex4sq.mm ( Each Coil =100Mtrs) | 2.00 | EACH COIL |  | 11544.00 | 23088.00 | 13785.52 | 27571.04 | 15000.00 | 30000.00 | 23088.00 | SHREE NURSING TIMER AND ELECTRIC STORES
23.00 | Supply of following sizes PVC insulated, PVC round sheathed multicore industrial Cables for voltage grade upto 1100 V. as per IS 694:1990. a) 3 Corex6sq.mm ( Each Coil =100Mtrs) | 2.00 | EACH COIL |  | 17321.00 | 34642.00 | 20303.36 | 40606.72 | 25500.00 | 51000.00 | 34642.00 | SHREE NURSING TIMER AND ELECTRIC STORES
24.00 | Supply of 6Amps Switches etc as required model: murano Make Crabetree | 20.00 | EACH |  | 112.00 | 2240.00 | 110.15 | 2203.00 | 130.00 | 2600.00 | 2203.00 | Yash Energy Pvt. Ltd
25.00 | Supply of 6 A 3 Pin Shuttered Socket with ISI marking Sockets with Crabetree model as required Model: Murano make Crabetree | 10.00 | EACH |  | 219.00 | 2190.00 | 216.00 | 2160.00 | 250.00 | 2500.00 | 2160.00 | Yash Energy Pvt. Ltd
26.00 | Supply of 16Amps Switches etc. as required Model: Murano make Crabetree | 10.00 | EACH |  | 198.00 | 1980.00 | 194.54 | 1945.40 | 216.00 | 2160.00 | 1945.40 | Yash Energy Pvt. Ltd
27.00 | Supply of 6/16 A 3 Pin Shuttered Socket with ISI marking Sockets etc. as required Model: Murano make Crabetree | 10.00 | EACH |  | 253.00 | 2530.00 | 248.90 | 2489.00 | 280.00 | 2800.00 | 2489.00 | Yash Energy Pvt. Ltd
28.00 | Supply of 3 way module Box Cover and base plate etc. as required Model: Murano make Crabetree | 20.00 | EACH |  | 257.00 | 5140.00 | 296.82 | 5936.40 | 120.00 | 2400.00 | 2400.00 | electromach sales agencies
29.00 | Supply of 6 way module Box Cover and base plate etc required Model: Murano make Crabetree | 10.00 | EACH |  | 446.00 | 4460.00 | 531.42 | 5314.20 | 150.00 | 1500.00 | 1500.00 | electromach sales agencies
30.00 | Supply of 8 way module Box Cover and base plate etc. as required Model: Murano make Crabetree | 10.00 | EACH |  | 465.00 | 4650.00 | 572.90 | 5729.00 | 170.00 | 1700.00 | 1700.00 | electromach sales agencies
31.00 | Supply of 12 way module Box Cover and base plate etc, as required Model: Murano make Crabetree | 10.00 | EACH |  | 720.00 | 7200.00 | 848.98 | 8489.80 | 210.00 | 2100.00 | 2100.00 | electromach sales agencies
32.00 | Supply of following type modular type PVC Surface box as required(Make Legrand Model Mylinc)
32.10 | 3 Modular | 30.00 | EACH |  | 55.00 | 1650.00 | 57.10 | 1713.00 | 125.00 | 3750.00 | 1650.00 | SHREE NURSING TIMER AND ELECTRIC STORES
32.20 | 4 Modular | 20.00 | EACH |  | 64.00 | 1280.00 | 65.99 | 1319.80 | 180.00 | 3600.00 | 1280.00 | SHREE NURSING TIMER AND ELECTRIC STORES
32.30 | 6 Modular | 50.00 | EACH |  | 82.00 | 4100.00 | 85.02 | 4251.00 | 250.00 | 12500.00 | 4100.00 | SHREE NURSING TIMER AND ELECTRIC STORES
32.40 | 8 Modular(4x2) | 30.00 | EACH |  | 124.00 | 3720.00 | 123.09 | 3692.70 | 300.00 | 9000.00 | 3692.70 | Yash Energy Pvt. Ltd
32.50 | 12 Modular(6x2) | 20.00 | EACH |  | 296.00 | 5920.00 | 305.82 | 6116.40 | 450.00 | 9000.00 | 5920.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.00 | Supply of following type cover and base plate(combined plate) etc as required model Make Legrand Model Mylinc)
33.10 | 3M cover plate and base plate | 20.00 | EACH |  | 64.00 | 1280.00 | 70.14 | 1402.80 | 125.00 | 2500.00 | 1280.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.20 | 4M cover plate and base plate | 20.00 | EACH |  | 74.00 | 1480.00 | 80.29 | 1605.80 | 190.00 | 3800.00 | 1480.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.30 | 6M cover plate and base plate | 40.00 | EACH |  | 91.00 | 3640.00 | 99.67 | 3986.80 | 250.00 | 10000.00 | 3640.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.40 | 8M cover plate and base plate(4x2) | 20.00 | EACH |  | 117.00 | 2340.00 | 130.13 | 2602.60 | 320.00 | 6400.00 | 2340.00 | SHREE NURSING TIMER AND ELECTRIC STORES
33.50 | 12M cover plate and base plate(6X2) | 10.00 | EACH |  | 172.00 | 1720.00 | 187.34 | 1873.40 | 450.00 | 4500.00 | 1720.00 | SHREE NURSING TIMER AND ELECTRIC STORES
34.00 | Supply of following type Switch etc as required model ( Make Legrand Model Mylinc)
34.10 | 6Amp One way Switch | 50.00 | EACH |  | 40.00 | 2000.00 | 44.30 | 2215.00 | 110.00 | 5500.00 | 2000.00 | SHREE NURSING TIMER AND ELECTRIC STORES
34.20 | 16Amp One way switch | 30.00 | EACH |  | 80.00 | 2400.00 | 86.75 | 2602.50 | 205.00 | 6150.00 | 2400.00 | SHREE NURSING TIMER AND ELECTRIC STORES
34.30 | 25Amp One way switch | 10.00 | EACH |  | 122.00 | 1220.00 | 256.56 | 2565.60 | 310.00 | 3100.00 | 1220.00 | SHREE NURSING TIMER AND ELECTRIC STORES
35.00 | Supply of following type Socket etc as required model ( Make Legrand Model Mylinc)
35.10 | 6A 5 Pin Shuttered Socket | 20.00 | EACH |  | 104.00 | 2080.00 | 89.52 | 1790.40 | 150.00 | 3000.00 | 1790.40 | Yash Energy Pvt. Ltd
35.20 | 6/16A 3 Pin Shuttered Socket with ISI marking | 20.00 | EACH |  | 138.00 | 2760.00 | 150.43 | 3008.60 | 240.00 | 4800.00 | 2760.00 | SHREE NURSING TIMER AND ELECTRIC STORES
36.00 | Supply of following type plug top etc as required (make Legrand or equivalent)
36.10 | 6Amp 3 pin ISI marked | 10.00 | EACH |  | 50.00 | 500.00 | 47.59 | 475.90 | 70.00 | 700.00 | 475.90 | Yash Energy Pvt. Ltd
36.20 | 16Amp 3 pin ISI marked | 10.00 | EACH |  | 66.00 | 660.00 | 62.81 | 628.10 | 135.00 | 1350.00 | 628.10 | Yash Energy Pvt. Ltd
37.00 | Supply of 6Amp 4 way extension board with 10Mtr External Cable of 3Corex2.5sqmm etc as required | 4.00 | EACH |  | 313.00 | 1252.00 | 1560.82 | 6243.28 | 1900.00 | 7600.00 | 1252.00 | SHREE NURSING TIMER AND ELECTRIC STORES
38.00 | Supply of Fan Regulator(Modular type) (Dimmer 100W -2M or equivalent) | 30.00 | EACH |  | 300.00 | 9000.00 | 274.10 | 8223.00 | 625.00 | 18750.00 | 8223.00 | Yash Energy Pvt. Ltd
39.00 | Supply of fan Capacitor 2.5mfd etc as required ISI marked | 50.00 | EACH |  | 24.00 | 1200.00 | 19.61 | 980.50 | 33.00 | 1650.00 | 980.50 | Yash Energy Pvt. Ltd
40.00 | Supply of batten(straight Holder)metal ring etc as required | 20.00 | EACH |  | 28.00 | 560.00 | 44.41 | 888.20 | 225.00 | 4500.00 | 560.00 | SHREE NURSING TIMER AND ELECTRIC STORES
41.00 | Supply of Angle holder (straight Holder) metal ring etc as required | 20.00 | EACH |  | 28.00 | 560.00 | 44.41 | 888.20 | 50.00 | 1000.00 | 560.00 | SHREE NURSING TIMER AND ELECTRIC STORES
42.00 | Supply of screw holder etc as required. | 70.00 | EACH |  | 72.00 | 5040.00 | 57.68 | 4037.60 | 100.00 | 7000.00 | 4037.60 | Yash Energy Pvt. Ltd
43.00 | Supply of Casing and Caping 3/4 Inch etc as required | 50.00 | Mtr |  | 30.00 | 1500.00 | 24.29 | 1214.50 | 110.00 | 5500.00 | 1214.50 | Yash Energy Pvt. Ltd
44.00 | Supply of Casing and Caping 1 Inch etc as required | 50.00 | Mtr |  | 37.00 | 1850.00 | 30.89 | 1544.50 | 130.00 | 6500.00 | 1544.50 | Yash Energy Pvt. Ltd
45.00 | Supply of MMS FRLS PVC Pipe of Size 20mm dia etc as required. | 200.00 | Mtr |  | 29.00 | 5800.00 | 22.80 | 4560.00 | 55.00 | 11000.00 | 4560.00 | Yash Energy Pvt. Ltd
46.00 | Supply of MMS FRLS PVC Pipe of Size 25mm dia etc as required. | 200.00 | Mtr |  | 40.00 | 8000.00 | 31.19 | 6238.00 | 65.00 | 13000.00 | 6238.00 | Yash Energy Pvt. Ltd
47.00 | Supply of Galvanised Steel Flexible Pipe for 20mm dia. Etc as required | 100.00 | Mtr |  | 25.00 | 2500.00 | 121.70 | 12170.00 | 50.00 | 5000.00 | 2500.00 | SHREE NURSING TIMER AND ELECTRIC STORES
48.00 | Supply of Galvanised Steel Flexible Pipe for 25mm dia. Etc as required | 100.00 | Mtr |  | 36.00 | 3600.00 | 139.59 | 13959.00 | 60.00 | 6000.00 | 3600.00 | SHREE NURSING TIMER AND ELECTRIC STORES
49.00 | Supply of Din rail for the MCB fixing etc as required | 20.00 | Mtr |  | 56.00 | 1120.00 | 48.45 | 969.00 | 150.00 | 3000.00 | 969.00 | Yash Energy Pvt. Ltd
50.00 | Supply of 45W street light (LED Light) High performance LED Streetlight, Housing made of die cast aluminium, street optic LENS for uniform light distribution rated IP66 | 10.00 | EACH |  | 1705.00 | 17050.00 | 2284.13 | 22841.30 | 3500.00 | 35000.00 | 17050.00 | SHREE NURSING TIMER AND ELECTRIC STORES
51.00 | Supply of 80Wstreet light (LED Light) High performance LED Streetlight, Housing contemporaty designed housing made of die cast aluminium, street optic LENS for uniform light distribution rated IP66 | 10.00 | EACH |  | 3234.00 | 32340.00 | 3633.84 | 36338.40 | 5500.00 | 55000.00 | 32340.00 | SHREE NURSING TIMER AND ELECTRIC STORES
52.00 | Supply of 20W T5 Aluminium Extruded LED INTEGRATED BATTEN suitable to operate on 230 Volts , 50Hz AC Supply etc as required (make Havells model no. LUMILINEPLUSBS20WLED865SPCSS or Equivalent) | 30.00 | EACH |  | 329.00 | 9870.00 | 334.54 | 10036.20 | 600.00 | 18000.00 | 9870.00 | SHREE NURSING TIMER AND ELECTRIC STORES
53.00 | Supply of 9W Screw type LED lamp suitable to 230Volts 50Hz AC supply etc as required (model Wipro GARNET 9W LED BULB 6500K E27 OR equivalent ) | 100.00 | EACH |  | 95.00 | 9500.00 | 115.36 | 11536.00 | 110.00 | 11000.00 | 9500.00 | SHREE NURSING TIMER AND ELECTRIC STORES
54.00 | Supply of 10W LED lamp Suitable to Operate on 230 Volts, 50Hz AC supply etc . As required | 20.00 | EACH |  | 95.00 | 1900.00 | 115.36 | 2307.20 | 120.00 | 2400.00 | 1900.00 | SHREE NURSING TIMER AND ELECTRIC STORES
55.00 | Supply of 5HP DOL starter etc as required. | 2.00 | EACH |  | 1624.00 | 3248.00 | 3213.93 | 6427.86 | 1800.00 | 3600.00 | 3248.00 | SHREE NURSING TIMER AND ELECTRIC STORES
56.00 | Supply of Sign Board Drivers (Small) 1FeetX1Feet 12V-5Amps, ERD, 150-285V, 50-60Hz | 30.00 | EACH |  | 336.00 | 10080.00 | 1676.84 | 50305.20 | 1400.00 | 42000.00 | 10080.00 | SHREE NURSING TIMER AND ELECTRIC STORES
57.00 | Supply of Sign Board Drivers (Medium) 5FeetX1Feet ERD, Input Voltage: 150V-265V AC≈1Amps, 50-60Hz Output Volatage: 12V -10Amps | 30.00 | EACH |  | 952.00 | 28560.00 | 2311.32 | 69339.60 | 1250.00 | 37500.00 | 28560.00 | SHREE NURSING TIMER AND ELECTRIC STORES
58.00 | Supply of Flood Light (Warm white) driver of following Model LED light etc as required a)Drive model WLD-LH14-102-80 with 80W Wipro make or equivalent driver which is suitable for( Light Model LH14-102-XXX-40-SM Wipro make )( Output voltage= 35-45V ,Output current = 1.760Amp) | 50.00 | EACH |  | 1456.00 | 72800.00 | 1776.75 | 88837.50 | 1050.00 | 52500.00 | 52500.00 | electromach sales agencies
59.00 | Supply of Flood light (Coolday) Driver of following model LED light etc as required. a)Drive model WLD-LH14-102-80 with 80W Wipro make or equivalent driver which is suitable for ( Light Model LH14-102-XXX-57-SM with Wipro make) | 30.00 | EACH |  | 1456.00 | 43680.00 | 1776.75 | 53302.50 | 400.00 | 12000.00 | 12000.00 | electromach sales agencies
60.00 | Supply of LED Tube Light Driver of following models as requird a) Drive model LG66-288-013-720 with 38W wipro make or equivalent model which is suitable for ( Light Model LE10-491-XXX-57-HCSL wipro make ) ( output voltage = 53V DC, Output Current= 0.720Amp) | 30.00 | EACH |  | 694.00 | 20820.00 | 1184.50 | 35535.00 | 400.00 | 12000.00 | 12000.00 | electromach sales agencies
61.00 | Supply of LED Tube light Driver of following model as reqired a) Drive model LG18-018-090-350 with 14W wipro make or equivalent model which is suitable for (Light Model LD71-161-SML-40-XX wipro make). | 30.00 | EACH |  | 539.00 | 16170.00 | 769.93 | 23097.90 | 350.00 | 10500.00 | 10500.00 | electromach sales agencies
62.00 | Supply of Street Lights driver of following models led as required as reqired a) Drive model LG56-036-002-1350 wipro make or equivalent driver which is suitable for ( Light Model LR02-981-XXX-57-XX with 80W Wipro make(O/P Voltage=60VDC O/P Current =1.350Amp) | 50.00 | EACH |  | 1545.00 | 77250.00 | 2132.10 | 106605.00 | 300.00 | 15000.00 | 15000.00 | electromach sales agencies
63.00 | Supply LED Tube light driver of following model as required. a)Drive model G22-18-300 of wipro make or equivalent driver which is suitable for (Light Model LD80-171-XXX-40-XX with 18W ) | 20.00 | EACH |  | 184.00 | 3680.00 | 225.06 | 4501.20 | 400.00 | 8000.00 | 3680.00 | SHREE NURSING TIMER AND ELECTRIC STORES
64.00 | Supply of LED Light drivers for 25W Focus LED Light as required( output voltage = 55VDC Output current =0.5A) | 30.00 | EACH |  | 560.00 | 16800.00 | 592.25 | 17767.50 | 300.00 | 9000.00 | 9000.00 | electromach sales agencies
65.00 | Supply of LED Light drivers for 40W Canopy LED as required( output voltage = 37-56VDC Output current =0.870A) | 50.00 | EACH |  | 1792.00 | 89600.00 | 2250.55 | 112527.50 | 300.00 | 15000.00 | 15000.00 | electromach sales agencies
66.00 | Supply of LED Light drivers for 26W led as required( output voltage = 40VDC Output current =0.60A) | 30.00 | EACH |  | 952.00 | 28560.00 | 589.16 | 17674.80 | 300.00 | 9000.00 | 9000.00 | electromach sales agencies
67.00 | Supply of LED Light Drivers of 20W led as required( O/P Voltage=33VDC O/P Current = 0.540AMP | 20.00 | EACH |  | 728.00 | 14560.00 | 481.53 | 9630.60 | 300.00 | 6000.00 | 6000.00 | electromach sales agencies
68.00 | Supply of LED Tube Light drivers for 36Wled as required( output voltage = 24-36VDC Output current =1.00A) | 30.00 | EACH |  | 952.00 | 28560.00 | 504.19 | 15125.70 | 300.00 | 9000.00 | 9000.00 | electromach sales agencies
69.00 | Supply of 20A, 500V, 120KA HRC fuse (Seimens 3NA7 807-ORC NH000type IEC 60269-2 DIN mount) | 10.00 | EACH |  | 200.00 | 2000.00 | 202.55 | 2025.50 | 400.00 | 4000.00 | 2000.00 | SHREE NURSING TIMER AND ELECTRIC STORES
70.00 | Supply of 32A, 500V, 120KA HRC fuse (Seimens 3NA7 812-ORC NH000type IEC 60269-2 DIN mount) | 10.00 | EACH |  | 200.00 | 2000.00 | 202.55 | 2025.50 | 400.00 | 4000.00 | 2000.00 | SHREE NURSING TIMER AND ELECTRIC STORES
71.00 | Supply of 63A, 500V, 120KA HRC fuse (Seimens 3NA7 822-ORC NH000type IEC 60269-2 DIN mount) | 10.00 | EACH |  | 234.00 | 2340.00 | 237.20 | 2372.00 | 400.00 | 4000.00 | 2340.00 | SHREE NURSING TIMER AND ELECTRIC STORES
72.00 | Supply of 100A, 500V, 120KA HRC fuse (Seimens 3NA7 830-ORC NH000type IEC 60269-2 DIN mount) | 10.00 | EACH |  | 255.00 | 2550.00 | 258.52 | 2585.20 | 900.00 | 9000.00 | 2550.00 | SHREE NURSING TIMER AND ELECTRIC STORES
73.00 | Supply of 250A, 500V, 120KA HRC fuse (Seimens 3NA7 144-ORC NH000type IEC 60269-2 DIN mount) | 10.00 | EACH |  | 507.00 | 5070.00 | 514.37 | 5143.70 | 1400.00 | 14000.00 | 5070.00 | SHREE NURSING TIMER AND ELECTRIC STORES
74.00 | Supply of 250A, 500V, 80KA HRC fuse (Seimens 3NW NS4 type Blade tag) | 10.00 | EACH |  | 50.00 | 500.00 | 50.64 | 506.40 | 1500.00 | 15000.00 | 500.00 | SHREE NURSING TIMER AND ELECTRIC STORES
75.00 | Supply of 100A, 690V, 200KA HRC fuse (Eaton Bussmann 100FE TYPE T ) | 20.00 | EACH |  | 486.00 | 9720.00 | 660.95 | 13219.00 | 900.00 | 18000.00 | 9720.00 | SHREE NURSING TIMER AND ELECTRIC STORES
76.00 | Supply of 100A, 690V, 80KA HRC fuse Bolted, offset type A4 (L&T ) | 10.00 | EACH |  | 154.00 | 1540.00 | 278.36 | 2783.60 | 900.00 | 9000.00 | 1540.00 | SHREE NURSING TIMER AND ELECTRIC STORES
77.00 | Supply of Elmex KUT 16 connectors | 50.00 | EACH |  | 26.00 | 1300.00 | 27.54 | 1377.00 | 35.00 | 1750.00 | 1300.00 | SHREE NURSING TIMER AND ELECTRIC STORES
78.00 | Self adhesive HT rubber tape having water proof, moiture proof, corrosion and chemical resistive featueres, withstand 22KV/mm suitable for 5kV grade AFL cables. Size 25mm x0.76mmx9.15 M. Roll (Stanvac Plysafe #W963) or equivalent to 3M scotch as required | 30.00 | EACH |  | 425.00 | 12750.00 | 663.32 | 19899.60 | 490.00 | 14700.00 | 12750.00 | SHREE NURSING TIMER AND ELECTRIC STORES
79.00 | Supply of Capacitor of 25µf±5% 660VAC etc as required | 30.00 | EACH |  | 375.00 | 11250.00 | 111.90 | 3357.00 | 200.00 | 6000.00 | 3357.00 | Yash Energy Pvt. Ltd
80.00 | Supply of Capacitor of 2.25µf±5% 440VAC etc as required | 20.00 | EACH |  | 20.00 | 400.00 | 17.88 | 357.60 | 160.00 | 3200.00 | 357.60 | Yash Energy Pvt. Ltd
81.00 | Supply of Capacitor of 36µf±5% 440VAC etc as required | 20.00 | EACH |  | 156.00 | 3120.00 | 117.67 | 2353.40 | 35.00 | 700.00 | 700.00 | electromach sales agencies
82.00 | Supply of Capacitor of 10µf±5% 600VAC etc as required | 20.00 | EACH |  | 308.00 | 6160.00 | 47.30 | 946.00 | 150.00 | 3000.00 | 946.00 | Yash Energy Pvt. Ltd
83.00 | Supply of Capacitor of 2µf ±5% 440VAC etc as required | 20.00 | EACH |  | 76.00 | 1520.00 | 17.30 | 346.00 | 35.00 | 700.00 | 346.00 | Yash Energy Pvt. Ltd
84.00 | Supply of Euronics Hand dryer PCB (RHD2702) etc as required | 30.00 | EACH |  | 3192.00 | 95760.00 | 3287.76 | 98632.80 | 3700.00 | 111000.00 | 95760.00 | SHREE NURSING TIMER AND ELECTRIC STORES
85.00 | Supply of Euronics Hand dryer Sensor (RHD2706) etc as required | 10.00 | EACH |  | 3192.00 | 31920.00 | 3287.76 | 32877.60 | 3700.00 | 37000.00 | 31920.00 | SHREE NURSING TIMER AND ELECTRIC STORES
86.00 | Supply of Euronics Hand dryer Motor (RHD2701) etc as required | 2.00 | EACH |  | 6776.00 | 13552.00 | 6979.28 | 13958.56 | 7500.00 | 15000.00 | 13552.00 | SHREE NURSING TIMER AND ELECTRIC STORES
87.00 | Supply of Sign Board Driver of 300w as required( output voltage=12V and 25Amp) etc as required. | 10.00 | EACH |  | 3920.00 | 39200.00 | 3965.50 | 39655.00 | 2000.00 | 20000.00 | 20000.00 | electromach sales agencies
| Total in Figures |  |  |  |  | 1338767.00 |  | 1534195.58 |  | 1448295.00
Lowest Amount Quoted BY: SHREE NURSING TIMER AND ELECTRIC STORES(1338767.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Vijayawada Airport 2021-22. SH Supply of Electrical Spares Tender ID: 2021_AAI_79865_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHREE NURSING TIMER AND ELECTRIC STORES | 1338767.00 | L1
| 2 | electromach sales agencies | 1448295.00 | L2
| 3 | Yash Energy Pvt. Ltd | 1534195.58 | L3