## BoQ1
Government eProcurement System Created By: Gaurav Mathur Created Date/Time: 12-Jul-2021 05:12 PM Tender Title: ARMO of various E and M Installations including water cooler, fire alarm and Fire fighting system of Terminal -2 Building and Ancillary Building at Jaipur International Airport (2021-22) Tender ID: 2021_AAI_79924_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Jaipur Airport, Airport - 302029
Name of Work: ARMO of various E&M Installations including water cooler, fire alarm & Fire fighting system of Terminal -2 Building & Ancillary Building at Jaipur International Airport (2021-22).
Contract No:- AAI/JPR/ENGG(E-)/F-71/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Four numbers HIGHLY SKILLED Manpower on all days including sundays & holidays (Excluding weekly off) for operation & maintenance of all E&M installations as per technical specifications etc. complete as required. | 12.00 | Month | 100.00 | 112000.00 | 1344000.00 | 98500.00 | 1182000.00 | 102000.00 | 1224000.00 | 95000.00 | 1140000.00 | 93444.00 | 1121328.00 | 1121328.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Providing Twenty numbers SKILLED Manpower on all days including sundays & holidays (Excluding weekly off) for operation & maintenance of all E&M installations as per technical specifications etc. complete as required. | 12.00 | Month | 100.00 | 450000.00 | 5400000.00 | 425000.00 | 5100000.00 | 405953.00 | 4871436.00 | 380000.00 | 4560000.00 | 388999.00 | 4667988.00 | 4560000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.00 | Providing Fourteen numbers SEMI SKILLED Manpower on all days including sundays & holidays (Excluding weekly off) for operation & maintenance of all E&M installations as per technical specifications etc. complete as required. | 12.00 | Month | 100.00 | 265000.00 | 3180000.00 | 250000.00 | 3000000.00 | 243308.00 | 2919696.00 | 225000.00 | 2700000.00 | 232222.00 | 2786664.00 | 2700000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Providing Twelve numbers UN SKILLED Manpower on all days including sundays & holidays (Excluding weekly off) for operation & maintenance of all E&M installations as per technical specifications etc. complete as required. | 12.00 | Month | 100.00 | 212000.00 | 2544000.00 | 200000.00 | 2400000.00 | 187623.00 | 2251476.00 | 175000.00 | 2100000.00 | 176222.00 | 2114664.00 | 2100000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | Comprehensive maintenance of fire fighting system at Terminal No. 2 includes hydrant pump set, sprinkler pump set, jockey pump set, engine operated hydrant pump set, power cum control panel, pressure switches, gun metal hydrants, gun metal branch pipe, hose cabinet, fire brigade inlet, fire brigade drawl, all type of valves, flow switches, flow switch alarm panel, pressure gauge etc. as per Inventory shown in Annexure-A. | 12.00 | Month | 10.00 | 5000.00 | 60000.00 | 15000.00 | 180000.00 | 17500.00 | 210000.00 | 20000.00 | 240000.00 | 23500.00 | 282000.00 | 60000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.00 | Comprehensive maintenance of addressable fire detection and alarm system at Terminal No. 2 includes fire detection alarm panel, addressable smoke detectors, heat detectors, hooters, Mannual call points, weather proof horns, response indicators, control modules, fault isolators, PA system, amplifier etc. as per Inventory shown in Annexure-B. | 12.00 | Month | 10.00 | 5000.00 | 60000.00 | 15000.00 | 180000.00 | 25000.00 | 300000.00 | 20000.00 | 240000.00 | 20000.00 | 240000.00 | 60000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
7.00 | Half Yearly visit of original equipment manufacturer(OEM) of intelligent fire detection & fire alarm system to check performance and breakdowns or as and when required (for Siemens make intelligent addressable FDA system). | 2.00 | Job | 100.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 4000.00 | 8000.00 | 30000.00 | 60000.00 | 6000.00 | ANAND AND COMPANTY
8.00 | Servicing of Engine operated fire fighting pump set by OEM/Authorized Service Agency as per manufacturer recommendation including replacement of lubricating oil and filters etc. i/c B check of fire engine. | 2.00 | Job | 100.00 | 10000.00 | 20000.00 | 12000.00 | 24000.00 | 10000.00 | 20000.00 | 4000.00 | 8000.00 | 9900.00 | 19800.00 | 8000.00 | M/s BHARAT ELECTRIC, NAGPUR
9.00 | Inspection, repairing, servicing, overhauling and testing of 800/1250/1600/2500 Amp GE/ C&S make Air Circuit Breaker from the manufacturer or from the authorised service dealer of manufacturer. Cost of spare (if required) shall be paid extra by AAI. | 49.00 | Set | 10.00 | 2500.00 | 122500.00 | 2200.00 | 107800.00 | 2500.00 | 122500.00 | 1000.00 | 49000.00 | 3000.00 | 147000.00 | 49000.00 | M/s BHARAT ELECTRIC, NAGPUR
10.00 | Inspection, repairing, servicing, overhauling and testing of Crompton make Vacuum Circuit Breaker (11KV, 800 amps capacity) from the manufacturer or from the authorised service dealer of manufacturer. Cost of spare (if required) shall be paid extra by AAI. | 6.00 | Set | 10.00 | 10000.00 | 60000.00 | 2200.00 | 13200.00 | 3500.00 | 21000.00 | 2500.00 | 15000.00 | 4000.00 | 24000.00 | 13200.00 | ANAND AND COMPANTY
11.00 | Checking, servicing, callibration & testing of following protection relays provided on 11 KV VCB Breaker panel complete as per site requirment - a) Numerical O/C & Earth fault relays (3 O/C + 1 EF) - 5 Nos. b) Master trip relay -5 Nos. c) Trip ckt supervision relay -5 Nos. d) Auxilary relay for transformer protect -3 Nos. e) Aux relay for transformer neutral - 3 Nos. | 1.00 | Set | 100.00 | 25000.00 | 25000.00 | 12000.00 | 12000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 12000.00 | ANAND AND COMPANTY
12.00 | Ambient Noise monitoring of 750 KVA DG set from an ISO certified laboratory with following parameter:- Lday and Lnight including collection of sample from site and submission of test report etc. Complete as required. | 3.00 | Job | 100.00 | 1500.00 | 4500.00 | 5000.00 | 15000.00 | 1500.00 | 4500.00 | 1250.00 | 3750.00 | 2000.00 | 6000.00 | 3750.00 | M/s BHARAT ELECTRIC, NAGPUR
13.00 | Stack emission monitoring of 750 KVA DG set from an ISO certified laboratory with following parameters :- PM,Sulphur dioxide,NO2 including collection of sample from site and submission of test report etc. Complete as required. | 3.00 | Job | 10.00 | 1500.00 | 4500.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 25000.00 | 75000.00 | 4500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
14.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade | 500.00 | SqMt. | 100.00 | 200.00 | 100000.00 | 150.00 | 75000.00 | 150.00 | 75000.00 | 45.00 | 22500.00 | 50.00 | 25000.00 | 22500.00 | M/s BHARAT ELECTRIC, NAGPUR
15.00 | Rewinding of fan motor of Ceiling Fan/Wall mounted /Exhaust Fan etc with enamelled copper wire of required grade insulation and Providing & Fixing of brass bushes Including dismantiling the existing fan motor, transportation to & fro, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 12.00 | Nos. | 100.00 | 350.00 | 4200.00 | 400.00 | 4800.00 | 350.00 | 4200.00 | 400.00 | 4800.00 | 200.00 | 2400.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Repairing & Rewinding of 3 Phase 1.1 /2.2 KW Motor monoblock/mud pump set including replacement of Motor bush, Oil seal, bearings etc including dismantiling the existing pump, transportation to & for, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 2.00 | Job | 100.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Repairing & Rewinding of 3 Phase 4.0 / 5.5 KW Motor monoblock pump set including replacement of Motor bush, Oil seal, bearings etc including dismantiling the existing pump, transportation to & for, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Repairing & Rewinding of 3 Phase 9.2 / 9.3 KW Motor monoblock pump set motor including replacement of Motor bush, Oil seal, bearings etc including dismantiling the existing pump, transportation to & for, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 2.00 | Job | 10.00 | 1500.00 | 3000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Repairing & Rewinding of 3 Phase 1.1/ 2.0 KW Motor Submersible pump set motor including replacement of Motor bush, Oil seal, bearings etc including dismantiling the existing pump, transportation to & for, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 4.00 | Job | 100.00 | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Repairing & Rewinding of 3 Phase 5.0/ 7.5 Hp Motor Submersible pump set motor including replacement of Motor bush, Oil seal, bearings etc including dismantiling the existing pump, transportation to & fro, re-installation, testing commissioning etc complete as required. (Dismantle copper wire, bushes etc. need not to be returned) | 4.00 | Job | 100.00 | 2000.00 | 8000.00 | 7000.00 | 28000.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 500.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Lifting and lowering of 5/7.5 HP submersible pump set from bore well upto the depth of 150 meter including replacement of bolts, gasket, arrangement of all required T&P and sundaries etc complete as required | 5.00 | Job | 10.00 | 7500.00 | 37500.00 | 4000.00 | 20000.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR, ABHISHEK INTEGRATIONS LIMITED
22.00 | Visit charges of service Engineer from Authorized Lab/ Specialised Agency as per approval of E-I-C for inspection of Sewage Treatment Plant. | 1.00 | Job | 10.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Removal of dry sludge from sludge bed of STP i/c disposal the same outside the airport premises etc as required. | 12.00 | Job | 100.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 1750.00 | 21000.00 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 12000.00 | M/s BHARAT ELECTRIC, NAGPUR
24.00 | Cleaning of all the tank of sewage treatment plant (i/c Collection tank, aeriation tank, chlorine contact tank, filter feed tank, treated water tank etc.) by removing all the waste material / sewage /mud and removal/disposal of waste material from the airport premises, complete as per site requirement. | 1.00 | Job | 100.00 | 10000.00 | 10000.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 40000.00 | 40000.00 | 55000.00 | 55000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | Complete servicing & overhauling of twin lobe air blower 200 m3/hr Capacity (Make: Everest, Model: M5075) i/c replacement of oil, oil seal, bearing and internal worn out parts but excluding suction filter etc. complete as required. | 1.00 | Job | 100.00 | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 2000.00 | Techno Electricals
26.00 | Supply & Replacement of activated carbon of 800 IV (Iondine value) grade in Activated Carbon Filter of STP. | 500.00 | Kg | 10.00 | 250.00 | 125000.00 | 140.00 | 70000.00 | 60.00 | 30000.00 | 40.00 | 20000.00 | 42.00 | 21000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
27.00 | Supply & Replacement of Sand & Gravel Media Sand Filter of STP. | 500.00 | Kg | 10.00 | 600.00 | 300000.00 | 210.00 | 105000.00 | 15.00 | 7500.00 | 10.00 | 5000.00 | 12.00 | 6000.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR
28.00 | Supply of Pressure Gauge (upto 14Kg/cm2) . | 2.00 | Each | 100.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 900.00 | 1800.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Supply of liquid chlorine (sodium hypo chloride) . | 500.00 | Kg | 100.00 | 50.00 | 25000.00 | 25.00 | 12500.00 | 50.00 | 25000.00 | 10.00 | 5000.00 | 15.00 | 7500.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR
30.00 | Supply of Jaggery(Gud) | 100.00 | Kg | 10.00 | 50.00 | 5000.00 | 25.00 | 2500.00 | 40.00 | 4000.00 | 25.00 | 2500.00 | 35.00 | 3500.00 | 2500.00 | ANAND AND COMPANTY, M/s BHARAT ELECTRIC, NAGPUR
31.00 | Supply of fetilizer Di-Ammonium Phosphate (DAP) &Urea. | 100.00 | Kg | 10.00 | 80.00 | 8000.00 | 20.00 | 2000.00 | 40.00 | 4000.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 2000.00 | ANAND AND COMPANTY
32.00 | Supply of Cow Dung. | 500.00 | Kg | 100.00 | 20.00 | 10000.00 | 8.00 | 4000.00 | 70.00 | 35000.00 | 10.00 | 5000.00 | 10.00 | 5000.00 | 4000.00 | ANAND AND COMPANTY
33.00 | Supply of TCCA-90 (Trychlo Iso Cynuric Acid). | 200.00 | Kg | 100.00 | 50.00 | 10000.00 | 300.00 | 60000.00 | 15.00 | 3000.00 | 100.00 | 20000.00 | 150.00 | 30000.00 | 3000.00 | Techno Electricals
34.00 | Testing of water from the approved test laboratory and submitting the test reports with following parameters: BOD, COD, TSS, O&G, PH value etc. i/c collecting the sample of incoming effluent/ treated water from the STP. | 12.00 | Job | 10.00 | 1000.00 | 12000.00 | 2500.00 | 30000.00 | 3000.00 | 36000.00 | 1000.00 | 12000.00 | 2000.00 | 24000.00 | 12000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, M/s BHARAT ELECTRIC, NAGPUR
35.00 | Cleaning of the water body (fountain tank) and keep it operation by removing all the waste material /mud and removal/disposal of waste material from the airport premises, complete as per site requirement. | 12.00 | Job | 100.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 1000.00 | 12000.00 | 1000.00 | 12000.00 | 500.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supply of Indian National Flag of size 30 ft X 20 ft made out of 100% shinny knitted polyester , washable and durable conforming to Flag code of India etc complete as required. | 5.00 | Each | 100.00 | 10000.00 | 50000.00 | 10000.00 | 50000.00 | 15000.00 | 75000.00 | 14000.00 | 70000.00 | 11500.00 | 57500.00 | 50000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ANAND AND COMPANTY
37.00 | Testing of R O water from the approved test laboratory and submitting the test reports with following parameters as per IS 10500: colour, dour, Taste, Turbidity, pH, Total hardness,Fe,CI,residual Chlorine,Fluoride,total Alakanity,TDS including microbiological test(Coli form,E.Coli) etc. i/c collecting the sample of incoming RAW/treated water from the RO. | 12.00 | Job | 100.00 | 1500.00 | 18000.00 | 1000.00 | 12000.00 | 3000.00 | 36000.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 12000.00 | ANAND AND COMPANTY
38.00 | Comprehensive maintenance of different make of 50 LPH Reverse Osmosis (RO) units (ONE JOB = ONE UNIT PER MONTH) including monthly visit of OEM/ authorised service partner and submit report etc. as per Inventory shown in Annexure-C. | 204.00 | Job | 10.00 | 750.00 | 153000.00 | 1500.00 | 306000.00 | 1000.00 | 204000.00 | 150.00 | 30600.00 | 350.00 | 71400.00 | 30600.00 | M/s BHARAT ELECTRIC, NAGPUR
39.00 | Comprehensive maintenance of different make water cooler of different capacity (upto 150 Ltr/150 Ltr capacity) for ONE UNIT PER MONTH. as per Inventory shown in Annexure-D. | 204.00 | Job | 10.00 | 750.00 | 153000.00 | 500.00 | 102000.00 | 500.00 | 102000.00 | 150.00 | 30600.00 | 150.00 | 30600.00 | 30600.00 | M/s BHARAT ELECTRIC, NAGPUR, ABHISHEK INTEGRATIONS LIMITED
40.00 | Supply of hand senitizer | 100.00 | Ltr | 10.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 125.00 | 12500.00 | 101.00 | 10100.00 | 116.00 | 11600.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
41.00 | CPWD - DSR 2018 ( E&M) Note: (i) The rate for this item has to be quoted carefully. (ii) The guidelines for quoting the rate for this item is mentioned in clause 25 (c) of Page GTT-4. | 100000.00 | Rs. | 100.00 | .50 | 50000.00 | .50 | 50000.00 | .75 | 75000.00 | .65 | 65000.00 | .75 | 75000.00 | 50000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 14018200.00 |  | 13378300.00 |  | 12817308.00 |  | 11548850.00 |  | 12060644.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(11548850.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of various E and M Installations including water cooler, fire alarm and Fire fighting system of Terminal -2 Building and Ancillary Building at Jaipur International Airport (2021-22) Tender ID: 2021_AAI_79924_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 11548850.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 12060644.00 | L2
| 3 | Techno Electricals | 12817308.00 | L3
| 4 | ANAND AND COMPANTY | 13378300.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 14018200.00 | L5