## BoQ1
Government eProcurement System Created By: AMIT JINDAL Created Date/Time: 23-Aug-2021 03:38 PM Tender Title: Resurfacing of Runway at Kullu Manali Airport. Tender ID: 2021_AAI_79952_1
Tender Inviting Authority: Asstt. General Manager (Engg-C), Airports Authority of India, Kangra Airport, Gaggal, Himachal Pradesh-176209
Name of Work: Resurfacing of Runway at Kullu Manali Airport.
Contract No/Tender ID: 2021_AAI_79952_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KOHINOOR CONSTRUCTION CO(GSTN-03BXBPS8355P1ZT) |  | H R CONSTRUCTION PRIVATE LIMITED(GSTN-09AABCH3113M2ZM) |  | Jagson Constructions Limited(GSTN-03AABCJ2040D1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works
1.01 | Construction of embankment at OMC (98% of Modified Dry Density)by providing good earth conforming to specifications, carriage of material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-In-Charge. | 1225.00 | Cum |  | 837.75 | 1026243.75 | 250.00 | 306250.00 | 900.00 | 1102500.00 | 306250.00 | H R CONSTRUCTION PRIVATE LIMITED
2.00 | Providing and applying tack coat using hot straight run bitumen of Viscosity grade VG-10 (80/100) confirming IS:73 including heating the bitumen, spraying the bitumen with mechanically operated spray unit fitted on bitumen boiler, cleaning and preparing the existing Runway/Road surface as per specifications complete in all respects as per direction of Engineer- In- Charge. If the actual quantity of bitumen varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity shall be done as per rate in actual supply voucher from nearest refinery at the time of execution. The rate of VG-10 bitumen exclusive of GST shall be cosidered for payment.
2.01 | a) 0.35Kg/Sqm on existing bituminous surface | 95890.00 | Sqm |  | 18.18 | 1743280.20 | 18.00 | 1726020.00 | 20.00 | 1917800.00 | 1726020.00 | H R CONSTRUCTION PRIVATE LIMITED
2.02 | b) 0.45Kg/Sqm on existing concrete surface | 2310.00 | Sqm |  | 23.00 | 53130.00 | 25.00 | 57750.00 | 24.00 | 55440.00 | 53130.00 | KOHINOOR CONSTRUCTION CO
3.00 | Providing and laying Dense Bituminous Macadam using crushed aggregates of specified grading premixed with 60/70 VG-30 grade bituminous binder and 2% cement filler (ordinary Portland Cement of grade 43 conforming to IS: 8112-1989/Pozzolana Portland Cement conforming to IS: 1489 (by weight of total aggregate) in proportion as per mix design for criteria specified, transporting the hot mix to work site, laying with a hydrostatic paver finisher with sensor control to the required grade, level and alignment, rolling with smooth wheeled, vibratory and tandem rollers to achieve the desired compactions as specified in technical specifications etc. complete in all respects (For tendering purpose bitumen content shall be taken as 110 Kg per cum of mix supplied in Bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material). | 600.00 | Cum |  | 8347.00 | 5008200.00 | 8350.00 | 5010000.00 | 9000.00 | 5400000.00 | 5008200.00 | KOHINOOR CONSTRUCTION CO
4.00 | Providing and laying of Hot Mix Semi Dense Asphaltic Concrete (SDAC) using crushed aggregates of specified grading premixed with 60/70 VG-30 grade bituminous binder and 2% cement filler (ordinary Portland Cement of grade 43 conforming to IS: 8112-1989/Pozzolana Portland Cement conforming to IS: 1489 (by weight of total aggregate) in proportion as per mix design for criteria specified, transporting the hot mix to work site, laying with a hydrostatic paver finisher with sensor control to the required grade, level, camber and alignment, rolling with smooth wheeled, vibratory and tandem rollers of adequate capacity to achieve the desired compactions as specified in technical specifications etc. complete in all respects (For tendering purpose bitumen content shall be taken as 120 Kg per cum of mix supplied in Bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material). | 2455.00 | Cum |  | 10877.00 | 26703035.00 | 8800.00 | 21604000.00 | 11500.00 | 28232500.00 | 21604000.00 | H R CONSTRUCTION PRIVATE LIMITED
5.00 | Providing and laying of Hot Mix Dense Asphaltic Concrete (DAC) using crushed aggregates of specified grading premixed with 60/70 VG-30 grade bituminous binder and 2% cement filler (ordinary Portland Cement of grade 43 conforming to IS: 8112-1989/Pozzolana Portland Cement conforming to IS: 1489 (by weight of total aggregate) in proportion as per mix design for criteria specified, transporting the hot mix to work site, laying with a hydrostatic paver finisher with sensor control to the required grade, level, camber and alignment, rolling with smooth wheeled, vibratory and tandem rollers of adequate capacity to achieve the desired compactions as specified in technical specifications etc. complete in all respects (For tendering purpose bitumen content shall be taken as 135 Kg per cum of mix supplied in Bulk produced by Govt. Refineries and 2% cement by weight of aggregates as filler material). | 1975.00 | Cum |  | 9585.00 | 18930375.00 | 9400.00 | 18565000.00 | 9900.00 | 19552500.00 | 18565000.00 | H R CONSTRUCTION PRIVATE LIMITED
6.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of ail dirt, scales, oil, grease and other foreign material etc. and lining out complete. : New work (Two or more coats) | 5520.00 | Sqm |  | 123.00 | 678960.00 | 150.00 | 828000.00 | 125.00 | 690000.00 | 678960.00 | KOHINOOR CONSTRUCTION CO
7.00 | Providing, laying and fixing of self adhesive glass fibre reinforcement grid of High modulus fibre glass of mesh size not exceeding 12.5mm X 12.5mm (Macceferri or equivalent make).The grid shall be pressed down fully with a rubber tired roller and glued to pavement surface. The grid being self adhesive does not require tack coat. The Longitudinal overlap should not be less than 250mm and transverse overlap i.e. at the end of the roll should not be less than 150mm. Over self adhesive glass fibre reinforcement, stress absorbing membrane inter layer (SAMI) shall be provided which shall comprise of a membrane of hot sprayed bitumen VG30 grade (supplied in Bulk)@ 1.4 kg/sqm and then treated with approximately 7.5 kg/sqm stone aggregate of 6 to 10 mm size. The stones will be spread in such a manner that 50% of the surface is covered. The item should be completed in all respect to the satisfaction of Engineer-in-Charge. | 2310.00 | Sqm |  | 213.00 | 492030.00 | 180.00 | 415800.00 | 215.00 | 496650.00 | 415800.00 | H R CONSTRUCTION PRIVATE LIMITED
8.00 | Electrical Works
9.00 | Dismentling of elevated MIRL/HIRL fitting (Make-Youyung) from the existing transformer housing box i/c removal of isolating transformer, lens, filters, lamps & other accessories and stacking the same carefully in the store at Kullu Manali Airport as required. | 142.00 | Each |  | 60.00 | 8520.00 | 2000.00 | 284000.00 | 65.00 | 9230.00 | 8520.00 | KOHINOOR CONSTRUCTION CO
10.00 | Supply & fixing of CI collar of outside dia 330 mm, 100 (+/-3%) mm height made of 10 mm thick all around except top & bottom surface which will be 15mm and having a clear opening of 220 mm hole centre and 6 nos holes tapped to receive M-10 stainless steel bolts at PCD of 260 mm to receive light fitting base plate bolts. The collar shall be fixed with existing CI housing box with 6 nos stainless steel bolts including suplying of 12 Nos. bolts and 2 Nos. gasket etc., complete as required. | 142.00 | Each |  | 3780.00 | 536760.00 | 2700.00 | 383400.00 | 3800.00 | 539600.00 | 383400.00 | H R CONSTRUCTION PRIVATE LIMITED
11.00 | Installation, testing & commissioning of elevated MIRL/HIRL fitting on the existing transformer housing box i/c installation of isolating transformer, lens, filters, lamps & other accessories, alignment levelling, making, transformer connections & earth connection etc. including bringing the existing fitting from the store to site as required. | 142.00 | P. Job |  | 121.00 | 17182.00 | 3500.00 | 497000.00 | 125.00 | 17750.00 | 17182.00 | KOHINOOR CONSTRUCTION CO
12.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/G.I.pipe/cable as required. | 50.00 | P. Mtr. |  | 30.00 | 1500.00 | 8.00 | 400.00 | 130.00 | 6500.00 | 400.00 | H R CONSTRUCTION PRIVATE LIMITED
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. (a) Upto 35 sq. mm | 50.00 | P. Mtr. |  | 300.00 | 15000.00 | 35.00 | 1750.00 | 310.00 | 15500.00 | 1750.00 | H R CONSTRUCTION PRIVATE LIMITED
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) Upto 35 sq. mm | 50.00 | P. Mtr. |  | 23.00 | 1150.00 | 35.00 | 1750.00 | 26.00 | 1300.00 | 1150.00 | KOHINOOR CONSTRUCTION CO
15.00 | Making field connections by crimping following size plug and receptacle with the existing single core PVC copper conductor cable including jelly and applying PVC insulation tape etc. complete as required (a) 6 or 16 Sq.mm | 30.00 | P. Set |  | 100.00 | 3000.00 | 800.00 | 24000.00 | 111.00 | 3330.00 | 3000.00 | KOHINOOR CONSTRUCTION CO
16.00 | Supply of 360' Outer Clear Lens dome suitable for existing Runway end 150 watt/ 6.6 Amp. Fitting of Youyang make etc. complete as required. | 20.00 | Each |  | 4077.00 | 81540.00 | 1500.00 | 30000.00 | 4200.00 | 84000.00 | 30000.00 | H R CONSTRUCTION PRIVATE LIMITED
17.00 | Supply of 150W, 6.6 A Bi Pin halogen Lamp base of GY9.5 type suitable for existing elevated RWY edge light fitting of Youyang make etc. complete as required. | 20.00 | Each |  | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 1250.00 | 25000.00 | 24000.00 | KOHINOOR CONSTRUCTION CO, H R CONSTRUCTION PRIVATE LIMITED
18.00 | Supply of 180 deg. filter Red Suitable for existing Runway edge light fitting of Youyang Make etc. complete as required. | 10.00 | Each |  | 1526.00 | 15260.00 | 4500.00 | 45000.00 | 1600.00 | 16000.00 | 15260.00 | KOHINOOR CONSTRUCTION CO
19.00 | Supply of 180 deg. filter Green Suitable for existing Runway edge light fitting of Youyang Make etc. complete as required. | 10.00 | Each |  | 1526.00 | 15260.00 | 4500.00 | 45000.00 | 1700.00 | 17000.00 | 15260.00 | KOHINOOR CONSTRUCTION CO
20.00 | Supply of 180 deg. filter yellow col Suitable for existing Runway edge light fitting of Youyang Make etc. complete as required. | 10.00 | Each |  | 1526.00 | 15260.00 | 4500.00 | 45000.00 | 1700.00 | 17000.00 | 15260.00 | KOHINOOR CONSTRUCTION CO
21.00 | Note :- Bid with NIL/Blank/N.A/ZERO/Negative percentage rate quoted in BOQ will be rejected out rightly without giving any reason whatsoever. It will be considered as non-responsive Bid.
| Total in Figures |  |  |  |  | 55369685.95 |  | 49894120.00 |  | 58199600.00
Lowest Amount Quoted BY: H R CONSTRUCTION PRIVATE LIMITED(49894120.00)

## BOQ Summary
BOQ Summary Details Tender Title: Resurfacing of Runway at Kullu Manali Airport. Tender ID: 2021_AAI_79952_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | H R CONSTRUCTION PRIVATE LIMITED | 49894120.00 | L1
| 2 | KOHINOOR CONSTRUCTION CO | 55369685.95 | L2
| 3 | Jagson Constructions Limited | 58199600.00 | L3