## BoQ1
Government eProcurement System Created By: Partha Samanta Created Date/Time: 25-Oct-2021 11:17 AM Tender Title: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport Tender ID: 2021_AAI_80004_2
Tender Inviting Authority: Joint General Manager IT Division, RHQ ER, Airports Authority of India
Name of Work: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Benchmark Infotech Services Pvt. Ltd.(GSTN-19AADCB0892P1Z4) |  | G S Computel Pvt Ltd(GSTN-19AACCG6323R1Z2) |  | Sandeep Tradex Pvt Ltd(GSTN-19AAECS0389R1ZI) |  | M2M Cybernetics Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Active Components
1.01 | Supply, Installation, Configuration, Testing & Commissioning of Point-to-Point Radio with 5-Years warranty | 1.00 | Pair |  | 488432.00 | 488432.00 | 565538.40 | 565538.40 | 131100.00 | 131100.00 | 628376.00 | 628376.00 | 131100.00 | Sandeep Tradex Pvt Ltd
1.02 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Controller with 5-year warranty | 1.00 | Nos. |  | 2426711.38 | 2426711.38 | 3000000.00 | 3000000.00 | 619541.00 | 619541.00 | 3122005.09 | 3122005.09 | 619541.00 | Sandeep Tradex Pvt Ltd
1.03 | Supply, Installation, Configuration, Testing & Commissioning of Wireless Access Point with 5-year warranty | 12.00 | Nos. |  | 100392.00 | 1204704.00 | 114948.84 | 1379386.08 | 85974.00 | 1031688.00 | 129156.00 | 1549872.00 | 1031688.00 | Sandeep Tradex Pvt Ltd
1.04 | Supply, Installation, Configuration, Testing & Commissioning of Online 2KVA UPS with integrated batteries 30 minutes back up time & 5-year warranty for ups & Batteries. | 6.00 | Nos. |  | 78854.00 | 473124.00 | 100000.00 | 600000.00 | 107152.00 | 642912.00 | 101447.00 | 608682.00 | 473124.00 | Benchmark Infotech Services Pvt. Ltd.
1.05 | Supply, Installation, Configuration, Testing & Commissioning of IP PBX with Redundant Server | 1.00 | Nos. |  | 3884264.38 | 3884264.38 | 5000000.00 | 5000000.00 | 2316998.00 | 2316998.00 | 4997171.59 | 4997171.59 | 2316998.00 | Sandeep Tradex Pvt Ltd
1.06 | SIP user licences | 100.00 | Nos. |  | 11748.00 | 1174800.00 | 12846.90 | 1284690.00 | 651.00 | 65100.00 | 15114.00 | 1511400.00 | 65100.00 | Sandeep Tradex Pvt Ltd
1.07 | Supply, Installation, Configuration, Testing & Commissioning of Management software (IP PBX) | 1.00 | Nos. |  | 281952.00 | 281952.00 | 326462.40 | 326462.40 | 17250.00 | 17250.00 | 362736.00 | 362736.00 | 17250.00 | Sandeep Tradex Pvt Ltd
1.08 | Supply, Installation, Configuration, Testing & Commissioning of Call recording facility in IP PBX | 1.00 | Nos. |  | 223212.00 | 223212.00 | 252706.08 | 252706.08 | 28750.00 | 28750.00 | 287166.00 | 287166.00 | 28750.00 | Sandeep Tradex Pvt Ltd
1.09 | Supply, Installation, Configuration, Testing & Commissioning of Billing software | 1.00 | Nos. |  | 404024.40 | 404024.40 | 421025.20 | 421025.20 | 19549.00 | 19549.00 | 519784.20 | 519784.20 | 19549.00 | Sandeep Tradex Pvt Ltd
1.10 | Supply, Installation, Configuration, Testing & Commissioning of Soft Operator Console with IP Phone, Operator and management console/device | 2.00 | Nos. |  | 502707.60 | 1005415.20 | 549730.53 | 1099461.06 | 60939.00 | 121878.00 | 646741.80 | 1293483.60 | 121878.00 | Sandeep Tradex Pvt Ltd
1.11 | Supply, Installation, Configuration, Testing & Commissioning of UPS 1 KVA | 2.00 | Nos. |  | 8722.00 | 17444.00 | 9425.64 | 18851.28 | 12075.00 | 24150.00 | 11221.00 | 22442.00 | 17444.00 | Benchmark Infotech Services Pvt. Ltd.
1.12 | Supply, Installation, Configuration, Testing & Commissioning of Low-End IP phones | 85.00 | Nos. |  | 14332.56 | 1218267.60 | 15120.05 | 1285203.88 | 12457.00 | 1058845.00 | 18439.08 | 1567321.80 | 1058845.00 | Sandeep Tradex Pvt Ltd
1.13 | Supply, Installation, Configuration, Testing & Commissioning of High-End video IP phones with inbuilt camera | 15.00 | Nos. |  | 63439.20 | 951588.00 | 71821.73 | 1077325.92 | 67077.00 | 1006155.00 | 81615.60 | 1224234.00 | 951588.00 | Benchmark Infotech Services Pvt. Ltd.
1.14 | Supply, Installation, Configuration, Testing & Commissioning of Online integrated 2 KVA UPS in HOT standby with 30 minutes backup | 2.00 | Nos. |  | 78854.00 | 157708.00 | 100000.00 | 200000.00 | 107152.00 | 214304.00 | 101447.00 | 202894.00 | 157708.00 | Benchmark Infotech Services Pvt. Ltd.
2.00 | Passive Components
2.01 | Supply of CAT6 UTP Cable (LSZH) | 2000.00 | Mtr. |  | 45.51 | 91029.20 | 47.43 | 94859.59 | 26.62 | 53240.00 | 58.56 | 117110.60 | 53240.00 | Sandeep Tradex Pvt Ltd
2.02 | Supply of CAT6 outdoor Cable (LSZH) | 300.00 | Mtr. |  | 110.89 | 33268.20 | 125.55 | 37664.09 | 51.75 | 15525.00 | 142.67 | 42800.10 | 15525.00 | Sandeep Tradex Pvt Ltd
2.03 | Supply of CAT6 Patch Cord 1Mtrs | 300.00 | Nos |  | 270.56 | 81168.00 | 288.91 | 86671.92 | 149.50 | 44850.00 | 348.08 | 104424.00 | 44850.00 | Sandeep Tradex Pvt Ltd
2.04 | Supply of CAT6 Patch Cord 2 Mtrs | 100.00 | Nos |  | 320.40 | 32040.00 | 329.76 | 32976.00 | 172.50 | 17250.00 | 412.20 | 41220.00 | 17250.00 | Sandeep Tradex Pvt Ltd
2.05 | Supply of CAT6 Patch Cord 5 Mtrs | 75.00 | Nos |  | 1005.70 | 75427.50 | 1022.14 | 76660.61 | 247.25 | 18543.75 | 1293.85 | 97038.75 | 18543.75 | Sandeep Tradex Pvt Ltd
2.06 | Supply of CAT6 I/O Module | 170.00 | Nos |  | 320.40 | 54468.00 | 354.49 | 60263.64 | 138.00 | 23460.00 | 412.20 | 70074.00 | 23460.00 | Sandeep Tradex Pvt Ltd
2.07 | Supply of Single Face plate | 50.00 | Nos |  | 85.44 | 4272.00 | 89.04 | 4451.76 | 57.50 | 2875.00 | 109.92 | 5496.00 | 2875.00 | Sandeep Tradex Pvt Ltd
2.08 | Supply of Dual Face plate | 10.00 | Nos |  | 99.68 | 996.80 | 101.31 | 1013.10 | 57.50 | 575.00 | 128.24 | 1282.40 | 575.00 | Sandeep Tradex Pvt Ltd
2.09 | Supply of RJ45 Connector | 200.00 | Nos |  | 67.64 | 13528.00 | 71.36 | 14271.28 | 5.75 | 1150.00 | 87.02 | 17404.00 | 1150.00 | Sandeep Tradex Pvt Ltd
2.10 | Supply, Installation, Configuration, Testing & Commissioning of Cat6 12 port Jack Panel (Un-Loaded) | 10.00 | Nos |  | 2759.00 | 27590.00 | 2768.61 | 27686.10 | 1437.50 | 14375.00 | 3549.50 | 35495.00 | 14375.00 | Sandeep Tradex Pvt Ltd
2.11 | Supply, Installation, Configuration, Testing & Commissioning of Cat6 24 port Jack Panel (Fully Loaded) | 16.00 | Nos |  | 10235.00 | 163760.00 | 12509.12 | 200146.00 | 4197.50 | 67160.00 | 13167.50 | 210680.00 | 67160.00 | Sandeep Tradex Pvt Ltd
2.12 | Supply of Outdoor OFC Cable 24 Core SM | 13000.00 | Mtr. |  | 293.70 | 3818100.00 | 279.61 | 3634917.00 | 126.00 | 1638000.00 | 377.85 | 4912050.00 | 1638000.00 | Sandeep Tradex Pvt Ltd
2.13 | Supply of Outdoor OFC Cable 12 Core SM | 3000.00 | Mtr. |  | 99.68 | 299040.00 | 97.46 | 292387.20 | 63.25 | 189750.00 | 128.24 | 384720.00 | 189750.00 | Sandeep Tradex Pvt Ltd
2.14 | Supply of Outdoor fibre Joint Enclosure for 24 Core | 15.00 | Nos |  | 15503.80 | 232557.00 | 16954.01 | 254310.22 | 51.75 | 776.25 | 19945.90 | 299188.50 | 776.25 | Sandeep Tradex Pvt Ltd
2.15 | Supply of Fiber Patch Cord (SM) (duplex 2 Mtr, LC-LC) | 100.00 | Nos |  | 2625.50 | 262550.00 | 2803.53 | 280353.25 | 1092.50 | 109250.00 | 3377.75 | 337775.00 | 109250.00 | Sandeep Tradex Pvt Ltd
2.16 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 12.00 | Nos |  | 29370.00 | 352440.00 | 30228.00 | 362736.00 | 14280.00 | 171360.00 | 37785.00 | 453420.00 | 171360.00 | Sandeep Tradex Pvt Ltd
2.17 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 48 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 7.00 | Nos |  | 52866.00 | 370062.00 | 55090.53 | 385633.71 | 24407.00 | 170849.00 | 68013.00 | 476091.00 | 170849.00 | Sandeep Tradex Pvt Ltd
2.18 | Supply, Installation, Configuration, Testing & Commissioning of Fully Loaded LIU for 96 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 3.00 | Nos |  | 111250.00 | 333750.00 | 111637.50 | 334912.50 | 62470.00 | 187410.00 | 143125.00 | 429375.00 | 187410.00 | Sandeep Tradex Pvt Ltd
3.00 | Network/Server Rack
3.01 | Supply, Installation, Configuration, Testing & Commissioning of Indoor Wall Mount 12U Rack with 5-year warranty | 4.00 | Nos. |  | 25777.96 | 103111.84 | 22551.37 | 90205.48 | 12615.00 | 50460.00 | 33163.78 | 132655.12 | 50460.00 | Sandeep Tradex Pvt Ltd
3.02 | Supply, Installation, Configuration, Testing & Commissioning of Indoor Wall Mount 15U Rack with 5-year warranty | 6.00 | Nos. |  | 27262.48 | 163574.88 | 29812.59 | 178875.56 | 13339.00 | 80034.00 | 35073.64 | 210441.84 | 80034.00 | Sandeep Tradex Pvt Ltd
3.03 | Supply, Installation, Configuration, Testing & Commissioning of indoor floor mount 27U Rack with 5-years warranty | 2.00 | Nos |  | 77118.50 | 154237.00 | 97229.96 | 194459.93 | 37739.00 | 75478.00 | 99214.25 | 198428.50 | 75478.00 | Sandeep Tradex Pvt Ltd
3.04 | Supply, Installation, Configuration, Testing & Commissioning of Smart Server Rack with 5-year warranty | 1.00 | Nos |  | 4926429.10 | 4926429.10 | 5640761.32 | 5640761.32 | 2675810.00 | 2675810.00 | 6337934.07 | 6337934.07 | 2675810.00 | Sandeep Tradex Pvt Ltd
4.00 | Other Miscellaneous Items
4.01 | Supply of Earthing copper cable | 200.00 | Mtrs. |  | 1068.00 | 213600.00 | 1112.94 | 222588.00 | 69.00 | 13800.00 | 1374.00 | 274800.00 | 13800.00 | Sandeep Tradex Pvt Ltd
4.02 | Supply of PVC back box | 60.00 | Nos |  | 89.00 | 5340.00 | 90.45 | 5427.30 | 57.50 | 3450.00 | 114.50 | 6870.00 | 3450.00 | Sandeep Tradex Pvt Ltd
4.03 | Supply of Console Cable & RS232 to USB Cable | 4.00 | Nos |  | 2670.00 | 10680.00 | 2541.90 | 10167.60 | 5175.00 | 20700.00 | 3435.00 | 13740.00 | 10167.60 | G S Computel Pvt Ltd
4.04 | Supply of PVC Flexible | 75.00 | Mtr. |  | 35.60 | 2670.00 | 34.35 | 2576.25 | 32.20 | 2415.00 | 45.80 | 3435.00 | 2415.00 | Sandeep Tradex Pvt Ltd
4.05 | Supply of Metal Flexible | 800.00 | Mtr. |  | 133.50 | 106800.00 | 125.38 | 100302.00 | 86.25 | 69000.00 | 171.75 | 137400.00 | 69000.00 | Sandeep Tradex Pvt Ltd
4.06 | Supply of HDPE Pipe | 10000.00 | Mtr. |  | 94.34 | 943400.00 | 97.10 | 970960.00 | 62.10 | 621000.00 | 121.37 | 1213700.00 | 621000.00 | Sandeep Tradex Pvt Ltd
4.07 | Supply of GI Conduit | 50.00 | Mtr. |  | 311.50 | 15575.00 | 300.56 | 15028.12 | 63.25 | 3162.50 | 400.75 | 20037.50 | 3162.50 | Sandeep Tradex Pvt Ltd
4.08 | Supply of PVC Channel | 100.00 | Mtr. |  | 62.30 | 6230.00 | 62.52 | 6251.70 | 80.50 | 8050.00 | 80.15 | 8015.00 | 6230.00 | Benchmark Infotech Services Pvt. Ltd.
4.09 | Supply of PVC Conduit | 100.00 | Mtr. |  | 53.40 | 5340.00 | 52.90 | 5289.90 | 40.25 | 4025.00 | 68.70 | 6870.00 | 4025.00 | Sandeep Tradex Pvt Ltd
4.10 | Supply of Box Channel (Min 4"X4") | 20.00 | Mtr. |  | 142.40 | 2848.00 | 139.23 | 2784.64 | 161.00 | 3220.00 | 183.20 | 3664.00 | 2784.64 | G S Computel Pvt Ltd
4.11 | Supply of MS cable Trays (6"x6") | 20.00 | Mtr. |  | 623.00 | 12460.00 | 601.12 | 12022.50 | 517.50 | 10350.00 | 801.50 | 16030.00 | 10350.00 | Sandeep Tradex Pvt Ltd
4.12 | Supply of MS-Pole - Usable height 6 Mtr | 2.00 | Nos. |  | 17800.00 | 35600.00 | 16946.00 | 33892.00 | 4025.00 | 8050.00 | 22900.00 | 45800.00 | 8050.00 | Sandeep Tradex Pvt Ltd
4.13 | Supply of OFC Route Marker - Concrete (For city side) | 15.00 | Nos. |  | 5696.00 | 85440.00 | 5349.44 | 80241.60 | 1725.00 | 25875.00 | 7328.00 | 109920.00 | 25875.00 | Sandeep Tradex Pvt Ltd
4.14 | Supply of OFC Route Marker - Frangible (Air side) | 170.00 | Nos. |  | 3916.00 | 665720.00 | 3627.36 | 616651.20 | 1437.50 | 244375.00 | 5038.00 | 856460.00 | 244375.00 | Sandeep Tradex Pvt Ltd
4.15 | Supply of Network multipurpose tool set kit with tool bag | 2.00 | Nos. |  | 8900.00 | 17800.00 | 8129.50 | 16259.00 | 5175.00 | 10350.00 | 11450.00 | 22900.00 | 10350.00 | Sandeep Tradex Pvt Ltd
4.16 | Supply of Fibre optic tools kit with tool bag | 2.00 | Nos. |  | 44500.00 | 89000.00 | 48662.50 | 97325.00 | 51750.00 | 103500.00 | 57250.00 | 114500.00 | 89000.00 | Benchmark Infotech Services Pvt. Ltd.
4.17 | Supply of aluminium ladder- (Height-6 Ft) | 1.00 | Nos. |  | 11570.00 | 11570.00 | 13098.80 | 13098.80 | 3450.00 | 3450.00 | 14885.00 | 14885.00 | 3450.00 | Sandeep Tradex Pvt Ltd
4.18 | Supply of aluminium ladder Height-10 ft | 1.00 | Nos. |  | 14240.00 | 14240.00 | 14472.80 | 14472.80 | 6900.00 | 6900.00 | 18320.00 | 18320.00 | 6900.00 | Sandeep Tradex Pvt Ltd
5.00 | Services
5.01 | Laying of CAT6/CAT6A UTP/ Outdoor /STP Cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall/building shaft/false ceiling etc. | 2300.00 | Mtr. |  | 48.06 | 110538.00 | 47.61 | 109500.93 | 31.05 | 71415.00 | 61.83 | 142209.00 | 71415.00 | Sandeep Tradex Pvt Ltd
5.02 | Fixing, Termination, Testing and Commissioning of IO Box (Single Module) including Back box & Face plate with Marking | 50.00 | Nos. |  | 35.60 | 1780.00 | 40.30 | 2015.20 | 31.05 | 1552.50 | 45.80 | 2290.00 | 1552.50 | Sandeep Tradex Pvt Ltd
5.03 | Fixing, Termination, Testing and Commissioning of IO Box (Dual Module) including Back box & Face plate with Marking | 10.00 | Nos. |  | 35.60 | 356.00 | 37.56 | 375.56 | 31.05 | 310.50 | 45.80 | 458.00 | 310.50 | Sandeep Tradex Pvt Ltd
5.04 | Crimping and Testing of RJ45 Connector with Marking | 200.00 | Nos. |  | 17.80 | 3560.00 | 17.17 | 3435.00 | 11.05 | 2210.00 | 22.90 | 4580.00 | 2210.00 | Sandeep Tradex Pvt Ltd
5.05 | Laying of Outdoor OFC Cable 12 core/24 Core SM through HDPE Pipe/ GI Conduit/Raceway/ Cable Tray/building/trench/building shaft, roof etc. | 16000.00 | Mtr. |  | 44.50 | 712000.00 | 47.52 | 760280.00 | 40.25 | 644000.00 | 57.25 | 916000.00 | 644000.00 | Sandeep Tradex Pvt Ltd
5.06 | Fixing, Termination, Testing and Commissioning of Outdoor Enclosure for 24 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 15.00 | Nos. |  | 8900.00 | 133500.00 | 9618.00 | 144270.00 | 10350.00 | 155250.00 | 11450.00 | 171750.00 | 133500.00 | Benchmark Infotech Services Pvt. Ltd.
5.07 | Laying of PVC/ Metal Flexible | 875.00 | Mtr. |  | 115.70 | 101237.50 | 117.59 | 102892.56 | 19.55 | 17106.25 | 148.85 | 130243.75 | 17106.25 | Sandeep Tradex Pvt Ltd
5.08 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/ Cable Tray/ Existing Trench/shaft etc. | 1000.00 | Mtr. |  | 26.70 | 26700.00 | 27.82 | 27823.50 | 48.30 | 48300.00 | 34.35 | 34350.00 | 26700.00 | Benchmark Infotech Services Pvt. Ltd.
5.09 | Laying of HDPE Pipe/ GI Conduit through Soft Soil digging and back filling with sand & brick | 500.00 | Mtr. |  | 160.20 | 80100.00 | 162.82 | 81409.50 | 373.75 | 186875.00 | 206.10 | 103050.00 | 80100.00 | Benchmark Infotech Services Pvt. Ltd.
5.10 | Laying of HDPE Pipe/ GI Conduit through Hard Soil digging and back filling with sand & brick | 500.00 | Mtr. |  | 534.00 | 267000.00 | 535.86 | 267930.00 | 517.50 | 258750.00 | 687.00 | 343500.00 | 258750.00 | Sandeep Tradex Pvt Ltd
5.11 | Laying of HDPE Pipe/ GI Conduit through Concrete cutting and back filling with sand & brick including restoration of Concrete | 100.00 | Mtr. |  | 979.00 | 97900.00 | 1120.95 | 112095.50 | 517.50 | 51750.00 | 1259.50 | 125950.00 | 51750.00 | Sandeep Tradex Pvt Ltd
5.12 | Laying of HDPE Pipe/ GI Conduit through Road cutting and back filling with sand & brick including restoration of Road | 100.00 | Mtr. |  | 623.00 | 62300.00 | 545.02 | 54502.00 | 517.50 | 51750.00 | 801.50 | 80150.00 | 51750.00 | Sandeep Tradex Pvt Ltd
5.13 | Laying of HDPE Pipe/ GI Conduit through Micro- Tunnelling (HDD) | 9000.00 | Mtr. |  | 845.50 | 7609500.00 | 815.81 | 7342312.50 | 203.55 | 1831950.00 | 1087.75 | 9789750.00 | 1831950.00 | Sandeep Tradex Pvt Ltd
5.14 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling/shaft etc. | 220.00 | Mtr. |  | 124.60 | 27412.00 | 134.65 | 29623.44 | 42.55 | 9361.00 | 160.30 | 35266.00 | 9361.00 | Sandeep Tradex Pvt Ltd
5.15 | Laying/Fixing of cable Tray through Wall/Trench/Ceiling/shaft etc including required accessories | 20.00 | Mtr. |  | 53.40 | 1068.00 | 63.20 | 1264.08 | 28.75 | 575.00 | 68.70 | 1374.00 | 575.00 | Sandeep Tradex Pvt Ltd
5.16 | Installation of MS-Pole - 6 Mtr | 2.00 | Nos. |  | 5696.00 | 11392.00 | 6008.96 | 12017.92 | 5175.00 | 10350.00 | 7328.00 | 14656.00 | 10350.00 | Sandeep Tradex Pvt Ltd
5.17 | Installation of OFC Route Marker - Concrete | 15.00 | Nos. |  | 534.00 | 8010.00 | 487.77 | 7316.55 | 172.50 | 2587.50 | 687.00 | 10305.00 | 2587.50 | Sandeep Tradex Pvt Ltd
5.18 | Installation of OFC Route Marker - Frangible | 170.00 | Nos. |  | 534.00 | 90780.00 | 460.29 | 78249.30 | 115.00 | 19550.00 | 687.00 | 116790.00 | 19550.00 | Sandeep Tradex Pvt Ltd
5.19 | Laying of earthing cable through wall/conduit/Box chanel/cable tray | 200.00 | Mtrs. |  | 213.60 | 42720.00 | 214.34 | 42868.80 | 28.75 | 5750.00 | 274.80 | 54960.00 | 5750.00 | Sandeep Tradex Pvt Ltd
5.20 | Supply, Fixing & Installation of Manhole Chambers along with Cover | 40.00 | Nos. |  | 21360.00 | 854400.00 | 24182.40 | 967296.00 | 4945.00 | 197800.00 | 27480.00 | 1099200.00 | 197800.00 | Sandeep Tradex Pvt Ltd
5.21 | OTDR & Report Submission | 1.00 | Job |  | 89000.00 | 89000.00 | 85875.00 | 85875.00 | 57500.00 | 57500.00 | 114500.00 | 114500.00 | 57500.00 | Sandeep Tradex Pvt Ltd
5.22 | Penta Scan & Report Submission for UTP Cable for entire solution | 1.00 | Job |  | 89000.00 | 89000.00 | 50380.00 | 50380.00 | 52661.75 | 52661.75 | 114500.00 | 114500.00 | 50380.00 | G S Computel Pvt Ltd
5.23 | Complete documentation, Design, Testing & Commissioning of Entire Solution | 1.00 | Job |  | 267000.00 | 267000.00 | 267930.00 | 267930.00 | 223000.00 | 223000.00 | 343500.00 | 343500.00 | 223000.00 | Sandeep Tradex Pvt Ltd
5.24 | Training on IP PBX, Management & Billing Software | 1.00 | Job |  | 71200.00 | 71200.00 | 74196.00 | 74196.00 | 31571.00 | 31571.00 | 91600.00 | 91600.00 | 31571.00 | Sandeep Tradex Pvt Ltd
| Total in Figures |  |  |  |  | 38507812.98 |  | 41648064.32 |  | 17999999.00 |  | 49540950.41
Lowest Amount Quoted BY: Sandeep Tradex Pvt Ltd(17999999.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension and Establishment of IT infrastructure for upcoming ATC Tower cum Technical Block at Gaya Airport Tender ID: 2021_AAI_80004_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sandeep Tradex Pvt Ltd | 17999999.00 | L1
| 2 | Benchmark Infotech Services Pvt. Ltd. | 38507812.98 | L2
| 3 | G S Computel Pvt Ltd | 41648064.32 | L3
| 4 | M2M Cybernetics Private Limited | 49540950.41 | L4