## BoQ1
Government eProcurement System Created By: Rupsingh Kanoj Created Date/Time: 16-Jul-2021 05:43 PM Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2021-22. Tender ID: 2021_AAI_80074_1
Tender Inviting Authority: Airports Authority of India
Name of Work:ARMO of Electrical and Mechanical installation at civil enclave Bareilly for year 2021-22.
Contract No: 2021_AAI_80074
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | M/S ALOK SRIVASTAVA(GSTN-09AQAPS0367G1ZS) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | HINDUSTAN VIDYUT UDYOG(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE
1.01 | Terminal and Associate Building
1.02 | Operation & routine/preventive Maintenance of various Electrical & Mechanical Installations as mentioned below. 1) Terminal Building and Associate Buildings - Internal and External E& M installation having HVAC , Conveyor Belt, Fire Alarm System , Water Coolers , Automatic Sliding Doors , Signages , light fixtures etc. 2)11 KV Substation , DG set of capacity 2x500 KVA, 1x125 KVA and 1x62.5 KVA , WTP , Pump Room comprising of pnematic water supply system and fire fighting pumps . 3) Electrically operated Trolley Gate , Boom Barrier and 30 KLD STP. The above installations is to be operated , involving minor repairs/maintenance, cleaning etc. ensuring servicibility/satisfactory working condition of the systems, maintenance of records/ documents etc. as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays as required by deputing following minimum manpower per day. a) Operator for HVAC,Trolley Gate,Substation and Internal and External E&M installations as Electrician(Skilled)-03No. b) Operator for STP,WTP,Pumps as Semi Skilled -01 No. c) Helper (Unskilled)- 02 No . Note : Contractor has to provide releiver for the weekly off/holiday for the above mentioned staff. | 12.00 | Months |  | 142746.00 | 1712952.00 | 128111.00 | 1537332.00 | 117500.00 | 1410000.00 | 125000.00 | 1500000.00 | 130946.00 | 1571352.00 | 133000.00 | 1596000.00 | 128750.00 | 1545000.00 | 120000.00 | 1440000.00 | 130000.00 | 1560000.00 | 1410000.00 | M/S ALOK SRIVASTAVA
2.00 | Supply of consumable items for the operation of STP and WTP as and when required.
2.01 | Micrograms | 760.00 | Liter |  | 25.00 | 19000.00 | 400.00 | 304000.00 | 115.00 | 87400.00 | 20.00 | 15200.00 | 80.00 | 60800.00 | 40.00 | 30400.00 | 525.00 | 399000.00 | 120.00 | 91200.00 | 50.00 | 38000.00 | 15200.00 | NATIONAL SAFETY ENGINEERS
2.02 | Urea | 2280.00 | Kg |  | 5.00 | 11400.00 | 10.00 | 22800.00 | 8.00 | 18240.00 | 30.00 | 68400.00 | 20.00 | 45600.00 | 65.00 | 148200.00 | 5.50 | 12540.00 | 6.00 | 13680.00 | 40.00 | 91200.00 | 11400.00 | Anoop Refrigeration
2.03 | DAP | 1900.00 | Kg |  | 17.00 | 32300.00 | 34.40 | 65360.00 | 20.00 | 38000.00 | 30.00 | 57000.00 | 50.00 | 95000.00 | 40.00 | 76000.00 | 25.00 | 47500.00 | 22.00 | 41800.00 | 40.00 | 76000.00 | 32300.00 | Anoop Refrigeration
2.04 | Jaggery | 2280.00 | Kg |  | 21.50 | 49020.00 | 28.50 | 64980.00 | 20.00 | 45600.00 | 60.00 | 136800.00 | 35.00 | 79800.00 | 25.00 | 57000.00 | 30.00 | 68400.00 | 150.00 | 342000.00 | 25.00 | 57000.00 | 45600.00 | M/S ALOK SRIVASTAVA
2.05 | Sodium Hypochlorite (For STP-760 Ltr +WTP-150 Ltr ) | 910.00 | Liter |  | 20.00 | 18200.00 | 28.75 | 26162.50 | 10.00 | 9100.00 | 25.00 | 22750.00 | 120.00 | 109200.00 | 100.00 | 91000.00 | 50.00 | 45500.00 | 15.00 | 13650.00 | 50.00 | 45500.00 | 9100.00 | M/S ALOK SRIVASTAVA
2.06 | Salt for WTP | 200.00 | Kg |  | 9.00 | 1800.00 | 6.00 | 1200.00 | 5.00 | 1000.00 | 10.00 | 2000.00 | 12.00 | 2400.00 | 10.00 | 2000.00 | 15.00 | 3000.00 | 2.00 | 400.00 | 10.00 | 2000.00 | 400.00 | M K ENTERPRISES
3.00 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis.
3.01 | Skilled | 20.00 | Day |  | 714.00 | 14280.00 | 790.00 | 15800.00 | 609.00 | 12180.00 | 700.00 | 14000.00 | 820.00 | 16400.00 | 714.00 | 14280.00 | 750.00 | 15000.00 | 750.00 | 15000.00 | 1000.00 | 20000.00 | 12180.00 | M/S ALOK SRIVASTAVA
3.02 | Un-Skilled workmen | 20.00 | Day |  | 539.00 | 10780.00 | 592.00 | 11840.00 | 431.00 | 8620.00 | 495.00 | 9900.00 | 620.00 | 12400.00 | 539.00 | 10780.00 | 630.00 | 12600.00 | 560.00 | 11200.00 | 750.00 | 15000.00 | 8620.00 | M/S ALOK SRIVASTAVA
4.00 | Visit of Technician as and when required basis for the repair and rectification of the defect of 2TR , 4 way (Cassette type ) Inverter type Split AC of Toshiba make / Water Cooler of capacity 40/80 Lts of Make Blue Star. ( excluding the replacement of defective parts) | 5.00 | Each |  | 500.00 | 2500.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 995.00 | 4975.00 | 1500.00 | 7500.00 | 3000.00 | 15000.00 | 2500.00 | Anoop Refrigeration
5.00 | Annual Comprehensive maintenance of fire detection and alarm system,comprising of Agni make microcontrolled based convetional fire alarm panel,detectors(52 Nos) ,response indiacotor , hooter (11Nos) , MCP (11Nos.) with complete circuit wiring and batteries etc. i/c cleaning of detectors and maintain the overall working of fire alarm system complete as required . | 12.00 | Month |  | 2750.00 | 33000.00 | 3500.00 | 42000.00 | 3000.00 | 36000.00 | 2000.00 | 24000.00 | 8000.00 | 96000.00 | 5000.00 | 60000.00 | 2950.00 | 35400.00 | 20000.00 | 240000.00 | 10000.00 | 120000.00 | 24000.00 | NATIONAL SAFETY ENGINEERS
6.00 | SH-II: SUPPLY OF CONSUMABLE ITEMS (As and when required basis )
6.01 | Flame retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade confirming to IS:694/1990 with latest amendments of following size:
6.02 | 1 x 1.5 sqmm (90 mtr coil) | 1.00 | Each |  | 900.00 | 900.00 | 1635.00 | 1635.00 | 1200.00 | 1200.00 | 600.00 | 600.00 | 1400.00 | 1400.00 | 100.00 | 100.00 | 1390.00 | 1390.00 | 1500.00 | 1500.00 | 1700.00 | 1700.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.03 | 1 x 2.5 sqmm ( 90 mtr coil ) | 1.00 | Each |  | 1600.00 | 1600.00 | 2711.00 | 2711.00 | 1400.00 | 1400.00 | 700.00 | 700.00 | 2600.00 | 2600.00 | 100.00 | 100.00 | 2240.00 | 2240.00 | 2200.00 | 2200.00 | 2500.00 | 2500.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.04 | 1 x 4.0 sqmm (90 mtr coil) | 1.00 | Each |  | 2900.00 | 2900.00 | 4167.00 | 4167.00 | 2200.00 | 2200.00 | 900.00 | 900.00 | 3200.00 | 3200.00 | 100.00 | 100.00 | 3135.00 | 3135.00 | 3300.00 | 3300.00 | 3700.00 | 3700.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
6.05 | 3 x 2.5 sqmm (100 Mtr Coil ) Flexible | 1.00 | Each |  | 4850.00 | 4850.00 | 8929.00 | 8929.00 | 55.00 | 55.00 | 1000.00 | 1000.00 | 12000.00 | 12000.00 | 100.00 | 100.00 | 8120.00 | 8120.00 | 7000.00 | 7000.00 | 10400.00 | 10400.00 | 55.00 | M/S ALOK SRIVASTAVA
7.00 | 3 Pin top 6 A | 5.00 | Each |  | 55.00 | 275.00 | 27.50 | 137.50 | 50.00 | 250.00 | 15.00 | 75.00 | 30.00 | 150.00 | 10.00 | 50.00 | 40.00 | 200.00 | 100.00 | 500.00 | 100.00 | 500.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
8.00 | 3 Pin top 16 A | 5.00 | Each |  | 75.00 | 375.00 | 49.50 | 247.50 | 50.00 | 250.00 | 30.00 | 150.00 | 40.00 | 200.00 | 10.00 | 50.00 | 70.00 | 350.00 | 130.00 | 650.00 | 160.00 | 800.00 | 50.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | 20A & 10A Switch Socket combined Unit | 6.00 | Each |  | 250.00 | 1500.00 | 236.00 | 1416.00 | 60.00 | 360.00 | 50.00 | 300.00 | 220.00 | 1320.00 | 1.00 | 6.00 | 135.00 | 810.00 | 220.00 | 1320.00 | 500.00 | 3000.00 | 6.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | PVC Tape | 50.00 | Each |  | 12.00 | 600.00 | 12.00 | 600.00 | 10.00 | 500.00 | 10.00 | 500.00 | 10.00 | 500.00 | 2.00 | 100.00 | 9.00 | 450.00 | 9.00 | 450.00 | 15.00 | 750.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | Replacement of following defective LED fitting driver.
11.01 | Driver of 22 W | 5.00 | Each |  | 400.00 | 2000.00 | 650.00 | 3250.00 | 600.00 | 3000.00 | 300.00 | 1500.00 | 1200.00 | 6000.00 | 50.00 | 250.00 | 280.00 | 1400.00 | 150.00 | 750.00 | 1000.00 | 5000.00 | 250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.02 | Driver of 36/40 W | 5.00 | Each |  | 600.00 | 3000.00 | 850.00 | 4250.00 | 800.00 | 4000.00 | 400.00 | 2000.00 | 1200.00 | 6000.00 | 50.00 | 250.00 | 330.00 | 1650.00 | 250.00 | 1250.00 | 2000.00 | 10000.00 | 250.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | SH-III: DSR ITEMS
12.01 | Execution of works as per requirement of site from CPWD schedule of rates (Electrical DSR-2018) as per CPWD specifications completed as required .(Total amount of Rs 50000.00 (exclusive of GST ) is kept for DSR items -2018) [ (Note- Rate of DSR items shall be quoted against total amount of Rs 50000.00 (Fifty Thousand ) in figures excluding GST which shall be converted in the percentage (above/below ) and rate of DSR items shall be taken exclusive of GST (basic rate ) on which payment shall be made considering percentage above /below rate quoted against Rs 50,000.00 .] | 1.00 | Job |  | 26500.00 | 26500.00 | 60000.00 | 60000.00 | 30000.00 | 30000.00 | 40000.00 | 40000.00 | 49525.00 | 49525.00 | 40000.00 | 40000.00 | 31000.00 | 31000.00 | 47000.00 | 47000.00 | 70000.00 | 70000.00 | 26500.00 | Anoop Refrigeration
| Total in Figures |  |  |  |  | 1949732.00 |  | 2193817.50 |  | 1716855.00 |  | 1902775.00 |  | 2191847.00 |  | 2151766.00 |  | 2239660.00 |  | 2282350.00 |  | 2148050.00
Lowest Amount Quoted BY: M/S ALOK SRIVASTAVA(1716855.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical installation at Civil Airport Bareilly for year 2021-22. Tender ID: 2021_AAI_80074_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ALOK SRIVASTAVA | 1716855.00 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 1902775.00 | L2
| 3 | Anoop Refrigeration | 1949732.00 | L3
| 4 | HINDUSTAN VIDYUT UDYOG | 2148050.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 2151766.00 | L5
| 6 | Manish Electricals | 2191847.00 | L6
| 7 | BR Power Control and Automation Services | 2193817.50 | L7
| 8 | Awasthi Electric Works | 2239660.00 | L8
| 9 | M K ENTERPRISES | 2282350.00 | L9