## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 20-Jul-2021 04:05 PM Tender Title: SITC of UPS and allied Electrical Works in Ceremony lounge at Chennai International Airport. Tender ID: 2021_AAI_80543_1
Tender Inviting Authority: Jt. General Manager (Engg. – Electrical)-II
Name of Work: SITC of UPS and allied Electrical Works at Ceremony lounge in Chennai International Airport.
Contract No: AAM/ENGG (E)/AMED-IX/CISF/UPS/2020-21/4
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | SENTHIL ENGINEERING CONTRACTORS(GSTN-33AADHM1672F1ZI) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 10KVA, 3Ph-3Ph IGBT based double conversion online UPS system with 12V 65Ah - 20 Nos SMF batteries for backup and with battery rack, etc compatible with DG Set & confirming to tender technical Specification. UPS OEM must have authorised service center at chennai. | 1.00 | Set | 100.00 | 352000.00 | 352000.00 | 450000.00 | 450000.00 | 400000.00 | 400000.00 | 352000.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted,inclusive of 100 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incomer ) as required (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) (TPN 4 (8+12) Way MCB DB double door) | 1.00 | Nos | 100.00 | 6700.00 | 6700.00 | 11286.00 | 11286.00 | 15000.00 | 15000.00 | 6700.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Supplying of following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, complete with tinned copper bus bar,neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (SPN 8 Way MCB DB double door) | 3.00 | Nos | 10.00 | 1400.00 | 4200.00 | 1128.60 | 3385.80 | 3500.00 | 10500.00 | 3385.80 | SENTHIL ENGINEERING CONTRACTORS
4.00 | Supplying and fixing following rating, 415 volts, MCB, C curve, 10KA in the existing MCB DB complete with connections, testing and commissioning etc., as required
4.10 | 20A FP MCB | 1.00 | Nos | 10.00 | 1100.00 | 1100.00 | 940.50 | 940.50 | 3500.00 | 3500.00 | 940.50 | SENTHIL ENGINEERING CONTRACTORS
4.20 | 16A TP MCB | 5.00 | Nos | 10.00 | 840.00 | 4200.00 | 940.50 | 4702.50 | 3500.00 | 17500.00 | 4200.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Supplying and fixing of 5 amps to 32 amps rating, 240/415 volts, "C" curve,10KA miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 30.00 | Nos | 10.00 | 130.00 | 3900.00 | 103.46 | 3103.80 | 350.00 | 10500.00 | 3103.80 | SENTHIL ENGINEERING CONTRACTORS
6.00 | Supplying and fixing of 5 amps to 32 amps rating, 240/415 volts, "C" curve,10KA miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 3.00 | Nos | 10.00 | 460.00 | 1380.00 | 470.25 | 1410.75 | 999.00 | 2997.00 | 1380.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supply of Copper Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required. 4core 4 sqmm | 185.00 | Mtrs | 10.00 | 235.00 | 43475.00 | 265.12 | 49047.20 | 350.00 | 64750.00 | 43475.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Supply and Installation of 63A 4P ON Load Change Over switch operating on 3-PHASE, 415volt, 50HZ, with enclosure etc. as required. | 1.00 | Set | 10.00 | 4500.00 | 4500.00 | 5425.64 | 5425.64 | 3000.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Laying of 4 core 4 sqmm Copper armoured cable over existing false ceiling in cermony lounge with ceiling supports where ever possible;Including cutting of the false ceiling for entry and exit of the cable;carrying false ceiling work for the cut portion and any other portion damaged during laying of the cable, including applying putty and colour for the damaged false ceiling. | 185.00 | Mtrs | 10.00 | 50.00 | 9250.00 | 141.08 | 26099.80 | 70.00 | 12950.00 | 9250.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Laying of 4 core 4 sqmm Copper armoured cable in suitable dia 2mm thick PVC pipe and concealing the pipe in wall; including chipping the wall, plastering, applying putty and painting it matching with existing wall colour. | 25.00 | Mtrs | 10.00 | 260.00 | 6500.00 | 940.50 | 23512.50 | 150.00 | 3750.00 | 3750.00 | DElite System Engineering (India) Pvt. Ltd.
11.00 | Installtion of SPN double door 8way DB by concealing it(flush mounting) in wall;including chipping the wall, plastering, applying putty and painting it matching with existing wall colour. | 3.00 | job | 10.00 | 200.00 | 600.00 | 1881.00 | 5643.00 | 2000.00 | 6000.00 | 600.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.00 | Removing the existing light point wiring from the existing DB and terminating the same in the newly installed SPN DB's adjacent to the existing DB'S. Routing of all the wires shall be through 2mm thick PVC PIPE of suitable dia concealed in wall;including chipping the wall, plastering, applying putty and painting it matching with existing wall colour. | 3.00 | job | 10.00 | 2500.00 | 7500.00 | 3600.00 | 10800.00 | 3500.00 | 10500.00 | 7500.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | Supplying and making end termination with brass compression gland and aluminium lugs for 4x4 sqmm of PVC insulated and PVC sheathed / XLPE Copper conductor cable of 1.1 KV grade as required. | 10.00 | Nos | 10.00 | 300.00 | 3000.00 | 940.50 | 9405.00 | 600.00 | 6000.00 | 3000.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 448305.00 |  | 604762.49 |  | 566947.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(448305.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of UPS and allied Electrical Works in Ceremony lounge at Chennai International Airport. Tender ID: 2021_AAI_80543_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 448305.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 566947.00 | L2
| 3 | SENTHIL ENGINEERING CONTRACTORS | 604762.49 | L3