## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 06-Oct-2021 12:19 PM Tender Title: Job contract for Operation and Maintenance of EandM Installations Various Capacity of DG Sets and CMC of split ACs at Jamshedpur RCAG for the year Tender ID: 2021_AAI_80593_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Job contract for Operation & Maintenance of E&M Installations ,Various Capacity of DG Sets & CMC of split AC"s at Jamshedpur RCAG for the year 2021-22.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Maintenance Services of Electrical & Mechanical Installations viz power supply system, transformers, LT panels, Fire Alarm sytem with auto dialler facility ,DG sets.covering the scope of operation, repairs & maintenance, attending faults / breakdowns rectifications, ensuring serviceability / satifactory working condition of the systems, preventive maintenance on daily/ weekly/monthly/ quarterly/ halfyearly/yearly basis, maintenance of records/documentation etc. as per scope of work given in special conditions of contract shall be ensured round the clock by the aduquate manpower (i.e. in three shifts basis, each shift of 8 hours) on all days including Sundays & Holidays at DVOR & offices site at jamshedpur & as per direction of EIC. | 12.00 | Month |  | 134000.00 | 1608000.00 | 122881.00 | 1474572.00 | 133786.00 | 1605432.00 | 1474572.00 | Anoop Refrigeration
2.00 | Annual maintenance contract of following make DG sets ( Engine+Panel) including AMF panel with other accessories from OEM/authorised service agencies. Job includes monthly visit for carrying out preventive maintenance & attending any number of breakdown calls as & when required , minor repairs etc. as per manufacturer"s recomondations/standard practice and as per the scope of work, complete as required. 25KVA Kirloskar (Liquid) RB33SRI, Kirloskar Green Brushless 3 Phase AC soundproof acoustic canopy Generator at DVOR.-02 NOs (KOEL & MAHINDRA) & Office-01 no. (MAHINDRA). | 12.00 | Month |  | 3500.00 | 42000.00 | 1500.00 | 18000.00 | 12000.00 | 144000.00 | 18000.00 | Anoop Refrigeration
3.00 | Supply of B-Checks kit & carried out of B-Check of 25 KVA Kirloskar make 3 phase AC soundproof Generator at DVOR.- 01 no. B- Check kit consist of following items . (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. (make- KOEL). | 2.00 | Job |  | 2500.00 | 5000.00 | 3300.00 | 6600.00 | 5000.00 | 10000.00 | 5000.00 | M/S AMAR ENTERPRISES
4.00 | Supply of B-Checks kit & carried out of B-Check of 25 KVA Mahindra make 3 phase AC soundproof Generator at Office & DVOR.- 02 NOS. B- Check kit consist of following items . (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. (Make-mahindra). | 4.00 | Job |  | 2500.00 | 10000.00 | 3300.00 | 13200.00 | 5000.00 | 20000.00 | 10000.00 | M/S AMAR ENTERPRISES
5.00 | Annual comprahensive Maintenance of different make & capacities of split AC's & purifier system i/c sabilizers( if have) etc as required & as per the special condition of contract.
5.01 | 1 phase 1.5 ton split AC | 11.00 | each/year |  | 5000.00 | 55000.00 | 3675.00 | 40425.00 | 4500.00 | 49500.00 | 40425.00 | Anoop Refrigeration
5.02 | Water purifier System (12-15 ltr) | 1.00 | each/year |  | 4000.00 | 4000.00 | 8000.00 | 8000.00 | 4000.00 | 4000.00 | 4000.00 | M/S AMAR ENTERPRISES, Manish Electricals
| Total in Figures |  |  |  |  | 1724000.00 |  | 1560797.00 |  | 1832932.00
Lowest Amount Quoted BY: Anoop Refrigeration(1560797.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for Operation and Maintenance of EandM Installations Various Capacity of DG Sets and CMC of split ACs at Jamshedpur RCAG for the year Tender ID: 2021_AAI_80593_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anoop Refrigeration | 1560797.00 | L1
| 2 | M/S AMAR ENTERPRISES | 1724000.00 | L2
| 3 | Manish Electricals | 1832932.00 | L3