## BoQ1
Government eProcurement System Created By: SUDHAKARA NAIK Created Date/Time: 16-Jul-2021 03:13 PM Tender Title: (ARMO 2021-22) Supply of Electrical Spares at Belagavi Airport Tender ID: 2021_AAI_80726_1
Tender Inviting Authority: Assistant General Manager (Engg-E), AAI, Belagavi Airport. Contact No.- 9513303290
Name of Work: (ARMO 2021-22) Supply of Electrical Spares at Belagavi Airport.
Contract No: 2021_AAI_80726_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DEEPAKELECTRICALS(GSTN-33ALUPD3531C1ZI) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | prakash electricals(GSTN-29AALFP7577J1ZB) |  | SHREE NURSING TIMER AND ELECTRIC STORES(GSTN-22AAQFS7594F1ZP) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Conventional lighting fixtures/ lamps/ accessories:
1.01 | Supply of 28W florescent 4 feet tubelight (Essential TL-5) as required (Make:- Philips, Model: TL5 Essential 28W/865 or equivalent AAI approved make) | 139.00 | Each | 5.00 | 90.00 | 12510.00 | 799.00 | 111061.00 | 85.00 | 11815.00 | 114.00 | 15846.00 | 66.74 | 9276.86 | 302.00 | 41978.00 | 9276.86 | Yash Energy Pvt. Ltd
1.02 | Supply of 36W 4pin (CFL) Compact Fluroscent lamp as required (Make:- Philips Model no : Philips 36W/865 or equivalent AAI approved make) | 40.00 | Each | 5.00 | 130.00 | 5200.00 | 148.00 | 5920.00 | 110.00 | 4400.00 | 102.00 | 4080.00 | 150.17 | 6006.80 | 119.00 | 4760.00 | 4080.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.03 | Supply of 400W HPSV tubular Lamp working at 240V AC,50Hz supply of screw type (E-40 base)connection. (Make:-AAI approved make) | 31.00 | Each | 5.00 | 390.00 | 12090.00 | 221.00 | 6851.00 | 425.00 | 13175.00 | 348.00 | 10788.00 | 344.84 | 10690.04 | 464.00 | 14384.00 | 6851.00 | BR Power Control and Automation Services
1.04 | Supply of 4X14W electronic ballast with THD<10% as required(Make:- Philips EBP 3/414 TL-5 HE or equivalent AAI approved make) | 5.00 | Each | 5.00 | 1100.00 | 5500.00 | 676.00 | 3380.00 | 670.00 | 3350.00 | 2400.00 | 12000.00 | 1100.16 | 5500.80 | 810.00 | 4050.00 | 3350.00 | prakash electricals
1.05 | Supply of HID Copper Ballast suitable for a 150W MH Lamp working at 240V AC, 50Hz (Make:-AAI approved make) | 28.00 | Each | 5.00 | 1200.00 | 33600.00 | 922.00 | 25816.00 | 798.00 | 22344.00 | 720.00 | 20160.00 | 723.06 | 20245.68 | 1393.00 | 39004.00 | 20160.00 | SHREE NURSING TIMER AND ELECTRIC STORES
1.06 | Supply of Integral ignitor suitable for a 50- 400W HPSV/MH Lamp working at 240V AC, 50Hz (Make:-AAI approved make) | 6.00 | Each | 5.00 | 230.00 | 1380.00 | 92.00 | 552.00 | 115.00 | 690.00 | 112.00 | 672.00 | 72.31 | 433.86 | 297.00 | 1782.00 | 433.86 | Yash Energy Pvt. Ltd
1.07 | Supply of HID Copper Ballast suitable for a 400W HPSV Lamp working at 240V AC, 50Hz (Make:-AAI approved make) | 5.00 | Each | 5.00 | 2800.00 | 14000.00 | 1352.00 | 6760.00 | 1475.00 | 7375.00 | 1440.00 | 7200.00 | 1501.74 | 7508.70 | 2430.00 | 12150.00 | 6760.00 | BR Power Control and Automation Services
2.00 | Cables & Wires:
2.01 | Supply of Three Core 1.5sqmm PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volt as per AAI approved make complete as required. | 500.00 | Meter | 5.00 | 95.00 | 47500.00 | 58.00 | 29000.00 | 51.00 | 25500.00 | 50.00 | 25000.00 | 54.07 | 27035.00 | 48.00 | 24000.00 | 24000.00 | ABHISHEK INTEGRATIONS LIMITED
2.02 | Supply of Six Core 4sqmm PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volt as per AAI approved make complete as required. | 100.00 | Meter | 5.00 | 500.00 | 50000.00 | 296.00 | 29600.00 | 229.00 | 22900.00 | 246.00 | 24600.00 | 273.45 | 27345.00 | 250.00 | 25000.00 | 22900.00 | prakash electricals
2.03 | Supply of Two core 16 sqmm PVC insulated and flat Sheathed service cable, each core having single aluminium conductor suitable for voltage grade 1100 Volt as per AAI approved make complete as required. | 100.00 | Meter | 5.00 | 120.00 | 12000.00 | 86.00 | 8600.00 | 81.00 | 8100.00 | 53.00 | 5300.00 | 107.90 | 10790.00 | 87.00 | 8700.00 | 5300.00 | SHREE NURSING TIMER AND ELECTRIC STORES
2.04 | Supply of Flat three Core, 2.5 sq.mm, PVC insulated and PVC sheathed, industrial cable for Submersible Pump Motors, 1100 V conforming to IS: 694 | 100.00 | Meter | 5.00 | 105.00 | 10500.00 | 100.00 | 10000.00 | 88.00 | 8800.00 | 89.00 | 8900.00 | 93.61 | 9361.00 | 86.00 | 8600.00 | 8600.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Supply of MCB, MCCB & Isolator: Supply of following MCCB with thermal Magnetic Release with breaking capacity of following ratings, as required
3.01 | 32 A, TP MCCB, 36 kA, Make; ABB | 1.00 | Each | 5.00 | 6400.00 | 6400.00 | 3015.00 | 3015.00 | 6700.00 | 6700.00 | 4286.00 | 4286.00 | 4984.00 | 4984.00 | 3827.00 | 3827.00 | 3015.00 | BR Power Control and Automation Services
3.02 | 63 A, TP MCCB, 36 kA, Make; ABB | 1.00 | Each | 5.00 | 3300.00 | 3300.00 | 3015.00 | 3015.00 | 6700.00 | 6700.00 | 4286.00 | 4286.00 | 4984.00 | 4984.00 | 3758.00 | 3758.00 | 3015.00 | BR Power Control and Automation Services
3.03 | 63 A, TP MCCB, 25kA, Make : C&S | 1.00 | Each | 5.00 | 4500.00 | 4500.00 | 2975.00 | 2975.00 | 5600.00 | 5600.00 | 3609.00 | 3609.00 | 3513.40 | 3513.40 | 1039.00 | 1039.00 | 1039.00 | ABHISHEK INTEGRATIONS LIMITED
3.04 | 80 Amps, TP MCCB, 25kA, Make : L & T | 1.00 | Each | 5.00 | 5500.00 | 5500.00 | 3272.00 | 3272.00 | 4300.00 | 4300.00 | 4344.00 | 4344.00 | 4832.00 | 4832.00 | 1039.00 | 1039.00 | 1039.00 | ABHISHEK INTEGRATIONS LIMITED
3.05 | 100 Amps, TP MCCB, 16kA, Make : L & T | 1.00 | Each | 5.00 | 3000.00 | 3000.00 | 3301.00 | 3301.00 | 3300.00 | 3300.00 | 2978.00 | 2978.00 | 3317.18 | 3317.18 | 2268.00 | 2268.00 | 2268.00 | ABHISHEK INTEGRATIONS LIMITED
3.06 | 125 Amps, FP MCCB, 35kA, Make: L & T | 1.00 | Each | 5.00 | 7500.00 | 7500.00 | 7051.00 | 7051.00 | 7750.00 | 7750.00 | 7408.00 | 7408.00 | 7622.00 | 7622.00 | 6053.00 | 6053.00 | 6053.00 | ABHISHEK INTEGRATIONS LIMITED
3.07 | 125 amps, FP MCCB, 35kA, Make: C &S | 1.00 | Each | 5.00 | 5500.00 | 5500.00 | 6520.00 | 6520.00 | 9400.00 | 9400.00 | 5520.00 | 5520.00 | 5373.00 | 5373.00 | 6053.00 | 6053.00 | 5373.00 | Yash Energy Pvt. Ltd
3.08 | 125 A, TP MCCB, 36 kA, Make; ABB | 1.00 | Each | 5.00 | 3500.00 | 3500.00 | 5178.00 | 5178.00 | 8200.00 | 8200.00 | 5138.00 | 5138.00 | 5729.00 | 5729.00 | 5830.00 | 5830.00 | 3500.00 | DEEPAKELECTRICALS
4.00 | Supply of following rating, “C” series, MCB ISI marked suitable to operate in single phase/ Three phase 240/415 V, 50 Hz AC supply, as required
4.01 | 32 Amps, SP MCB | 5.00 | Each | 5.00 | 125.00 | 625.00 | 131.00 | 655.00 | 138.00 | 690.00 | 138.00 | 690.00 | 104.00 | 520.00 | 148.00 | 740.00 | 520.00 | Yash Energy Pvt. Ltd
4.02 | 25 Amps, DP, MCB | 5.00 | Each | 5.00 | 400.00 | 2000.00 | 406.00 | 2030.00 | 450.00 | 2250.00 | 432.00 | 2160.00 | 345.00 | 1725.00 | 384.00 | 1920.00 | 1725.00 | Yash Energy Pvt. Ltd
4.03 | 40 Amps, DP MCB | 5.00 | Each | 5.00 | 850.00 | 4250.00 | 649.00 | 3245.00 | 750.00 | 3750.00 | 696.00 | 3480.00 | 507.00 | 2535.00 | 619.00 | 3095.00 | 2535.00 | Yash Energy Pvt. Ltd
4.04 | 20 Amps, FP MCB | 2.00 | Each | 5.00 | 1200.00 | 2400.00 | 882.00 | 1764.00 | 1025.00 | 2050.00 | 942.00 | 1884.00 | 755.00 | 1510.00 | 925.00 | 1850.00 | 1510.00 | Yash Energy Pvt. Ltd
4.05 | 63 Amps, FP MCB | 2.00 | Each | 5.00 | 1400.00 | 2800.00 | 1268.00 | 2536.00 | 1460.00 | 2920.00 | 1350.00 | 2700.00 | 1069.00 | 2138.00 | 1450.00 | 2900.00 | 2138.00 | Yash Energy Pvt. Ltd
5.00 | Supply of following rating, isolator ISI marked suitable to operate in single phase/ Three phase 240/415 V, 50 Hz AC supply, as required
5.01 | 63 Amps, FP | 2.00 | Each | 5.00 | 750.00 | 1500.00 | 800.00 | 1600.00 | 850.00 | 1700.00 | 615.00 | 1230.00 | 495.00 | 990.00 | 1450.00 | 2900.00 | 990.00 | Yash Energy Pvt. Ltd
6.00 | Supply of Switches, Sockets, switch boards and others:
6.01 | Supply of 5/6 amps ISI marked switch (1 module) modular switch suitable for single phase 230 V, 50 Hz supply. (Make: Crabtree-Verona ACVSXXW101 or equivalent AAI approved make model) | 100.00 | Each | 5.00 | 40.00 | 4000.00 | 97.00 | 9700.00 | 47.00 | 4700.00 | 82.00 | 8200.00 | 47.59 | 4759.00 | 55.00 | 5500.00 | 4000.00 | DEEPAKELECTRICALS
6.02 | Supply of 3 pin 5/6 amp, ISI marked modular socket outlet (2-module) uitable for single phase 230 V, 50 Hz supply. (Make: Crabtree-Verona ACVKSWW063 equivalent AAI approved make model) | 50.00 | Each | 5.00 | 100.00 | 5000.00 | 203.00 | 10150.00 | 105.00 | 5250.00 | 189.00 | 9450.00 | 108.97 | 5448.50 | 121.00 | 6050.00 | 5000.00 | DEEPAKELECTRICALS
6.03 | Supply of 15/16 amps ISI marked switch (1 module) modular switch with indicator suitable for single phase 230 V, 50 Hz supply. (Make: Crabtree-Verona ACVSXIW161 or equivalent AAI approved make model) | 30.00 | Each | 5.00 | 130.00 | 3900.00 | 170.00 | 5100.00 | 127.00 | 3810.00 | 192.00 | 5760.00 | 131.73 | 3951.90 | 86.00 | 2580.00 | 2580.00 | ABHISHEK INTEGRATIONS LIMITED
6.04 | Supply of 6 pin 15/16 amp, ISI marked socket outlet (2 module) suitable for single phase 230 V, 50 Hz supply.(Make: Crabtree-Verona ACVKCWW163 or equivalent AAI approved make model) | 29.00 | Each | 5.00 | 160.00 | 4640.00 | 234.00 | 6786.00 | 167.00 | 4843.00 | 284.00 | 8236.00 | 163.46 | 4740.34 | 154.00 | 4466.00 | 4466.00 | ABHISHEK INTEGRATIONS LIMITED
6.05 | Supply of 5/6 amps ISI marked switch (1 module) modular two way switch suitable for single phase 230 V, 50 Hz supply. (Make: Crabtree-Verona ACVSXXW102 or equivalent AAI approved make model) | 12.00 | Each | 5.00 | 85.00 | 1020.00 | 140.00 | 1680.00 | 94.00 | 1128.00 | 158.00 | 1896.00 | 91.04 | 1092.48 | 96.00 | 1152.00 | 1020.00 | DEEPAKELECTRICALS
6.06 | Supply of 2 module electronic fan regulator stepped type complete as required. (Make: Crabtree-Verona ACVRFHW005 or equivalent AAI approved make model) | 5.00 | Each | 5.00 | 300.00 | 1500.00 | 421.00 | 2105.00 | 380.00 | 1900.00 | 632.00 | 3160.00 | 363.47 | 1817.35 | 308.00 | 1540.00 | 1500.00 | DEEPAKELECTRICALS
6.07 | Supply of Ding Dong door bell suitable to operate on 230V AC, 50 Hz supply. | 10.00 | Each | 5.00 | 110.00 | 1100.00 | 270.00 | 2700.00 | 121.00 | 1210.00 | 264.00 | 2640.00 | 116.25 | 1162.50 | 151.00 | 1510.00 | 1100.00 | DEEPAKELECTRICALS
6.08 | Supply of call bell modular type switch (push button type) suitable to operate on 230V, 50 Hz supply. | 10.00 | Each | 5.00 | 85.00 | 850.00 | 195.00 | 1950.00 | 135.00 | 1350.00 | 238.00 | 2380.00 | 156.00 | 1560.00 | 248.00 | 2480.00 | 850.00 | DEEPAKELECTRICALS
6.09 | Supply of 6 Amp, 3 pin Plug Top, ISI marked suitable for 230V, 50Hz AC supply as required. | 10.00 | Each | 5.00 | 40.00 | 400.00 | 31.00 | 310.00 | 60.00 | 600.00 | 96.00 | 960.00 | 27.50 | 275.00 | 47.00 | 470.00 | 275.00 | Yash Energy Pvt. Ltd
6.10 | Supply of 16 Amp, 3 pin Plug Top ISI markedsuitable for 230V, 50Hz AC supply as required. | 5.00 | Each | 5.00 | 60.00 | 300.00 | 55.00 | 275.00 | 85.00 | 425.00 | 180.00 | 900.00 | 60.57 | 302.85 | 63.00 | 315.00 | 275.00 | BR Power Control and Automation Services
6.11 | Supply of angle holder suitable to operate on 230 volt, 50Hz, AC supply as required. | 10.00 | Each | 5.00 | 30.00 | 300.00 | 37.00 | 370.00 | 30.00 | 300.00 | 60.00 | 600.00 | 43.00 | 430.00 | 80.00 | 800.00 | 300.00 | DEEPAKELECTRICALS, prakash electricals
6.12 | Supply of batten holder suitable to operate on 230 volt, 50Hz, AC supply as required. | 10.00 | Each | 5.00 | 30.00 | 300.00 | 37.00 | 370.00 | 30.00 | 300.00 | 60.00 | 600.00 | 43.00 | 430.00 | 80.00 | 800.00 | 300.00 | DEEPAKELECTRICALS, prakash electricals
6.13 | Supply of 2.5 microfarad ceiling type capacitor suitable to operate on 230V, 50 Hz supply. | 24.00 | Each | 5.00 | 17.00 | 408.00 | 31.00 | 744.00 | 50.00 | 1200.00 | 21.00 | 504.00 | 18.91 | 453.84 | 17.00 | 408.00 | 408.00 | DEEPAKELECTRICALS, ABHISHEK INTEGRATIONS LIMITED
6.14 | Supply of battery operated/wireless call bell having tune selector/ volume controller button suitable to operate upto 100 meters rangecomplete as required. | 10.00 | Each | 5.00 | 500.00 | 5000.00 | 676.00 | 6760.00 | 450.00 | 4500.00 | 480.00 | 4800.00 | 504.00 | 5040.00 | 1733.00 | 17330.00 | 4500.00 | prakash electricals
6.15 | Supply of ceiling rose suitable for 230V, 50Hz AC supply as required. | 20.00 | Each | 5.00 | 20.00 | 400.00 | 66.00 | 1320.00 | 28.00 | 560.00 | 18.00 | 360.00 | 24.00 | 480.00 | 20.00 | 400.00 | 360.00 | SHREE NURSING TIMER AND ELECTRIC STORES
6.16 | Supply of electrically operated cigratte lighter of minimum 2A rated suitable for operation on 230V, 50Hz AC supply in ABS/MS enclosure with pushbutton/switch, coil etc complete suitable for installation on smoking room of Terminal Building complete as required | 10.00 | Each | 5.00 | 140.00 | 1400.00 | 221.00 | 2210.00 | 450.00 | 4500.00 | 204.00 | 2040.00 | 153.00 | 1530.00 | 248.00 | 2480.00 | 1400.00 | DEEPAKELECTRICALS
6.17 | Supply of 4 way power extension board/ spike guards socket shutter with individual switch having minimum cable length of 4 meter, suitable to operate on 230V, 50 Hz supply. | 5.00 | Each | 5.00 | 500.00 | 2500.00 | 1168.00 | 5840.00 | 600.00 | 3000.00 | 1800.00 | 9000.00 | 485.00 | 2425.00 | 467.00 | 2335.00 | 2335.00 | ABHISHEK INTEGRATIONS LIMITED
6.18 | Supply of 20 X 12 mm size PVC conduit confirming to the standards of AAI approved make. | 20.00 | Meter | 5.00 | 17.00 | 340.00 | 25.00 | 500.00 | 35.00 | 700.00 | 22.00 | 440.00 | 22.00 | 440.00 | 39.00 | 780.00 | 340.00 | DEEPAKELECTRICALS
6.19 | Supply of 25 X 12 mm size PVC conduit confirming to the standards of AAI approved make. | 20.00 | Meter | 5.00 | 25.00 | 500.00 | 31.00 | 620.00 | 40.00 | 800.00 | 26.00 | 520.00 | 30.00 | 600.00 | 47.00 | 940.00 | 500.00 | DEEPAKELECTRICALS
6.20 | Supply of PVC Elbow suitable to the 20 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 10.00 | 100.00 | 25.00 | 250.00 | 5.00 | 50.00 | 6.00 | 60.00 | 6.00 | 60.00 | 7.00 | 70.00 | 50.00 | prakash electricals
6.21 | Supply of PVC Elbow suitable to the 25 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 10.00 | 100.00 | 31.00 | 310.00 | 7.00 | 70.00 | 6.00 | 60.00 | 8.00 | 80.00 | 10.00 | 100.00 | 60.00 | SHREE NURSING TIMER AND ELECTRIC STORES
6.22 | Supply of PVC 'Tee' suitable to the 20 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 10.00 | 100.00 | 37.00 | 370.00 | 6.00 | 60.00 | 6.00 | 60.00 | 13.00 | 130.00 | 12.00 | 120.00 | 60.00 | prakash electricals, SHREE NURSING TIMER AND ELECTRIC STORES
6.23 | Supply of PVC 'Tee' suitable to the 25 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 10.00 | 100.00 | 49.00 | 490.00 | 7.00 | 70.00 | 6.00 | 60.00 | 15.00 | 150.00 | 14.00 | 140.00 | 60.00 | SHREE NURSING TIMER AND ELECTRIC STORES
6.24 | Supply of PVC Coupler suitable to the 20 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 5.00 | 50.00 | 12.00 | 120.00 | 6.00 | 60.00 | 6.00 | 60.00 | 4.63 | 46.30 | 8.00 | 80.00 | 46.30 | Yash Energy Pvt. Ltd
6.25 | Supply of PVC Coupler suitable to the 25 X 12 mm size of PVC Conduit pipe | 10.00 | Each | 5.00 | 5.00 | 50.00 | 18.00 | 180.00 | 6.00 | 60.00 | 6.00 | 60.00 | 5.78 | 57.80 | 8.00 | 80.00 | 50.00 | DEEPAKELECTRICALS
6.26 | Supply of PVC Elbow suitable to the 25 X 12 mm size of PVC (Casing capping) | 10.00 | Each | 5.00 | 10.00 | 100.00 | 61.00 | 610.00 | 6.00 | 60.00 | 6.00 | 60.00 | 5.50 | 55.00 | 15.00 | 150.00 | 55.00 | Yash Energy Pvt. Ltd
6.27 | Supply of PVC 'Tee' suitable to the 25 X 12 mm size of PVC trunking (Casing capping) | 10.00 | Each | 5.00 | 14.00 | 140.00 | 61.00 | 610.00 | 6.00 | 60.00 | 6.00 | 60.00 | 4.63 | 46.30 | 15.00 | 150.00 | 46.30 | Yash Energy Pvt. Ltd
6.28 | Supply of PVC Coupler suitable to the 25 X 12 mm size of PVC trunking (Casing capping) | 10.00 | Each | 5.00 | 10.00 | 100.00 | 61.00 | 610.00 | 6.00 | 60.00 | 6.00 | 60.00 | 3.47 | 34.70 | 14.00 | 140.00 | 34.70 | Yash Energy Pvt. Ltd
6.29 | Supply of 6 module size modular PVC type surface mounting box including white plates with frame as required. (Make:-AAI approved make) | 30.00 | Each | 5.00 | 200.00 | 6000.00 | 159.00 | 4770.00 | 92.00 | 2760.00 | 341.00 | 10230.00 | 178.00 | 5340.00 | 192.00 | 5760.00 | 2760.00 | prakash electricals
6.30 | Supply of 6 module modular cover plate as required. (Make:-AAI approved make) | 10.00 | Each | 5.00 | 130.00 | 1300.00 | 68.00 | 680.00 | 135.00 | 1350.00 | 132.00 | 1320.00 | 45.00 | 450.00 | 73.00 | 730.00 | 450.00 | Yash Energy Pvt. Ltd
7.00 | APFC Panel Spares: Supply of Heavy Duty power factor correction capacitors of following rating suitable to operate on 3phase, 415 V, 50 Hz AC supply with voltage rated 480 V, overcurrent withstand capability of 1.8 times rated current confirming to IS: 13340-1993, IS: 13341:1992 as equivalent to EPCOS make and submission of test Certificates etc as required.
7.01 | 28.1 KVAr , Model no:MKK480-D-28.1-04 | 6.00 | Each | 5.00 | 7500.00 | 45000.00 | 6390.00 | 38340.00 | 6300.00 | 37800.00 | 5983.00 | 35898.00 | 5627.00 | 33762.00 | 4946.00 | 29676.00 | 29676.00 | ABHISHEK INTEGRATIONS LIMITED
7.02 | 11.0 KVAr, Model no:MKK480-D-11.0-04 | 1.00 | Each | 5.00 | 2200.00 | 2200.00 | 250.00 | 250.00 | 2550.00 | 2550.00 | 2376.00 | 2376.00 | 2222.00 | 2222.00 | 1901.00 | 1901.00 | 250.00 | BR Power Control and Automation Services
7.03 | 6.3 KVAr, Model no:MKK480-D-6.3-04 | 1.00 | Each | 5.00 | 1500.00 | 1500.00 | 1432.00 | 1432.00 | 1540.00 | 1540.00 | 2376.00 | 2376.00 | 1332.00 | 1332.00 | 1497.00 | 1497.00 | 1332.00 | Yash Energy Pvt. Ltd
8.00 | Supply of following rating Contactors along with built in auxiliary contacts blocks of ABB make or equivalent suitable for 3 Phase, 415 V, 50 Hz AC supply etc as required.
8.01 | 30 KVAr | 6.00 | Each | 5.00 | 3800.00 | 22800.00 | 3872.00 | 23232.00 | 9675.00 | 58050.00 | 4520.00 | 27120.00 | 1585.00 | 9510.00 | 4860.00 | 29160.00 | 9510.00 | Yash Energy Pvt. Ltd
8.02 | 12.5 KVAr | 1.00 | Each | 5.00 | 1400.00 | 1400.00 | 1782.00 | 1782.00 | 3100.00 | 3100.00 | 1676.00 | 1676.00 | 3026.00 | 3026.00 | 3675.00 | 3675.00 | 1400.00 | DEEPAKELECTRICALS
9.00 | LED LIGHTS AND DRIVERS:
9.01 | Supply of LED Strips of AAI approved make LED for existing terminal signage boards as per AAI specification complete as required. | 50.00 | Meter | 5.00 | 150.00 | 7500.00 | 230.00 | 11500.00 | 285.00 | 14250.00 | 600.00 | 30000.00 | 278.00 | 13900.00 | 1155.00 | 57750.00 | 7500.00 | DEEPAKELECTRICALS
9.02 | Supply of 12 Volt / 5 Amp DC Output, LED Driver suiting to existing signboards suitable to operate on 230V, 50 Hz AC supply | 20.00 | Each | 5.00 | 1500.00 | 30000.00 | 922.00 | 18440.00 | 2685.00 | 53700.00 | 240.00 | 4800.00 | 2525.00 | 50500.00 | 725.00 | 14500.00 | 4800.00 | SHREE NURSING TIMER AND ELECTRIC STORES
9.03 | Supply of 12 Volt /10 Amps DC Output, LED Driver suiting to existing signboards, suitable to operate on 230V, 50 Hz AC supply | 15.00 | Each | 5.00 | 3000.00 | 45000.00 | 1414.00 | 21210.00 | 4650.00 | 69750.00 | 960.00 | 14400.00 | 4672.00 | 70080.00 | 2592.00 | 38880.00 | 14400.00 | SHREE NURSING TIMER AND ELECTRIC STORES
9.04 | Supply of 55V & 860mA DC Output, LED Driver suiting to existing 100 W Oreva make RGB Flood Light for oudoor applications, suitable to operate on 230V, 50 Hz AC supply. | 2.00 | Each | 5.00 | 450.00 | 900.00 | 553.00 | 1106.00 | 525.00 | 1050.00 | 6000.00 | 12000.00 | 1669.00 | 3338.00 | 918.00 | 1836.00 | 900.00 | DEEPAKELECTRICALS
9.05 | Supply of 150 Watt, 75-241 V & 1050 mA DC Output, LED Driver suiting to existing Havells make 150 Watt Flood Light for oudoor applications, suitable to operate on 230V, 50 Hz AC supply. Make: AAI approved make | 5.00 | Each | 5.00 | 3000.00 | 15000.00 | 1782.00 | 8910.00 | 2500.00 | 12500.00 | 6000.00 | 30000.00 | 2625.00 | 13125.00 | 1134.00 | 5670.00 | 5670.00 | ABHISHEK INTEGRATIONS LIMITED
9.06 | Supply of 20W, T-8 LED tube lamp suitable to operate on 230 volt, 50Hz, AC supply as required. | 100.00 | Each | 5.00 | 190.00 | 19000.00 | 983.00 | 98300.00 | 210.00 | 21000.00 | 396.00 | 39600.00 | 223.00 | 22300.00 | 352.00 | 35200.00 | 19000.00 | DEEPAKELECTRICALS
9.07 | Supply of 2 feet 9W mirror lamp LED Light fixture of batten type suitable for mirror lighting including all necessary accessories complete as required.(Make:-AAI approved make) | 10.00 | Each | 5.00 | 370.00 | 3700.00 | 1659.00 | 16590.00 | 225.00 | 2250.00 | 660.00 | 6600.00 | 200.00 | 2000.00 | 378.00 | 3780.00 | 2000.00 | Yash Energy Pvt. Ltd
9.08 | Supply of 18 W LED Round Recessed Downlight inside aluminium plastic body and a high efficiency diffuser along with driver and cutout size of 205mm ± 5, recess type including all necessary accessories complete as required. (Make:-AAI approved make) | 6.00 | Each | 5.00 | 900.00 | 5400.00 | 1440.00 | 8640.00 | 965.00 | 5790.00 | 720.00 | 4320.00 | 834.00 | 5004.00 | 1350.00 | 8100.00 | 4320.00 | SHREE NURSING TIMER AND ELECTRIC STORES
9.09 | Supply of 12W LED Round Recessed Downlight inside aluminium plastic body and a high efficiency diffuser along with driver and cutout size of 125mm, recess type including all necessary accessories complete as required (Make:-AAI approved make) | 50.00 | Each | 5.00 | 600.00 | 30000.00 | 1198.00 | 59900.00 | 850.00 | 42500.00 | 540.00 | 27000.00 | 501.00 | 25050.00 | 734.00 | 36700.00 | 25050.00 | Yash Energy Pvt. Ltd
9.10 | Supply of rechargeable Emergency LED tube lamp of minimum 10 W capacity suitable to operate on 230 volt, 50Hz, AC supply with buld-in battery of capacity 4500mAh etc as required. | 20.00 | Each | 5.00 | 550.00 | 11000.00 | 1598.00 | 31960.00 | 435.00 | 8700.00 | 1498.00 | 29960.00 | 3615.00 | 72300.00 | 918.00 | 18360.00 | 8700.00 | prakash electricals
9.11 | Supply of 4 feet 20 W LED Light fixture of batten type suitable including all necessary accessories complete as required.(Make:-AAI approved make) | 20.00 | Each | 5.00 | 250.00 | 5000.00 | 602.00 | 12040.00 | 190.00 | 3800.00 | 384.00 | 7680.00 | 245.00 | 4900.00 | 454.00 | 9080.00 | 3800.00 | prakash electricals
9.12 | Supply of 2 feet 10 W LED Light fixture of batten type suitable including all necessary accessories complete as required. (Make:-AAI approved make) | 20.00 | Each | 5.00 | 250.00 | 5000.00 | 406.00 | 8120.00 | 190.00 | 3800.00 | 336.00 | 6720.00 | 200.00 | 4000.00 | 264.00 | 5280.00 | 3800.00 | prakash electricals
9.13 | Supply of 100 W RGB LED Flood Light having IP 66 rating to operate in 230V, 50 Hz AC supply through in built electronic power supply unit having protection against input surge voltage, over voltage etc (Make:-AAI approved make) | 5.00 | Each | 5.00 | 4000.00 | 20000.00 | 8529.00 | 42645.00 | 3400.00 | 17000.00 | 16800.00 | 84000.00 | 5006.00 | 25030.00 | 4784.00 | 23920.00 | 17000.00 | prakash electricals
9.14 | Supply of 9W LED bulb with B-22 base suitable to operate on 230 volt, 50Hz, AC supply as required. | 42.00 | Each | 5.00 | 120.00 | 5040.00 | 160.00 | 6720.00 | 75.00 | 3150.00 | 85.00 | 3570.00 | 89.00 | 3738.00 | 121.00 | 5082.00 | 3150.00 | prakash electricals
10.00 | Miscellaneous
10.01 | Supply of 500ml CRC bottle for maintenance of switch board and HT & LT panels. | 10.00 | Each | 5.00 | 190.00 | 1900.00 | 307.00 | 3070.00 | 550.00 | 5500.00 | 300.00 | 3000.00 | 289.00 | 2890.00 | 454.00 | 4540.00 | 1900.00 | DEEPAKELECTRICALS
10.02 | Supply of Siemens make 3 phase 3 wire Line Monitoring Relay suiting to existing WTP Pneumatic system control Panel, suitable to operate on 3 Ph, 415V AC , 50Hz supply. Make : Siemens Type = 7UG0712-1AA20 or equivalent AAI approved make. | 5.00 | Each | 5.00 | 700.00 | 3500.00 | 762.00 | 3810.00 | 950.00 | 4750.00 | 1488.00 | 7440.00 | 662.00 | 3310.00 | 1025.00 | 5125.00 | 3310.00 | Yash Energy Pvt. Ltd
10.03 | Supply of perforated body type space heater of 100 Watt capacity of length 175mm suitable to operate on single phase 230 V, 50 Hz AC supply Make: Girishego or its equiavlent make. | 10.00 | Each | 5.00 | 200.00 | 2000.00 | 264.00 | 2640.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 240.00 | 2400.00 | 1944.00 | 19440.00 | 2000.00 | DEEPAKELECTRICALS
10.04 | Supply of axial exhuast fan of size 8'' suitable for ventilation of existing APFC Panel, operate on Single Phase 230 V, 50 Hz AC supply. Make: Hicool, Model: 22A 230H BAC or its equivalenty make. | 2.00 | Each | 5.00 | 1000.00 | 2000.00 | 1303.00 | 2606.00 | 1200.00 | 2400.00 | 4200.00 | 8400.00 | 1110.00 | 2220.00 | 1103.00 | 2206.00 | 2000.00 | DEEPAKELECTRICALS
10.05 | Supply of 250mm Exhaust Fan suitable to operate on 230 V, 50 Hz supply. Make: Bajaj or its equivalent make. | 4.00 | Each | 5.00 | 1000.00 | 4000.00 | 1369.00 | 5476.00 | 1535.00 | 6140.00 | 1560.00 | 6240.00 | 1502.00 | 6008.00 | 1350.00 | 5400.00 | 4000.00 | DEEPAKELECTRICALS
10.06 | Supply of 450 mm Wall fan suitable to operate on 230 V, 50 Hz supply. Make: Crompton, Model: SStorm2 or its equiavalent make | 2.00 | Each | 5.00 | 3500.00 | 7000.00 | 3334.00 | 6668.00 | 7940.00 | 15880.00 | 3720.00 | 7440.00 | 6563.00 | 13126.00 | 3834.00 | 7668.00 | 6668.00 | BR Power Control and Automation Services
10.07 | Supply of Omron make plug in relay with base auxiliary voltage 230V, model: MY2N with base, complete as required. | 10.00 | Each | 5.00 | 500.00 | 5000.00 | 270.00 | 2700.00 | 190.00 | 1900.00 | 576.00 | 5760.00 | 167.00 | 1670.00 | 1890.00 | 18900.00 | 1670.00 | Yash Energy Pvt. Ltd
10.08 | Supply of bakelite strip connectors for the 30 Amp. Bakelite 4 Way SHT TypeConnector ratings suiatable for street lights/Highmast junction box etc complete as required. | 20.00 | Each | 5.00 | 50.00 | 1000.00 | 184.00 | 3680.00 | 210.00 | 4200.00 | 48.00 | 960.00 | 70.00 | 1400.00 | 199.00 | 3980.00 | 960.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.09 | Supply of bakelite strip connectors for the 15Amp. Bakelite Open Type 8Way SHT Type Connector ratings suiatable for street lights/Highmast junction box etc complete as required. | 20.00 | Each | 5.00 | 50.00 | 1000.00 | 98.00 | 1960.00 | 180.00 | 3600.00 | 54.00 | 1080.00 | 63.00 | 1260.00 | 119.00 | 2380.00 | 1000.00 | DEEPAKELECTRICALS
10.10 | Supply of Red colour 24 V DC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 10.00 | Each | 5.00 | 100.00 | 1000.00 | 85.00 | 850.00 | 96.00 | 960.00 | 84.00 | 840.00 | 82.00 | 820.00 | 104.00 | 1040.00 | 820.00 | Yash Energy Pvt. Ltd
10.11 | Supply of Yellow colour 24 V DC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 10.00 | Each | 5.00 | 100.00 | 1000.00 | 85.00 | 850.00 | 96.00 | 960.00 | 84.00 | 840.00 | 82.00 | 820.00 | 104.00 | 1040.00 | 820.00 | Yash Energy Pvt. Ltd
10.12 | Supply of Blue colour 24 V DC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 10.00 | Each | 5.00 | 150.00 | 1500.00 | 85.00 | 850.00 | 166.00 | 1660.00 | 144.00 | 1440.00 | 141.00 | 1410.00 | 104.00 | 1040.00 | 850.00 | BR Power Control and Automation Services
10.13 | Supply of Green colour 24 V DC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 10.00 | Each | 5.00 | 100.00 | 1000.00 | 85.00 | 850.00 | 96.00 | 960.00 | 84.00 | 840.00 | 82.00 | 820.00 | 104.00 | 1040.00 | 820.00 | Yash Energy Pvt. Ltd
10.14 | Supply of Amber colour 24 V DC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 10.00 | Each | 5.00 | 100.00 | 1000.00 | 85.00 | 850.00 | 96.00 | 960.00 | 84.00 | 840.00 | 82.00 | 820.00 | 104.00 | 1040.00 | 820.00 | Yash Energy Pvt. Ltd
10.15 | Supply of Red colour 220 V AC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 20.00 | Each | 5.00 | 100.00 | 2000.00 | 85.00 | 1700.00 | 96.00 | 1920.00 | 84.00 | 1680.00 | 82.00 | 1640.00 | 116.00 | 2320.00 | 1640.00 | Yash Energy Pvt. Ltd
10.16 | Supply of Yellow colour 220 V AC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 20.00 | Each | 5.00 | 100.00 | 2000.00 | 85.00 | 1700.00 | 96.00 | 1920.00 | 84.00 | 1680.00 | 82.00 | 1640.00 | 116.00 | 2320.00 | 1640.00 | Yash Energy Pvt. Ltd
10.17 | Supply of Blue colour 220 V AC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 20.00 | Each | 5.00 | 150.00 | 3000.00 | 146.00 | 2920.00 | 166.00 | 3320.00 | 144.00 | 2880.00 | 141.00 | 2820.00 | 116.00 | 2320.00 | 2320.00 | ABHISHEK INTEGRATIONS LIMITED
10.18 | Supply of Green colour 220 V AC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 20.00 | Each | 5.00 | 100.00 | 2000.00 | 85.00 | 1700.00 | 96.00 | 1920.00 | 84.00 | 1680.00 | 82.00 | 1640.00 | 116.00 | 2320.00 | 1640.00 | Yash Energy Pvt. Ltd
10.19 | Supply of Amber colour 220 V AC LED indication lamps of cluster design suitable to install in the existing panel cut of 22.5/30mm with life span of 100000 burining hrs etc as required. | 20.00 | Each | 5.00 | 100.00 | 2000.00 | 85.00 | 1700.00 | 96.00 | 1920.00 | 84.00 | 1680.00 | 82.00 | 1640.00 | 116.00 | 2320.00 | 1640.00 | Yash Energy Pvt. Ltd
10.20 | Supply of Red colour self adhesive FR PVC electrical insulation tape of 1.80 cm width x 7.5 mtr length and 0.125 mm thick ISI marked, 1.1 KV grade as required. | 10.00 | Each | 5.00 | 10.00 | 100.00 | 15.00 | 150.00 | 15.00 | 150.00 | 9.00 | 90.00 | 10.00 | 100.00 | 10.00 | 100.00 | 90.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.21 | Supply of Yellow colour self adhesive FR PVC electrical insulation tape of 1.80 cm width x 7.5 mtr length and 0.125 mm thick ISI marked, 1.1 KV grade as required. | 10.00 | Each | 5.00 | 10.00 | 100.00 | 15.00 | 150.00 | 15.00 | 150.00 | 9.00 | 90.00 | 10.00 | 100.00 | 10.00 | 100.00 | 90.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.22 | Supply of Blue colour self adhesive FR PVC electrical insulation tape of 1.80 cm width x 7.5 mtr length and 0.125 mm thick ISI marked, 1.1 KV grade as required. | 10.00 | Each | 5.00 | 10.00 | 100.00 | 15.00 | 150.00 | 15.00 | 150.00 | 9.00 | 90.00 | 10.00 | 100.00 | 10.00 | 100.00 | 90.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.23 | Supply of Green colour self adhesive FR PVC electrical insulation tape of 1.80 cm width x 7.5 mtr length and 0.125 mm thick ISI marked, 1.1 KV grade as required. | 20.00 | Each | 5.00 | 10.00 | 200.00 | 15.00 | 300.00 | 15.00 | 300.00 | 9.00 | 180.00 | 10.00 | 200.00 | 10.00 | 200.00 | 180.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.24 | Supply of Black colour self adhesive FR PVC electrical insulation tape of 1.80 cm width x 7.5 mtr length and 0.125 mm thick ISI marked, 1.1 KV grade as required. | 10.00 | Each | 5.00 | 10.00 | 100.00 | 15.00 | 150.00 | 15.00 | 150.00 | 9.00 | 90.00 | 10.00 | 100.00 | 10.00 | 100.00 | 90.00 | SHREE NURSING TIMER AND ELECTRIC STORES
10.25 | Supply of heavy duty copper tubular terminals suitable to the 6 Sq. mm sizes of XLPE insulated copper conductors cable. | 20.00 | Each | 5.00 | 5.00 | 100.00 | 6.00 | 120.00 | 20.00 | 400.00 | 9.00 | 180.00 | 6.34 | 126.80 | 15.00 | 300.00 | 100.00 | DEEPAKELECTRICALS
10.26 | Supply of heavy duty copper tubular terminals suitable to the 16 Sq. mm sizes of XLPE insulated copper conductors cable. | 20.00 | Each | 5.00 | 10.00 | 200.00 | 10.00 | 200.00 | 30.00 | 600.00 | 15.00 | 300.00 | 9.34 | 186.80 | 20.00 | 400.00 | 186.80 | Yash Energy Pvt. Ltd
10.27 | Supply of heavy duty copper tubular terminals suitable to the 25 Sq. mm sizes of XLPE insulated copper conductors cable. | 20.00 | Each | 5.00 | 15.00 | 300.00 | 18.00 | 360.00 | 45.00 | 900.00 | 31.00 | 620.00 | 15.35 | 307.00 | 30.00 | 600.00 | 300.00 | DEEPAKELECTRICALS
10.28 | Supplying of straight through heat shrinkable cable jointing kit for 4 C x 25sqmm size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV geade including ferrules and other jointing materials etc, complete as required. | 2.00 | Each | 5.00 | 2500.00 | 5000.00 | 1852.00 | 3704.00 | 925.00 | 1850.00 | 1008.00 | 2016.00 | 946.00 | 1892.00 | 1069.00 | 2138.00 | 1850.00 | prakash electricals
10.29 | Supplying of straight through heat shrinkable cable jointing kit for 3.5 C x 35Sqmm size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV geade including ferrules and other jointing materials etc, complete as required. | 2.00 | Each | 5.00 | 2500.00 | 5000.00 | 1852.00 | 3704.00 | 925.00 | 1850.00 | 1008.00 | 2016.00 | 946.00 | 1892.00 | 1069.00 | 2138.00 | 1850.00 | prakash electricals
10.30 | Supplying of straight through heat shrinkable cable jointing kit for 3.5 C x 120 Sqmm size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV geade including ferrules and other jointing materials etc, complete as required. | 2.00 | Each | 5.00 | 2500.00 | 5000.00 | 3621.00 | 7242.00 | 1050.00 | 2100.00 | 1384.00 | 2768.00 | 1446.00 | 2892.00 | 1534.00 | 3068.00 | 2100.00 | prakash electricals
10.31 | Supplying of straight through heat shrinkable cable jointing kit for 3.5 C x 300 Sqmm size of XLPE insulated and PVC sheathed aluminum conductor cable of 1.1 KV geade including ferrules and other jointing materials etc, complete as required. | 1.00 | Each | 5.00 | 5000.00 | 5000.00 | 4773.00 | 4773.00 | 2450.00 | 2450.00 | 2815.00 | 2815.00 | 2447.00 | 2447.00 | 2646.00 | 2646.00 | 2447.00 | Yash Energy Pvt. Ltd
10.32 | Supply of aluminum inline connectors suitable for 10 Sq. mm sizes of Aluminium XLPE conductor cable as required. | 20.00 | Each | 5.00 | 3.00 | 60.00 | 2.00 | 40.00 | 20.00 | 400.00 | 2.00 | 40.00 | 1.40 | 28.00 | 4.00 | 80.00 | 28.00 | Yash Energy Pvt. Ltd
10.33 | Supply of aluminum inline connectors suitable for 16 Sq. mm sizes of Aluminium XLPE conductor cable as required. | 20.00 | Each | 5.00 | 3.00 | 60.00 | 4.00 | 80.00 | 25.00 | 500.00 | 3.00 | 60.00 | 1.94 | 38.80 | 5.00 | 100.00 | 38.80 | Yash Energy Pvt. Ltd
10.34 | Supply of aluminum inline connectors suitable for 25 Sq. mm sizes of Aluminium XLPE conductor cable as required. | 20.00 | Each | 5.00 | 3.00 | 60.00 | 4.00 | 80.00 | 35.00 | 700.00 | 5.00 | 100.00 | 3.20 | 64.00 | 6.00 | 120.00 | 60.00 | DEEPAKELECTRICALS
10.35 | Supply of aluminum inline connectors suitable for 35 Sq. mm sizes of Aluminium XLPE conductor cable as required. | 20.00 | Each | 5.00 | 5.00 | 100.00 | 6.00 | 120.00 | 40.00 | 800.00 | 5.00 | 100.00 | 3.20 | 64.00 | 8.00 | 160.00 | 64.00 | Yash Energy Pvt. Ltd
10.36 | Supply of 3 Phase Digital Multifunction meter, Flush mounted type of size 96 x 96mm for measuring the 3phase multi parameters of Voltage, Amperes, Frequency, Power Factor, KW, KVA, KWh, KVAh etc., with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable CT/PT set of 1A/5A complete as complete as required. Make: Elmeasure, Model: LG+5310 e or its equivalent as required. | 5.00 | Each | 5.00 | 4000.00 | 20000.00 | 4302.00 | 21510.00 | 5250.00 | 26250.00 | 9600.00 | 48000.00 | 6118.00 | 30590.00 | 6402.00 | 32010.00 | 20000.00 | DEEPAKELECTRICALS
10.37 | Supply of 3 Phase Digital Multifunction meter, Flush mounted type of size 96 x 96mm for measuring the 3phase multi parameters of Voltage, Amperes, Frequency, Power Factor, KW, KVA, KWh, KVAh etc., with accuracy class of 1.0, suitable to operate in Aux supply 80-300 VAC/DC and programmable CT/PT set of 1A/5A complete as complete as required. Make:Secure, Model: Elite 440 or its equivalent as required. | 5.00 | Each | 5.00 | 4000.00 | 20000.00 | 5163.00 | 25815.00 | 7850.00 | 39250.00 | 7200.00 | 36000.00 | 4116.00 | 20580.00 | 4340.00 | 21700.00 | 20000.00 | DEEPAKELECTRICALS
10.38 | Supply of Single Phase Digital Energymeter LCD display with back-light, 0-30 A, accuracy class 1.0 etc complete as required. Make: L&T, Model:WM101BC5DL0 or its equivalent make. | 10.00 | Each | 5.00 | 1000.00 | 10000.00 | 1299.00 | 12990.00 | 1035.00 | 10350.00 | 1063.00 | 10630.00 | 1068.00 | 10680.00 | 985.00 | 9850.00 | 9850.00 | ABHISHEK INTEGRATIONS LIMITED
10.39 | Supply of 24 Hours Analogue Time Switch for High Mast & Street Light complete as required. Make: Havells , Model: DHTED30016 or its equivalent make. | 10.00 | Each | 5.00 | 2400.00 | 24000.00 | 2351.00 | 23510.00 | 2100.00 | 21000.00 | 1890.00 | 18900.00 | 1652.00 | 16520.00 | 1901.00 | 19010.00 | 16520.00 | Yash Energy Pvt. Ltd
10.40 | Supply of 100 pcs Nylon Cable Ties of 400 mm length with Tag Labels of Plastic Loop Ties Markers & Self Locking Zip etc complete as required. | 10.00 | Each | 5.00 | 100.00 | 1000.00 | 307.00 | 3070.00 | 350.00 | 3500.00 | 180.00 | 1800.00 | 184.00 | 1840.00 | 428.00 | 4280.00 | 1000.00 | DEEPAKELECTRICALS
10.41 | Supply of rust free stainless steel bird spikes of 12.5 cm length with polycarbonate base etc. complete as required. | 200.00 | meter | 5.00 | 300.00 | 60000.00 | 221.00 | 44200.00 | 365.00 | 73000.00 | 588.00 | 117600.00 | 322.00 | 64400.00 | 300.00 | 60000.00 | 44200.00 | BR Power Control and Automation Services
10.42 | Supply of 65 AH, 12 V Lead Acid charged batteries in ready-to-use condition with minimum 2 years warranty etc complete as required. Make: Exide, model: MR700 65AH or equivalent make. | 1.00 | Each | 5.00 | 5500.00 | 5500.00 | 9210.00 | 9210.00 | 6500.00 | 6500.00 | 5712.00 | 5712.00 | 5966.00 | 5966.00 | 5940.00 | 5940.00 | 5500.00 | DEEPAKELECTRICALS
10.43 | Supply of 180 AH, 12 V flat plate flooded Lead Acid batteries in ready-to-use condition with acid level indicator with minimum 2 years warranty & conforming IS 14257-1995, JIS-D5301-1999 & IS 7372-1995 standard. etc complete as required. Make: Exide, model: Exide Xpress MHD1800 or equivalent make. | 2.00 | Each | 5.00 | 15000.00 | 30000.00 | 22709.00 | 45418.00 | 16000.00 | 32000.00 | 17340.00 | 34680.00 | 16420.00 | 32840.00 | 17226.00 | 34452.00 | 30000.00 | DEEPAKELECTRICALS
10.44 | Supply of Electric Kettle of 1.5 Litre capacity suitable to operate on 230V 50 HZ ac supply. Make: Bajaj, Model: KTX 9 1L SS | 3.00 | Each | 5.00 | 1000.00 | 3000.00 | 2388.00 | 7164.00 | 3250.00 | 9750.00 | 2880.00 | 8640.00 | 2336.00 | 7008.00 | 2916.00 | 8748.00 | 3000.00 | DEEPAKELECTRICALS
10.45 | Supply of Automatic Battery Chargers having protection against over-load, short-circuit and reverse polarity to provide fast, safe and efficient charging, having electronic control circuit comprising thyristors (SCRs) which monitors the battery voltage and supplies required charging current during charging process through Current adjust setting knob. The automatic battery charger should consists of high quality ammeter, Charging Porbes, LEDs to indicate the Mains ON/ Charged mode/ Charging mode, having provision of charging current of (0 - 15) Amps & (0- 10 )Amps for output voltage of 12 V single battery and 24 Votls for double batteries. (Make: ELAK Model: AUTOMATIC CHARGER AC 04 or its equivalent make) | 1.00 | Each | 5.00 | 9000.00 | 9000.00 | 12235.00 | 12235.00 | 12250.00 | 12250.00 | 13200.00 | 13200.00 | 11012.00 | 11012.00 | 19440.00 | 19440.00 | 9000.00 | DEEPAKELECTRICALS
10.46 | Supply of three pole 25 A motor duty switch with enclosure havinng three way FOR-OFF-REV switch selection & ball grip handle with enclosure etc complete as required. Make: L& T, Cat no: 71913SFM17BGYR or its equivalent make. | 4.00 | Each | 5.00 | 700.00 | 2800.00 | 3688.00 | 14752.00 | 735.00 | 2940.00 | 644.00 | 2576.00 | 878.00 | 3512.00 | 515.00 | 2060.00 | 2060.00 | ABHISHEK INTEGRATIONS LIMITED
10.47 | Supply of high voltage synthetic insulating mat made of synthetic Elastomer suitable for upto 11KV conforming to IS 5424: 1969 with minimum width of 1 meter and thickness of 2.5mm +/- 10% (Class-B), ERDA/CPRI tested, ISI marked, anti skid and fire retardant properties duly fixed with suitable adhesive/ resin / other sealing materials etc complete as required and as per specifications. Make: Electromat or its equivalent make. | 15.00 | Sq.mtr | 5.00 | 900.00 | 13500.00 | 615.00 | 9225.00 | 850.00 | 12750.00 | 798.00 | 11970.00 | 556.00 | 8340.00 | 605.00 | 9075.00 | 8340.00 | Yash Energy Pvt. Ltd
10.48 | Supply of synthetic insulating mat made of synthetic Elastomer suitable for upto 1.1 KV conforming to IS 5424: 1969 with minimum width of 1 meter and thickness of 2.0 mm +/- 10% (Class-A), ERDA/CPRI tested, ISI marked, anti skid and fire retardant properties duly fixed with suitable adhesive/ resin / other sealing materials etc complete as required and as per specifications.Make: Electromat or its equivalent make. | 64.00 | Sq.mtr | 5.00 | 700.00 | 44800.00 | 492.00 | 31488.00 | 675.00 | 43200.00 | 798.00 | 51072.00 | 445.00 | 28480.00 | 495.00 | 31680.00 | 28480.00 | Yash Energy Pvt. Ltd
10.49 | Supply of suitable 1-1.5 KW induction cooktop with features such as boiling, frying etc suitable to operate on 230 V, 50 Hz supply. Make: Prestige, Model: PIC 22.0 or its equivalent make. | 1.00 | Each | 5.00 | 2100.00 | 2100.00 | 2336.00 | 2336.00 | 3400.00 | 3400.00 | 2400.00 | 2400.00 | 2114.00 | 2114.00 | 1674.00 | 1674.00 | 1674.00 | ABHISHEK INTEGRATIONS LIMITED
10.50 | Supply of suitable mosquito repellant liquid vapourizer machine with one no of refill liquid suitable to operate on 230 V, 50 Hz supply. Make: All out or its equivalent make. | 5.00 | Each | 5.00 | 78.00 | 390.00 | 111.00 | 555.00 | 110.00 | 550.00 | 300.00 | 1500.00 | 120.00 | 600.00 | 350.00 | 1750.00 | 390.00 | DEEPAKELECTRICALS
10.51 | Supply of suitable rechargeable mosquito/ insect killar shockproof electric racket with removable battey having overcharge protection suitable to operate on 230 V, 50 Hz supply. Make: Oreva or its equivalent make. | 5.00 | Each | 5.00 | 300.00 | 1500.00 | 676.00 | 3380.00 | 600.00 | 3000.00 | 600.00 | 3000.00 | 501.00 | 2505.00 | 495.00 | 2475.00 | 1500.00 | DEEPAKELECTRICALS
10.52 | Supply of Heavy Duty Mat made of rubber with width of 1 meter and thickness of 12.0 mm +/- 10%, anti skid properties, suitable for movement of crawler type boom lift weighing approx 2600 kg and as per technical requirement of E-I-C etc. complete as required.. | 10.00 | Sq.m | 5.00 | 800.00 | 8000.00 | 3073.00 | 30730.00 | 850.00 | 8500.00 | 870.00 | 8700.00 | 1280.00 | 12800.00 | 550.00 | 5500.00 | 5500.00 | ABHISHEK INTEGRATIONS LIMITED
10.53 | Supply of Direct online Starter for 5 HP three phase motor conforming to IS/IEC 60947-4-1 with protection degree IP54 suitable for 3-phase 415 v ac, 50 Hz supply etc complete as required and as per specifications. Make: C & S or its equivalent. | 2.00 | Each | 5.00 | 2500.00 | 5000.00 | 2864.00 | 5728.00 | 4675.00 | 9350.00 | 16800.00 | 33600.00 | 2213.00 | 4426.00 | 2475.00 | 4950.00 | 4426.00 | Yash Energy Pvt. Ltd
10.54 | Supply of signage sheet of various sizes made out of 4mm thick superior poly carbonate sheet with computerized cutting of vinyl stickers inscription of required color as per ICAO. Note : For finalizing the size of the signage letters and colours appendix - 4 of annexure - 14 shall be referred. | 7.00 | Sq.m | 5.00 | 9000.00 | 63000.00 | 1475.00 | 10325.00 | 7200.00 | 50400.00 | 9720.00 | 68040.00 | 7786.00 | 54502.00 | 1375.00 | 9625.00 | 9625.00 | ABHISHEK INTEGRATIONS LIMITED
10.55 | Supply of 450mm sweep size Pedestal fan with air delivery not less than 100 M3/min, metal /aluminium alloy blades, adjustment height facility, strong streamlined pedestal for greater stability, speed control regulator, power cord (standard length) with 5/6A plug top etc suitable for operation on 230V, 50Hz, AC supply.(Make : Havells Model : Sprint 18 HS) | 2.00 | Each | 5.00 | 4000.00 | 8000.00 | 3854.00 | 7708.00 | 5900.00 | 11800.00 | 4320.00 | 8640.00 | 7564.00 | 15128.00 | 3685.00 | 7370.00 | 7370.00 | ABHISHEK INTEGRATIONS LIMITED
10.56 | Supply of 750ml Polyurethane Foam Sealant bottle for sealing of openings of HT & LT panels. Make: Wacker Straw mode PU Foam or its equivalent. | 5.00 | Each | 5.00 | 350.00 | 1750.00 | 393.00 | 1965.00 | 1000.00 | 5000.00 | 360.00 | 1800.00 | 361.00 | 1805.00 | 454.00 | 2270.00 | 1750.00 | DEEPAKELECTRICALS
10.57 | Supply of High Durable Drums made up of cold rolled sheets of mild steel of minimum thickness of 1.25mm having two screwed closure on the top with one of 50mm and another of 20mm diameter, internal finishing with protective coating and outside stove enamelled/equivalent painting, suitable to store HSD oil of capacity 200 litres, conforming to IS standard of Grade B, IS : 1783 (Part 2) 1988 (Latest) etc complete as required. | 2.00 | Each | 5.00 | 2900.00 | 5800.00 | 3073.00 | 6146.00 | 3250.00 | 6500.00 | 4200.00 | 8400.00 | 3170.00 | 6340.00 | 864.00 | 1728.00 | 1728.00 | ABHISHEK INTEGRATIONS LIMITED
10.58 | Supply of 8inch large axial fan of suitable rating with minimum air flow of 900 m3/h, suction air flow suitable for ventilation for APFC panel, operate on single phase 230V, 50 Hz supply. Make: Hicool Model: 2E-200S or its equivalent make. | 2.00 | Each | 5.00 | 1850.00 | 3700.00 | 2274.00 | 4548.00 | 2025.00 | 4050.00 | 2244.00 | 4488.00 | 1780.00 | 3560.00 | 1674.00 | 3348.00 | 3348.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 982713.00 |  | 1165215.00 |  | 1074385.00 |  | 1199514.00 |  | 996912.58 |  | 1015307.00
Lowest Amount Quoted BY: DEEPAKELECTRICALS(982713.00)

## BOQ Summary
BOQ Summary Details Tender Title: (ARMO 2021-22) Supply of Electrical Spares at Belagavi Airport Tender ID: 2021_AAI_80726_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DEEPAKELECTRICALS | 982713.00 | L1
| 2 | Yash Energy Pvt. Ltd | 996912.58 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 1015307.00 | L3
| 4 | prakash electricals | 1074385.00 | L4
| 5 | BR Power Control and Automation Services | 1165215.00 | L5
| 6 | SHREE NURSING TIMER AND ELECTRIC STORES | 1199514.00 | L6