## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 27-Jul-2021 01:41 PM Tender Title: SITC of Battery Bank, Supply of submersible pump and Battery at NATS Complex and Operational Area, IGI Airport, New Delhi Tender ID: 2021_AAI_80736_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : SITC of Battery Bank, Supply of submersible pump and Battery at NATS Complex and Operational Area, IGI Airport, New Delhi
Contract No/Tender ID : 2021_AAI_80736_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ganga Enterprises(GSTN-23EHHPS2413F1ZL) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | kapoorelectriccompany(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of Lead Acid VRLA Battery Bank of 110 V , 100 AH consisting of 55 cells of 2 V each in factory charged condition complete with lead coated intercell connector, Nut Bolts etc complete as reequired. (Make: Approved Make list of AAI) . | 2.00 | SET | 100.00 | 145000.00 | 290000.00 | 142000.00 | 284000.00 | 162500.00 | 325000.00 | 284000.00 | NATIONAL SAFETY ENGINEERS
2.00 | Supply of submersible pumpset , 5HP / 3.7 KW, 8 Impellar stages, 3 Phase, 415V, 50 Hz. Head : 62 Mtrs., Make : As per AAI Approved Make List. | 2.00 | EA | 10.00 | 45000.00 | 90000.00 | 33800.00 | 67600.00 | 27000.00 | 54000.00 | 54000.00 | kapoorelectriccompany
3.00 | Supply of RO Plant vertical, high pressure CRI pump suitable for 1000 LPH RO Plant. | 1.00 | EA | 10.00 | 45000.00 | 45000.00 | 30850.00 | 30850.00 | 35000.00 | 35000.00 | 30850.00 | NATIONAL SAFETY ENGINEERS
4.00 | Supply of Lead Acid heavy duty Battery of 12V 180AH 25P, Maintenance free capacity in full charged condition. (Make : As per AAI approved make) as required. | 8.00 | EA | 10.00 | 15000.00 | 120000.00 | 15600.00 | 124800.00 | 12000.00 | 96000.00 | 96000.00 | kapoorelectriccompany
| Total in Figures |  |  |  |  | 545000.00 |  | 507250.00 |  | 510000.00
Lowest Amount Quoted BY: NATIONAL SAFETY ENGINEERS(507250.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Battery Bank, Supply of submersible pump and Battery at NATS Complex and Operational Area, IGI Airport, New Delhi Tender ID: 2021_AAI_80736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NATIONAL SAFETY ENGINEERS | 507250.00 | L1
| 2 | kapoorelectriccompany | 510000.00 | L2
| 3 | Ganga Enterprises | 545000.00 | L3