## BoQ1
Government eProcurement System Created By: Pradeep kr sagar Created Date/Time: 06-Sep-2021 12:23 PM Tender Title: Provision of Perimeter Security Lights at Prayagraj Airport Tender ID: 2021_AAI_81541_1
Tender Inviting Authority: <Senior Manager, Airports Authority of India, Prayagraj Airport, Prayagraj,UP.>
Name of Work: <“Provision of Perimeter Security Lights at Prayagraj Airport.”>
Contract No: AAI/PRG/SMEE/e-NIT-13/2021-22 Tender ID: 2021_AAI_81451_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ANU ENGINEERING CORPORATION(GSTN-09AJDPK9181G1ZX) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | RB MULTITECH(GSTN-24COFPP5237R1ZA) |  | SKYLINE ENGINEERS(GSTN-27APZPD0679L1Z4) |  | SAURABH ENTERPRISES(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | K Sharma Electricals Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I SITC of Street Light poles and Fixtures
1.01 | Supply of hot dip galvanized octagonal poles with 130 mm Bottom dia , 70 mm top dia , 3 mm thick , base plate of size 200x200x 12 mm,having openable mechanism with L key set,with single arm standard bracket not less than 500mm length Each and made of 50 mm dia pipe having suitable nipple of size 32mm dia GI pipe to hold the fittings with tilt angle not more than 20 degree including in built arrangement for incoming cable termination with 63A 4P connector and 6A (B curve) SP MCB etc. complete as required as per EIC for the following Heights.
1.02 | 5 Mtr height with the single arm bracket made of 1.0 mtr length ,50 mm dia class B GI pipe suitable for the fixtures | 43.00 | Each |  | 9500.00 | 408500.00 | 9500.00 | 408500.00 | 7100.00 | 305300.00 | 9925.00 | 426775.00 | 7625.00 | 327875.00 | 7200.00 | 309600.00 | 8000.00 | 344000.00 | 8250.00 | 354750.00 | 9000.00 | 387000.00 | 305300.00 | Industrial Traders
1.03 | Installation of the following GI street light poles with 04 nos foundation bolts of M20X700mm long J type EN 8 grade with 1:2:4 Cement concrete(0.55x 0.55x 1.05) to the required depth as per special conditions(1:cement :2coarse sand:4graded stone aggregate 20mm nominal size)and necessary base concrete of 1:5:10 for 100mm thickness below the pole (1cement :5 fine sand : 10graded stone aggregate 40mm nominal size) suitable finishing on surface above the ground level etc complete as required.
1.04 | 5.0 Mtr height pole | 43.00 | Job |  | 6000.00 | 258000.00 | 5500.00 | 236500.00 | 2900.00 | 124700.00 | 4360.00 | 187480.00 | 2500.00 | 107500.00 | 2000.00 | 86000.00 | 1400.00 | 60200.00 | 2600.00 | 111800.00 | 5000.00 | 215000.00 | 60200.00 | SAURABH ENTERPRISES
1.05 | Supplying and embedding following dia (ISI Marked) HDPE pipe in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as required.
1.06 | 63 mm dia | 60.00 | Mtrs |  | 78.00 | 4680.00 | 80.00 | 4800.00 | 355.00 | 21300.00 | 85.00 | 5100.00 | 68.75 | 4125.00 | 60.00 | 3600.00 | 200.00 | 12000.00 | 164.00 | 9840.00 | 100.00 | 6000.00 | 3600.00 | SKYLINE ENGINEERS
1.07 | Supply of 20 W LED road lighting lumanarie consisting of single piece, integral, grey powder coated high pressure die-cast alminium housing, conecting strip, including power driver should having surge protection upto 8KV complete as required suitable for operation on 230 V, 50 Hz AC supply. (Make : As per approved list).(05 years guarantee shall be provided for complete fitting including controller by manufacturer in favour of AAI) | 50.00 | Each |  | 2300.00 | 115000.00 | 1500.00 | 75000.00 | 2900.00 | 145000.00 | 1308.00 | 65400.00 | 1423.00 | 71150.00 | 1020.00 | 51000.00 | 3500.00 | 175000.00 | 1320.00 | 66000.00 | 1275.00 | 63750.00 | 51000.00 | SKYLINE ENGINEERS
1.08 | Installation, testing and commissioning of 20W LED fitting on existing pole including assembling of fitting, wiring with 3 X 1.5 sqmm PVC insulated copper conductor, single core FRLS cable from terminal block to fitting,supply &fixing of reducer suitable for ftting etc complete as required.
1.09 | ITC of 20 W LED fittings | 43.00 | Each |  | 250.00 | 10750.00 | 100.00 | 4300.00 | 230.00 | 9890.00 | 436.00 | 18748.00 | 100.00 | 4300.00 | 500.00 | 21500.00 | 100.00 | 4300.00 | 440.00 | 18920.00 | 300.00 | 12900.00 | 4300.00 | ANU ENGINEERING CORPORATION, RB MULTITECH, SAURABH ENTERPRISES
2.00 | SH-II SITC of Feeder pillar boxes
2.01 | Design, supply, installation, testing and commissioning of totally enclosed double door, sub-main outdoor feeder pillar, made of 14 SWG CRCA sheet steel, compartmentalized, busbar with SMC/DMC supports, standing on a MS Angle frame suitably fixed on foundation, dust and vermin proof, powder coated painting, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections including following items and required specifications- Incomer; i) 100 A 4 Strip aluminium busbar chamber with DMC/SMC supporting insulators and MS shrouding-1 set. ii) Digital type Ammeter and Voltmeter with selector switches. Outgoing; iii) 32 A FP MCB (outgoings)-4Nos iv) LED type indicating lamps with toggle switches. v) Suitable capacity busbar vi) Auto timmer and protection relays for LED lamps | 2.00 | Job |  | 58000.00 | 116000.00 | 40000.00 | 80000.00 | 47000.00 | 94000.00 | 49455.00 | 98910.00 | 52500.00 | 105000.00 | 80000.00 | 160000.00 | 9995.50 | 19991.00 | 43588.00 | 87176.00 | 36000.00 | 72000.00 | 19991.00 | SAURABH ENTERPRISES
3.00 | SH-III Supply of cables
3.01 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.)
3.02 | 3.5 X35 Sq.mm | 600.00 | Mtr |  | 195.00 | 117000.00 | 215.00 | 129000.00 | 224.00 | 134400.00 | 183.00 | 109800.00 | 201.00 | 120600.00 | 192.00 | 115200.00 | 160.00 | 96000.00 | 166.00 | 99600.00 | 200.00 | 120000.00 | 96000.00 | SAURABH ENTERPRISES
3.03 | 4 x16 Sq.mm | 1000.00 | Mtr |  | 125.40 | 125400.00 | 140.00 | 140000.00 | 142.00 | 142000.00 | 124.00 | 124000.00 | 110.00 | 110000.00 | 127.00 | 127000.00 | 210.00 | 210000.00 | 107.00 | 107000.00 | 131.00 | 131000.00 | 107000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | SH-IV Laying of cables
4.01 | Supplying and laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (75 cm below ground level including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
4.02 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1600.00 | Mtr |  | 180.00 | 288000.00 | 200.00 | 320000.00 | 214.00 | 342400.00 | 206.00 | 329600.00 | 100.00 | 160000.00 | 165.00 | 264000.00 | 275.00 | 440000.00 | 157.00 | 251200.00 | 135.00 | 216000.00 | 160000.00 | RB MULTITECH
4.03 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/Metal/HDPE pipe as required.
4.04 | Upto 35 sq. mm | 1600.00 | Mtr |  | 50.00 | 80000.00 | 10.00 | 16000.00 | 58.00 | 92800.00 | 56.00 | 89600.00 | 62.00 | 99200.00 | 20.00 | 32000.00 | 20.00 | 32000.00 | 20.00 | 32000.00 | 20.00 | 32000.00 | 16000.00 | ANU ENGINEERING CORPORATION
4.05 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
4.06 | 3.5 X35 Sq.mm | 4.00 | set |  | 400.00 | 1600.00 | 200.00 | 800.00 | 1200.00 | 4800.00 | 606.00 | 2424.00 | 100.00 | 400.00 | 160.00 | 640.00 | 400.00 | 1600.00 | 145.00 | 580.00 | 300.00 | 1200.00 | 400.00 | RB MULTITECH
4.07 | 4 x16 Sq.mm | 90.00 | set |  | 200.00 | 18000.00 | 150.00 | 13500.00 | 575.00 | 51750.00 | 315.00 | 28350.00 | 75.00 | 6750.00 | 145.00 | 13050.00 | 300.00 | 27000.00 | 94.00 | 8460.00 | 285.00 | 25650.00 | 6750.00 | RB MULTITECH
5.00 | SH-V EARTHING
5.01 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangment and watering pipe etc. (with charcoal/coke and salt) as required. | 8.00 | No |  | 3800.00 | 30400.00 | 4000.00 | 32000.00 | 9200.00 | 73600.00 | 10237.00 | 81896.00 | 8750.00 | 70000.00 | 4400.00 | 35200.00 | 5000.00 | 40000.00 | 4000.00 | 32000.00 | 4500.00 | 36000.00 | 30400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.02 | Providing and laying earth connections from earth electrode with 6 SWG dia. G.I. Wire in 15 mm. dia. G.I. Pipe from earth electrode as required. | 50.00 | Mtr |  | 138.00 | 6900.00 | 150.00 | 7500.00 | 480.00 | 24000.00 | 33.00 | 1650.00 | 15.00 | 750.00 | 160.00 | 8000.00 | 180.00 | 9000.00 | 102.00 | 5100.00 | 125.00 | 6250.00 | 750.00 | RB MULTITECH
5.03 | Providing and fixing 6 SWG dia. G.I. Wire on surface or in recess for loop earthing alongwith the existing surface / recessed conduit / submain wiring / cable as required. | 1000.00 | Mtr |  | 38.00 | 38000.00 | 25.00 | 25000.00 | 58.00 | 58000.00 | 32.00 | 32000.00 | 15.00 | 15000.00 | 20.00 | 20000.00 | 20.00 | 20000.00 | 15.00 | 15000.00 | 12.00 | 12000.00 | 12000.00 | K Sharma Electricals Private Limited
| Total in Figures |  |  |  |  | 1618230.00 |  | 1492900.00 |  | 1623940.00 |  | 1601733.00 |  | 1202650.00 |  | 1246790.00 |  | 1491091.00 |  | 1199426.00 |  | 1336750.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(1199426.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Perimeter Security Lights at Prayagraj Airport Tender ID: 2021_AAI_81541_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 1199426.00 | L1
| 2 | RB MULTITECH | 1202650.00 | L2
| 3 | SKYLINE ENGINEERS | 1246790.00 | L3
| 4 | K Sharma Electricals Private Limited | 1336750.00 | L4
| 5 | SAURABH ENTERPRISES | 1491091.00 | L5
| 6 | ANU ENGINEERING CORPORATION | 1492900.00 | L6
| 7 | BR Power Control and Automation Services | 1601733.00 | L7
| 8 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 1618230.00 | L8
| 9 | Industrial Traders | 1623940.00 | L9