## BoQ1
Government eProcurement System Created By: SHALENDERA KUMAR Created Date/Time: 27-Jul-2021 11:52 AM Tender Title: Supply of Electrical Spares for Day to Day Maintenance at Imphal Airport for the year 2021-22 Tender ID: 2021_AAI_81620_1
Tender Inviting Authority: Asstt. General Manager (Engg-Electrical)-II, AAI, Imphal Airport.
Name of Work: Supply of Electrical Spares for Day to Day Maintenance at Imphal IAirport for the year 2021-22.
Contract No: 2021_AAI_81620_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | Bafna Electric Corp(GSTN-33AAAFB4879L1Z8) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of PVC insulated copper conductor FRLS wire as per IS: 694(1990) with up to date ammendment of 1.1 KV grade of following size. (Standard 90 mtr. Packing)
1.01 | 1.5 sq. mm | 14.00 | Coil | 100.00 | 1520.00 | 21280.00 | 1425.00 | 19950.00 | 1530.00 | 21420.00 | 1607.00 | 22498.00 | 19950.00 | Bafna Electric Corp
1.02 | 2.5 sq. mm | 1.00 | Coil | 100.00 | 2565.00 | 2565.00 | 2275.00 | 2275.00 | 2435.00 | 2435.00 | 2587.00 | 2587.00 | 2275.00 | Bafna Electric Corp
1.03 | 4 sq. mm | 5.00 | Coil | 100.00 | 3800.00 | 19000.00 | 3490.00 | 17450.00 | 3738.00 | 18690.00 | 3983.00 | 19915.00 | 17450.00 | Bafna Electric Corp
1.04 | 6 sq. mm | 1.00 | Coil | 100.00 | 5225.00 | 5225.00 | 5210.00 | 5210.00 | 5584.00 | 5584.00 | 6194.00 | 6194.00 | 5210.00 | Bafna Electric Corp
2.00 | Supply of the following size and core, PVC insulated PVC sheathed Round Multistranded Flexible Copper Conductor FRLS (Fire Retardent Low Smoke) Unsheathed Cable, suitable upto 1100 volts conforming to IS-694 as required. (Standard 100 mtr. Packing)
2.01 | 3 core 2.5 sq. mm | 1.00 | Coil | 100.00 | 8850.00 | 8850.00 | 8520.00 | 8520.00 | 9656.00 | 9656.00 | 9583.00 | 9583.00 | 8520.00 | Bafna Electric Corp
2.02 | 3 core 4.0 sq. mm | 1.00 | Coil | 100.00 | 14250.00 | 14250.00 | 13400.00 | 13400.00 | 15174.00 | 15174.00 | 15059.00 | 15059.00 | 13400.00 | Bafna Electric Corp
3.00 | Supply of following switch / socket outlet flush plate / piano type with base of following ratings:- |  |  | 100.00
3.01 | 6 Amp 230V 5 pin socket piano type | 125.00 | No. | 100.00 | 23.00 | 2875.00 | 26.00 | 3250.00 | 32.00 | 4000.00 | 34.00 | 4250.00 | 2875.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.02 | 6 Amp 230V 1 way switch piano type | 125.00 | No. | 100.00 | 12.00 | 1500.00 | 12.50 | 1562.50 | 13.00 | 1625.00 | 14.00 | 1750.00 | 1500.00 | SHREE GOURI ELECTRIC ENTERPRISE
3.03 | 16 Amp 230V 6 pin socket piano type | 25.00 | No. | 100.00 | 95.00 | 2375.00 | 75.00 | 1875.00 | 73.00 | 1825.00 | 76.00 | 1900.00 | 1825.00 | Yash Energy Pvt. Ltd
3.04 | 16 Amp 230V 1 way switch piano type | 10.00 | No. | 100.00 | 23.00 | 230.00 | 71.00 | 710.00 | 65.00 | 650.00 | 70.00 | 700.00 | 230.00 | SHREE GOURI ELECTRIC ENTERPRISE
4.00 | Supply of Uni Swicth Socket combined units with Box,10/16A 240V-50Hz as required. | 10.00 | No. | 100.00 | 150.00 | 1500.00 | 135.00 | 1350.00 | 166.00 | 1660.00 | 108.00 | 1080.00 | 1080.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply of the following rating isolator 10KA 240V, 50Hz, AC supply as required.
5.01 | Isolator 32 Amp DP | 10.00 | No. | 100.00 | 272.00 | 2720.00 | 250.00 | 2500.00 | 237.00 | 2370.00 | 230.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | Isolator 40 Amp DP | 10.00 | No. | 100.00 | 272.00 | 2720.00 | 276.00 | 2760.00 | 237.00 | 2370.00 | 230.00 | 2300.00 | 2300.00 | ABHISHEK INTEGRATIONS LIMITED
5.03 | Isolator 63 Amp DP | 5.00 | No. | 100.00 | 353.00 | 1765.00 | 355.00 | 1775.00 | 300.00 | 1500.00 | 296.00 | 1480.00 | 1480.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supply of MCB 25 Amp SP 10KA 240V, 50Hz, AC supply as required. | 10.00 | No. | 100.00 | 190.00 | 1900.00 | 110.00 | 1100.00 | 114.00 | 1140.00 | 92.00 | 920.00 | 920.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supply of RCBO for Residual alternating currents 20 A, double pole 240V Ac type-300 mA. (Make- L&T, Model no.-AUF3C202030 or equivalent.) | 10.00 | No. | 100.00 | 1829.00 | 18290.00 | 2440.00 | 24400.00 | 2394.00 | 23940.00 | 2093.00 | 20930.00 | 18290.00 | SHREE GOURI ELECTRIC ENTERPRISE
8.00 | Supply of Oscillating type Halogen Room Heater of capacity 800W having two rod of 400 wattage each of reputed make complete as required. | 10.00 | No. | 100.00 | 1567.00 | 15670.00 | 3540.00 | 35400.00 | 3645.00 | 36450.00 | 1650.00 | 16500.00 | 15670.00 | SHREE GOURI ELECTRIC ENTERPRISE
9.00 | Supply of 100 W, single module, stepped Electronic Ceiling fan regulator suitable for operation on 230V, 50Hz, AC System as required.(Anchor Modal:38264 or Equv.) | 10.00 | No. | 100.00 | 425.00 | 4250.00 | 170.00 | 1700.00 | 161.00 | 1610.00 | 183.00 | 1830.00 | 1610.00 | Yash Energy Pvt. Ltd
10.00 | Supply of Ceiling Fan of 1400 mm sweep of 5 star rating ( White ) (Make : Usha, Model : -ENERGIA ISI 1400MM or equivalent make & model) | 10.00 | No. | 100.00 | 1650.00 | 16500.00 | 2420.00 | 24200.00 | 2705.00 | 27050.00 | 2805.00 | 28050.00 | 16500.00 | SHREE GOURI ELECTRIC ENTERPRISE
11.00 | Supply of LED Bulb 15w lamps suitable for operation on 230V, 50Hz, AC System as required B-22 type | 50.00 | No. | 100.00 | 285.00 | 14250.00 | 195.00 | 9750.00 | 171.00 | 8550.00 | 220.00 | 11000.00 | 8550.00 | Yash Energy Pvt. Ltd
12.00 | Supply of LED Bulb 9W lamps suitable for operation on 230V, 50Hz, AC System as required B-22 type | 20.00 | No. | 100.00 | 95.00 | 1900.00 | 75.00 | 1500.00 | 83.00 | 1660.00 | 143.00 | 2860.00 | 1500.00 | Bafna Electric Corp
13.00 | Supply of Wll mounted Fan of 300 mm Sweep with Copper winding suitable for energy at 240V, 50 Hz complete as required. | 5.00 | No. | 100.00 | 2100.00 | 10500.00 | 1950.00 | 9750.00 | 2116.00 | 10580.00 | 1815.00 | 9075.00 | 9075.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supply of 4x1 ft. LED Luminaire with CRCA housing and minimum system lumen output of 4300 lumens with efficacy of 125 lumen per watt suitable for operation on 230V, 50Hz, AC System as required. (Make:Philips , Model:RC375 LED36S OR Equivalent) | 20.00 | No. | 100.00 | 4075.00 | 81500.00 | 2580.00 | 51600.00 | 2235.00 | 44700.00 | 3575.00 | 71500.00 | 44700.00 | Yash Energy Pvt. Ltd
15.00 | Supply of Alluminium lugs for operation on 230 Volt, 50 Hz AC of following size:-
15.01 | 25 sq. mm | 6.00 | No. | 100.00 | 14.00 | 0.00 | 5.00 | 0.00 | 5.00 | 0.00 | 30.00 | 0.00 | 0.00 | Bafna Electric Corp, SHREE GOURI ELECTRIC ENTERPRISE, ABHISHEK INTEGRATIONS LIMITED, Yash Energy Pvt. Ltd
15.02 | 50 sq. mm | 14.00 | No. | 100.00 | 18.00 | 252.00 | 8.00 | 112.00 | 8.00 | 112.00 | 39.00 | 546.00 | 112.00 | Bafna Electric Corp, Yash Energy Pvt. Ltd
16.00 | Supply of PVC Gang Box 4"X4" | 25.00 | No. | 100.00 | 35.00 | 875.00 | 63.00 | 1575.00 | 60.00 | 1500.00 | 39.00 | 975.00 | 875.00 | SHREE GOURI ELECTRIC ENTERPRISE
17.00 | Supply of PVC Gang Box 4"X7 " | 25.00 | No. | 100.00 | 60.00 | 0.00 | 85.00 | 0.00 | 90.00 | 0.00 | 52.00 | 0.00 | 0.00 | Bafna Electric Corp, SHREE GOURI ELECTRIC ENTERPRISE, ABHISHEK INTEGRATIONS LIMITED, Yash Energy Pvt. Ltd
18.00 | Supply of PVC Gang Box 6"X8" | 10.00 | No. | 100.00 | 80.00 | 800.00 | 120.00 | 1200.00 | 110.00 | 1100.00 | 74.00 | 740.00 | 740.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supply of PVC Conduit pipe 20 mm with IS mark for power application - 3 mtr length | 30.00 | No. | 100.00 | 75.00 | 2250.00 | 62.00 | 1860.00 | 70.00 | 2100.00 | 174.00 | 5220.00 | 1860.00 | Bafna Electric Corp
20.00 | Supply of PVC Casing Capping 1" (2 mtr. Length each). | 50.00 | No. | 100.00 | 55.00 | 2750.00 | 52.00 | 2600.00 | 174.00 | 8700.00 | 96.00 | 4800.00 | 2600.00 | Bafna Electric Corp
21.00 | Supply of PVC Casing Capping 3/4" (2 mtr. Length each). | 50.00 | No. | 100.00 | 55.00 | 0.00 | 42.00 | 0.00 | 126.00 | 0.00 | 80.00 | 0.00 | 0.00 | Bafna Electric Corp, SHREE GOURI ELECTRIC ENTERPRISE, ABHISHEK INTEGRATIONS LIMITED, Yash Energy Pvt. Ltd
22.00 | Supply of Single phase, 240 V, 50Hz Electronic Energy Meter with LCD display supply of range (5-30)A. | 10.00 | No. | 100.00 | 1050.00 | 10500.00 | 1130.00 | 11300.00 | 1223.00 | 12230.00 | 1045.00 | 10450.00 | 10450.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supply nof Hand Dryer with automatic ON-OFF mode by getting ON through electronic infrared detection sensor when hand approaches and switches ofwith predetermined timing,duty of continouse repeat use,sound level not more than 74 db protection level IP 23 effective air flow 61-98 m 3/hour/1017-1634/min protrusion 100mm from the wall ,indoor wall mounting by integral formed bracket, provided with sheathed 3 core flexi cable 1 mtr. length ,3 pin 15 A starderd plug top suitable for 240 v single phase ,50A AC supply .Make Jaquar,modal IDRWHT- M04A or Equivalent. | 5.00 | No. | 100.00 | 11400.00 | 57000.00 | 9206.00 | 46030.00 | 6644.00 | 33220.00 | 7180.00 | 35900.00 | 33220.00 | Yash Energy Pvt. Ltd
24.00 | Supply of geyser (water Heater) 20 liters capacity stainless steel inner material ,5 star BEE rating with all electrical protection ie. Thermostate etc, suitable for workig on single phase 230v + 10 % 50 Hz power supply ( make bajaj or havells equivelent ) | 4.00 | No. | 100.00 | 8000.00 | 32000.00 | 10900.00 | 43600.00 | 7585.00 | 30340.00 | 13200.00 | 52800.00 | 30340.00 | Yash Energy Pvt. Ltd
25.00 | Supply of power strip with 4 way Universal sockets with master switch 6A ,240V .0.5 Sq.mm wire thickness 1440 VA .2 mtr.high quality wire with 3 pin plug top ,surge protection ,overload protection and LEDvdisplay lights.Make:Bajaj Model no.:or equivalent | 10.00 | No. | 100.00 | 475.00 | 4750.00 | 466.00 | 4660.00 | 345.00 | 3450.00 | 286.00 | 2860.00 | 2860.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supply of power strip with 4 way Universal sockets with master switch 15A ,240V .0.5 Sq.mm wire thickness 1440 VA .2 mtr.high quality wire with 3 pin plug top ,surge protection ,overload protection and LED display lights. Make:cona model no.:SU-101 or equivalent | 10.00 | No. | 100.00 | 785.00 | 7850.00 | 777.00 | 7770.00 | 1294.00 | 12940.00 | 308.00 | 3080.00 | 3080.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Supply of Electric Kettle 1.5 ltrs 1500W ,cord length with 1 mtr. In length elegant handle with single touch lid locking with automatic cut off on boiling of water concealed element. | 4.00 | No. | 100.00 | 1425.00 | 5700.00 | 2725.00 | 10900.00 | 1000.00 | 4000.00 | 1485.00 | 5940.00 | 4000.00 | Yash Energy Pvt. Ltd
28.00 | Supply of Analog Time Switch 240V, 50Hz, base / DIN mounting for Street Light Poles. (Make: L&T, Cat No. J648B1 or equivalent) | 10.00 | No. | 100.00 | 2000.00 | 20000.00 | 1593.00 | 15930.00 | 1872.00 | 18720.00 | 1729.00 | 17290.00 | 15930.00 | Bafna Electric Corp
29.00 | Supply Of 80W High bay LED Light fitting 80W, suitable for operation on 230V, 50Hz, AC System as required .(Make:Philips, Model no. BY400V LED 72S CW or equivalent) | 4.00 | No. | 100.00 | 8150.00 | 32600.00 | 10550.00 | 42200.00 | 3292.00 | 13168.00 | 11220.00 | 44880.00 | 13168.00 | Yash Energy Pvt. Ltd
30.00 | Supply of Ding Dong Bell suitable for operation on 230V, 50Hz, base / DIN mounting for Street Light Poles. (Make: L&T, Cat No. J648B1 or equivalent. | 10.00 | No. | 100.00 | 330.00 | 3300.00 | 135.00 | 1350.00 | 134.00 | 1340.00 | 1729.00 | 17290.00 | 1340.00 | Yash Energy Pvt. Ltd
31.00 | Supply of 0-10A TRMS, Digital Ammeter suitable to operate in auxiliary supply of 230V, 50Hz AC of size 48mm x 96mm suitable to install in 'NASU' make 4KW CCR as required. (Make: MECO, Model SMP35ST) | 5.00 | Each | 100.00 | 1175.00 | 5875.00 | 1260.00 | 6300.00 | 2500.00 | 12500.00 | 4400.00 | 22000.00 | 5875.00 | SHREE GOURI ELECTRIC ENTERPRISE
32.00 | Supply of 0-30A TRMS, Digital Ammeter suitable to operate in auxiliary supply of 230V, 50Hz AC of size 48mm x 96mm suitable to install in 'NASU' make 30KW CCR as required. (Make: MECO, Model SMP35ST) | 5.00 | Each | 100.00 | 1175.00 | 5875.00 | 1260.00 | 6300.00 | 2500.00 | 12500.00 | 4400.00 | 22000.00 | 5875.00 | SHREE GOURI ELECTRIC ENTERPRISE
33.00 | Supply of 690V AC / 240V DC, 200A BS88 Type High Speed Semi conductor Fuse. (Similar to Model No. 200MT, Make Bussmann) | 5.00 | Each | 100.00 | 940.00 | 4700.00 | 977.00 | 4885.00 | 1040.00 | 5200.00 | 729.00 | 3645.00 | 3645.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Supply of 690V AC / 240V DC, 350A BS88 Type High Speed Semi conductor bolt type Fuse.(Similar to Model No. 355MT, Make Bussmann) | 5.00 | Each | 100.00 | 1520.00 | 7600.00 | 1428.00 | 7140.00 | 1520.00 | 7600.00 | 1066.00 | 5330.00 | 5330.00 | ABHISHEK INTEGRATIONS LIMITED
35.00 | Supply of 660V AC / 240V DC, 100A BS88 Type High Speed Semi conductor bolt type Fuse.(Similar to Model No. 100FE, Make Bussmann) | 5.00 | Each | 100.00 | 589.00 | 2945.00 | 550.00 | 2750.00 | 584.00 | 2920.00 | 409.00 | 2045.00 | 2045.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supply of 660V AC / 240V DC, 50A BS88 Type High Speed Semi conductor bolt type Fuse.(Similar to Model No. 50FE, Make Bussmann) | 5.00 | Each | 100.00 | 404.00 | 2020.00 | 375.00 | 1875.00 | 400.00 | 2000.00 | 281.00 | 1405.00 | 1405.00 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Supply of 415V, 4A, 80KA Breaking capacity Clip on type NS4 fuse. (Similar to Cat No.NS4 Make Bussmann) | 10.00 | Each | 100.00 | 50.00 | 500.00 | 45.00 | 450.00 | 47.00 | 470.00 | 55.00 | 550.00 | 450.00 | Bafna Electric Corp
38.00 | Supply of 500V/700 V AC, TI300-BI fuse link Trip indicator (Similar to List No.TI300-BI Make Bussmann) | 10.00 | Each | 100.00 | 360.00 | 3600.00 | 336.00 | 3360.00 | 357.00 | 3570.00 | 251.00 | 2510.00 | 2510.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | Supply of 500V AC, 120KA Breaking Capacity, 32A, DIN Type HRC Fuse link. (Similar to Cat No.32NHG000B Make Eaton) | 10.00 | Each | 100.00 | 304.00 | 3040.00 | 283.00 | 2830.00 | 301.00 | 3010.00 | 211.00 | 2110.00 | 2110.00 | ABHISHEK INTEGRATIONS LIMITED
40.00 | Supply of 500V AC, 120KA Breaking Capacity 20A, DIN Type HRC Fuse link. (Similar to Cat No.20NHG000B Make Eaton) | 10.00 | Each | 100.00 | 304.00 | 3040.00 | 283.00 | 2830.00 | 301.00 | 3010.00 | 211.00 | 2110.00 | 2110.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Supply of 500V AC 120KA Breaking Capacity 36A, DIN Type HRC Fuse link. (Similar to Cat No.35NHG000B Make Eaton) | 10.00 | Each | 100.00 | 304.00 | 3040.00 | 283.00 | 2830.00 | 301.00 | 3010.00 | 211.00 | 2110.00 | 2110.00 | ABHISHEK INTEGRATIONS LIMITED
42.00 | Supply of 500V AC, 120KA Breaking Capacity 63A, DIN Type HRC Fuse link. (Similar to Cat No.63NHG000B Make Eaton) | 10.00 | Each | 100.00 | 332.00 | 3320.00 | 283.00 | 2830.00 | 330.00 | 3300.00 | 231.00 | 2310.00 | 2310.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | Supply of 500V AC, 120KA Breaking Capacity 250A, DIN Type HRC Fuse link. (Simular Cat No.250NHG1B Make Eaton) | 10.00 | Each | 100.00 | 688.00 | 6880.00 | 640.00 | 6400.00 | 682.00 | 6820.00 | 479.00 | 4790.00 | 4790.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Supply of 500V AC, 120KA Breaking Capacity 160A, DIN Type HRC Fuse link. (Simular Cat No.160NHG01B Make Eaton) | 10.00 | Each | 100.00 | 627.00 | 6270.00 | 575.00 | 5750.00 | 611.00 | 6110.00 | 429.00 | 4290.00 | 4290.00 | ABHISHEK INTEGRATIONS LIMITED
45.00 | Supply of 160A, 35Ka, 3-Pole Power Contractor Suitable to Operate for 30KW CCRs (Make Siemens, Model 3TF50) | 2.00 | Each | 100.00 | 13300.00 | 26600.00 | 10400.00 | 20800.00 | 11185.00 | 22370.00 | 13932.00 | 27864.00 | 20800.00 | Bafna Electric Corp
46.00 | Supply of 95A, 35Ka, 3-Pole Power Contractor Suitable to Operate for 20KW CCRs (Make Siemens, Model 3TF47) | 2.00 | Each | 100.00 | 11400.00 | 22800.00 | 5640.00 | 11280.00 | 6517.00 | 13034.00 | 7226.00 | 14452.00 | 11280.00 | Bafna Electric Corp
47.00 | Supply of 80A, 35Ka, 3-Pole Power Contractor Suitable to Operate for 7.5KW & 4KW CCRs (Make Siemens, Model 3TF46) | 2.00 | Each | 100.00 | 9120.00 | 18240.00 | 3950.00 | 7900.00 | 4243.00 | 8486.00 | 10479.00 | 20958.00 | 7900.00 | Bafna Electric Corp
48.00 | Supply of 60A, 35Ka, 3-Pole Power Contractor Suitable to Operate for 4KW CCRs (Make Siemens, Model 3TF34) | 3.00 | Each | 100.00 | 6650.00 | 19950.00 | 2010.00 | 6030.00 | 2062.00 | 6186.00 | 10479.00 | 31437.00 | 6030.00 | Bafna Electric Corp
49.00 | Supply of following 24V/30V DC, 110 / 230V AC, 22.5mm dia., LED Indicaton lamp with 5mm dia each, 7 LEDs as required. (Make:Precifine or equv.) (R,Y,B,G- 30 Nos.Each) | 120.00 | Each | 100.00 | 170.00 | 20400.00 | 260.00 | 31200.00 | 124.00 | 14880.00 | 154.00 | 18480.00 | 14880.00 | Yash Energy Pvt. Ltd
50.00 | Supply of of following capacity 4 pole MCCB, 36kA, Ics=100% Icu at 415V AC,50Hz. with adjustable thermal -magnetic release
50.01 | 125A (Legrand ,cat. No.-420096) | 5.00 | Each | 100.00 | 7000.00 | 35000.00 | 7670.00 | 38350.00 | 7351.00 | 36755.00 | 11751.00 | 58755.00 | 35000.00 | SHREE GOURI ELECTRIC ENTERPRISE
50.02 | 160A (Legrand ,cat. No.-420097) | 2.00 | Each | 100.00 | 7600.00 | 15200.00 | 8670.00 | 17340.00 | 8311.00 | 16622.00 | 13701.00 | 27402.00 | 15200.00 | SHREE GOURI ELECTRIC ENTERPRISE
50.03 | 200A (Legrand ,cat. No.-420248) | 2.00 | Each | 100.00 | 15675.00 | 31350.00 | 18100.00 | 36200.00 | 15920.00 | 31840.00 | 16410.00 | 32820.00 | 31350.00 | SHREE GOURI ELECTRIC ENTERPRISE
50.04 | 250A (Legrand ,cat. No.-420249 ) | 2.00 | Each | 100.00 | 16625.00 | 33250.00 | 19350.00 | 38700.00 | 17050.00 | 34100.00 | 17727.00 | 35454.00 | 33250.00 | SHREE GOURI ELECTRIC ENTERPRISE
51.00 | 2 pole 8 ways brilliancy switch -rotary wafer,MBB type. (Make - NASU , HSN code - 85365090) | 5.00 | Each | 100.00 | 2150.00 | 10750.00 | 2125.00 | 10625.00 | 1968.00 | 9840.00 | 1980.00 | 9900.00 | 9840.00 | Yash Energy Pvt. Ltd
| Total in Figures |  |  |  |  | 724487.00 |  | 708029.50 |  | 653692.00 |  | 811759.00
Lowest Amount Quoted BY: Yash Energy Pvt. Ltd(653692.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical Spares for Day to Day Maintenance at Imphal Airport for the year 2021-22 Tender ID: 2021_AAI_81620_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Yash Energy Pvt. Ltd | 653692.00 | L1
| 2 | Bafna Electric Corp | 708029.50 | L2
| 3 | SHREE GOURI ELECTRIC ENTERPRISE | 724487.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 811759.00 | L4