## BoQ1
Government eProcurement System Created By: RISHI RAJ BAGRE Created Date/Time: 05-Aug-2021 11:27 AM Tender Title: Installation of RVR instrument at D.A.B.H. Airport, Indore. SH Electrical works, Supply and Laying of OFC Cable and Provision of Networking Equipments Tender ID: 2021_AAI_81663_1
Tender Inviting Authority: AGM (Engg.-E)-II, AAI, DABH Airport, Indore.
Name of Work: Installation of RVR instrument at D.AB.H Airport, Indore. SH: Electrical works, Supply & Laying of OFC Cable and Provision of Networking Equipments.
Contract No: AAI/ID/(Engg.-E)/eNIT-02/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Messers Rajesh Gawde(GSTN-23AFHPG7133A1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA) |  | RAJASTHAN CRANE SERVICES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Sub Heading 1 (Electrical Works)
2.00 | Supply of 4 x 35 sqmm size 1.1 kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS:7098:1988 with upto date amendments. | 1350.00 | Meter |  | 245.00 | 330750.00 | 232.00 | 313200.00 | 225.00 | 303750.00 | 235.00 | 317250.00 | 303750.00 | JCC ENGINEERS PRIVATE LIMITED
3.00 | Supply of 3 x 4 sqmm size 1.1 kv grade multicore copper conducotr XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 with upto date amendments. | 100.00 | Meter |  | 195.00 | 19500.00 | 180.00 | 18000.00 | 130.00 | 13000.00 | 125.00 | 12500.00 | 12500.00 | RAJASTHAN CRANE SERVICES
4.00 | Supply & laying of PN-6 rated PE100 grade HDPE pipe of size 50 mm dia, for electrical and communication installation i/c excavation, upto depth of 75 cm. with trench width 35 cm, and back filling the earth with accessories complete as required. | 1400.00 | Meter |  | 240.00 | 336000.00 | 240.00 | 336000.00 | 200.00 | 280000.00 | 124.00 | 173600.00 | 173600.00 | RAJASTHAN CRANE SERVICES
5.00 | Supply and making end termination with brass compression gland and suitable lugs for following size of PVC insulated and PVC sheated / XLPE following conductor cable of 1.1 KV grade as required.. (a) 4 X 35 sqmm, Alluminum Conductor Cable | 4.00 | Set |  | 150.00 | 600.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 750.00 | 3000.00 | 600.00 | Messers Rajesh Gawde
6.00 | Supply and making end termination with brass compression gland and suitable lugs for following size of PVC insulated and PVC sheated / XLPE following conductor cable of 1.1 KV grade as required. (b) 3 X 4 sqmm, Copper Conductor Cable | 6.00 | Set |  | 300.00 | 1800.00 | 225.00 | 1350.00 | 150.00 | 900.00 | 650.00 | 3900.00 | 900.00 | JCC ENGINEERS PRIVATE LIMITED
7.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 grade upto 35 sqmm size in the existing RCC/HUME/METAL pipe as required. | 1400.00 | Meter |  | 25.00 | 35000.00 | 20.00 | 28000.00 | 30.00 | 42000.00 | 25.00 | 35000.00 | 28000.00 | Manish Electricals
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 20.00 | Meter |  | 200.00 | 4000.00 | 20.00 | 400.00 | 20.00 | 400.00 | 100.00 | 2000.00 | 400.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 25.00 | Meter |  | 250.00 | 6250.00 | 50.00 | 1250.00 | 35.00 | 875.00 | 150.00 | 3750.00 | 875.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | SITC of 3KVA capacity UPS suitable for operation on 110 volt to 300 single phase 50 Hz AC input supply and constant output of 230 volt AC near sine wave having 60 minute back up capacity with shortcircuit over load, battery deep discharge & overcharge protection and suitable for equipment application purposes etc. as required | 2.00 | Job |  | 88500.00 | 177000.00 | 52000.00 | 104000.00 | 48000.00 | 96000.00 | 35000.00 | 70000.00 | 70000.00 | RAJASTHAN CRANE SERVICES
11.00 | Supplying & fixing of Metal Enclosure for 3 KVA UPS along with batteries of 60 minuite backups, made out of 2 mm thick CRCA sheet with locking arrangement, canopy and duly powder coated / epoxy painted with IP grade -55 etc. including making suitable PCC foundation complete as required. | 2.00 | Job |  | 11000.00 | 22000.00 | 21000.00 | 42000.00 | 13500.00 | 27000.00 | 25000.00 | 50000.00 | 22000.00 | Messers Rajesh Gawde
12.00 | SITC of suitable size power supply enclosure having angle iron mounting legs of 1.5 meter length and made out of 2 mm thick CRCA sheet double door with locking arrangement, cancopy and duly power coated/epoxy painted, to be provided with suitable PCC foundation and having following accessories and mountings etc. as required:- (a) 20 Amps DP MCB-01 No. (Incomer) (b) 10 Amps DP MCB-01 No. (Outgoing) (c) 5 Amps DP MCB-03 No. (Outgoing) (d) Power distribution board with 05 nos. of 5 Amps 3 Pin Sockets & Switches -01 No. (Outgoing) | 2.00 | Job |  | 14000.00 | 28000.00 | 24500.00 | 49000.00 | 12000.00 | 24000.00 | 30000.00 | 60000.00 | 24000.00 | JCC ENGINEERS PRIVATE LIMITED
13.00 | SITC of suitable size secondary power enclosure box made out of 2 mm thick CRCA sheet double door with locking arrangement, cancopy and power / epoxy coated painted consenting of a power distribution board with 04 nos. of 5 Amps 3 Pind Sockets & switches - 01 No. | 3.00 | Job |  | 6500.00 | 19500.00 | 9000.00 | 27000.00 | 5000.00 | 15000.00 | 25000.00 | 75000.00 | 15000.00 | JCC ENGINEERS PRIVATE LIMITED
14.00 | SITC of fully autonomous, CPRI tested early streamer Emission lightering conductor (ESELC) having gain in triggering time of minimum 60 micro sec. and radius of protection of 62 mtr in level 1 protection zone at 10 meter. High mast on round (2mtr FRP mast OD 68 mm, ID 60mm, wall thickness 4 mm) 08 mtr G I Mast (2 inches dia) along with all other accessories for installation of ELELC to protect the building & other structures from lightning strikes. | 2.00 | Job |  | 129000.00 | 258000.00 | 145000.00 | 290000.00 | 125000.00 | 250000.00 | 50000.00 | 100000.00 | 100000.00 | RAJASTHAN CRANE SERVICES
15.00 | SITC of 70 Sq.mm copper flexible wires as down conductor from air terminal to the earth pits. | 50.00 | Meter |  | 850.00 | 42500.00 | 700.00 | 35000.00 | 725.00 | 36250.00 | 710.00 | 35500.00 | 35000.00 | Manish Electricals
16.00 | SITC of lightning transient event counter resettable 6 digit LCD display with in built lithium battery in IP67 rating enclosure with transparent lid, mounting arrangements etc., as required. | 2.00 | Job |  | 31000.00 | 62000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 15000.00 | RAJASTHAN CRANE SERVICES
17.00 | Providing & creating of CPRI tested earth pits using earth enhanced compound of 20 kgs, advanced chemical earth rod made with k type copper tube of 2.5” dia, 8 fts long, 1.6 mm thick installed vertically or horizontally as per the site conditions complete with flanges bends top cover heavy duty plastic inspection chamber including excavation and refilling etc as required. | 6.00 | Set |  | 29500.00 | 177000.00 | 25000.00 | 150000.00 | 22500.00 | 135000.00 | 7500.00 | 45000.00 | 45000.00 | RAJASTHAN CRANE SERVICES
18.00 | Sub Head 2: Supply & Laying of OFC Cable and Provision of Networking Equipments.
19.00 | 12 CORE SINGLE MODE ARMOURED OFC CABLE. | 3200.00 | Metre |  | 50.00 | 160000.00 | 68.00 | 217600.00 | 50.00 | 160000.00 | 65.00 | 208000.00 | 160000.00 | JCC ENGINEERS PRIVATE LIMITED, Messers Rajesh Gawde
20.00 | OFC LIU with Pigtail & Patch Cards. | 4.00 | Set |  | 7200.00 | 28800.00 | 10000.00 | 40000.00 | 6500.00 | 26000.00 | 2500.00 | 10000.00 | 10000.00 | RAJASTHAN CRANE SERVICES
21.00 | I/O box with Back Box & Face Plate. | 18.00 | Set |  | 252.00 | 4536.00 | 250.00 | 4500.00 | 220.00 | 3960.00 | 250.00 | 4500.00 | 3960.00 | JCC ENGINEERS PRIVATE LIMITED
22.00 | SEP Module | 4.00 | Each |  | 4200.00 | 16800.00 | 4500.00 | 18000.00 | 2000.00 | 8000.00 | 1200.00 | 4800.00 | 4800.00 | RAJASTHAN CRANE SERVICES
23.00 | 24 + 4 Port Gigabit Ethernet Switch for LAN | 3.00 | Each |  | 11400.00 | 34200.00 | 9000.00 | 27000.00 | 8800.00 | 26400.00 | 35000.00 | 105000.00 | 26400.00 | JCC ENGINEERS PRIVATE LIMITED
24.00 | 9u Rack with standard accessories. | 3.00 | Each |  | 4800.00 | 14400.00 | 4500.00 | 13500.00 | 3200.00 | 9600.00 | 22500.00 | 67500.00 | 9600.00 | JCC ENGINEERS PRIVATE LIMITED
25.00 | Cat-6 STP LAN Cable (305 Mtrs. Per box) | 2.00 | Per Box |  | 17640.00 | 35280.00 | 15000.00 | 30000.00 | 6000.00 | 12000.00 | 7500.00 | 15000.00 | 12000.00 | JCC ENGINEERS PRIVATE LIMITED
26.00 | OFC Splicing Charges. | 72.00 | Per Core |  | 240.00 | 17280.00 | 400.00 | 28800.00 | 200.00 | 14400.00 | 350.00 | 25200.00 | 14400.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Laying of underground HDPE conduit (for layiing of ARMOURED OFC) by Standard cut & cover method at 1 Mtr. depth in soft soil. | 3200.00 | Meter |  | 165.00 | 528000.00 | 140.00 | 448000.00 | 70.00 | 224000.00 | 349.00 | 1116800.00 | 224000.00 | JCC ENGINEERS PRIVATE LIMITED
28.00 | Excavation of Hard rock for laying of HDPE conduit/ OFC at 1 Mtr depth | 50.00 | Cu.Metre |  | 236.00 | 11800.00 | 700.00 | 35000.00 | 800.00 | 40000.00 | 250.00 | 12500.00 | 11800.00 | Messers Rajesh Gawde
29.00 | Supply of HDPE conduit and laying of armoured OFC through HDPE conduit. | 3200.00 | Metre |  | 141.00 | 451200.00 | 148.00 | 473600.00 | 155.00 | 496000.00 | 105.00 | 336000.00 | 336000.00 | RAJASTHAN CRANE SERVICES
30.00 | Supply of PVC conduit and laying of Cat-6 STP Cable through PVC conduit. | 600.00 | Metre |  | 60.00 | 36000.00 | 110.00 | 66000.00 | 55.00 | 33000.00 | 55.00 | 33000.00 | 33000.00 | RAJASTHAN CRANE SERVICES, JCC ENGINEERS PRIVATE LIMITED
31.00 | Supply of GI pipe and Underground laying of armoured OFC by Horizontal drilling at 1 Mtr. depth | 300.00 | Metre |  | 710.00 | 213000.00 | 210.00 | 63000.00 | 950.00 | 285000.00 | 150.00 | 45000.00 | 45000.00 | RAJASTHAN CRANE SERVICES
32.00 | Charges for Installation, testing, commissioning & documentation of Network equiment & accessories at site 1 as per schedule mentioned in the Technical Specification. | 1.00 | Each |  | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 2500.00 | 2500.00 | 36500.00 | 36500.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
33.00 | Charges for Installation, testing, commissioning & documentation of Network equiment & accessories at site 2 as per schedule mentioned in the Technical Specification. | 1.00 | Each |  | 8000.00 | 8000.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 25000.00 | 25000.00 | 3000.00 | JCC ENGINEERS PRIVATE LIMITED
34.00 | Charges for Installation, testing, commissioning & documentation of Network equiment & accessories at site 3 as per schedule mentioned in the Technical Specification. | 1.00 | Each |  | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 2500.00 | 2500.00 | 25000.00 | 25000.00 | 2500.00 | JCC ENGINEERS PRIVATE LIMITED
35.00 | Charges for Installation, testing, commissioning & documentation of Network equiment & accessories at site 4 as per schedule mentioned in the Technical Specification. | 1.00 | Each |  | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 750.00 | 750.00 | 25000.00 | 25000.00 | 750.00 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 3098196.00 |  | 2918400.00 |  | 2603285.00 |  | 3096300.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(2603285.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of RVR instrument at D.A.B.H. Airport, Indore. SH Electrical works, Supply and Laying of OFC Cable and Provision of Networking Equipments Tender ID: 2021_AAI_81663_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 2603285.00 | L1
| 2 | Manish Electricals | 2918400.00 | L2
| 3 | RAJASTHAN CRANE SERVICES | 3096300.00 | L3
| 4 | Messers Rajesh Gawde | 3098196.00 | L4