## BoQ1
Government eProcurement System Created By: JOSEPHINE JULIANA Created Date/Time: 04-Aug-2021 11:27 AM Tender Title: Job Contract for O and M Tender ID: 2021_AAI_82433_1
Tender Inviting Authority: ASST. GEN. MANAGER ENGG-ELECT.
Name of Work: ARMO of E&M installations at VSI Airport Port Blair for the year 2021-22 and 2022-23. SH: Job Contract for Operation & Maintenance of Internal & External Electrical Installations
E Bid No: 2021_AAI_82433_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | BLUE CHIP CONSULTANCY SERVICE(GSTN-35AKGPK3452Q1ZQ) |  | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-36AACCJ7269H1Z9) |  | Manjunatha Engineers(GSTN-29AMQPG2258Q2Z6) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of internal & external Electrical installations at Power house, Terminal building, Residential Colony at Lamba line & Haddo, CISF Barrack, ICG Hangar including Taxiway Lights, Signages, Apron Flood Lighting, Street Lights, Localizer, Cargo Complex, DVOR site and ADS-B site at Campbell bay Island and all internal & External Electrification, minor additions / alterations and attending all complaints, rectifications of faults, including operation and testing of 3 X 250KVA DG set (only operation) along with AMF panel, pump sets installed at Airport, Residential Colony & ICG Hangar, including operation routine testing of 5 nos.D.G. set (only operation) of capacity upto 100 KVA along with AMF panel at DVOR and haddo colony sites, including operation routine testing of 1 X 250 KVA DG set (only operation) along with panels at Cargo Complex, including operation routine testing of 1 no.D.G. set (only operation) of capacity upto 15 KVA along with AMF panel at ADS-B site at Campbell bay Island for supplying power when commercial supply fails or as and when required, including ensuring serviceability / satisfactory working condition of the systems i/c earthing, preventive maintenance on daily / weekly / monthly / quarterly / half yearly / yearly basis, maintenance of records, log books and reporting as and when required etc. on all days including Sundays & Holidays. The services shall be ensured on round the clock three shift basis (each shift 8 hours) on all days including sundays / holidays including cleaning and upkeeping of the installations as per the site requirement complete etc., as required and as specified.
1.01 | For First Year | 12.00 | Months | 100.00 | 845000.00 | 10140000.00 | 813453.00 | 9761436.00 | 765000.00 | 9180000.00 | 762479.00 | 9149748.00 | 800000.00 | 9600000.00 | 814018.10 | 9768217.20 | 782767.00 | 9393204.00 | 850000.00 | 10200000.00 | 700000.00 | 8400000.00 | 732642.00 | 8791704.00 | 750444.00 | 9005328.00 | 8400000.00 | M/S DURGA SUPPLY AGENCIES
1.02 | For Second Year | 12.00 | Months | 100.00 | 850000.00 | 10200000.00 | 837857.00 | 10054284.00 | 775000.00 | 9300000.00 | 762479.00 | 9149748.00 | 800000.00 | 9600000.00 | 814018.10 | 9768217.20 | 782767.00 | 9393204.00 | 875000.00 | 10500000.00 | 690000.00 | 8280000.00 | 732642.00 | 8791704.00 | 750444.00 | 9005328.00 | 8280000.00 | M/S DURGA SUPPLY AGENCIES
2.00 | Supply of Diesel vehicle (Bolero / Scorpio /SUV) not more than 03 years old and regular use for maximum 50 KM per day and duration 9 am to 9 pm on all days including Sundays, holidays including cleaning and up keeping of the vehicle as per the site requirement and as specified.
2.01 | For First Year | 12.00 | Months | 100.00 | 42500.00 | 510000.00 | 50000.00 | 600000.00 | 50000.00 | 600000.00 | 75000.00 | 900000.00 | 32000.00 | 384000.00 | 52100.00 | 625200.00 | 50000.00 | 600000.00 | 60000.00 | 720000.00 | 60000.00 | 720000.00 | 69999.00 | 839988.00 | 40500.00 | 486000.00 | 384000.00 | SHREE GOURI ELECTRIC ENTERPRISE
2.02 | For Second Year | 12.00 | Months | 100.00 | 47500.00 | 570000.00 | 51500.00 | 618000.00 | 50000.00 | 600000.00 | 75000.00 | 900000.00 | 32000.00 | 384000.00 | 52100.00 | 625200.00 | 50000.00 | 600000.00 | 70000.00 | 840000.00 | 60000.00 | 720000.00 | 69999.00 | 839988.00 | 40500.00 | 486000.00 | 384000.00 | SHREE GOURI ELECTRIC ENTERPRISE
| Total in Figures |  |  |  |  | 21420000.00 |  | 21033720.00 |  | 19680000.00 |  | 20099496.00 |  | 19968000.00 |  | 20786834.40 |  | 19986408.00 |  | 22260000.00 |  | 18120000.00 |  | 19263384.00 |  | 18982656.00
Lowest Amount Quoted BY: M/S DURGA SUPPLY AGENCIES(18120000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job Contract for O and M Tender ID: 2021_AAI_82433_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S DURGA SUPPLY AGENCIES | 18120000.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 18982656.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 19263384.00 | L3
| 4 | BLUE CHIP CONSULTANCY SERVICE | 19680000.00 | L4
| 5 | SHREE GOURI ELECTRIC ENTERPRISE | 19968000.00 | L5
| 6 | Manjunatha Engineers | 19986408.00 | L6
| 7 | Voltas Limited | 20099496.00 | L7
| 8 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 20786834.40 | L8
| 9 | VOLTECH O AND M SERVICES PVT LTD | 21033720.00 | L9
| 10 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 21420000.00 | L10
| 11 | Manish Electricals | 22260000.00 | L11