## BoQ1
Government eProcurement System Created By: Atul Semwal Created Date/Time: 05-Aug-2021 03:38 PM Tender Title: Miscellaneous Civil Work in Operational Area at Jabalpur Airport (2021-22) Tender ID: 2021_AAI_82447_1
Tender Inviting Authority: SM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work : “Miscellaneous Civil Work in Operational Area at Jabalpur Airport (2021-22).”
Tender ID : 2021_AAI_82447_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | varsma engineers group(GSTN-23AAEFV7885Q1Z7) |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED(GSTN-23AARCS0124P1Z3) |  | S.K. CONSTRUCTION(GSTN-09ACHPY6641G1Z3) |  | M K CONSTRUCTION(GSTN-NA) |  | NIRMAAN PROJECTS(GSTN-NA) |  | shri shiv shakti enterprises(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 258.40 | Cum | 0.00 | 140.00 | 36176.00 | 148.50 | 38372.40 | 150.00 | 38760.00 | 450.00 | 116280.00 | 230.00 | 59432.00 | 85.00 | 21964.00 | 21964.00 | shri shiv shakti enterprises
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 128.00 | Cum | 0.00 | 50.00 | 6400.00 | 189.00 | 24192.00 | 120.00 | 15360.00 | 75.00 | 9600.00 | 190.00 | 24320.00 | 70.00 | 8960.00 | 6400.00 | varsma engineers group
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 3.60 | Cum | 0.00 | 4500.00 | 16200.00 | 4725.00 | 17010.00 | 6590.00 | 23724.00 | 8900.00 | 32040.00 | 7200.00 | 25920.00 | 4500.00 | 16200.00 | 16200.00 | varsma engineers group, shri shiv shakti enterprises
4.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 56.00 | Cum | 0.00 | 4700.00 | 263200.00 | 4725.00 | 264600.00 | 6050.00 | 338800.00 | 8000.00 | 448000.00 | 6800.00 | 380800.00 | 5000.00 | 280000.00 | 263200.00 | varsma engineers group
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 108.75 | Cum | 0.00 | 3700.00 | 402375.00 | 4383.00 | 476651.25 | 4865.00 | 529068.75 | 5400.00 | 587250.00 | 5890.00 | 640537.50 | 4000.00 | 435000.00 | 402375.00 | varsma engineers group
6.00 | Fabricating, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. (b) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item. The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete, as per item description, as specified, as per the site condition and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 30.34 | Sqm | 0.00 | 3200.00 | 97088.00 | 2835.00 | 86013.90 | 3640.00 | 110437.60 | 3900.00 | 118326.00 | 4690.00 | 142294.60 | 2800.00 | 84952.00 | 84952.00 | shri shiv shakti enterprises
7.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws. | 3.78 | Sqm | 0.00 | 3300.00 | 12474.00 | 2340.00 | 8845.20 | 2485.00 | 9393.30 | 2500.00 | 9450.00 | 14200.00 | 53676.00 | 2000.00 | 7560.00 | 7560.00 | shri shiv shakti enterprises
8.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.)trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes. | 5308.64 | Kg | 0.00 | 90.00 | 477777.60 | 94.50 | 501666.48 | 90.00 | 477777.60 | 119.00 | 631728.16 | 130.00 | 690123.20 | 100.00 | 530864.00 | 477777.60 | varsma engineers group, S.K. CONSTRUCTION
9.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 3343.80 | Kg | 0.00 | 88.00 | 294254.40 | 90.00 | 300942.00 | 92.00 | 307629.60 | 90.00 | 300942.00 | 130.00 | 434694.00 | 88.00 | 294254.40 | 294254.40 | varsma engineers group, shri shiv shakti enterprises
10.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts,fasteners etc). | 450.00 | Kg | 0.00 | 470.00 | 211500.00 | 373.50 | 168075.00 | 485.00 | 218250.00 | 900.00 | 405000.00 | 390.00 | 175500.00 | 400.00 | 180000.00 | 168075.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
11.00 | Chequered terrazo tiles 22 mm thick with graded marble chips of size up to 6 mm in floors, jointed with neat cement slurry mixed with pigment to match the shade of the tiles, including rubbing and polishing complete,on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) :Light shade pigment using white cement | 90.00 | Sqm | 0.00 | 850.00 | 76500.00 | 1138.50 | 102465.00 | 915.00 | 82350.00 | 1200.00 | 108000.00 | 2230.00 | 200700.00 | 800.00 | 72000.00 | 72000.00 | shri shiv shakti enterprises
12.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).Size of Tile 600x600 mm | 130.00 | Sqm | 0.00 | 1250.00 | 162500.00 | 769.50 | 100035.00 | 1145.00 | 148850.00 | 1400.00 | 182000.00 | 2230.00 | 289900.00 | 900.00 | 117000.00 | 100035.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
13.00 | Providing and fixing precoated galvanised iron profile sheets (size,shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 41.00 | Sqm | 0.00 | 630.00 | 25830.00 | 981.00 | 40221.00 | 587.00 | 24067.00 | 850.00 | 34850.00 | 1980.00 | 81180.00 | 550.00 | 22550.00 | 22550.00 | shri shiv shakti enterprises
14.00 | 12 mm cement plaster of mix :Cement mortar 1:6 (1 cement : 6 coarse sand) | 75.00 | Sqm | 0.00 | 240.00 | 18000.00 | 270.00 | 20250.00 | 215.00 | 16125.00 | 450.00 | 33750.00 | 390.00 | 29250.00 | 250.00 | 18750.00 | 16125.00 | S.K. CONSTRUCTION
15.00 | 15 mm cement plaster of mix :Cement mortar 1:6 (1 cement : 6 coarse sand) | 75.00 | Sqm | 0.00 | 260.00 | 19500.00 | 315.00 | 23625.00 | 225.00 | 16875.00 | 480.00 | 36000.00 | 430.00 | 32250.00 | 250.00 | 18750.00 | 16875.00 | S.K. CONSTRUCTION
16.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 150.00 | Sqm | 0.00 | 80.00 | 12000.00 | 360.00 | 54000.00 | 105.00 | 15750.00 | 85.00 | 12750.00 | 190.00 | 28500.00 | 85.00 | 12750.00 | 12000.00 | varsma engineers group
17.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 150.00 | Sqm | 0.00 | 90.00 | 13500.00 | 270.00 | 40500.00 | 105.00 | 15750.00 | 90.00 | 13500.00 | 290.00 | 43500.00 | 85.00 | 12750.00 | 12750.00 | shri shiv shakti enterprises
18.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 280.00 | Sqm | 0.00 | 80.00 | 22400.00 | 270.00 | 75600.00 | 110.00 | 30800.00 | 95.00 | 26600.00 | 330.00 | 92400.00 | 100.00 | 28000.00 | 22400.00 | varsma engineers group
19.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.n cement mortar | 10.00 | Cum | 0.00 | 1000.00 | 10000.00 | 180.00 | 1800.00 | 1150.00 | 11500.00 | 250.00 | 2500.00 | 750.00 | 7500.00 | 500.00 | 5000.00 | 1800.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
20.00 | Dismantling steel work in built up sections in angles, tees, flats and channels including all gusset plates, bolts, nuts, cutting rivets, welding etc. including dismembering and stacking within 50 metres lead. | 1500.00 | Kg | 0.00 | 2.00 | 3000.00 | 27.00 | 40500.00 | 7.00 | 10500.00 | 22.00 | 33000.00 | 30.00 | 45000.00 | 2.00 | 3000.00 | 3000.00 | varsma engineers group, shri shiv shakti enterprises
21.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 80.00 | Sqm | 0.00 | 40.00 | 3200.00 | 405.00 | 32400.00 | 50.00 | 4000.00 | 25.00 | 2000.00 | 190.00 | 15200.00 | 15.00 | 1200.00 | 1200.00 | shri shiv shakti enterprises
22.00 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 240.00 | Sqm | 0.00 | 40.00 | 9600.00 | 351.00 | 84240.00 | 40.00 | 9600.00 | 15.00 | 3600.00 | 130.00 | 31200.00 | 15.00 | 3600.00 | 3600.00 | M K CONSTRUCTION, shri shiv shakti enterprises
23.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 40.00 | Sqm | 0.00 | 40.00 | 1600.00 | 243.00 | 9720.00 | 40.00 | 1600.00 | 35.00 | 1400.00 | 390.00 | 15600.00 | 15.00 | 600.00 | 600.00 | shri shiv shakti enterprises
24.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 640.00 | Sqm | 0.00 | 80.00 | 51200.00 | 121.50 | 77760.00 | 58.00 | 37120.00 | 95.00 | 60800.00 | 90.00 | 57600.00 | 70.00 | 44800.00 | 37120.00 | S.K. CONSTRUCTION
25.00 | Supplying and stacking at site. Good earth | 146.00 | Cum | 0.00 | 500.00 | 73000.00 | 441.00 | 64386.00 | 298.00 | 43508.00 | 490.00 | 71540.00 | 530.00 | 77380.00 | 200.00 | 29200.00 | 29200.00 | shri shiv shakti enterprises
26.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 270.00 | Sqm | 0.00 | 850.00 | 229500.00 | 603.00 | 162810.00 | 595.00 | 160650.00 | 750.00 | 202500.00 | 1290.00 | 348300.00 | 650.00 | 175500.00 | 160650.00 | S.K. CONSTRUCTION
27.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 14.40 | Cum | 0.00 | 10000.00 | 144000.00 | 5917.50 | 85212.00 | 7150.00 | 102960.00 | 8800.00 | 126720.00 | 22300.00 | 321120.00 | 6500.00 | 93600.00 | 85212.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
28.00 | Providing and laying gang saw cut 18 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. With granite stone of area less than 0.50 sqm. | 27.00 | Sqm | 0.00 | 3500.00 | 94500.00 | 2673.00 | 72171.00 | 3100.00 | 83700.00 | 4100.00 | 110700.00 | 6200.00 | 167400.00 | 2500.00 | 67500.00 | 67500.00 | shri shiv shakti enterprises
29.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : 21.1.1 For fixed portion 21.1.1.2 Powder coated aluminium (minimum thickness of powder coating 50 micron) | 449.24 | kg | 0.00 | 410.00 | 184188.40 | 391.50 | 175877.46 | 390.00 | 175203.60 | 490.00 | 220127.60 | 690.00 | 309975.60 | 425.00 | 190927.00 | 175203.60 | S.K. CONSTRUCTION
30.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : 21.1.2 For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) 21.1.2.2 Powder coated aluminium (minimum thickness of powder coating 50 micron) | 201.34 | kg | 0.00 | 480.00 | 96643.20 | 391.50 | 78824.61 | 405.00 | 81542.70 | 520.00 | 104696.80 | 630.00 | 126844.20 | 450.00 | 90603.00 | 78824.61 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
31.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineerin-charge. 21.2.2 Pre-laminated particle board with decorative lamination on both sides | 57.55 | Sqm | 0.00 | 1200.00 | 69060.00 | 720.00 | 41436.00 | 850.00 | 48917.50 | 1200.00 | 69060.00 | 13200.00 | 759660.00 | 800.00 | 46040.00 | 41436.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
32.00 | 21.3 Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): 21.3.2 With float glass panes of 5mm thickness | 27.67 | Sqm | 0.00 | 860.00 | 23796.20 | 981.00 | 27144.27 | 1120.00 | 30990.40 | 900.00 | 24903.00 | 6400.00 | 177088.00 | 600.00 | 16602.00 | 16602.00 | shri shiv shakti enterprises
33.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. 21.4.1 With stainless steel cover plate minimum 1.25 mm thickness | 5.00 | Each | 0.00 | 2500.00 | 12500.00 | 2191.50 | 10957.50 | 3500.00 | 17500.00 | 3000.00 | 15000.00 | 3980.00 | 19900.00 | 2500.00 | 12500.00 | 10957.50 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
34.00 | Providing and fixing mineral fibre false ceiling tiles at all heights of size 595X595mm of approved texture, design and pattern. The tiles should have Humidity Resistance (RH) of 99%, Light Reflectance > 85%, Thermal Conductivity k = 0.052 - 0.057 w/m K, Fire Performance as per (BS 476 pt - 6 &7)in true horizontal level suspended on interlocking T-Grid of hot dipped all round galvanized iron section of 0.33 mm thick (galvanized @120 gsm) comprising of main T runners of 15x32 mm of length 3000 mm, cross T of size 15x32mm of length 1200 mm and secondary intermediate cross T of size 15x32 mm of length 600 mm to form grid module of size 600x600 mm suspended from ceiling using galvanized mild steel item (galvanised@80gsm) 50 mm long 8mm outer diameter M-6 dash fasteners, 6 mm diameter fully threaded hanger rod up to 1000 mm length and L-shape level adjuster of size 85x25x2 mm, spaced at 1200 mm centre to centre along main ‘T’. The system should rest on periphery walls /partitions with the help of GI perimeter wall angle of size24x24X3000 mm made of 0.40 mm thick sheet, to be fixed to the wall with help of plastic rawl plug at 450 mm centre to centre & 40 mm long dry wall S.S. screws. The exposed bottom portion of all T-sections used in false ceiling support system shall be pre-painted with polyester baked paint, for all heights. The work shall be carried out as per specifications, drawings and as per directions of the engineer-incharge. With 16 mm thick beveled tegular mineral fibre false ceiling tile (NRC 0.55 to 0.6 | 75.00 | Sqm | 0.00 | 1400.00 | 105000.00 | 945.00 | 70875.00 | 1465.00 | 109875.00 | 2490.00 | 186750.00 | 2980.00 | 223500.00 | 1100.00 | 82500.00 | 70875.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
35.00 | Brick work with local available size bricks of class designation 35 in foundation and plinth in ; Cement Mortar 1:6 (1 Cement : 6 Coarse sand) | 19.43 | Cum | 0.00 | 5000.00 | 97150.00 | 4680.00 | 90932.40 | 5140.00 | 99870.20 | 8000.00 | 155440.00 | 6400.00 | 124352.00 | 5000.00 | 97150.00 | 90932.40 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
36.00 | Brick work with local available size bricks of class designation 35 in superstructure above plinth level upto floor V level in all shapes and sizes in ; Cement mortar 1:6 (1 cement : 6 coarse sand) | 13.88 | Cum | 0.00 | 5500.00 | 76312.50 | 4680.00 | 64935.00 | 5465.00 | 75826.88 | 8200.00 | 113775.00 | 6800.00 | 94350.00 | 5200.00 | 72150.00 | 64935.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
37.00 | Providing and fixing DORMA ES-200 Automatic bi-parting sliding door operator of Dorma make with 10 mm thick toughened clear glass in DORMA ST-G Profile, modular design, including internal cover. with Operator Dimensions (L x H x T): 6250x100 x 180 mm, The Contractor must provide shop drawings and samples of all fixtures / glass proposed to be used for approval by Engineering In Charge. (ST-G Profile System for 10 mm Glass, - Clear Passage width 2800 mm, - Clear Passage height 2300 mm, - 2 Nos. Sliding & 2 Nos. Fixed Panels with Seals & Floor Mounted Guide. The Contractor must provide shop drawings and samples of all fixtures / glass proposed to be used for approval by E-I-C. | 1.00 | Each | 0.00 | 197000.00 | 197000.00 | 211500.00 | 211500.00 | 215000.00 | 215000.00 | 175000.00 | 175000.00 | 298000.00 | 298000.00 | 263925.00 | 263925.00 | 175000.00 | M K CONSTRUCTION
38.00 | Pipe / Truss Based Frameless Single Glazing with Spiders - Providing and fixing frameless glass facade with 12 mm thick toughened clear glass of approved make supported on MS pipe as/drawing with top bottom fixing including cost of stainless steel RSF Spider fittings DORMA or approved equivalent make, FHAB M 12 flat headed RSF Fixed Bolts allowing articulation , including making suitable holes in the glass fixed to structural M. S.truss(Cost of providing M.S. structure not to be included in this item) as per elevation and drawings enclosed. The glass hall be inserted by minimum of 40mm sealed with structural sealant. The periphery shall be sealed both from inside and outside with silicon weather sealant to make the glazing water/ airtight. The rate shall include fixing of glass to connector pipes with stainless steel fixtures as detailed in drawing. The glazing frame shall be aligned for the entire height, horizontally to ensure 100 percent "X" & 'Y" axis alignment. The contractor must provide shop drawings & samples of all fixtures/ glass proposed to be used for approval by architect/E-I-C. The spiders should be with punctured arms for better strength & aesthetics. | 35.00 | Sqm | 0.00 | 6800.00 | 238000.00 | 9315.00 | 326025.00 | 7650.00 | 267750.00 | 1500.00 | 52500.00 | 4890.00 | 171150.00 | 9750.00 | 341250.00 | 52500.00 | M K CONSTRUCTION
39.00 | Supplying and installation of Single leaf glass door 2100x1050 made up of 12mm tempered clear glass of St. Gobain or approved Equivalent make and fixed using Dorma or approved equivalent make fittings of BTS 75 V door package including floor spring, top Pivot(PT 24), Top Patch(PT 20) & bottom patch(PT 10), Corner lock(US 10), 300 X 22 S Satin D pull handles pair (SS 304), etc. compete with all accessories, fittings & fixtures as per the direction of Engineering In Charge | 2.00 | Each | 0.00 | 2300.00 | 4600.00 | 36675.00 | 73350.00 | 35000.00 | 70000.00 | 25000.00 | 50000.00 | 32800.00 | 65600.00 | 23500.00 | 47000.00 | 4600.00 | varsma engineers group
40.00 | Supplying and fixing of 12mm tempered clear glass of St. Gobain or approved Equivalent make as per the direction of Engineering In Charge.The item includes making holes and necessary cutout. | 10.00 | Sqm | 0.00 | 1800.00 | 18000.00 | 2034.00 | 20340.00 | 2200.00 | 22000.00 | 4500.00 | 45000.00 | 5800.00 | 58000.00 | 2424.86 | 24248.60 | 18000.00 | varsma engineers group
41.00 | Supplying and fixing of 10mm tempered clear glass of St. Gobain or approved Equivalent make as per the direction of Engineering In Charge.The item includes making holes and necessary cutout. | 10.00 | Sqm | 0.00 | 1400.00 | 14000.00 | 1831.50 | 18315.00 | 2100.00 | 21000.00 | 4000.00 | 40000.00 | 5800.00 | 58000.00 | 1800.00 | 18000.00 | 14000.00 | varsma engineers group
42.00 | Providing and fixing 10mm thick clear multiwall poly carbonate sheets of approved make and shade in desired roofing including the cost of EPDM rubber gaskets, sealing tape, etc necessary accessories complete as per direction of engineer-in-charge. The deatiled shade drawings based on relevant codal provisions shall be provided by the agency. The sheeys shall be laid on the purlins to a true plane, with the lines parallel or normal to the sides of the area to be covered unless otherwise required as in special shape roofs like oval, curve,etc. The joints shall be fixed at top of sheet to cover with anodised aluminium flats fitted with washer as joinery detailes etc. as per direction of E-I-C.( Proving and fixing MS tube work shall be paid seprately.) | 72.00 | Sqm | 0.00 | 2200.00 | 158400.00 | 2583.00 | 185976.00 | 2350.00 | 169200.00 | 4350.00 | 313200.00 | 1230.00 | 88560.00 | 1400.00 | 100800.00 | 88560.00 | NIRMAAN PROJECTS
| Total in Figures |  |  |  |  | 4081925.30 |  | 4370551.47 |  | 4289582.13 |  | 5286278.56 |  | 7086257.10 |  | 3990000.00
Lowest Amount Quoted BY: shri shiv shakti enterprises(3990000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Work in Operational Area at Jabalpur Airport (2021-22) Tender ID: 2021_AAI_82447_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | shri shiv shakti enterprises | 3990000.00 | L1
| 2 | varsma engineers group | 4081925.30 | L2
| 3 | S.K. CONSTRUCTION | 4289582.13 | L3
| 4 | SAMEER GLAZING SYSTEM PRIVATE LIMITED | 4370551.47 | L4
| 5 | M K CONSTRUCTION | 5286278.56 | L5
| 6 | NIRMAAN PROJECTS | 7086257.10 | L6