## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 18-Aug-2021 12:20 PM Tender Title: Provision of 20 KW CCR for CAT-1 with spare card at R. B. Airport, Bhopal Tender ID: 2021_AAI_82453_1
Tender Inviting Authority: AGM(E-E)-II, AAI, R.B. Airport, Bhopal
Name of Work: Provision of 20 KW CCR for CAT-1 with spare card at R. B. Airport, Bhopal.
Contract No: AAI/BPL/ENGG(E)/NIT-05/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS(GSTN-27ABAPS2566G1ZK) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, Installation, Testing and Commissioning of 20 KW, Indoor type air cooled constant current regulator (CCR) of microprocessor controlled based suitable for operation on 240 / 415 Volts + 10%, 50 Hz input AC supply with 5 steps variation of suitable current output (2.8,3.4,4.0,5.2,6.6 Amps) suitable for local and remote control operation with suitable control supply and able to communicate with PC or PLC controlled system, with output current indicated on multifunction digital display, over current, over voltage, open circuit and earth fault protection and earthleakage meter, positive back indication equipments, relays, cotactors, complete as required for the following rating and confirming to specifications enclosed. (FAA Compliant). Including supply of additional one spare card of each card used in the CCR supplied above for maintenance point of view. | 1.00 | Job |  | 409300.00 | 409300.00 | 385000.00 | 385000.00 | 385000.00 | Manish Electricals
2.00 | Supply of 16.0 sq.mm. 5KV grade PVC insulated & PVC sheathed, antitermite & antirodent standard copper conductor single core Airfield lighting cable confirming IS 1554 (Part-1) with upto date amendent and confirming to particular specification etc. as required. | 1000.00 | Meter |  | 200.00 | 200000.00 | 199.00 | 199000.00 | 199000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 609300.00 |  | 584000.00
Lowest Amount Quoted BY: Manish Electricals(584000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 20 KW CCR for CAT-1 with spare card at R. B. Airport, Bhopal Tender ID: 2021_AAI_82453_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 584000.00 | L1
| 2 | NASU SYSTEMS | 609300.00 | L2