## BoQ1
Government eProcurement System Created By: Ashwini kumar Mor Created Date/Time: 31-Aug-2021 05:20 PM Tender Title: CAMC OF EPABX, ARC OF CABLING AND PROVISIONING OF MANPOWER AT VARIOUS AAI SITES IN NEW DELHI Tender ID: 2021_AAI_82912_1
Tender Inviting Authority: GM(CNS)IGIA
Name of Work: CAMC OF EPABX, ARC OF CABLING & PROVISIONING OF MANPOWER AT VARIOUS AAI SITES IN NEW DELHI
Contract No: CNS-IGIA/E01/2021-22 E-Tender ID on NIC-CPP PORTAL: 2021_AAI_82912
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TRENDSETTERS HITECH PRIVATE LIMITED(GSTN-07AAECT4963A1ZH) |  | UNIQUE SERVICES PVT. LTD.(GSTN-07AABCU6100FIZS) |  | PRONTO TEL PRIVATE LIMITED(GSTN-07AAICP1083B1ZQ) |  | TNS Networking Solutions Pvt Ltd(GSTN-07AACCT6872E1Z7)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | COMPREHENSIVE ANNUAL MAINTENANCE CONTRACT
1.01 | Cost of Comprehensive Annual Maintenance Charges of EPABX system inclusive of all spares, accessories, PC, Printer, battery charger: (Make Panasonic 308 EPABX, Capacity 3/8 with 5 digital instruments with other supporting peripheral attached with EPABX System at RED (NR) Office, New Delhi 110037 | 1.00 | lot |  | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3411.00 | 3411.00 | 7500.00 | 7500.00 | 3411.00 | PRONTO TEL PRIVATE LIMITED
1.02 | Cost of Comprehensive Annual Maintenance Charges of EPABX system inclusive of all spares, accessories, PC, Printer, battery charger: (Make DS200 KAREL EPABX Equipped with 512 extension / 32 P & T lines/ 8 Port TWT card/ 24 digital phone/ 4 port integrated voice mail with DISA & other supporting peripherals attached with EPABX System at NATS/ DATS Complex, New Delhi-110037 | 1.00 | lot |  | 40000.00 | 40000.00 | 75000.00 | 75000.00 | 120000.00 | 120000.00 | 22500.00 | 22500.00 | 22500.00 | TNS Networking Solutions Pvt Ltd
1.03 | Comprehensive annual maintenance of EPABX system inclusive of all spares, accessories, PC, Printer, battery charger: Qty 01 Lot (Make DS200 KAREL EPABX Equipped with 32/308 extension expandable to 984/ 01 Operator Console / 20digital phone with other peripheral attached with EPABX System at Operational Office, Rangpuri) | 1.00 | lot |  | 10000.00 | 10000.00 | 80000.00 | 80000.00 | 110000.00 | 110000.00 | 22500.00 | 22500.00 | 10000.00 | TRENDSETTERS HITECH PRIVATE LIMITED
2.00 | PROVISIONING OF MANPOWER
2.01 | Amount for 04-Persons at DATS complex for 26-days per calendar month (round the clock, 365/24/7 H basis in 03 SHIFTS OF 8 HRS each) to cover 24 hrs. Operations with one day clear off to each and to cover any other requirement at NATS/DATS building e.g. Installation of New Telephones, Fax Machines and provisions of new Extns. From analog EPABX & other related works as per the requirements etc. | 1.00 | lot |  | 1107870.00 | 1107870.00 | 1054220.00 | 1054220.00 | 1128098.00 | 1128098.00 | 1118400.00 | 1118400.00 | 1054220.00 | UNIQUE SERVICES PVT. LTD.
2.02 | Amount for 01-Persons at Rangpuri office and 01- person at Vasantkunj CATFM building for 22-days per calendar month to cover 05-days (Monday to Friday office hours) a week operation e.g. Installation of New Telephones, Fax Machines and provisions of new EPABX Extns. and other related works as per the requirements for FIRE TRAINING COLLEGE, RED(NR) OPERATIONAL OFFICES RANGPURI, Transit Guest House Vasant Kunj, Rajiv Gandhi Bhawan Annexee, Bijwasan and CATFM Vasant Kunj for AMC works. | 1.00 | lot |  | 468714.00 | 468714.00 | 453360.00 | 453360.00 | 487656.00 | 487656.00 | 504000.00 | 504000.00 | 453360.00 | UNIQUE SERVICES PVT. LTD.
3.00 | ANNUAL RATE CONTRACT (ARC)
3.01 | Cost of Supply of low flame fire retardant PVC 01 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.50 mm, OD 3.50 mm, weight 12.50 kg/km (Without PVC Channel ) | 1000.00 | m |  | 3.00 | 3000.00 | 10.00 | 10000.00 | 3.00 | 3000.00 | 6.00 | 6000.00 | 3000.00 | TRENDSETTERS HITECH PRIVATE LIMITED, PRONTO TEL PRIVATE LIMITED
3.02 | Cost of Laying of low flame fire retardant PVC 01 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.50 mm, OD 3.50 mm, weight 12.50 kg/km (Without PVC Channel ) | 1000.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1000.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.03 | Cost of Supply of low flame fire retardant PVC 02 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.65 mm, OD 5.10 mm, weight 25.10 kg/km (Without PVC Channel ) | 1000.00 | m |  | 5.75 | 5750.00 | 18.00 | 18000.00 | 10.00 | 10000.00 | 12.00 | 12000.00 | 5750.00 | TRENDSETTERS HITECH PRIVATE LIMITED
3.04 | Cost of Laying of low flame fire retardant PVC 02 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.65 mm, OD 5.10 mm, weight 25.10 kg/km (Without PVC Channel ) of Dia 0.50mm, Thickness Of Sheath 0.50 mm, OD 3.50 mm, weight 12.50 kg/km (Without PVC Channel ) | 1000.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1000.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.05 | Cost of Supply of low flame fire retardant PVC 05 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.65mm, OD 6.80 mm, weight 53.75 kg/km (Without PVC Channel ) | 1000.00 | m |  | 14.50 | 14500.00 | 20.00 | 20000.00 | 25.00 | 25000.00 | 20.00 | 20000.00 | 14500.00 | TRENDSETTERS HITECH PRIVATE LIMITED
3.06 | Cost of Laying of low flame fire retardant PVC 05 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.65mm, OD 6.80 mm, weight 53.75 kg/km (Without PVC Channel ) | 1000.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1000.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.07 | Cost of Supply of low flame fire retardant PVC 10 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.75 mm, OD 9.00 mm, weight 88.00 kg/km (Without PVC Channel ) | 1000.00 | m |  | 15.00 | 15000.00 | 35.00 | 35000.00 | 38.00 | 38000.00 | 20.00 | 20000.00 | 15000.00 | TRENDSETTERS HITECH PRIVATE LIMITED
3.08 | Cost of laying of low flame fire retardant PVC 10 pair Unarmoured Telephone Grade cables of Dia 0.50mm, Thickness Of Sheath 0.75 mm, OD 9.00 mm, weight 88.00 kg/km (Without PVC Channel ) | 1000.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1000.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.09 | Cost of supply of CAT 6 or higher equivalent individual pair twisted STP cable through shaft/existing channel etc. | 2500.00 | m |  | 20.00 | 50000.00 | 30.00 | 75000.00 | 20.00 | 50000.00 | 18.00 | 45000.00 | 45000.00 | TNS Networking Solutions Pvt Ltd
3.10 | Cost of laying of CAT 6 or higher equivalent individual pair twisted STP cable through shaft/existing channel etc. | 2500.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 2500.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.11 | Cost of Supply of Krone Tag Blocks with Base Plates, Cover, label Plates, Two one pair Isolation Peg Insert, Two one pair Monitoring Peg Insert and One ten pair Isolation Peg Insert and One Class D 10 pair Data/communication line IPM Protection of GDT & Poly switches/PTC Thermistor type Surge Protection Nominal Operating Voltage:15- 50 V, Surge rating: 5 KA for 8/20µs pulse, Insertion Loss: 0.12 dB at 600 Ohms, Frequency Response: -3 dB at 1 MHz typical, Response Time: < 5ns, Insulation Resistance : ≥ 1 X 108 Ω with other accessories | 50.00 | nos |  | 75.00 | 3750.00 | 200.00 | 10000.00 | 110.00 | 5500.00 | 50.00 | 2500.00 | 2500.00 | TNS Networking Solutions Pvt Ltd
3.12 | Cost of Installation of Krone Tag Blocks with Base Plates, Cover, label Plates, Two one pair Isolation Peg Insert, Two one pair Monitoring Peg Insert and One ten pair Isolation Peg Insert and One Class D 10 pair Data/communication line IPM Protection of GDT & Poly switches/PTC Thermistor type Surge Protection Nominal Operating Voltage:15- 50 V, Surge rating: 5 KA for 8/20µs pulse, Insertion Loss: 0.12 dB at 600 Ohms, Frequency Response: -3 dB at 1 MHz typical, Response Time: < 5ns, Insulation Resistance : ≥ 1 X 108 Ω with other accessories | 50.00 | nos |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 50.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.13 | Cost of Supply of M.S Distribution Box with cover with lock & key for 10 pair Telephone Grade Cable | 20.00 | nos |  | 110.00 | 2200.00 | 150.00 | 3000.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 1000.00 | PRONTO TEL PRIVATE LIMITED
3.14 | Cost of Installation of M.S Distribution Box with cover with lock & key for 10 pair Telephone Grade Cable | 20.00 | nos |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 20.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.15 | Cost of Supply of M.S Distribution Box with cover with lock & key for 20 pair Telephone Grade Cable | 10.00 | nos |  | 110.00 | 1100.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 300.00 | 3000.00 | 500.00 | PRONTO TEL PRIVATE LIMITED
3.16 | Cost of Installation of M.S Distribution Box with cover with lock & key for 20 pair Telephone Grade Cable | 10.00 | nos |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 10.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.17 | Cost of Supply of M.S Distribution Box with cover with lock & key for 100 pair Telephone Grade Cable | 5.00 | nos |  | 225.00 | 1125.00 | 1500.00 | 7500.00 | 100.00 | 500.00 | 300.00 | 1500.00 | 500.00 | PRONTO TEL PRIVATE LIMITED
3.18 | Cost of Installation of M.S Distribution Box with cover with lock & key for 100 pair Telephone Grade Cable | 5.00 | nos |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 5.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.19 | Cost of Supply of PVC I/O box with RJ 45 connector | 50.00 | nos |  | 140.00 | 7000.00 | 75.00 | 3750.00 | 50.00 | 2500.00 | 95.00 | 4750.00 | 2500.00 | PRONTO TEL PRIVATE LIMITED
3.20 | Cost of Installation of PVC I/O box with RJ 45 connector | 50.00 | nos |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 50.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
3.21 | Cost of Supply of PVC casing-capping (Rectangular or square cross section) Size 50 * 50mm | 200.00 | m |  | 40.00 | 8000.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 25.00 | 5000.00 | 5000.00 | TNS Networking Solutions Pvt Ltd
3.22 | Cost of Installation of PVC casing-capping (Rectangular or square cross section) Size 50 * 50mm | 200.00 | m |  | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 200.00 | 0.00 | 0.00 | 0.00 | TRENDSETTERS HITECH PRIVATE LIMITED, UNIQUE SERVICES PVT. LTD., TNS Networking Solutions Pvt Ltd
| Total in Figures |  |  |  |  | 1743009.00 |  | 1857330.00 |  | 1998000.00 |  | 1798650.00
Lowest Amount Quoted BY: TRENDSETTERS HITECH PRIVATE LIMITED(1743009.00)

## BOQ Summary
BOQ Summary Details Tender Title: CAMC OF EPABX, ARC OF CABLING AND PROVISIONING OF MANPOWER AT VARIOUS AAI SITES IN NEW DELHI Tender ID: 2021_AAI_82912_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TRENDSETTERS HITECH PRIVATE LIMITED | 1743009.00 | L1
| 2 | TNS Networking Solutions Pvt Ltd | 1798650.00 | L2
| 3 | UNIQUE SERVICES PVT. LTD. | 1857330.00 | L3
| 4 | PRONTO TEL PRIVATE LIMITED | 1998000.00 | L4