## BoQ1
Government eProcurement System Created By: DHARAM CHAND MEENA Created Date/Time: 31-Aug-2021 11:38 AM Tender Title: Miscellaneous Civil works at Chennai Airport -Civil and Electrical. SH 4 Partial Demolition and Translocate of facilities at APSO Building and Construction of Operational Boundary Wall near Bay No. 10 Tender ID: 2021_AAI_83468_1
Tender Inviting Authority: Asst. General Manager (Engg-civil), (Bid Manager) Operational office, Airports Authority of India, Chennai Airport, Chennai – 600 016,
Name of Work: Miscellaneous Civil works at Chennai Airport (C+ E)”. SH (4): Partial Demolition & Translocate of facilities at APSO Building and Construction of Operational Boundary Wall near Bay No. 10
Tender id: 2021_AAI_83468_1 Tender Reference Number : AAI/CHN/ENGG. CMD-IV/2021/005
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | S.Srinivasan(GSTN-33AASPS5064L1Z1) |  | B.M.J CONSTRUCTIONS(GSTN-33AEFPV1598D2ZC) |  | N.F.LEL CONSTRUCTION(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Partial Demolition & Translocation of facilities at APSO Building (Civil).
1.01 | Demolishing brick tile covering in terracing including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 75.38 | Sqm. | item Code 1 | 4899.70 | 4899.70 | 18845.00 | 18845.00 | 6784.20 | 6784.20 | 4899.70 | S.Srinivasan | 4899.70 | S.Srinivasan
2.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 35.03 | Cum. | item Code 2 | 14012.00 | 14012.00 | 122605.00 | 122605.00 | 24521.00 | 24521.00 | 14012.00 | S.Srinivasan | 14012.00 | S.Srinivasan
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 61.78 | Cum. | item Code 3 | 18534.00 | 18534.00 | 92670.00 | 92670.00 | 30890.00 | 30890.00 | 18534.00 | S.Srinivasan | 18534.00 | S.Srinivasan
4.00 | Dismantling precast concrete or stone slabs in walls, partition walls etc. including stacking within 50 metres lead : a) Thickness up to 40 mm | 3.88 | Sqm. | item Code 4 | 970.00 | 970.00 | 13580.00 | 13580.00 | 388.00 | 388.00 | 388.00 | N.F.LEL CONSTRUCTION | 388.00 | N.F.LEL CONSTRUCTION
5.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 134.91 | Sqm. | item Code 5 | 2023.65 | 2023.65 | 26982.00 | 26982.00 | 5396.40 | 5396.40 | 2023.65 | S.Srinivasan | 2023.65 | S.Srinivasan
6.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : a) Of area 3 sq. metres and below | 43.73 | Nos | item Code 6 | 3279.75 | 3279.75 | 21865.00 | 21865.00 | 8308.70 | 8308.70 | 3279.75 | S.Srinivasan | 3279.75 | S.Srinivasan
7.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 18.00 | Nos. | item Code 7 | 900.00 | 900.00 | 14400.00 | 14400.00 | 2700.00 | 2700.00 | 900.00 | S.Srinivasan | 900.00 | S.Srinivasan
8.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 9.00 | Nos. | item Code 8 | 405.00 | 405.00 | 4500.00 | 4500.00 | 900.00 | 900.00 | 405.00 | S.Srinivasan | 405.00 | S.Srinivasan
9.00 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineerin- Charge. (a) Internal Work- Exposed on wall | 60.00 | Meter | item Code 9 | 1500.00 | 1500.00 | 12000.00 | 12000.00 | 1800.00 | 1800.00 | 1500.00 | S.Srinivasan | 1500.00 | S.Srinivasan
10.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. a) Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.64 | Cum. | item Code 10 | 4256.00 | 4256.00 | 26600.00 | 26600.00 | 7448.00 | 7448.00 | 4256.00 | S.Srinivasan | 4256.00 | S.Srinivasan
11.00 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil anddisposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 22.50 | Cum | item Code 11 | 2025.00 | 2025.00 | 9000.00 | 9000.00 | 8775.00 | 8775.00 | 2025.00 | S.Srinivasan | 2025.00 | S.Srinivasan
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stoneaggregate 40 mm nominal size) | 2.16 | Cum | item Code 12 | 7992.00 | 7992.00 | 10368.00 | 10368.00 | 12960.00 | 12960.00 | 7992.00 | S.Srinivasan | 7992.00 | S.Srinivasan
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size) | 2.30 | Cum. | item Code 13 | 11960.00 | 11960.00 | 17940.00 | 17940.00 | 13800.00 | 13800.00 | 11960.00 | S.Srinivasan | 11960.00 | S.Srinivasan
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundation, footings basis of columns etc. and mass concrere. | 12.96 | Sqm. | item Code 14 | 4536.00 | 4536.00 | 7128.00 | 7128.00 | 7128.00 | 7128.00 | 4536.00 | S.Srinivasan | 4536.00 | S.Srinivasan
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for : b) Suspended floors, roofs, landings, balconies and access platform | 35.92 | Sqm. | item Code 15 | 15266.00 | 15266.00 | 23348.00 | 23348.00 | 19756.00 | 19756.00 | 15266.00 | S.Srinivasan | 15266.00 | S.Srinivasan
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for : c) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 27.18 | Sqm. | item Code 16 | 11551.50 | 11551.50 | 17667.00 | 17667.00 | 14949.00 | 14949.00 | 11551.50 | S.Srinivasan | 11551.50 | S.Srinivasan
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for : d) Columns, Pillars, Piers, Abutments, Posts and Struts | 27.97 | Sqm. | item Code 17 | 12586.50 | 12586.50 | 16782.00 | 16782.00 | 15383.50 | 15383.50 | 12586.50 | S.Srinivasan | 12586.50 | S.Srinivasan
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for : e) Edges of slabs and breaks in floors and walls: under 20 cm wide | 2.77 | Sqm. | item Code 18 | 1246.50 | 1246.50 | 1246.50 | 1246.50 | 1523.50 | 1523.50 | 1246.50 | S.Srinivasan, B.M.J CONSTRUCTIONS | 1246.50 | S.Srinivasan, B.M.J CONSTRUCTIONS
19.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : a) 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 5.55 | Cum. | item Code 19 | 41625.00 | 41625.00 | 47175.00 | 47175.00 | 38850.00 | 38850.00 | 38850.00 | N.F.LEL CONSTRUCTION | 38850.00 | N.F.LEL CONSTRUCTION
20.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : a) 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 1.51 | Cum. | item Code 20 | 12080.00 | 12080.00 | 13288.00 | 13288.00 | 10570.00 | 10570.00 | 10570.00 | N.F.LEL CONSTRUCTION | 10570.00 | N.F.LEL CONSTRUCTION
21.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 3.59 | Cum. | item Code 21 | 30515.00 | 30515.00 | 30515.00 | 30515.00 | 25130.00 | 25130.00 | 25130.00 | N.F.LEL CONSTRUCTION | 25130.00 | N.F.LEL CONSTRUCTION
22.00 | Filling available excavated earth (excluding rock) in trenches, plinth,sides of foundations etc. in layers not exceeding 20cm in depth,consolidating each deposited layer by ramming and watering, lead upto 50 m and lift upto 1.5 m. | 20.07 | Cum. | item Code 22 | 2508.75 | 2508.75 | 5619.60 | 5619.60 | 4014.00 | 4014.00 | 2508.75 | S.Srinivasan | 2508.75 | S.Srinivasan
23.00 | Providing and laying autoclaved aerated cement blocks masonry with 150mm/230mm/300 mm thick AAC blocks in super structure above plinth level up to floor V level with RCC band at sill level and lintel level with approved block laying polymer modified adhesive mortar all complete as per direction of Engineer-in-Charge. (The payment of RCC band and reinforcement shall be made for seperately). | 79.00 | Cum. | item Code 23 | 568800.00 | 568800.00 | 616200.00 | 616200.00 | 545100.00 | 545100.00 | 545100.00 | N.F.LEL CONSTRUCTION | 545100.00 | N.F.LEL CONSTRUCTION
24.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 693.28 | Kg. | item Code 24 | 53382.56 | 53382.56 | 58928.80 | 58928.80 | 62395.20 | 62395.20 | 53382.56 | S.Srinivasan | 53382.56 | S.Srinivasan
25.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 637.85 | Kg. | item Code 25 | 49114.45 | 49114.45 | 54217.25 | 54217.25 | 57406.50 | 57406.50 | 49114.45 | S.Srinivasan | 49114.45 | S.Srinivasan
26.00 | 12 mm cement plaster of mix : a)1:6 (1 cement: 6 coarse sand) | 607.95 | Sqm. | item Code 26 | 212782.50 | 212782.50 | 197583.75 | 197583.75 | 161106.75 | 161106.75 | 161106.75 | N.F.LEL CONSTRUCTION | 161106.75 | N.F.LEL CONSTRUCTION
27.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a) 1:6 (1 cement: 6 fine sand) | 172.28 | Sqm. | item Code 27 | 68912.00 | 68912.00 | 60298.00 | 60298.00 | 45654.20 | 45654.20 | 45654.20 | N.F.LEL CONSTRUCTION | 45654.20 | N.F.LEL CONSTRUCTION
28.00 | 6 mm cement plaster of mix : a) 1:3 (1 cement : 3 fine sand) | 28.70 | Sqm. | item Code 28 | 12197.50 | 12197.50 | 8610.00 | 8610.00 | 7605.50 | 7605.50 | 7605.50 | N.F.LEL CONSTRUCTION | 7605.50 | N.F.LEL CONSTRUCTION
29.00 | Finishing walls with acrylic smooth exterior paint of rquired shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 172.28 | Sqm. | item Code 29 | 17055.72 | 17055.72 | 23257.80 | 23257.80 | 13782.40 | 13782.40 | 13782.40 | N.F.LEL CONSTRUCTION | 13782.40 | N.F.LEL CONSTRUCTION
30.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : a) New work (two or more coats) over and including water thinnable priming coat with cement primer | 636.64 | Sqm. | item Code 30 | 25465.60 | 25465.60 | 60480.80 | 60480.80 | 38198.40 | 38198.40 | 25465.60 | S.Srinivasan | 25465.60 | S.Srinivasan
31.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm(thickness to be specified by the manufacturer) of 1st quality conformingto IS : 15622 of approved make in colours such as White, Ivory, Grey,Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm includingpointing the joints with white cement and matching pigment etc.,complete. | 98.88 | Sqm. | item Code 31 | 103824.00 | 103824.00 | 98880.00 | 98880.00 | 98880.00 | 98880.00 | 98880.00 | B.M.J CONSTRUCTIONS, N.F.LEL CONSTRUCTION | 98880.00 | B.M.J CONSTRUCTIONS, N.F.LEL CONSTRUCTION
32.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming toIS: 15622 (thickness to be specified by the manufacturer), of approvedmake, in all colours, shades except burgundy, bottle green, black ofany size as approved by Engineer-in-Charge, in skirting, risers of stepsand dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm,including pointing in white cement mixed with pigment of matching shadecomplete. | 164.11 | Sqm. | item Code 32 | 155904.50 | 155904.50 | 180521.00 | 180521.00 | 164110.00 | 164110.00 | 155904.50 | S.Srinivasan | 155904.50 | S.Srinivasan
33.00 | Providing and laying water proofing treatment on roofs of slabs byapplying cement slurry mixed with water proofing cement compound consisting of applying: (a) after surface preparation, first layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253kg/sqm. (b) laying second layer of Fibre glass cloth when the first layer is still green. Overlaps of joints of fibre cloth should not be less than 10 cm. (c) third layer of 1.5 mm thickness consisting of slurry of cement @ 1.289 kg/sqm mixed with water proofing cement compound @ 0.670 kg/sqm and coarse sand @ 1.289 kg/sqm. This will be allowed to air cure for 4 hours followed by water curing for 48 hours. The entire treatment will be taken upto 30 cm on parapet wall and tucked into groove in parapet all around. (d) fourth and final layer of brick tiling with cement mortar (which will be paid for separately. (For the purpose of measurement the entire treated surface will be measured.) | 35.92 | Sqm. | item Code 33 | 21013.20 | 21013.20 | 50288.00 | 50288.00 | 28736.00 | 28736.00 | 21013.20 | S.Srinivasan | 21013.20 | S.Srinivasan
34.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer in-Charge. | 67.60 | Meter | item Code 34 | 37180.00 | 37180.00 | 10140.00 | 10140.00 | 21970.00 | 21970.00 | 10140.00 | B.M.J CONSTRUCTIONS | 10140.00 | B.M.J CONSTRUCTIONS
35.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing b) 30 mm thick pre laminated PVC door shutters | 21.55 | Sqm. | item Code 35 | 59262.50 | 59262.50 | 58185.00 | 58185.00 | 64650.00 | 64650.00 | 58185.00 | B.M.J CONSTRUCTIONS | 58185.00 | B.M.J CONSTRUCTIONS
36.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). a) Sal wood | .08 | Cum. | item Code 36 | 5600.00 | 5600.00 | 10400.00 | 10400.00 | 6400.00 | 6400.00 | 5600.00 | S.Srinivasan | 5600.00 | S.Srinivasan
37.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. a) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 3.87 | Sqm. | item Code 37 | 13545.00 | 13545.00 | 9675.00 | 9675.00 | 10836.00 | 10836.00 | 9675.00 | B.M.J CONSTRUCTIONS | 9675.00 | B.M.J CONSTRUCTIONS
38.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 165.61 | Kg. | item Code 38 | 91085.50 | 91085.50 | 124207.50 | 124207.50 | 124207.50 | 124207.50 | 91085.50 | S.Srinivasan | 91085.50 | S.Srinivasan
39.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 18.36 | Sqm. | item Code 39 | 15606.00 | 15606.00 | 11934.00 | 11934.00 | 13770.00 | 13770.00 | 11934.00 | B.M.J CONSTRUCTIONS | 11934.00 | B.M.J CONSTRUCTIONS
40.00 | Applying priming coat: a) With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) | 4.67 | Sqm. | item Code 40 | 210.15 | 210.15 | 700.50 | 700.50 | 210.15 | 210.15 | 210.15 | S.Srinivasan, N.F.LEL CONSTRUCTION | 210.15 | S.Srinivasan, N.F.LEL CONSTRUCTION
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 4.67 | Sqm. | item Code 41 | 396.95 | 396.95 | 700.50 | 700.50 | 420.30 | 420.30 | 396.95 | S.Srinivasan | 396.95 | S.Srinivasan
42.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: a) White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 4.00 | Nos. | item Code 42 | 16000.00 | 16000.00 | 26000.00 | 26000.00 | 16000.00 | 16000.00 | 16000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION | 16000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION
43.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 7.00 | Nos. | item Code 43 | 42000.00 | 42000.00 | 59500.00 | 59500.00 | 35000.00 | 35000.00 | 35000.00 | N.F.LEL CONSTRUCTION | 35000.00 | N.F.LEL CONSTRUCTION
44.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 12.00 | Nos. | item Code 44 | 9600.00 | 9600.00 | 10800.00 | 10800.00 | 10800.00 | 10800.00 | 9600.00 | S.Srinivasan | 9600.00 | S.Srinivasan
45.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively. | 8.00 | Nos. | item Code 45 | 14400.00 | 14400.00 | 28000.00 | 28000.00 | 48000.00 | 48000.00 | 14400.00 | S.Srinivasan | 14400.00 | S.Srinivasan
46.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: c) White Vitreous China Wash basin size 550x400 mm with a pair of 15 mm C.P. brass pillar taps | 12.00 | Nos. | item Code 46 | 30000.00 | 30000.00 | 48000.00 | 48000.00 | 36000.00 | 36000.00 | 30000.00 | S.Srinivasan | 30000.00 | S.Srinivasan
47.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. : a) Semi rigid pipe 32 mm dia | 12.00 | Nos. | item Code 47 | 900.00 | 900.00 | 9000.00 | 9000.00 | 3600.00 | 3600.00 | 900.00 | S.Srinivasan | 900.00 | S.Srinivasan
48.00 | Providing and fixing PTMT grating of approved quality and colour. a) Circular type 100 mm nominal dia | 12.00 | Nos. | item Code 48 | 600.00 | 600.00 | 3000.00 | 3000.00 | 2400.00 | 2400.00 | 600.00 | S.Srinivasan | 600.00 | S.Srinivasan
49.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15mm nominal bore | 12.00 | Nos. | item Code 49 | 7800.00 | 7800.00 | 12000.00 | 12000.00 | 8400.00 | 8400.00 | 7800.00 | S.Srinivasan | 7800.00 | S.Srinivasan
50.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : a) 30 cm length 15 mm nominal bore | 12.00 | Nos. | item Code 50 | 1020.00 | 1020.00 | 4200.00 | 4200.00 | 1200.00 | 1200.00 | 1020.00 | S.Srinivasan | 1020.00 | S.Srinivasan
51.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work: a) 32 mm nominal outer dia Pipes | 30.00 | Meter | item Code 51 | 11100.00 | 11100.00 | 17250.00 | 17250.00 | 11400.00 | 11400.00 | 11100.00 | S.Srinivasan | 11100.00 | S.Srinivasan
52.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall: a) 20 mm nominal outer dia Pipes | 30.00 | Meter | item Code 52 | 9000.00 | 9000.00 | 16500.00 | 16500.00 | 9000.00 | 9000.00 | 9000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION | 9000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION
53.00 | Providing and fixing PTMT bib cock of approved quality and colour. a) 15mm nominal bore, 86 mm long, weighing not less than 88 gms | 16.00 | Nos. | item Code 53 | 3200.00 | 3200.00 | 16000.00 | 16000.00 | 11200.00 | 11200.00 | 3200.00 | S.Srinivasan | 3200.00 | S.Srinivasan
54.00 | Providing and fixing PTMT stop cock of approved quality and colour. a) 15 mm nominal bore, 86 mm long, weighing not less than 88 gms | 12.00 | Nos. | item Code 54 | 2400.00 | 2400.00 | 15000.00 | 15000.00 | 8400.00 | 8400.00 | 2400.00 | S.Srinivasan | 2400.00 | S.Srinivasan
55.00 | Providing and fixing PVC health faucet etc., complete as per the direction of Engineer-in-charge. | 12.00 | Nos. | item Code 55 | 2040.00 | 2040.00 | 22200.00 | 22200.00 | 9600.00 | 9600.00 | 2040.00 | S.Srinivasan | 2040.00 | S.Srinivasan
56.00 | Credit for taking away the dismentled Aluminium section on payment to AAI etc complete as per the direction of Engineer-In Charge. | 237.00 | Kg. | item Code 56 | -4740.00 | -4740.00 | -2370.00 | -2370.00 | -21330.00 | -21330.00 | -21330.00 | N.F.LEL CONSTRUCTION | -21330.00 | N.F.LEL CONSTRUCTION
57.00 | Credit for taking away the dismentled Aluminium Composite Panel (ACP) on payment to AAI etc complete as per the direction of Engineer-In Charge. | 216.00 | Kg. | item Code 57 | -3240.00 | -3240.00 | -3240.00 | -3240.00 | -19440.00 | -19440.00 | -19440.00 | N.F.LEL CONSTRUCTION | -19440.00 | N.F.LEL CONSTRUCTION
58.00 | Credit for taking away the dismentled Steel bars or section (all size) on payment to AAI etc complete as per the direction of Engineer-In Charge. | 3153.00 | Kg. | item Code 58 | -34683.00 | -34683.00 | -63060.00 | -63060.00 | -53601.00 | -53601.00 | -63060.00 | B.M.J CONSTRUCTIONS | -63060.00 | B.M.J CONSTRUCTIONS
59.00 | Credit for taking away the dismentled false ceiling channel on payment to AAI etc complete as per the direction of Engineer-In Charge. | 50.00 | Kg. | item Code 59 | -400.00 | -400.00 | -500.00 | -500.00 | -2250.00 | -2250.00 | -2250.00 | N.F.LEL CONSTRUCTION | -2250.00 | N.F.LEL CONSTRUCTION
60.00 | Credit for taking away the dismentled bricks on payment to AAI etc complete as per the direction of Engineer-In Charge. | 15444.00 | Nos. | item Code 60 | -15444.00 | -15444.00 | -3088.80 | -3088.80 | -30888.00 | -30888.00 | -30888.00 | N.F.LEL CONSTRUCTION | -30888.00 | N.F.LEL CONSTRUCTION
61.00 | Preparation and submission of structural design/ drawing for Partial Demolition & Translocation of facilities at APSO Building as per availble architecture layout which include design of footing, Columns, Plinth beams, lintel beams, RCC slab etc. complete as per standrad design practices along with three copy of drawings , soft copy , hard copy of Design/drawings etc. all complete duly vetted from Govt. Engineering College/NIT/IIT. | 1.00 | Job. | item Code 61 | 45000.00 | 45000.00 | 75000.00 | 75000.00 | 75000.00 | 75000.00 | 45000.00 | S.Srinivasan | 45000.00 | S.Srinivasan
62.00 | Construction of Operational Boundary Wall near Bay No. 10 (Civil).
62.01 | Earth work in excavation by mechanical means (Hydraulic excavator) /manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil anddisposal of surplus excavated soil as directed, within a lead of 50 m. a) All kinds of soil. | 110.00 | Cum. | item Code 62 | 9900.00 | 9900.00 | 44000.00 | 44000.00 | 38500.00 | 38500.00 | 9900.00 | S.Srinivasan | 9900.00 | S.Srinivasan
63.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 87.00 | Cum. | item Code 63 | 7830.00 | 7830.00 | 24360.00 | 24360.00 | 13050.00 | 13050.00 | 7830.00 | S.Srinivasan | 7830.00 | S.Srinivasan
64.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size) | 2.00 | Cum. | item Code 64 | 7400.00 | 7400.00 | 8400.00 | 8400.00 | 12000.00 | 12000.00 | 7400.00 | S.Srinivasan | 7400.00 | S.Srinivasan
65.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stoneaggregate 40 mm nominal size) | 7.00 | Cum. | item Code 65 | 24500.00 | 24500.00 | 31500.00 | 31500.00 | 49000.00 | 49000.00 | 24500.00 | S.Srinivasan | 24500.00 | S.Srinivasan
66.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 48.00 | Sqm. | item Code 66 | 20400.00 | 20400.00 | 23040.00 | 23040.00 | 26400.00 | 26400.00 | 20400.00 | S.Srinivasan | 20400.00 | S.Srinivasan
67.00 | Centering and shuttering including strutting, propping etc. and removal of form for : b) Lintels, beams, plinth beams, girders, bressumers and cantilevers | 81.00 | Sqm. | item Code 67 | 32400.00 | 32400.00 | 44550.00 | 44550.00 | 44550.00 | 44550.00 | 32400.00 | S.Srinivasan | 32400.00 | S.Srinivasan
68.00 | Centering and shuttering including strutting, propping etc. and removal of form for : c) Columns, Pillars, Piers, Abutments, Posts and Struts | 118.00 | Sqm. | item Code 68 | 47200.00 | 47200.00 | 70800.00 | 70800.00 | 64900.00 | 64900.00 | 47200.00 | S.Srinivasan | 47200.00 | S.Srinivasan
69.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 2790.00 | Kg. | item Code 69 | 209250.00 | 209250.00 | 237150.00 | 237150.00 | 251100.00 | 251100.00 | 209250.00 | S.Srinivasan | 209250.00 | S.Srinivasan
70.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 1280.00 | Kg. | item Code 70 | 96000.00 | 96000.00 | 108800.00 | 108800.00 | 115200.00 | 115200.00 | 96000.00 | S.Srinivasan | 96000.00 | S.Srinivasan
71.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/ cum.Excess/less cement used as per design mix is payable/recoverable separately): a) All works upto plinth level | 23.00 | Cum. | item Code 71 | 154100.00 | 154100.00 | 179400.00 | 179400.00 | 161000.00 | 161000.00 | 154100.00 | S.Srinivasan | 154100.00 | S.Srinivasan
72.00 | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/ cum.Excess/less cement used as per design mix is payable/recoverable separately): b) All works above plinth level upto floor V level | 11.00 | Cum. | item Code 72 | 79200.00 | 79200.00 | 88000.00 | 88000.00 | 77000.00 | 77000.00 | 77000.00 | N.F.LEL CONSTRUCTION | 77000.00 | N.F.LEL CONSTRUCTION
73.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum. | item Code 73 | 65000.00 | 65000.00 | 83000.00 | 83000.00 | 70000.00 | 70000.00 | 65000.00 | S.Srinivasan | 65000.00 | S.Srinivasan
74.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:6 (1 cement : 6 coarse sand) | 38.00 | Cum. | item Code 74 | 266000.00 | 266000.00 | 315400.00 | 315400.00 | 266000.00 | 266000.00 | 266000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION | 266000.00 | S.Srinivasan, N.F.LEL CONSTRUCTION
75.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 247.00 | Kg. | item Code 75 | 29640.00 | 29640.00 | 29640.00 | 29640.00 | 31616.00 | 31616.00 | 29640.00 | S.Srinivasan, B.M.J CONSTRUCTIONS | 29640.00 | S.Srinivasan, B.M.J CONSTRUCTIONS
76.00 | 12 mm cement plaster a) Cement mortar 1:4 (1 cement : 4 coarse sand) | 395.00 | Sqm. | item Code 76 | 138250.00 | 138250.00 | 118500.00 | 118500.00 | 104675.00 | 104675.00 | 104675.00 | N.F.LEL CONSTRUCTION | 104675.00 | N.F.LEL CONSTRUCTION
77.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : a) Water thinnable cement primer | 395.00 | Sqm. | item Code 77 | 15800.00 | 15800.00 | 23700.00 | 23700.00 | 17775.00 | 17775.00 | 15800.00 | S.Srinivasan | 15800.00 | S.Srinivasan
78.00 | Finishing walls with water proofing cement paint of required shade : a) New work (Two or more coats applied @ 3.84 kg/10 sqm) | 395.00 | Sqm. | item Code 78 | 27650.00 | 27650.00 | 49375.00 | 49375.00 | 23700.00 | 23700.00 | 23700.00 | N.F.LEL CONSTRUCTION | 23700.00 | N.F.LEL CONSTRUCTION
79.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 180.00 | Sqm. | item Code 79 | 14400.00 | 14400.00 | 27000.00 | 27000.00 | 18000.00 | 18000.00 | 14400.00 | S.Srinivasan | 14400.00 | S.Srinivasan
80.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 7.00 | Cum. | item Code 80 | 2800.00 | 2800.00 | 24500.00 | 24500.00 | 4900.00 | 4900.00 | 2800.00 | S.Srinivasan | 2800.00 | S.Srinivasan
81.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 32.00 | Cum. | item Code 81 | 9600.00 | 9600.00 | 48000.00 | 48000.00 | 14400.00 | 14400.00 | 9600.00 | S.Srinivasan | 9600.00 | S.Srinivasan
82.00 | Dismantling steel work manually/ by mechanical means in built up sections without dismembering and stacking within 50 metres lead as per direction of Engineer-in-charge. | 160.00 | Kg. | item Code 82 | 1280.00 | 1280.00 | 4800.00 | 4800.00 | 1600.00 | 1600.00 | 1280.00 | S.Srinivasan | 1280.00 | S.Srinivasan
83.00 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. | 65.00 | Kg. | item Code 83 | 780.00 | 780.00 | 2600.00 | 2600.00 | 650.00 | 650.00 | 650.00 | N.F.LEL CONSTRUCTION | 650.00 | N.F.LEL CONSTRUCTION
84.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T . reinforced barbed wire, stud tied with G .I. staples and G .I. clips to retain horizontal, including necessary bolts or G .I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T .) / S pring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 81.00 | Meter. | item Code 84 | 28350.00 | 28350.00 | 32400.00 | 32400.00 | 64800.00 | 64800.00 | 28350.00 | S.Srinivasan | 28350.00 | S.Srinivasan
85.00 | Credit for taking away the dismentled Steel bars or section (all size) on payment to AAI etc complete as per the direction of Engineer-In Charge. | 790.00 | Kg. | item Code 85 | -8690.00 | -8690.00 | -7900.00 | -7900.00 | -14220.00 | -14220.00 | -14220.00 | N.F.LEL CONSTRUCTION | -14220.00 | N.F.LEL CONSTRUCTION
86.00 | Credit for taking away the dismentled bricks on payment to AAI etc complete as per the direction of Engineer-In Charge. | 8000.00 | Nos. | item Code 86 | -8000.00 | -8000.00 | -1600.00 | -1600.00 | -16000.00 | -16000.00 | -16000.00 | N.F.LEL CONSTRUCTION | -16000.00 | N.F.LEL CONSTRUCTION
87.00 | Partial Demolition & Translocation of facilities at APSO Building (Electrical).
87.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch,modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 20.00 | Point | item Code 87 | 28000.00 | 28000.00 | 6000.00 | 6000.00 | 14000.00 | 14000.00 | 6000.00 | B.M.J CONSTRUCTIONS | 6000.00 | B.M.J CONSTRUCTIONS
88.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 16.00 | Point | item Code 88 | 8800.00 | 8800.00 | 5600.00 | 5600.00 | 14400.00 | 14400.00 | 5600.00 | B.M.J CONSTRUCTIONS | 5600.00 | B.M.J CONSTRUCTIONS
89.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 110.00 | Mtrs | item Code 89 | 44000.00 | 44000.00 | 13750.00 | 13750.00 | 24200.00 | 24200.00 | 13750.00 | B.M.J CONSTRUCTIONS | 13750.00 | B.M.J CONSTRUCTIONS
90.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. b) 2 X 4 sq.mm + 1 X 4 sq.mm earth wire | 50.00 | Mtrs | item Code 90 | 16250.00 | 16250.00 | 7500.00 | 7500.00 | 14000.00 | 14000.00 | 7500.00 | B.M.J CONSTRUCTIONS | 7500.00 | B.M.J CONSTRUCTIONS
91.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. c)2 X 6sq.mm + 1 X 6sq.mm earth wire | 90.00 | Mtrs | item Code 91 | 40500.00 | 40500.00 | 20250.00 | 20250.00 | 29250.00 | 29250.00 | 20250.00 | B.M.J CONSTRUCTIONS | 20250.00 | B.M.J CONSTRUCTIONS
92.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 6.00 | Nos | item Code 92 | 3000.00 | 3000.00 | 600.00 | 600.00 | 3000.00 | 3000.00 | 600.00 | B.M.J CONSTRUCTIONS | 600.00 | B.M.J CONSTRUCTIONS
93.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 4.00 | Nos | item Code 93 | 2400.00 | 2400.00 | 300.00 | 300.00 | 2000.00 | 2000.00 | 300.00 | B.M.J CONSTRUCTIONS | 300.00 | B.M.J CONSTRUCTIONS
94.00 | Supply of 4 feet 20W LED batten made of extruded aluminium housing,Opal diffuser creates optimum light uniformity with minimum glare. It has a system with luminaire efficacy of not less than 100 lm/W. constant current output driver, operating range 150 – 270V AC supply, voltages, LED Colour Temp. from 5700K- 6500K with PF≥0.95 and THD<10% & surge protection ≥ 2.5kv, CRI>80, lumen maintainence of 70% at the end of 50000 burning hours. The luminaire is IP 20 protected. LM 79 report to be submitted for luminaire from NABL accrediated lab and LM 80 for LED source issued by LED manufacturer. | 27.00 | Nos | item Code 94 | 37800.00 | 37800.00 | 13500.00 | 13500.00 | 24300.00 | 24300.00 | 13500.00 | B.M.J CONSTRUCTIONS | 13500.00 | B.M.J CONSTRUCTIONS
95.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FR PVC insulated, copper conductor, single core cable and earthing etc. as required. | 27.00 | Nos | item Code 95 | 5400.00 | 5400.00 | 13500.00 | 13500.00 | 27000.00 | 27000.00 | 5400.00 | S.Srinivasan | 5400.00 | S.Srinivasan
96.00 | Supply of 300 mm sweep, 900 RPM heavy duty Exhaust Fan with pre lubricated double ball bearing, Minimum Air delivery of 1125 CMH, power consumtion:50-60 Watts with louvers etc as required. (Havells / or as per approved make list) | 8.00 | Nos | item Code 96 | 28000.00 | 28000.00 | 24000.00 | 24000.00 | 18400.00 | 18400.00 | 18400.00 | N.F.LEL CONSTRUCTION | 18400.00 | N.F.LEL CONSTRUCTION
97.00 | I/T/C of exhaust fan upto 450 mm in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 8.00 | Nos | item Code 97 | 2000.00 | 2000.00 | 16000.00 | 16000.00 | 23200.00 | 23200.00 | 2000.00 | S.Srinivasan | 2000.00 | S.Srinivasan
98.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCBdistribution board, 240 V, on surface/ recess, complete with tinned copper bus bar,neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCBIRCCB/Isolator): a) SPN 8 Way MCB DB double door | 2.00 | Nos | item Code 98 | 3600.00 | 3600.00 | 9000.00 | 9000.00 | 5000.00 | 5000.00 | 3600.00 | S.Srinivasan | 3600.00 | S.Srinivasan
99.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 12.00 | Each | item Code 99 | 3000.00 | 3000.00 | 4800.00 | 4800.00 | 2760.00 | 2760.00 | 2760.00 | N.F.LEL CONSTRUCTION | 2760.00 | N.F.LEL CONSTRUCTION
100.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 2.00 | Each | item Code 100 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 900.00 | 900.00 | 900.00 | N.F.LEL CONSTRUCTION | 900.00 | N.F.LEL CONSTRUCTION
| Total in Figures |  |  |  | 3347553.48 | 3347553.48 | 4224738.20 | 4224738.20 | 3528911.20 | 3528911.20

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works at Chennai Airport -Civil and Electrical. SH 4 Partial Demolition and Translocate of facilities at APSO Building and Construction of Operational Boundary Wall near Bay No. 10 Tender ID: 2021_AAI_83468_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.Srinivasan | 3347553.48 | L1
| 2 | N.F.LEL CONSTRUCTION | 3528911.20 | L2
| 3 | B.M.J CONSTRUCTIONS | 4224738.20 | L3