## BoQ1
Government eProcurement System Created By: Nirmal Kumar Gayen Created Date/Time: 30-Sep-2021 06:55 PM Tender Title: Provision for Standby Feeder for GLF System at VSS Airport, Jharsuguda. Tender ID: 2021_AAI_83481_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: Provision for Standby Feeder for GLF System at VSS Airport, Jharsuguda.
Contract No: AAI/JH/AGMEE/eNIT2/CW2/2021-22 ( Tender Id : 2021_AAI_83481_1).
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Supply of 5 KV grade, multi stranded tinned copper conductor, XLPE insulated, Polyethylene sheathed, single core and with inner and outer semi conductor, underground cable for airfield lighting generally as specified in particular specification of the following sizes as required. (If the manufacturer does not have NABL accredited Laboratory, samples from site shall be collected jointly by AAI and the agency and it will be sent to NABL accredited Laboratories / Govt. Laboratories / IITS/IISc/ IISER/ Colleges/ Universities for acceptance Testing as per IS. The contractor will do all the Liasoning, transportation etc. and pay the testing charges. Nothing extra will be paid by AAI.If it is found that the cable supplied is not as per the requirement of IS, the supply will be rejected or recovery shall be made from the bill or any due pending with AAI from any airports) a) 6 sq mm | 36000.00 | MTR | 3933950.00 | 95.00 | 3420000.00 | 112.00 | 4032000.00 | 113.00 | 4068000.00 | 114.00 | 4104000.00 | 130.00 | 4680000.00 | 3420000.00 | Youngmen Traders
2.00 | Supply of elevated type, omnidirectional Medium Intensity LED Taxiway Edge / Turning pad/ Isolation bay Light Fitting suitable for use with 15W OR 45W, 6.6A isolatting transformers complete with lens clamping mechanism, central column assembly, breakable coupling, gaskets, two pin secondary lead plugs, base plate with six numbers stainless steel bolts, spring and plain washers ,including LED, Driver, omni directional blue lens and other accessories confirming to CAR ( DGCA / ICAO requirement etc. complete as required. | 65.00 | EA | 3933950.00 | 3800.00 | 247000.00 | 4600.00 | 299000.00 | 4788.00 | 311220.00 | 4900.00 | 318500.00 | 5200.00 | 338000.00 | 247000.00 | Youngmen Traders
3.00 | Supply of 5 KV grade 50 Hz, series type isolating transformers, encapsulated in polyester resin, finally moulded with neoprene type rubber with primary and secondary connections as per IS and Technical Specification etc. complete as required. A) 15 W 6.6A/6.6A | 65.00 | EA | 3933950.00 | 2500.00 | 162500.00 | 2700.00 | 175500.00 | 2961.00 | 192465.00 | 2900.00 | 188500.00 | 3000.00 | 195000.00 | 162500.00 | Youngmen Traders
4.00 | Supply of 2C x 4 sq.mm. 600V grade flexible copper conductor , EPR insulated & CPE ( Chlorinated Polyethylen, cross - linked, heavy duty) outer sheath ( Black colour) secondary cable for Airport lighting circuits etc. complete as required. | 50.00 | MTR | 3933950.00 | 225.00 | 11250.00 | 150.00 | 7500.00 | 145.00 | 7250.00 | 150.00 | 7500.00 | 270.00 | 13500.00 | 7250.00 | Vardhman Airport Solutions Pvt Ltd
5.00 | Supply and making cable joint with 5 KV grade plug and receptacle of type I class B connector, suitable for field attachment with 5 KV grade PVC/XLPE insulated PVC sheathed single core copper conductor cable of following size as required and confirming to the relevant IS specifications as required for following sizes. a) 6 sq. mm. | 30.00 | EA | 3933950.00 | 425.00 | 12750.00 | 450.00 | 13500.00 | 602.00 | 18060.00 | 720.00 | 21600.00 | 1500.00 | 45000.00 | 12750.00 | Youngmen Traders
6.00 | Supply and making cable joint with 600V grade secondary connector kit, suitable for field attachment with 600V, 2 core secondary cable to the fitting lead as required and confirming to the relevant IS specifications as required for following sizes. ( Length 0.3 mtr) a) 2X 4 sq. mm. | 80.00 | SET | 3933950.00 | 350.00 | 28000.00 | 500.00 | 40000.00 | 718.00 | 57440.00 | 800.00 | 64000.00 | 1500.00 | 120000.00 | 28000.00 | Youngmen Traders
7.00 | Design Supply, Installation, Testing and commissioning of FAA compliant, indoor type Microprocessor based Constant Current Regulator(CCR) suitable for remote as well as local control operations with 5 position brightness control (6.6A maximum current corresponding to 100% brightness) on input voltage 230/415 V, 50hz., AC supply, provision for control supply with switchgears, CCR protections, connection/ inter-connection etc.complete as required. 7.5 KW, 6.6A output current. | 2.00 | EA | 3933950.00 | 225000.00 | 450000.00 | 250000.00 | 500000.00 | 306130.00 | 612260.00 | 320000.00 | 640000.00 | 301000.00 | 602000.00 | 450000.00 | Youngmen Traders
8.00 | Supply, Installation, testing and commissioing of C.I Isolating Transormer Housing Box, suitable for water tight round type, metal container of outside size 330mm height 450mm made of 10mm thick cast iron moulding all round, except the top surface, which is 15mm thick cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having two side holes diametrically opposite at the floor level to hold 50 mm dia HDPE pipe and more hole at an right angle to those side holes at the floor level to hold drain line of size 32 mm dia HDPE pipe . The box should have two SS Earth bolts of M10 x 30mm tapped inside and two holes at 75 mm from bottom to receive 6 SWG GI earth wire and having clear opening of 220mm at the top surface and 6 Nos. M10 tapped hold at the hole centre 260mm to receive fitting base plate and bolts as required as per the drawings. Installation is to be done with civil PCC work and the top should be 50 mm above the finish level with proper slope to the finish shoulder level at a distance of 1M. All necessary pipe cutting , fittings are also to be done with the installations etc. complete as required. | 12.00 | JOB | 3933950.00 | 5500.00 | 66000.00 | 6500.00 | 78000.00 | 6529.00 | 78348.00 | 6000.00 | 72000.00 | 5400.00 | 64800.00 | 64800.00 | Manish Electricals
9.00 | Installation, testing, commissioning of elevated type HIRL/MIRL/Isolation bay fittings on the existing transformer housing boxes including, installation of transformers, lens, filters, lamps and other accessories alignment, levelling and making secondary lead connections to transformer & fittings earth connections etc. complete as required. | 65.00 | JOB | 3933950.00 | 200.00 | 13000.00 | 250.00 | 16250.00 | 83.00 | 5395.00 | 200.00 | 13000.00 | 250.00 | 16250.00 | 5395.00 | Vardhman Airport Solutions Pvt Ltd
10.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required | 4.00 | JOB | 3933950.00 | 4500.00 | 18000.00 | 5000.00 | 20000.00 | 3080.00 | 12320.00 | 6500.00 | 26000.00 | 7000.00 | 28000.00 | 12320.00 | Vardhman Airport Solutions Pvt Ltd
11.00 | Supplying of earth enhancing compound ( UL Listed) and CPRI tested etc. complete as required. | 160.00 | Kg | 3933950.00 | 20.00 | 3200.00 | 80.00 | 12800.00 | 15.00 | 2400.00 | 1000.00 | 160000.00 | 150.00 | 24000.00 | 2400.00 | Vardhman Airport Solutions Pvt Ltd
12.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/HDPE Pipe/ cable as required | 28800.00 | MTR | 3933950.00 | 18.00 | 518400.00 | 20.00 | 576000.00 | 25.00 | 720000.00 | 20.00 | 576000.00 | 27.00 | 777600.00 | 518400.00 | Youngmen Traders
13.00 | Cutting bitumenous/cement concrete road/runway/taxway / apron etc. to a depth upto 1.0 m. and width upto 75 mm. and refilling the same and making good the same to the original finish along with mobile DG for power supply and water bowser etc. complete as required | 5.00 | Cum | 3933950.00 | 1200.00 | 6000.00 | 2500.00 | 12500.00 | 363.00 | 1815.00 | 1000.00 | 5000.00 | 10000.00 | 50000.00 | 1815.00 | Vardhman Airport Solutions Pvt Ltd
14.00 | Excavation of the trench in hard rock not exceeding 1.5 mtr in width, and lift upto 1.5mtr, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50mtrs. | 10.00 | Cum | 3933950.00 | 600.00 | 6000.00 | 1000.00 | 10000.00 | 1114.00 | 11140.00 | 100.00 | 1000.00 | 1000.00 | 10000.00 | 1000.00 | L K BUILDERS
15.00 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres | 30.00 | Cum | 3933950.00 | 150.00 | 4500.00 | 500.00 | 15000.00 | 363.00 | 10890.00 | 100.00 | 3000.00 | 400.00 | 12000.00 | 3000.00 | L K BUILDERS
16.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set isolating trnsformer housing box etc including form work etc as required. | 3.00 | Cum | 3933950.00 | 4500.00 | 13500.00 | 5000.00 | 15000.00 | 8305.00 | 24915.00 | 6000.00 | 18000.00 | 7000.00 | 21000.00 | 13500.00 | Youngmen Traders
17.00 | Supplying and laying of 3Runs of 50 mm nominal dia OD, HDPE pipe (PE- 63, PN-6) as per IS - 4984 and IS marked with uptodate ammendment along with accessories like socket, bend, couplers etc. complete with fitting, cuttings, jointing and laying the same by horizontal directional drilling ( micro tunnelling) method at one shot , minimum one meter below ground that is without cutting open trench etc. complete as required. | 3170.00 | Mtr | 3933950.00 | 425.00 | 1347250.00 | 775.00 | 2456750.00 | 586.00 | 1857620.00 | 400.00 | 1268000.00 | 490.00 | 1553300.00 | 1268000.00 | L K BUILDERS
18.00 | Supplying and laying of 2Runs of 50 mm nominal dia OD, HDPE pipe (PE- 63, PN-6) as per IS - 4984 and IS marked with uptodate ammendment along with accessories like socket, bend, couplers etc. complete with fitting, cuttings, jointing and laying the same by horizontal directional drilling ( micro tunnelling) method at one shot minimum one meter below ground that is without cutting open trench etc. complete as required. | 2508.00 | Mtr | 3933950.00 | 350.00 | 877800.00 | 623.00 | 1562484.00 | 464.00 | 1163712.00 | 300.00 | 752400.00 | 390.00 | 978120.00 | 752400.00 | L K BUILDERS
19.00 | Supplying and laying of 50 mm nominal dia OD, HDPE pipe (PE- 63, PN-6) as per IS - 4984 and IS marked with uptodate ammendment along with accessories like socket, bend, couplers etc. complete with fitting, cuttings, jointing and laying the same by horizontal directional drilling ( micro tunnelling) method minimum one meter below ground that is without cutting open trench etc. complete as required. | 1080.00 | Mtr | 3933950.00 | 275.00 | 297000.00 | 411.00 | 443880.00 | 122.00 | 131760.00 | 190.00 | 205200.00 | 225.00 | 243000.00 | 131760.00 | Vardhman Airport Solutions Pvt Ltd
20.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required | 50.00 | EA | 3933950.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 583.00 | 29150.00 | 550.00 | 27500.00 | 500.00 | 25000.00 | 15000.00 | Youngmen Traders
21.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 5 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required upto 35 sq.mm | 28800.00 | MTR | 3933950.00 | 20.00 | 576000.00 | 18.00 | 518400.00 | 20.00 | 576000.00 | 10.00 | 288000.00 | 20.00 | 576000.00 | 288000.00 | L K BUILDERS
22.00 | Providing of one no vehicle ( Bolero/Scorpio/Sumo with AC not more than two years old) along with driver, POL for monthly run upto 1800 KM i.e all expense paid for 10 hours a day any time as per site work requirement. | 5.00 | MON | 3933950.00 | 40000.00 | 200000.00 | 55000.00 | 275000.00 | 44000.00 | 220000.00 | 60000.00 | 300000.00 | 44000.00 | 220000.00 | 200000.00 | Youngmen Traders
23.00 | Supply of C.I dummy plate, suitable for water tight round type, metal container of outside size 330mm, made of 15mm thick cast iron suitable for blanking of top of CI transformer housing box as offered in the previous item including holes and nuts and bolts and gaskets etc. complete as required. | 12.00 | EA | 3933950.00 | 1200.00 | 14400.00 | 1500.00 | 18000.00 | 1308.00 | 15696.00 | 1465.00 | 17580.00 | 1250.00 | 15000.00 | 14400.00 | Youngmen Traders
24.00 | Design, Supply, Installation, Testing and commissioning of 415 VAC + 15%, - 10%, 3P+N+PE, 50 Hz +/- 5%, PF-0.8 , THD 10% ( input) 2 X 60KVA ( min 54 KW) IGBT based, sinusodial, online double conversion UPS System , isolation transformer, static and manual bypass facility, parralel kit, O/L , S/C protection and alarm & indications etc. including SMF VRL battery bank with racks, SDFU, interconnections, DC cabling for 30 minutes back up on full load for each UPS etc. suitably configured to support the load of airport Ground Lighting Facility which requires three phase out put with 100% unbalance load of connecting load 3P or 2P or 1P+N or any combination of them for phase voltage of 230V +/- 1% ( 5% for transient), AC 50 Hz +/- 0.5%, crest factor 3:1( minimum) and THD less than 5% and will have no adverse affect on the existing DG sets. etc. complete as required. | 1.00 | JOB | 3933950.00 | 2250000.00 | 2250000.00 | 2350000.00 | 2350000.00 | 2308240.00 | 2308240.00 | 2441000.00 | 2441000.00 | 1950000.00 | 1950000.00 | 1950000.00 | Manish Electricals
25.00 | Supply, installation, testing & commissioning of dust, damp and vermin proof free standing, floor mounted indoor type factory built extendable cubicle type LT panel board (having minimum IP-42 protection) suitable for operation on 415V, 3 phase, 4 wire, 50 Hz AC supply system fabricated in compartmenta lized design from CRCA sheet steel of 2 mm thick for frame work & covers, cleaning & finishing complete with 7 tank process for powder coating in approved shade, extensible type TPN aluminium alloy busbars of high conductivity , SMC busbar supports with short circuit withstand capacity of 35KA for 1 sec, bottom base channel of MS section not less than 1OOmm X 50 mm X 5 mm thick, Panel fabrication in transportab le sections, entire panel shall have a common copper earth bar of size 25mm X 5 mm at the rear with 2 Nos. earth studs, solid connection from main busbar to switchgears with required size of aluminium busbar/ copper conductor leads & control wiring with 2.5 sq. mm FRLS insulated copper conductor single core cable, cable alleys, 3 mm thick for gland plates in two half, fie all accessories complete and confirming to tenders technical specifications, terms & conditions etc. complete as required. with the following switchgears : Continue to 25.1: -
25.10 | A. lncomina Feeders:- 2 no of 250 Amps, 415V, 35kA,,4P MCCB, Thermal magnetic release with OL , EF & SC protections (i) LED type indicating Lamp for - R, Y,B and ON with control MCB - 2 Sets. (ii) Digital type 3 phase Multi-function Meter with 3 Nos. of single core epoxy resin cast type CTs of 250/5 Amps, 15 VA, CL 1.0 ratings & control MCB -2 Set. C. Buscoupler:- 1 no. of 250 Amps, 415V, 4P MCCB without protection release. LED type indicating Lamps for ON & OFF with control MCB:- 1 Set D. Mechanical ( castle key) interlocking between two incomers and bus coupler so that any two can be ON at one time.- 1 set E. Outgoings:- (a) 03 nos. of 100 Amps, 415V, 35kA, 4 Pole MCCB Thermal magnetic based releases having O L, SIC & E F protection with ON-OFF indication lamp protected by suitable rating MCBs. (b)08 nos. of 63 Amps, 415V, 25kA, 4 Pole MCCB Thermal magnetic based releases having O L, SIC & E F protection with ON-OFF indication lamp protected by suitable rating MCBs. | 1.00 | JOB | 3933950.00 | 325000.00 | 325000.00 | 485967.00 | 485967.00 | 508394.00 | 508394.00 | 400000.00 | 400000.00 | 335000.00 | 335000.00 | 325000.00 | Youngmen Traders
26.00 | Supply of following sizes of heat resistant flame retardant PVC insulated industrial unarmoured, flexible, copper conductor cable of 1.1KV grade as per IS 694 with upto date amendments etc. complete as required. single core x 50 Sqmm | 150.00 | Mtr | 3933950.00 | 450.00 | 67500.00 | 650.00 | 97500.00 | 474.00 | 71100.00 | 330.00 | 49500.00 | 950.00 | 142500.00 | 49500.00 | L K BUILDERS
27.00 | Laying of 1C x 50 sqmm copper cable & GI tray and all cable terminations with copper lugs & glands inside CCR room ( e.g. From incomer panel to two number UPSs , from UPSs to UPSs and from two number UPSs to Out going panel), sign writing etc. complete as required. ( Cable tray will be provided by AAI) | 1.00 | JOB | 3933950.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 22.00 | 22.00 | 45000.00 | 45000.00 | 16000.00 | 16000.00 | 22.00 | Vardhman Airport Solutions Pvt Ltd
28.00 | Supply and Fixing of nominal 2.5 mm (Width 1 Mtr) thick PVC synthetic, electric insulated mats conforming to IS 15652-2006 along with suitable adhensive/chemibond, i/c providing water proofing of floor, (chipping of floor if required) sealing of all joints etc., as reqd. | 20.00 | Sqmt | 3933950.00 | 1200.00 | 24000.00 | 1000.00 | 20000.00 | 670.00 | 13400.00 | 750.00 | 15000.00 | 1200.00 | 24000.00 | 13400.00 | Vardhman Airport Solutions Pvt Ltd
29.00 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete. | 100.00 | Kg | 3933950.00 | 55.00 | 5500.00 | 1000.00 | 100000.00 | 72.00 | 7200.00 | 80.00 | 8000.00 | 90.00 | 9000.00 | 5500.00 | Youngmen Traders
30.00 | Brick work with bricks of class designation 60 in foundation and plinth in 1:6 (1 cement: 6 coarse sand) | 10.00 | Cum | 3933950.00 | 4500.00 | 45000.00 | 1750.00 | 17500.00 | 7150.00 | 71500.00 | 7000.00 | 70000.00 | 7000.00 | 70000.00 | 17500.00 | Techno Electricals
31.00 | Cement plaster 12mm thick of mixture 1:6 | 100.00 | Sq mtr | 3933950.00 | 200.00 | 20000.00 | 750.00 | 75000.00 | 363.00 | 36300.00 | 300.00 | 30000.00 | 280.00 | 28000.00 | 20000.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 11048050.00 |  | 14262531.00 |  | 13144012.00 |  | 12135280.00 |  | 13182070.00
Lowest Amount Quoted BY: Youngmen Traders(11048050.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision for Standby Feeder for GLF System at VSS Airport, Jharsuguda. Tender ID: 2021_AAI_83481_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 11048050.00 | L1
| 2 | L K BUILDERS | 12135280.00 | L2
| 3 | Vardhman Airport Solutions Pvt Ltd | 13144012.00 | L3
| 4 | Manish Electricals | 13182070.00 | L4
| 5 | Techno Electricals | 14262531.00 | L5