## BoQ1
Government eProcurement System Created By: RAVICHANDRAN SEETHARAMAN Created Date/Time: 23-Sep-2021 04:16 PM Tender Title: Up Gradation of Passenger Terminal Building and Airside Facilities at Tiruchirappalli International Airport S.H- Provision of Apron Flood Lighting for New and Existing Apron and allied works Tender ID: 2021_AAI_83521_1
Tender Inviting Authority: Assistant General Manager (E-E)
Name of Work: Up-gradation of Passenger Terminal Building and Airside Facilities at Tiruchirappalli International Airport. S.H: Provision of Apron Flood Lightings for New and Existing Apron and allied works.
Contract No: AAI/TRY/P-02/2021-22 Tender ID:2021_AAI_83521_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | SHANTI ENTERPRISES ELECTRICALS PRIVATE LIMITED(GSTN-33AABCS2732HIZP) |  | Bajaj Electricals Limited(GSTN-27AAACB2484Q1Z8) |  | KUMARAN INDUSTRIES(GSTN-33ABQPV9405R1ZL) |  | VISHAL ELECTRICALS(GSTN-09ACYPB4483E1Z9) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | HDC Power Systems Pvt Ltd(GSTN-33AABCH1022K1Z4) |  | HPL Electric and Power Limited(GSTN-06AAACH0165J2ZT)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Fabrication, Supply, Erection, Testing and Commissioning of 30 Mtr High Mast Systems with light fittings suitable to illuminate the new apron of area 53,100 sq mtrs approx.( 450 mtr X 118 mtr) for achieving an average illumination level of 20 lux and with all accessories suitable to install Lumiaires in asymetrical arrangemnent. Mast shaft shall be in three section, and made of S 355 grade as per BS-EN 10025, hot dip Galvanised and suitable for wind velocity as per IS 875 part 3. The system shall also include accessories for high mast including head frame, SS Wire rope 6mm dia (7/19 construction), Trailing Cable, Double drum and double winch, Galvanised Lantern carriage arrangement suitable for Luminaires & its controlgear boxes as per detailed design and lightning finial and carrying out the following jobs, confirming to tender specifications complete as required. a) Construction of suitable shallow foundation with 1:2:4 concrete for the high mast (for safe soil bearing capacity at site as 10 T/sq.mtr at 2 metre depth) including breaking the existing PCC foundation of thickness 200mm with all materials and labour etc., as required (b) Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plates and templates. (c) Supply and laying of 2runs of Power supply trailing cable of ERP insulated PCP sheathed 5CX2.5Sqmm, providing and fixing of, Junction Box in the Lantern carraige,connectors etc. (d) Integral motor powered winch for lowering and raising operation of lantern carriage installed inside the base compartment along with mechanical tripping facility and manual handle. (e) Erection of the 30 Meter High Mast with the help of suitable equipments and installation of required luminaires with all wiring materials and labour as required. (f)SITC of LED luminarie of having minimum lumenous efficacy not less than 110 lumen/Watt with 50000 burning hours for achieving uniform illumination with an average lux level of 20 lux in the new apron of area 53,194 sq mtrs (450.8 mtr X 118 mtr) suitable to operate on 230V, 50Hz, with luminaries housing of pressure die-cast aluminium alloy, with IP 65 protection etc., complete as required. (g) Installation of twin dome aviation obstruction light (Note: High mast feeder panel is not included in this item) | 11.00 | Job |  | 614000.00 | 6754000.00 | 589826.00 | 6488086.00 | 507395.25 | 5581347.75 | 696000.00 | 7656000.00 | 446220.00 | 4908420.00 | 540000.00 | 5940000.00 | 555000.00 | 6105000.00 | 670895.00 | 7379845.00 | 4908420.00 | VISHAL ELECTRICALS
2.00 | Design, Fabrication, Supply, Erection, Testing and Commissioning of 25 Mtr High Mast Systems with light fittings suitable to illuminate the extension of the existing apron of area 8832 sq mtrs approx ( 128 mtr X 69 mtr) with an average illumination level of 20 lux and with all accessories suitable to install Lumiaires in asymetrical arrangemnent. Mast shaft shall be in three section, and made of S 355 grade as per BS-EN 10025, hot dip Galvanised and suitable for wind velocity as per IS 875 part 3. The system shall also include accessories for high mast including head frame, SS Wire rope 6mm dia (7/19 construction), Trailing Cable, Double drum and double winch, Galvanised Lantern carriage arrangement suitable for Luminaires & its controlgear boxes as per detailed design and lightning finial. The mast shall have an integeral power tool installed inside the base compartment for its operation complete as required and carrying out the following jobs confirming to tender specifications complete as required. a) Construction of suitable shallow foundation with 1:2:4 concrete for the high mast (for safe soil bearing capacity at site as 10 T/sq.mtr at 2 metre depth) including breaking the existing PCC foundation of thickness 200mm with all materials and labour etc., as required (b) Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plates and templates. (c) Supply and laying of 2runs of Power supply trailing cable of ERP insulated PCP sheathed 5CX2.5Sqmm, providing and fixing of ,Junction Box in the Lantern carraige,connectors etc. (d) Integral motor powered winch for lowering and raising operation of lantern carriage installed inside the base compartment along with mechanical tripping facility and manual handle. (e) Erection of the 25 Meter High Mast with the help of suitable equipments and installation of required luminaires with all wiring materials and labour as required. (f)SITC of LED luminarie of having minimum lumenous efficacy not less than 110 lumen/Watt with 50000 burning hours for achieving uniform illumination with an average lux level of 20 lux in the new apron of area 8940 sq mtrs (128.5 mtr X 69.5 mtr) suitable to operate on 230V, 50Hz, with luminaries housing of pressure die-cast aluminium alloy, with IP 65 protection etc., complete as required. (g) Installation of twin dome aviation obstruction light (Note: High mast feeder panel is not included in this item) | 1.00 | Job |  | 525000.00 | 525000.00 | 629233.00 | 629233.00 | 554285.68 | 554285.68 | 651900.00 | 651900.00 | 404120.00 | 404120.00 | 598000.00 | 598000.00 | 622000.00 | 622000.00 | 773295.00 | 773295.00 | 404120.00 | VISHAL ELECTRICALS
3.00 | Supply of medium intensity LED type single dome aviation obstruction light as per ICAO specification. | 30.00 | Each |  | 2900.00 | 87000.00 | 2970.00 | 89100.00 | 1939.00 | 58170.00 | 3000.00 | 90000.00 | 8550.00 | 256500.00 | 4500.00 | 135000.00 | 3500.00 | 105000.00 | 43700.00 | 1311000.00 | 58170.00 | Bajaj Electricals Limited
4.00 | Supplying, installation, testing & commissioning of cubicale, out door type (IP 65) sloped roof free standing floor mounted LT panel suitable for 415 V, 3Phase, 4 Wire 50 Hz AC supply system, fabricated in compartmentalized (preferably) design from CRCA sheet steel of 2 mm thick for frame work and covers, 3 mm thick for gland, platesincluding cleaning & finishing complete with 7 tank process for powder coating in approved shade, having 300Amp capacity TPN aluminium alloy bus bars of hight conductivity, suitable/DMC/ SMC bus bar supports,bottom base channel of MS section not less than 100 mm x 50 mm x 5 mm thick, fabrication shall be done in transportable sections, entire panel shall have a common copper earth bar of size 25 mm x 5 mm at the rear with 2 Nos. earth stud, solid connections from main busbar to switchgears with required size of Al. bus bars and control wiring with 2.5sq. mm PVC insulated copper conductor cable, cable alleys, cable gland plates including providing following switch gears as detailed below :- INCOMER: a) 160amps 4pole MCCB breaking capaity 25KA with Thermal magnetic release for o/c & s/c protection -02 Nos. BUS COUPLER: b) 160amps 4pole MCCB breaking capaity 25KA with with Thermal magnetic release for o/c & s/c protection -01 No. c)Mechanical key interlocking arrangement-1Set d)LED type Indicating Lamps with control MCBs for RYB and ON&OFF indication lamps for incoming & outgoing feeders and required CT's. e) Digital Multi function meter with inbuilt selector switch-2Nos BUS BAR: 300 amps TPN aluminium bus bars with heat shrinkable sleeves OUTGOING: a) 40A 4pole, 10KA MCB-16Nos | 1.00 | Each |  | 250000.00 | 250000.00 | 171988.00 | 171988.00 | 400678.00 | 400678.00 | 48330.00 | 48330.00 | 219320.00 | 219320.00 | 245000.00 | 245000.00 | 375000.00 | 375000.00 | 188232.00 | 188232.00 | 48330.00 | KUMARAN INDUSTRIES
5.00 | Design, Fabrication, Supply, Testing and Commissioning of Sub control panel(High mast Feeder panel) for Apron Flood lighting system Cubicle type, made of 2 mm thick CRCA sheet steel totally enclosed, IP-65, free standing floor mounted out door with sloped roof double door with powder coated painting suitable for poeration on 3 Phase and neutral 415 volts 50HZ AC system interconnections including supply and installation of following items as per specifications and drawings as required for each sub panel.(For High Feeder Panel) INCOMMER: 32A 4 Pole MCB OUTGOING: a)20A 4Pole MCB-2Nos b)20A 3 Pole MCB-1Nos c)18A 3Pole Contactor with aucx contact of minimum1No and 1NC-2Nos d)25A 4Pole Contactor for Lighting -1No e)24Hr Programmable Timer Switch Indication and Monitoring: f) Multifunction meter -01 No g)Control Fuse with bases or control MCB's h)RYB/ ON/OFF LED Type indication lamp i) Push Button ON/OFF, Auto/Manual selection switch, Rasing /lowering push button for winch operation.etc complete as required | 12.00 | Each |  | 21000.00 | 252000.00 | 56303.00 | 675636.00 | 58399.00 | 700788.00 | 17400.00 | 208800.00 | 43110.00 | 517320.00 | 28000.00 | 336000.00 | 38000.00 | 456000.00 | 65800.00 | 789600.00 | 208800.00 | KUMARAN INDUSTRIES
6.00 | Supply of 4.0 Core X 16 Sq.mm XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. | 2815.00 | Mtr |  | 145.00 | 408175.00 | 108.00 | 304020.00 | 134.00 | 377210.00 | 102.00 | 287130.00 | 113.00 | 318095.00 | 117.00 | 329355.00 | 195.00 | 548925.00 | 121.00 | 340615.00 | 287130.00 | KUMARAN INDUSTRIES
7.00 | Supply of 3.5 Core X 185 Sq.mm XLPE insulated & PVC sheathed, armoured, aluminium conductor under ground cable of 1.1KV grade as per IS 7098:1988 Part-I with upto date amendments complete as required. | 1400.00 | Mtr |  | 778.00 | 1089200.00 | 674.00 | 943600.00 | 807.00 | 1129800.00 | 579.00 | 810600.00 | 710.64 | 994896.00 | 730.00 | 1022000.00 | 990.00 | 1386000.00 | 772.00 | 1080800.00 | 810600.00 | KUMARAN INDUSTRIES
8.00 | Supply of 24 Core X 2.5 sq.mm copper conductor control cables, XLPE insulated, cores laid up, PVC innersheather, armoured (Glavanised wire for cables up to 10X1.5sq.mm, 8X2.5sq.mm, balance all galvanised steel strip), Extruded PVC type ST2 outer sheathed, 650/1100V grade as per IS 7098 (Part 1) 1988 with upto date amendments complete as required. | 1500.00 | Mtr |  | 589.00 | 883500.00 | 652.00 | 978000.00 | 771.00 | 1156500.00 | 507.00 | 760500.00 | 652.68 | 979020.00 | 670.00 | 1005000.00 | 650.00 | 975000.00 | 659.00 | 988500.00 | 760500.00 | KUMARAN INDUSTRIES
9.00 | Supplying and laying of 63 mm dia (OD-63 mm & ID-51 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 455.00 | Mtr |  | 128.00 | 58240.00 | 199.00 | 90545.00 | 193.00 | 87815.00 | 102.00 | 46410.00 | 65.60 | 29848.00 | 215.00 | 97825.00 | 650.00 | 295750.00 | 170.00 | 77350.00 | 29848.00 | VISHAL ELECTRICALS
10.00 | Supplying and laying of 90 mm dia (OD-90 mm & ID-76 mm nominal) DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 424.00 | Mtr |  | 182.00 | 77168.00 | 244.00 | 103456.00 | 252.00 | 106848.00 | 165.00 | 69960.00 | 82.70 | 35064.80 | 245.00 | 103880.00 | 750.00 | 318000.00 | 201.00 | 85224.00 | 35064.80 | VISHAL ELECTRICALS
11.00 | Providing, laying and fixing 50 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | 3075.00 | Mtr |  | 498.00 | 1531350.00 | 694.00 | 2134050.00 | 785.00 | 2413875.00 | 102.00 | 313650.00 | 496.00 | 1525200.00 | 720.00 | 2214000.00 | 750.00 | 2306250.00 | 612.00 | 1881900.00 | 313650.00 | KUMARAN INDUSTRIES
12.00 | Providing, laying and fixing 100 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | 333.00 | Mtr |  | 1012.00 | 336996.00 | 1414.00 | 470862.00 | 1735.00 | 577755.00 | 165.00 | 54945.00 | 1116.60 | 371827.80 | 1422.00 | 473526.00 | 1250.00 | 416250.00 | 1317.00 | 438561.00 | 54945.00 | KUMARAN INDUSTRIES
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required. Upto 35 Sqmm | 3610.00 | Mtr |  | 15.00 | 54150.00 | 36.00 | 129960.00 | 39.00 | 140790.00 | 57.00 | 205770.00 | 35.00 | 126350.00 | 45.00 | 162450.00 | 50.00 | 180500.00 | 35.00 | 126350.00 | 54150.00 | jaydeep agency corporation
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC pipe as required. Above 95 sq. mm and upto 185 sq. Mm | 791.00 | Mtr |  | 25.00 | 19775.00 | 71.00 | 56161.00 | 96.00 | 75936.00 | 66.00 | 52206.00 | 45.00 | 35595.00 | 70.00 | 55370.00 | 100.00 | 79100.00 | 81.00 | 64071.00 | 19775.00 | jaydeep agency corporation
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. Up to 35 Sq.mm (Clamped with 1mm thick saddle) | 45.00 | Mtr |  | 28.00 | 1260.00 | 51.00 | 2295.00 | 83.00 | 3735.00 | 57.00 | 2565.00 | 45.00 | 2025.00 | 55.00 | 2475.00 | 50.00 | 2250.00 | 40.00 | 1800.00 | 1260.00 | jaydeep agency corporation
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 Sqmm | 430.00 | Mtr |  | 15.00 | 6450.00 | 40.00 | 17200.00 | 69.00 | 29670.00 | 57.00 | 24510.00 | 35.00 | 15050.00 | 40.00 | 17200.00 | 50.00 | 21500.00 | 23.00 | 9890.00 | 6450.00 | jaydeep agency corporation
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Above 95 sq. mm and upto 185 sq. Mm | 609.00 | Mtr |  | 25.00 | 15225.00 | 76.00 | 46284.00 | 138.00 | 84042.00 | 57.00 | 34713.00 | 40.00 | 24360.00 | 70.00 | 42630.00 | 100.00 | 60900.00 | 81.00 | 49329.00 | 15225.00 | jaydeep agency corporation
18.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 mtr in width, and lift upto 1.5mtr, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50mtrs. | 30.00 | Cum |  | 680.00 | 20400.00 | 1515.00 | 45450.00 | 1033.00 | 30990.00 | 480.00 | 14400.00 | 750.00 | 22500.00 | 1000.00 | 30000.00 | 750.00 | 22500.00 | 690.00 | 20700.00 | 14400.00 | KUMARAN INDUSTRIES
19.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4X16sq.mm (28mm) | 24.00 | Set |  | 110.00 | 2640.00 | 638.00 | 15312.00 | 345.00 | 8280.00 | 120.00 | 2880.00 | 164.00 | 3936.00 | 150.00 | 3600.00 | 550.00 | 13200.00 | 299.00 | 7176.00 | 2640.00 | jaydeep agency corporation
20.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5X185 sq.mm (57mm) | 4.00 | Set |  | 850.00 | 3400.00 | 1124.00 | 4496.00 | 1102.00 | 4408.00 | 210.00 | 840.00 | 499.00 | 1996.00 | 750.00 | 3000.00 | 1900.00 | 7600.00 | 1160.00 | 4640.00 | 840.00 | KUMARAN INDUSTRIES
21.00 | Supplying and making end termination with brass compression gland and copper lugs for following size of XLPE copper conductor cable of 1.1 KV grade as required. 24CX2.5 sq mm (35 mm) | 24.00 | Set |  | 175.00 | 4200.00 | 786.00 | 18864.00 | 689.00 | 16536.00 | 120.00 | 2880.00 | 209.60 | 5030.40 | 400.00 | 9600.00 | 650.00 | 15600.00 | 1194.00 | 28656.00 | 2880.00 | KUMARAN INDUSTRIES
22.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for 3.5 Core X 185 Sq.mm PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 1.1 KV grade as required | 2.00 | Set |  | 2200.00 | 4400.00 | 6190.00 | 12380.00 | 3444.00 | 6888.00 | 2100.00 | 4200.00 | 2280.00 | 4560.00 | 3750.00 | 7500.00 | 5500.00 | 11000.00 | 7475.00 | 14950.00 | 4200.00 | KUMARAN INDUSTRIES
23.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 26.00 | Each |  | 3890.00 | 101140.00 | 14675.00 | 381550.00 | 17217.00 | 447642.00 | 1650.00 | 42900.00 | 9129.81 | 237375.06 | 5000.00 | 130000.00 | 12000.00 | 312000.00 | 7475.00 | 194350.00 | 42900.00 | KUMARAN INDUSTRIES
24.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 140.00 | Mtr |  | 145.00 | 20300.00 | 169.00 | 23660.00 | 303.00 | 42420.00 | 210.00 | 29400.00 | 125.00 | 17500.00 | 240.00 | 33600.00 | 135.00 | 18900.00 | 141.00 | 19740.00 | 17500.00 | VISHAL ELECTRICALS
25.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ sub main wiring/ cable as required. | 5615.00 | Mtr |  | 20.00 | 112300.00 | 33.00 | 185295.00 | 29.00 | 162835.00 | 21.00 | 117915.00 | 15.00 | 84225.00 | 22.00 | 123530.00 | 24.00 | 134760.00 | 16.00 | 89840.00 | 84225.00 | VISHAL ELECTRICALS
| Total in Figures |  |  |  |  | 12618269.00 |  | 14017483.00 |  | 14199244.43 |  | 11533404.00 |  | 11140134.06 |  | 13120541.00 |  | 14788985.00 |  | 15966414.00
Lowest Amount Quoted BY: VISHAL ELECTRICALS(11140134.06)

## BOQ Summary
BOQ Summary Details Tender Title: Up Gradation of Passenger Terminal Building and Airside Facilities at Tiruchirappalli International Airport S.H- Provision of Apron Flood Lighting for New and Existing Apron and allied works Tender ID: 2021_AAI_83521_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VISHAL ELECTRICALS | 11140134.06 | L1
| 2 | KUMARAN INDUSTRIES | 11533404.00 | L2
| 3 | jaydeep agency corporation | 12618269.00 | L3
| 4 | vk sam engineering | 13120541.00 | L4
| 5 | SHANTI ENTERPRISES ELECTRICALS PRIVATE LIMITED | 14017483.00 | L5
| 6 | Bajaj Electricals Limited | 14199244.43 | L6
| 7 | HDC Power Systems Pvt Ltd | 14788985.00 | L7
| 8 | HPL Electric and Power Limited | 15966414.00 | L8