## BoQ1
Government eProcurement System Created By: Pradip Kumar Gupta Created Date/Time: 06-Sep-2021 12:16 PM Tender Title: Misc. Unforeseen works at C.E. Jamnagar during 2021-22 Tender ID: 2021_AAI_83891_1
Tender Inviting Authority: AGM (E-C)
Name of Work: Misc. Unforeseen works at C.E. Jamnagar during 2021-22
Tender Id: 2021_AAI_ 83891_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VINOD B GUPTA(GSTN-NA) |  | Jay Prakashbhai Tilara(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Items and Quantities for Civil Work
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 600.00 | Cum | 100.00 | 160.00 | 96000.00 | 125.00 | 75000.00 | 75000.00 | Jay Prakashbhai Tilara
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil. | 66.00 | Cum | 100.00 | 200.00 | 13200.00 | 125.00 | 8250.00 | 8250.00 | Jay Prakashbhai Tilara
1.03 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock. | 333.00 | Cum | 10.00 | 200.00 | 66600.00 | 322.00 | 107226.00 | 66600.00 | VINOD B GUPTA
1.04 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 5.00 | Cum | 10.00 | 5000.00 | 25000.00 | 3177.00 | 15885.00 | 15885.00 | Jay Prakashbhai Tilara
1.05 | Providing and applying 2.5 mm thick road marking strips (retroreflective) of specified shade/ colour using hot thermoplastic material by fully/ semi automatic thermoplastic paint applicator machine fitted with profile shoe, glass beads dispenser, propane tank heater and profile shoe heater, driven by experienced operator on road surface including cost of material, labour, T&P, cleaning the road surface of all dirt, seals, oil, grease and foreign material etc. complete as per direction of Engineer-in-charge and accordance with applicable specifications. | 146.00 | Sqm | 10.00 | 500.00 | 73000.00 | 385.00 | 56210.00 | 56210.00 | Jay Prakashbhai Tilara
1.06 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar | 29.00 | Cum | 10.00 | 1100.00 | 31900.00 | 770.00 | 22330.00 | 22330.00 | Jay Prakashbhai Tilara
1.07 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 40 mm nominal size) | 6.70 | Cum | 10.00 | 5600.00 | 37520.00 | 3555.00 | 23818.50 | 23818.50 | Jay Prakashbhai Tilara
1.08 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 50.00 | Cum | 10.00 | 5000.00 | 250000.00 | 4604.00 | 230200.00 | 230200.00 | Jay Prakashbhai Tilara
1.09 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size) | 5.00 | Cum | 10.00 | 7000.00 | 35000.00 | 4604.00 | 23020.00 | 23020.00 | Jay Prakashbhai Tilara
1.10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto and above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 5979.00 | Kg | 10.00 | 70.00 | 418530.00 | 83.00 | 496257.00 | 418530.00 | VINOD B GUPTA
1.11 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete. | 300.00 | Sqm | 10.00 | 260.00 | 78000.00 | 257.00 | 77100.00 | 77100.00 | Jay Prakashbhai Tilara
1.12 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc | 85.00 | Sqm | 10.00 | 580.00 | 49300.00 | 450.00 | 38250.00 | 38250.00 | Jay Prakashbhai Tilara
1.13 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 295.00 | Sqm | 10.00 | 500.00 | 147500.00 | 728.00 | 214760.00 | 147500.00 | VINOD B GUPTA
1.14 | Providing and fixing premium quality vitrified tiles, sugar finish, nano coating, full body floor tiles as approved by Engineer in charge, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with Epoxy tile Sealant with matching texture and colour etc.all complete as per satisfaction of E.I.C. Size of tile 600/1200 mm (Note :-Basic price of vitrified floor tiles shall not be less than Rs 60/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 36.00 | Sqm | 10.00 | 1500.00 | 54000.00 | 1056.00 | 38016.00 | 38016.00 | Jay Prakashbhai Tilara
1.15 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 36.00 | Sqm | 10.00 | 500.00 | -18000.00 | 115.00 | -4140.00 | -18000.00 | VINOD B GUPTA
1.16 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 36.00 | Sqm | 10.00 | 600.00 | 21600.00 | 109.00 | 3924.00 | 3924.00 | Jay Prakashbhai Tilara
1.17 | Providing and fixing 15mm thick Super glossy premoulded vitrified tiles for platforms, vanity counters, window sills , wall facias and similar locations of required size of approved shade, colour and texture laid over 20 mm thick base cement mortar 1:3 (1 cement : 3 coarse sand) or high polymer modified quick tiles adhesive with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Full body exterior vitrifed tiles of any colour and shade of size 240x80cm. (Basic price of Full body vitrifed or Engineering or Cultured granite shall not be less than Rs 135/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 125.00 | Sqm | 10.00 | 1200.00 | 150000.00 | 1958.00 | 244750.00 | 150000.00 | VINOD B GUPTA
1.18 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion (For section of doors size should be of 101.60mm x 44.25mm x 2mm and weighing not less than 1.60 kg/m and window sections should be at least 1mm thick.) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 106.00 | Kg | 10.00 | 450.00 | 47700.00 | 460.00 | 48760.00 | 47700.00 | VINOD B GUPTA
1.19 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) Door sections shall be be of adequate gauge prefereable 3mm thick, as directed by Engineer-in-charge. | 98.00 | Kg | 10.00 | 450.00 | 44100.00 | 486.00 | 47628.00 | 44100.00 | VINOD B GUPTA
1.20 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 19.00 | Sqm | 10.00 | 1450.00 | 27550.00 | 1296.00 | 24624.00 | 24624.00 | Jay Prakashbhai Tilara
1.21 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 4.00 | Each | 10.00 | 600.00 | 2400.00 | 458.00 | 1832.00 | 1832.00 | Jay Prakashbhai Tilara
1.22 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm hollow rod minimum 10mm thk. | 8.00 | Each | 10.00 | 250.00 | 2000.00 | 99.00 | 792.00 | 792.00 | Jay Prakashbhai Tilara
1.23 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 213.00 | Sqm | 10.00 | 250.00 | 53250.00 | 183.00 | 38979.00 | 38979.00 | Jay Prakashbhai Tilara
1.24 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), (if required high polymer based adhesive shall be used), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm (Note :- Basic price of granite or Cultured granite shall not be less than Rs 170/Sqft for any size without GST, freight upto destination, loading and unloading etc. Purchase voucher shall have to be submitted for price verification before bill payment of this bill ) | 220.00 | Sqm | 10.00 | 2600.00 | 572000.00 | 3115.00 | 685300.00 | 572000.00 | VINOD B GUPTA
1.25 | Providing, fabricating and fixing panels of aluminium composite panel cladding in required shape in colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. complete as per instructions of Engineering In Charge. (Base frame work for ACP cladding is payable under the relevant aluminium item) | 25.00 | Sqm | 10.00 | 5500.00 | 137500.00 | 2290.00 | 57250.00 | 57250.00 | Jay Prakashbhai Tilara
1.26 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 14.00 | Cum | 10.00 | 6000.00 | 84000.00 | 4965.00 | 69510.00 | 69510.00 | Jay Prakashbhai Tilara
1.27 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 34.00 | Cum | 10.00 | 4500.00 | 153000.00 | 4965.00 | 168810.00 | 153000.00 | VINOD B GUPTA
1.28 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 5.00 | Cum | 10.00 | 1200.00 | 6000.00 | 1028.00 | 5140.00 | 5140.00 | Jay Prakashbhai Tilara
1.29 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5.00 | Cum | 10.00 | 1000.00 | 5000.00 | 1215.00 | 6075.00 | 5000.00 | VINOD B GUPTA
1.30 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 5.00 | Cum | 10.00 | 2200.00 | 11000.00 | 1773.00 | 8865.00 | 8865.00 | Jay Prakashbhai Tilara
1.31 | Providing and laying at c/c 200mm spacing well developed in polybag Shrubs & hedge Plants Kadvi mehendi/golden duranta Ht. 8-10 inch i/c spreading, blending and mowing the earth and vermicompost with rack and moist the soil. Good earth and vermicompost will be paid seperately. | 200.00 | Metre | 10.00 | 350.00 | 70000.00 | 50.00 | 10000.00 | 10000.00 | Jay Prakashbhai Tilara
1.32 | Providing and laying at c/c 1000 mm spacing well developed in polybag Plant Ficus black bearing min height of 3 feet, in pattern as directed by Engineer-in-charge i/c spreading, blending and mowing the earth and vermicompost with rack and moist the soil. Good earth and vermicompost will be paid seperately. | 480.00 | Metre | 10.00 | 200.00 | 96000.00 | 130.00 | 62400.00 | 62400.00 | Jay Prakashbhai Tilara
1.33 | Providing and laying at c/c 1000 mm spacing well developed in polybag Plant Conocarpus erectus bearing min height of 3 feet, in pattern as directed by Engineer-in-charge i/c spreading, blending and mowing the earth and vermicompost with rack and moist the soil. Good earth and vermicompost will be paid seperately. | 300.00 | Metre | 10.00 | 200.00 | 60000.00 | 115.00 | 34500.00 | 34500.00 | Jay Prakashbhai Tilara
1.34 | Supply of Locally available organic vermicompost sealed packed in 5 kg. bag including delivery as specified. | 287.00 | Kg | 10.00 | 350.00 | 100450.00 | 87.00 | 24969.00 | 24969.00 | Jay Prakashbhai Tilara
1.35 | Providing and laying good quality of grass carpet i/c spreading, blending and mowing the earth and vermicompost i/c raking out and moistening the soil. Good earth and vermicompost will be paid for seperately. | 864.00 | Sqm | 10.00 | 350.00 | 302400.00 | 300.00 | 259200.00 | 259200.00 | Jay Prakashbhai Tilara
1.36 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 314.00 | Cum | 10.00 | 200.00 | 62800.00 | 96.00 | 30144.00 | 30144.00 | Jay Prakashbhai Tilara
1.37 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 25.00 | Kg | 10.00 | 650.00 | 16250.00 | 747.00 | 18675.00 | 16250.00 | VINOD B GUPTA
1.38 | Providing & Applying highly elastic polymer modified, tough membrane, resistance to oxidation layer based on modified bitumens water based co-polymer. WATERGUARD LIQUID MEMBRANE highly resistant to aggressive soils and soluble salts on bituminious surface in two coats @7.0 kg /10 sqm. One coat of readymix priming coat @0.641 Litre /10 sqm after scrapping and properly cleaning the surface to remove loose particles, complete in all respect as per the direction of Engineer-in-Charge. | 725.00 | Sqm | 10.00 | 350.00 | 253750.00 | 520.00 | 377000.00 | 253750.00 | VINOD B GUPTA
1.39 | Credit item for taking away dismantled Serviceable/Unserviceable rubble stone for their own (contractor) use out side AAI premises. The material so received shall be the property of contractor. Measurement shall be same as item of dismantling of rubble stone works. | 7.00 | Cum | 10.00 | 100.00 | -700.00 | 500.00 | -3500.00 | -3500.00 | Jay Prakashbhai Tilara
1.40 | Filling and cleaning existing dummy/construction/longitudinal/transverse Joints with polysulphide joint sealing compound (confirming to grade BS:5212, Part-I, 1990 or IS:11433-1995) of approved make Dr. Fixit/Sika/Fosroc/Clean coat/Choksey/STP or equivalent including painting the sides of slab with approved primer and filling the groove 12mm width x 25mm deep including inserting the backer rod of appropriate dia of approved make to receive the specified sealing compound, providing and applying bond breaking tape and masking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of Engineer-in-Charge Note: This work shall be carried out through authorized or experianced applicator of M/s CHOKSY/SIKA /PIDILITE/STP/Clean Coat etc. | 2214.00 | Metre | 10.00 | 300.00 | 664200.00 | 334.00 | 739476.00 | 664200.00 | VINOD B GUPTA
1.41 | Cutting existing PQC and removing extra synthetic joint filler board not less than 50mm from top {to be removed at the time of filling of Polysulphide seatant), cleaning & filling Expansion Joints with polysulphide joint sealing compound (confirming to grade BS:5212, Part-I, 1990 or IS:11433-1995) of approved make Dr. Fixit/Sika/Fosroc/Clean coat/Choksey/STP or equivalent including painting the sides of slab with approved primer and filling the groove 25mm width x 25mm deep including inserting the backer rod of appropriate dia of approved make to receive the specified sealing compound, providing and applying bond breaking tape and masking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of Engineer-in-Charge. Note: This work shall be carried out through authorized or experienced applicator of M/s CHOKSY/SIKA/ PIDILITE /STP/Clean Coat etc. | 399.00 | Metre | 10.00 | 250.00 | 99750.00 | 385.00 | 153615.00 | 99750.00 | VINOD B GUPTA
1.42 | Cutting existing PQC not less than 135mm, cleaning & filling dummy/longitudinal/transverse Joints with polysulphide joint sealing compound (confirming to grade BS:5212, Part-I, 1990 or IS:11433-1995) of approved make Dr. Fixit/Sika/Fosroc/Clean coat/Choksey/STP or equivalent including painting the sides of slab with approved primer and filling the groove 10mm width x 25mm deep including inserting the backer rod of appropriate dia of approved make to receive the specified sealing compound, providing and applying bond breaking tape and masking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled, all complete as per specification and direction of Engineer-in-Charge Note: This work shall be carried out through authorized or experienced applicator of M/s CHOKSY/SIKA/ PIDILITE /STP/Clean Coat etc. | 368.00 | Metre | 10.00 | 250.00 | 92000.00 | 423.00 | 155664.00 | 92000.00 | VINOD B GUPTA
1.43 | Straight edge cutting of existing PQC Apron in true vertically plumb line in full depth not less than 400mm, diagonal should be checked prior to cutting for ensuring perfect rectangle, all around the existing Apron by mechanical means of disk not less than 900mm including disposal of dismantled material including all lead and lift outside AAI, premises, as per specifications and direction of the Engineer-in-Charge, complete in all respect. | 624.00 | Metre | 10.00 | 200.00 | 124800.00 | 514.00 | 320736.00 | 124800.00 | VINOD B GUPTA
1.44 | Supplying of J.C.B at Jamnagar Airport including driver & diesel as per direction of Engineer-In-Charge. | 125.00 | Per Hr | 10.00 | 900.00 | 112500.00 | 400.00 | 50000.00 | 50000.00 | Jay Prakashbhai Tilara
1.45 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 726.00 | Kg | 10.00 | 100.00 | 72600.00 | 114.00 | 82764.00 | 72600.00 | VINOD B GUPTA
1.46 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 50.00 | Metre | 10.00 | 130.00 | 6500.00 | 154.00 | 7700.00 | 6500.00 | VINOD B GUPTA
1.47 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 222.00 | Cum | 10.00 | 120.00 | 26640.00 | 114.00 | 25308.00 | 25308.00 | Jay Prakashbhai Tilara
| Total in Figures |  |  |  |  | 4834590.00 |  | 5183072.50
Lowest Amount Quoted BY: VINOD B GUPTA(4834590.00)

## BOQ Summary
BOQ Summary Details Tender Title: Misc. Unforeseen works at C.E. Jamnagar during 2021-22 Tender ID: 2021_AAI_83891_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VINOD B GUPTA | 4834590.00 | L1
| 2 | Jay Prakashbhai Tilara | 5183072.50 | L2