## BoQ1
Government eProcurement System Created By: KONERU HARSHAVARDHAN Created Date/Time: 26-Aug-2021 03:40 PM Tender Title: Miscellaneous Electrical Works Tender ID: 2021_AAI_84000_1
Tender Inviting Authority: For Jt.GM (E-E), Begumpet ,Hyderabad
Name of Work: Miscellaneous Electrical Works SH :Supply of day to day electrical Spares & other allied works at Kalaburgi Airport for the year 2021-22
Contract No: 2021_AAI_84000_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GK ELECTRICALS AND ENGINEERS(GSTN-27CEZPK9541R1Z3) |  | Yash Energy Pvt. Ltd(GSTN-24AAACY3771H1ZA) |  | SRI VIDHU POWER SERVICES(GSTN-NA) |  | Krishsons International Engineers And Consultants (I) Pvt. Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of LED TUBE with batten sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 100.00 | Each | 100.00 | 208.00 | 20800.00 | 283.00 | 28300.00 | 227.00 | 22700.00 | 240.00 | 24000.00 | 20800.00 | GK ELECTRICALS AND ENGINEERS
1.02 | Supply of 36 W FTL tube sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 50.00 | Each | 100.00 | 80.00 | 4000.00 | 57.00 | 2850.00 | 38.28 | 1914.00 | 50.00 | 2500.00 | 1914.00 | SRI VIDHU POWER SERVICES
1.03 | Supply of 2 X 3 6 W electronic choke sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 543.00 | 10860.00 | 226.00 | 4520.00 | 500.00 | 10000.00 | 4520.00 | SRI VIDHU POWER SERVICES
1.04 | Supply of 250W SV/MH Copper Ballast sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 10.00 | Each | 10.00 | 400.00 | 4000.00 | 1360.00 | 13600.00 | 1764.00 | 17640.00 | 1100.00 | 11000.00 | 4000.00 | GK ELECTRICALS AND ENGINEERS
1.05 | Supply of 250W SV lamps elliptical sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 5.00 | Each | 10.00 | 325.00 | 1625.00 | 566.00 | 2830.00 | 376.00 | 1880.00 | 450.00 | 2250.00 | 1625.00 | GK ELECTRICALS AND ENGINEERS
1.06 | Supply of 250W MH lamps tubular sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 5.00 | Each | 10.00 | 350.00 | 1750.00 | 680.00 | 3400.00 | 636.84 | 3184.20 | 650.00 | 3250.00 | 1750.00 | GK ELECTRICALS AND ENGINEERS
1.07 | Supply of Ignitor for 70 to 250 HPSV sutable sutable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 10.00 | Each | 10.00 | 80.00 | 800.00 | 170.00 | 1700.00 | 171.39 | 1713.90 | 120.00 | 1200.00 | 800.00 | GK ELECTRICALS AND ENGINEERS
1.08 | Supply of Extension card with 4 nos 6A sockets and fuse suitable to operate at 230 V, 50 Hz AC supply as per the site requirement and as per approved makes | 5.00 | Each | 100.00 | 250.00 | 1250.00 | 341.00 | 1705.00 | 440.22 | 2201.10 | 350.00 | 1750.00 | 1250.00 | GK ELECTRICALS AND ENGINEERS
1.09 | Supply of ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover of 25mm X 16mm | 100.00 | Mtr | 10.00 | 40.00 | 4000.00 | 26.00 | 2600.00 | 22.62 | 2262.00 | 35.00 | 3500.00 | 2262.00 | SRI VIDHU POWER SERVICES
1.10 | Supply of ISI marked UPVC MAXI Trunking ( casing & caping ) including Cover of38mmX38mm | 50.00 | Mtr | 10.00 | 45.00 | 2250.00 | 77.00 | 3850.00 | 71.34 | 3567.00 | 90.00 | 4500.00 | 2250.00 | GK ELECTRICALS AND ENGINEERS
1.11 | Supply of following 3 Module PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required | 40.00 | Each | 10.00 | 35.00 | 1400.00 | 44.00 | 1760.00 | 42.63 | 1705.20 | 50.00 | 2000.00 | 1400.00 | GK ELECTRICALS AND ENGINEERS
1.12 | Supply of following 4 Module PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required | 40.00 | Each | 10.00 | 65.00 | 2600.00 | 50.00 | 2000.00 | 56.55 | 2262.00 | 55.00 | 2200.00 | 2000.00 | Yash Energy Pvt. Ltd
1.13 | Supply of following 6 Module PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required | 25.00 | Each | 10.00 | 85.00 | 2125.00 | 64.00 | 1600.00 | 66.99 | 1674.75 | 70.00 | 1750.00 | 1600.00 | Yash Energy Pvt. Ltd
1.14 | Supply of following 8 Module PVC Modular boxes siuitable to 5/6 and 15/16 Amps socket/Switch etc as required | 20.00 | Each | 10.00 | 125.00 | 2500.00 | 88.00 | 1760.00 | 92.22 | 1844.40 | 120.00 | 2400.00 | 1760.00 | Yash Energy Pvt. Ltd
1.15 | Supply of Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required -3 Module | 40.00 | Each | 10.00 | 33.00 | 1320.00 | 70.00 | 2800.00 | 71.34 | 2853.60 | 110.00 | 4400.00 | 1320.00 | GK ELECTRICALS AND ENGINEERS
1.16 | Supply of Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required - 4 Module | 40.00 | Each | 100.00 | 35.00 | 1400.00 | 86.00 | 3440.00 | 87.87 | 3514.80 | 125.00 | 5000.00 | 1400.00 | GK ELECTRICALS AND ENGINEERS
1.17 | Supply of Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required - 6 Module | 25.00 | Each | 10.00 | 45.00 | 1125.00 | 123.00 | 3075.00 | 123.54 | 3088.50 | 200.00 | 5000.00 | 1125.00 | GK ELECTRICALS AND ENGINEERS
1.18 | Supply of Modular base with cover siuitable to 5/6 and 15/16 Amps socket/Switch etc as required - 8 Module | 20.00 | Each | 10.00 | 68.00 | 1360.00 | 148.00 | 2960.00 | 174.00 | 3480.00 | 225.00 | 4500.00 | 1360.00 | GK ELECTRICALS AND ENGINEERS
1.19 | Supply of swich & Socket suitable to operate at 230 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) - 15/16 amps, one way SP modular switch | 50.00 | Each | 100.00 | 72.00 | 3600.00 | 92.00 | 4600.00 | 85.26 | 4263.00 | 130.00 | 6500.00 | 3600.00 | GK ELECTRICALS AND ENGINEERS
1.20 | Supply of swich & Socket suitable to operate at 230 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) - 6 pin 15/16 amps modulor socket outlet | 25.00 | Each | 10.00 | 75.00 | 1875.00 | 147.00 | 3675.00 | 113.97 | 2849.25 | 180.00 | 4500.00 | 1875.00 | GK ELECTRICALS AND ENGINEERS
1.21 | Supply of swich & Socket suitable to operate at 230 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) - 5/6 amps, one way SP modular switch | 50.00 | Each | 10.00 | 18.00 | 900.00 | 41.00 | 2050.00 | 28.71 | 1435.50 | 75.00 | 3750.00 | 900.00 | GK ELECTRICALS AND ENGINEERS
1.22 | Supply of swich & Socket suitable to operate at 230 V, 50 Hz AC supply (Anchor/Havells/Legrand/MK) - 3 pin 5/6 amps modular socket outlet | 50.00 | Each | 10.00 | 48.00 | 2400.00 | 83.00 | 4150.00 | 69.60 | 3480.00 | 125.00 | 6250.00 | 2400.00 | GK ELECTRICALS AND ENGINEERS
1.23 | Supply of electrical accessories - Plug top 5 A, 3 pin, 230 V | 25.00 | Each | 10.00 | 30.00 | 750.00 | 46.00 | 1150.00 | 46.11 | 1152.75 | 50.00 | 1250.00 | 750.00 | GK ELECTRICALS AND ENGINEERS
1.24 | Supply of electrical accessories - Plug top 15 A, 3 pin, 230 V | 20.00 | Each | 10.00 | 48.00 | 960.00 | 61.00 | 1220.00 | 62.64 | 1252.80 | 50.00 | 1000.00 | 960.00 | GK ELECTRICALS AND ENGINEERS
1.25 | Supply of electrical accessories - Fan Capacitor 2.5 Mfd, 230 V | 15.00 | Each | 100.00 | 30.00 | 450.00 | 18.00 | 270.00 | 73.95 | 1109.25 | 45.00 | 675.00 | 270.00 | Yash Energy Pvt. Ltd
1.26 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - SP 6-32 A ( 10 KA) | 10.00 | Each | 10.00 | 110.00 | 1100.00 | 111.00 | 1110.00 | 171.00 | 1710.00 | 180.00 | 1800.00 | 1100.00 | GK ELECTRICALS AND ENGINEERS
1.27 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - DP 6- 2A ( 10 KA) | 10.00 | Each | 10.00 | 315.00 | 3150.00 | 390.00 | 3900.00 | 539.00 | 5390.00 | 650.00 | 6500.00 | 3150.00 | GK ELECTRICALS AND ENGINEERS
1.28 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - TP 6- 32A ( 10KA) | 6.00 | Each | 10.00 | 575.00 | 3450.00 | 617.00 | 3702.00 | 910.00 | 5460.00 | 775.00 | 4650.00 | 3450.00 | GK ELECTRICALS AND ENGINEERS
1.29 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - TP 40 A (25KA) | 6.00 | Each | 10.00 | 950.00 | 5700.00 | 915.00 | 5490.00 | 1350.00 | 8100.00 | 2000.00 | 12000.00 | 5490.00 | Yash Energy Pvt. Ltd
1.30 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - FP 63A (25 KA) | 5.00 | Each | 10.00 | 950.00 | 4750.00 | 1230.00 | 6150.00 | 1655.00 | 8275.00 | 2400.00 | 12000.00 | 4750.00 | GK ELECTRICALS AND ENGINEERS
1.31 | Supply of 240/415 V, “C” curve, miniature circuit breaker suitable for inductive load of following poles etc. as required. - FP 100A (25 KA) | 3.00 | Each | 10.00 | 5000.00 | 15000.00 | 6058.00 | 18174.00 | 6500.00 | 19500.00 | 2700.00 | 8100.00 | 8100.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.32 | Supply of Auto 24 hr daily timer including required base mounting with Programmable Electronic Timer Switch for operation 230 V, 50 Hz Ac supply as required. | 3.00 | Each | 10.00 | 1500.00 | 4500.00 | 1787.00 | 5361.00 | 2250.00 | 6750.00 | 1500.00 | 4500.00 | 4500.00 | GK ELECTRICALS AND ENGINEERS, Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.33 | Supply of power contactor with 2 NO+2 NCs auxiliary contacts suitable to operation 230 V, 50 Hz Ac supply as required (model: Siemens 3TF4602-OA or equivalent). | 5.00 | Each | 100.00 | 4500.00 | 22500.00 | 4140.00 | 20700.00 | 5811.00 | 29055.00 | 8200.00 | 41000.00 | 20700.00 | Yash Energy Pvt. Ltd
1.34 | Supply of 3C 1.5Sq.mm PVC insulated & FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (100 mtr each coil) | 5.00 | Each | 10.00 | 5718.00 | 28590.00 | 5280.00 | 26400.00 | 6347.00 | 31735.00 | 5000.00 | 25000.00 | 25000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.35 | Supply of 3C 2.5Sq.mm PVC insulated & FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (100 mtr each coil) | 5.00 | Each | 10.00 | 9180.00 | 45900.00 | 8410.00 | 42050.00 | 10205.00 | 51025.00 | 7800.00 | 39000.00 | 39000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.36 | Supply of 3C 4 Sq.mm PVC insulated & FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (100 mtr each coil) | 4.00 | Each | 10.00 | 14460.00 | 57840.00 | 13234.00 | 52936.00 | 15535.00 | 62140.00 | 12000.00 | 48000.00 | 48000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.37 | Supplying Single Core 1.5 Sqmm of FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (90 mtr each coil) | 6.00 | Each | 10.00 | 1595.00 | 9570.00 | 1455.00 | 8730.00 | 1195.00 | 7170.00 | 1400.00 | 8400.00 | 7170.00 | SRI VIDHU POWER SERVICES
1.38 | Supplying Single Core 2.5 Sqmm of FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (90 mtr each coil) | 6.00 | Each | 10.00 | 2318.00 | 13908.00 | 2324.00 | 13944.00 | 2502.00 | 15012.00 | 2200.00 | 13200.00 | 13200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.39 | Supplying Single Core 4.0 Sqmm of FRPVC round sheet Copper conductor (Flexible) Induastrial cable, 1.1 KV grade conforming to IS 694 etc as required (90 mtr each coil) | 6.00 | Each | 10.00 | 3515.00 | 21090.00 | 3567.00 | 21402.00 | 3659.00 | 21954.00 | 3200.00 | 19200.00 | 19200.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.40 | Supply of 12" inch 300 mm sweep industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as required. | 2.00 | Each | 10.00 | 2556.00 | 5112.00 | 2370.00 | 4740.00 | 2404.00 | 4808.00 | 1800.00 | 3600.00 | 3600.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.41 | Supply of 9" inch industrial exhaust fan suitable for operation 230 V, 50 Hz Ac supply as required. | 5.00 | Each | 10.00 | 1158.00 | 5790.00 | 1068.00 | 5340.00 | 1349.00 | 6745.00 | 1200.00 | 6000.00 | 5340.00 | Yash Energy Pvt. Ltd
1.42 | Supply of fasle ceiling exhast fan suitable to fix in existing false ceilng and operate at 230 V, 50 Hz AC supply etc as required. | 15.00 | Each | 100.00 | 2500.00 | 37500.00 | 3716.00 | 55740.00 | 1748.00 | 26220.00 | 3400.00 | 51000.00 | 26220.00 | SRI VIDHU POWER SERVICES
1.43 | Supply of Wall Mounting air circulator Fan 600mm sweep suitable for operation 230 V, 50 Hz Ac supply as required. | 10.00 | Each | 10.00 | 2800.00 | 28000.00 | 5900.00 | 59000.00 | 6816.00 | 68160.00 | 6000.00 | 60000.00 | 28000.00 | GK ELECTRICALS AND ENGINEERS
1.44 | Supply of Pedestal fan 450mm suitable for operation 230 V, 50 Hz Ac supply as required. | 8.00 | Each | 10.00 | 2500.00 | 20000.00 | 6038.00 | 48304.00 | 5727.00 | 45816.00 | 3200.00 | 25600.00 | 20000.00 | GK ELECTRICALS AND ENGINEERS
1.45 | Supplying 8 way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar,earth bar, din bar, interconnections, powder painted including earthing etc. as required.(But without MCB/RCCB/Isolator) | 3.00 | Each | 10.00 | 800.00 | 2400.00 | 963.00 | 2889.00 | 778.00 | 2334.00 | 1500.00 | 4500.00 | 2334.00 | SRI VIDHU POWER SERVICES
1.46 | Supplying 4 way (4 + 12), Double door way, horizontal type three pole and neutral, sheet steel,MCB distribution board, 415 V, on urface/ recess, complete with tinned copper bus bar,neutral bus bar, earth bar, din bar, interconnections, powder painted ncluding earthingetc. as required. (But without MCB/RCCB/ Isolator) | 1.00 | Each | 10.00 | 1500.00 | 1500.00 | 2006.00 | 2006.00 | 2535.00 | 2535.00 | 2800.00 | 2800.00 | 1500.00 | GK ELECTRICALS AND ENGINEERS
1.47 | Supplying 4 way (4 + 12), Double door ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | 1.00 | Each | 10.00 | 1800.00 | 1800.00 | 4820.00 | 4820.00 | 7905.00 | 7905.00 | 5000.00 | 5000.00 | 1800.00 | GK ELECTRICALS AND ENGINEERS
1.48 | Supply of contactor/Switc Disconncetor of 160A suitable to operation 415V, 50 Hz, 3 phase Ac supply as required (model:SIRCO VM2 160A or equivalent). | 1.00 | Each | 10.00 | 7800.00 | 7800.00 | 6231.00 | 6231.00 | 13303.00 | 13303.00 | 6000.00 | 6000.00 | 6000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.49 | Supply of 18W recess com surface panel LED fitting 6500K with operate at 230 V, 50 Hz AC supply etc as required. | 25.00 | Each | 10.00 | 780.00 | 19500.00 | 623.00 | 15575.00 | 902.00 | 22550.00 | 750.00 | 18750.00 | 15575.00 | Yash Energy Pvt. Ltd
1.50 | Supply of Bi-Pin Halogen Lamp holders suitable for PAPI/HIRL fittings | 100.00 | Each | 100.00 | 499.00 | 49900.00 | 590.00 | 59000.00 | 347.00 | 34700.00 | 215.00 | 21500.00 | 21500.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.51 | Supply of 200W, 6.6A Halogen Lamp. Make & Model No: OSRAM-64386, NAED59078 or its Equivalent | 100.00 | Each | 10.00 | 598.00 | 59800.00 | 696.00 | 69600.00 | 347.00 | 34700.00 | 450.00 | 45000.00 | 34700.00 | SRI VIDHU POWER SERVICES
1.52 | Supply of 45W, 6.6A Halogen Lamp. Make & Model of NARVA-58323 or OSRAM-Model of 64337A or its Equivalent | 50.00 | Each | 10.00 | 699.00 | 34950.00 | 535.00 | 26750.00 | 347.00 | 17350.00 | 750.00 | 37500.00 | 17350.00 | SRI VIDHU POWER SERVICES
1.53 | Supply of 200W, 6.6/6.6Amps Isolating Transformer. Make : BILDAL or its equivalent approved make. | 25.00 | Each | 100.00 | 4200.00 | 105000.00 | 4248.00 | 106200.00 | 3840.00 | 96000.00 | 4400.00 | 110000.00 | 96000.00 | SRI VIDHU POWER SERVICES
1.54 | Supply of 45W, 6.6/6.6Amps Isolating Transformer. Make : BILDAL or its equivalent approved make. | 20.00 | Each | 10.00 | 4000.00 | 80000.00 | 3115.00 | 62300.00 | 3031.00 | 60620.00 | 3200.00 | 64000.00 | 60620.00 | SRI VIDHU POWER SERVICES
1.55 | Supply of Battery Charger suitable to charge 12V, 180Ah, Heavy Duty batteries suitable to operate with 230 V, 50 Hz AC supply etc as required. | 2.00 | Each | 10.00 | 2000.00 | 4000.00 | 4004.00 | 8008.00 | 5450.00 | 10900.00 | 15000.00 | 30000.00 | 4000.00 | GK ELECTRICALS AND ENGINEERS
1.56 | Supply of Lead Acid Battery Of 12V, 180Ah, Heavy Duty, Round Legs Connectors With Minimum Warranty Of 24 Months. Make: Exide ( Exide Xpress Xp 1800 -180 Ah) Or Equivalent Model Of Amaron/Cummins Only. | 4.00 | Each | 10.00 | 12480.00 | 49920.00 | 15062.00 | 60248.00 | 12200.00 | 48800.00 | 11000.00 | 44000.00 | 44000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.57 | Reparing of exisitng earth pits and arrangment the existing brick structure with usse of additional bricks or any other concrete to fix the earth pit cover by using masonry work and making good ,painting and lettering the earth pit ect as per site requirement. | 20.00 | Each | 10.00 | 150.00 | 3000.00 | 2244.00 | 44880.00 | 2375.00 | 47500.00 | 500.00 | 10000.00 | 3000.00 | GK ELECTRICALS AND ENGINEERS
1.58 | Providing and laying in position cement concrete 1:3:6 (1 ement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 2.00 | Cum | 10.00 | 200.00 | 400.00 | 6171.00 | 12342.00 | 5905.00 | 11810.00 | 4000.00 | 8000.00 | 400.00 | GK ELECTRICALS AND ENGINEERS
1.59 | Supply RO membrane with out PVC cover suitable to 50 LPH RO system (Swadesh Make -Pune or Similar/Equivalent model ) with compatability to exisitng purifiers ect as per site requirement | 50.00 | Each | 100.00 | 550.00 | 27500.00 | 623.00 | 31150.00 | 500.00 | 25000.00 | 550.00 | 27500.00 | 25000.00 | SRI VIDHU POWER SERVICES
1.60 | Supply of food graded RO Membrane Housing suitable to 50 LPH RO system (Swadesh Make -Pune or Similar/Equivalent model ) with compatability to exisitng purifiers ect as per site requirement | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 80.00 | 4000.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 4000.00 | Yash Energy Pvt. Ltd
1.61 | Supply of LP-3 advanced NLGI-3 Grease as required | 20.00 | Kg | 10.00 | 275.00 | 5500.00 | 280.00 | 5600.00 | 180.00 | 3600.00 | 100.00 | 2000.00 | 2000.00 | Krishsons International Engineers And Consultants (I) Pvt. Ltd
1.62 | Supply of Flexible Aluminium/PVC exhaust duct pipe suitable to the ceiling exhast fan ect as required . | 250.00 | Feet | 10.00 | 50.00 | 12500.00 | 181.00 | 45250.00 | 70.00 | 17500.00 | 150.00 | 37500.00 | 12500.00 | GK ELECTRICALS AND ENGINEERS
1.63 | Supply of weighing stone of 20 kg with stamping from local stamping authorities along with certifiacte ect as required . | 5.00 | Each | 10.00 | 1500.00 | 7500.00 | 1812.00 | 9060.00 | 990.00 | 4950.00 | 1300.00 | 6500.00 | 4950.00 | SRI VIDHU POWER SERVICES
| Total in Figures |  |  |  |  | 888660.00 |  | 1087287.00 |  | 992130.00 |  | 990225.00
Lowest Amount Quoted BY: GK ELECTRICALS AND ENGINEERS(888660.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical Works Tender ID: 2021_AAI_84000_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GK ELECTRICALS AND ENGINEERS | 888660.00 | L1
| 2 | Krishsons International Engineers And Consultants (I) Pvt. Ltd | 990225.00 | L2
| 3 | SRI VIDHU POWER SERVICES | 992130.00 | L3
| 4 | Yash Energy Pvt. Ltd | 1087287.00 | L4