## BoQ1
Government eProcurement System Created By: A DHANUSKODI Created Date/Time: 30-Aug-2021 04:29 PM Tender Title: Facility Management Services of GLF, Apron Flood Lighting, Perimeter Lighting System etc. at Chennai Airport. Tender ID: 2021_AAI_84168_1
Tender Inviting Authority: JGM.Engg(Elect)-II
Name of Work: Facility Management Services of GLF, Apron Flood Lighting, Perimeter Lighting System etc. at Chennai Airport.
Contract No: CHE/AMED-I/2021-22/02
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Monitoring and Maintenance of Utility Services for complete Runway Ground Lighting facilities in the Operational area and CCR Hall (As per Annexure A - List of Inventories) round the clock 24 x 7 basis (Three Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability including co-ordination with co-existing stakeholders i/c providing consumable material like cotton waste, oil, grease & other sundry material required for cleaning etc., attending minor faults / breakdown of Equipments / Repairs / Replacement of defective components of GLF system with AAI Supplied New Components, ensuring 100% Serviceability / satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the GLF Installations etc. on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Months |  | 315662.00 | 7575888.00 | 370000.00 | 8880000.00 | 334222.00 | 8021328.00 | 326709.97 | 7841039.28 | 7575888.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.02 | Monitoring and Maintenance of Utility Services for Apron Lighting covering high masts and connected power supply system etc., Perimeter Lighting system covering perimeter lights and connected power supply system, Sliding / Swing gates etc. in the Operational area and Power houses at various locations (As per Annexure B - List of Inventories) round the clock 24 x 7 basis (Three Shift Basis - 8 Hours For One Shift), Monitoring, Control and General Maintenance for 100% Serviceability including co-ordination with co-existing stakeholders i/c providing consumable material like cotton waste, oil, grease & other sundry materials required for cleaning etc., attending minor faults / breakdown of Equipments / Repairs / Replacement of defective components of Apron Lighting, Perimeter Lighting & Sliding / Swing gates with AAI Supplied New Components, ensuring 100% Serviceability / satisfactory working condition of the Systems, Routine and General Preventive Maintenance on Daily / Weekly / Monthly / Quarterly / Half Yearly / Yearly Basis as per Standard Manufacturers' Practices and as per Techno Commercial Specifications (TCS), Maintenance of Records and Log Books and reporting as and when required, complete Upkeeping of the apron lighting / perimeter lighting system etc. on all days including Sundays & Holidays as specified and as directed by Engineer-In-Charge as required. | 24.00 | Months |  | 241825.00 | 5803800.00 | 280000.00 | 6720000.00 | 255888.00 | 6141312.00 | 250799.69 | 6019192.56 | 5803800.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | Hire charges for providing one vehicle without Driver (4 wheeler, Non-AC Bolero or equivalent) for attending maintenance of Perimeter Lighting system, Apron flood lighting system and other E&M installations round the clock 24X7 basis complete with required fuel, oil, insurance, road tax etc. in good condition. | 24.00 | Months |  | 35000.00 | 840000.00 | 49550.00 | 1189200.00 | 44999.00 | 1079976.00 | 32999.00 | 791976.00 | 791976.00 | DElite System Engineering (India) Pvt. Ltd.
1.04 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size upto 35 mm2 as required on surface. | 400.00 | m |  | 30.00 | 12000.00 | 40.00 | 16000.00 | 30.00 | 12000.00 | 30.00 | 12000.00 | 12000.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd., ABHISHEK INTEGRATIONS LIMITED
1.05 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size exceeding 35 mm2 but not exceeding 95 mm2 as required on surface. | 200.00 | m |  | 40.00 | 8000.00 | 70.00 | 14000.00 | 30.00 | 6000.00 | 30.00 | 6000.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd., ABHISHEK INTEGRATIONS LIMITED
1.06 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size exceeding 185 mm2 but not exceeding 400 mm2 as required on surface. | 25.00 | m |  | 100.00 | 2500.00 | 100.00 | 2500.00 | 30.00 | 750.00 | 30.00 | 750.00 | 750.00 | DElite System Engineering (India) Pvt. Ltd., ABHISHEK INTEGRATIONS LIMITED
1.07 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size upto 35 mm2 as required In existing RCC / Hume / Stoneware / Pipe. | 100.00 | m |  | 25.00 | 2500.00 | 50.00 | 5000.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 2500.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.08 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size exceeding 35 mm2 but not exceeding 95 mm2 as required In existing RCC / Hume / Stoneware / Pipe. | 100.00 | m |  | 30.00 | 3000.00 | 70.00 | 7000.00 | 30.00 | 3000.00 | 30.00 | 3000.00 | 3000.00 | LAKSHMI ELECTRICAL ENTERPRISES, DElite System Engineering (India) Pvt. Ltd., ABHISHEK INTEGRATIONS LIMITED
1.09 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size exceeding 185 mm2 but not exceeding 400 mm2 as required In existing RCC / Hume / Stoneware / Pipe. | 50.00 | m |  | 80.00 | 4000.00 | 150.00 | 7500.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd., ABHISHEK INTEGRATIONS LIMITED
1.10 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE aluminium conductor power cable of 1.1 KV grade of size exceeding 185 mm2 but not exceeding 400 mm2 as required Direct in ground including excavation, sand cushioning, protective covering, refilling the trench etc. as required. | 100.00 | m |  | 400.00 | 40000.00 | 250.00 | 25000.00 | 200.00 | 20000.00 | 30.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
1.11 | Retrieval of existing faulty 1.1 KV grade LT UG cable of size exceeding 35 mm2 and not exceeding 95 mm2 laid directly in ground including excavation of earth, sand and re-laying the same cable direct in ground with sand cushioning, protective covering and refilling the same etc. as required. | 200.00 | m |  | 260.00 | 52000.00 | 150.00 | 30000.00 | 220.00 | 44000.00 | 45.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
1.12 | Retrieval of existing faulty 1.1 KV grade LT UG cable of size exceeding 185 mm2 and not exceeding 400 mm2 laid directly in ground including excavation of earth, sand and re-laying the same cable direct in ground with sand cushioning, protective covering and refilling the same etc. as required. | 200.00 | m |  | 300.00 | 60000.00 | 190.00 | 38000.00 | 220.00 | 44000.00 | 90.00 | 18000.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
1.13 | Supplying and making end termination with brass compression gland and aluminium lugs for 4C 10 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required. | 20.00 | Nos. |  | 200.00 | 4000.00 | 250.00 | 5000.00 | 237.00 | 4740.00 | 150.00 | 3000.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
1.14 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 35 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required. | 10.00 | Nos. |  | 300.00 | 3000.00 | 350.00 | 3500.00 | 318.00 | 3180.00 | 200.00 | 2000.00 | 2000.00 | DElite System Engineering (India) Pvt. Ltd.
1.15 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 70 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required. | 2.00 | Nos. |  | 350.00 | 700.00 | 450.00 | 900.00 | 463.00 | 926.00 | 200.00 | 400.00 | 400.00 | DElite System Engineering (India) Pvt. Ltd.
1.16 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 95 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required. | 5.00 | Nos. |  | 500.00 | 2500.00 | 450.00 | 2250.00 | 556.00 | 2780.00 | 300.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.17 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 240 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required. | 5.00 | Nos. |  | 700.00 | 3500.00 | 600.00 | 3000.00 | 1231.00 | 6155.00 | 300.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.18 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 300 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required as required. | 2.00 | Nos. |  | 800.00 | 1600.00 | 650.00 | 1300.00 | 1432.00 | 2864.00 | 300.00 | 600.00 | 600.00 | DElite System Engineering (India) Pvt. Ltd.
1.19 | Supplying and making end termination with brass compression gland and aluminium lugs for 3.5C 400 mm2 size of PVC insulated and PVC sheathed / XLPE armoured aluminium conductor cable of 1.1 KV grade as required as required. | 2.00 | Nos. |  | 900.00 | 1800.00 | 950.00 | 1900.00 | 2060.00 | 4120.00 | 300.00 | 600.00 | 600.00 | DElite System Engineering (India) Pvt. Ltd.
1.20 | Supply and making straight through cable joint with heat shrinkable cable jointing kit including ferrules and other jointing materials for 3.5C 70 mm2 PVC / XLPE insulated PVC sheathed armoured Aluminium conductor power cable of 1.1KV grade as required. | 2.00 | Nos. |  | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 1110.00 | 2220.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.21 | Supply and making straight through cable joint with heat shrinkable cable jointing kit including ferrules and other jointing materials for 3.5C 95 mm2 PVC / XLPE insulated PVC sheathed armoured Aluminium conductor power cable of 1.1KV grade as required. | 2.00 | Nos. |  | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 1110.00 | 2220.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.22 | Supply and making straight through cable joint with heat shrinkable cable jointing kit including ferrules and other jointing materials for 3.5C 240 mm2 PVC / XLPE insulated PVC sheathed armoured Aluminium conductor power cable of 1.1KV grade as required. | 2.00 | Nos. |  | 4000.00 | 8000.00 | 16000.00 | 32000.00 | 1800.00 | 3600.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.23 | Supply and making straight through cable joint with heat shrinkable cable jointing kit including ferrules and other jointing materials for 3.5C 300 mm2 PVC / XLPE insulated PVC sheathed armoured Aluminium conductor power cable of 1.1KV grade as required. | 2.00 | Nos. |  | 5000.00 | 10000.00 | 16000.00 | 32000.00 | 1800.00 | 3600.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.24 | Supply and making straight through cable joint with heat shrinkable cable jointing kit including ferrules and other jointing materials for 3.5C 400 mm2 PVC / XLPE insulated PVC sheathed armoured Aluminium conductor power cable of 1.1KV grade as required. | 2.00 | Nos. |  | 6000.00 | 12000.00 | 18000.00 | 36000.00 | 2700.00 | 5400.00 | 750.00 | 1500.00 | 1500.00 | DElite System Engineering (India) Pvt. Ltd.
1.25 | Supply and laying of ISI marked HDPE pipe as per IS 4984 with upto date amendments, 63 mm OD of PE 80 PN 6 direct in ground at a average depth of 750 mm i/c excavation and refilling the same as required. | 250.00 | m |  | 190.00 | 47500.00 | 150.00 | 37500.00 | 260.00 | 65000.00 | 150.00 | 37500.00 | 37500.00 | DElite System Engineering (India) Pvt. Ltd., S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
1.26 | Supply and laying of ISI marked HDPE pipe as per IS 4984 with upto date amendments, 90 mm OD of PE 80 PN 6 direct in ground at a average depth of 750 mm i/c excavation and refilling the same as required. | 200.00 | m |  | 200.00 | 40000.00 | 250.00 | 50000.00 | 380.00 | 76000.00 | 150.00 | 30000.00 | 30000.00 | DElite System Engineering (India) Pvt. Ltd.
1.27 | Supply & Laying of 50mm dia size B class G.I pipe for road crossing at a depth of 200mm i/c cutting bituminous surface, re-filling with cement concrete of 1:2:4 and making good the same as required. | 20.00 | m |  | 550.00 | 11000.00 | 410.00 | 8200.00 | 792.00 | 15840.00 | 99.00 | 1980.00 | 1980.00 | DElite System Engineering (India) Pvt. Ltd.
1.28 | Providing and fixing of multi prong lightning conductor finial fixied over a copper tube of 1200mm with 6"dia, copper ball with 05 nos of prongs dia 6 mm thick Copper base plate including holes etc. complete as required. | 10.00 | Nos. |  | 1450.00 | 14500.00 | 1500.00 | 15000.00 | 1300.00 | 13000.00 | 500.00 | 5000.00 | 5000.00 | DElite System Engineering (India) Pvt. Ltd.
1.29 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required.(For horizontal run) | 150.00 | m |  | 110.00 | 16500.00 | 90.00 | 13500.00 | 34.00 | 5100.00 | 100.00 | 15000.00 | 5100.00 | ABHISHEK INTEGRATIONS LIMITED
1.30 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For Vertical run) | 25.00 | m |  | 100.00 | 2500.00 | 110.00 | 2750.00 | 34.00 | 850.00 | 100.00 | 2500.00 | 850.00 | ABHISHEK INTEGRATIONS LIMITED
1.31 | Providing and fixing of loop in loop out control box made by SMC box sintex GSJB 2520 make having hinged single door with locking arrangement & consisting of bakelite connector etc. as required. | 20.00 | Nos. |  | 850.00 | 17000.00 | 1500.00 | 30000.00 | 510.00 | 10200.00 | 999.00 | 19980.00 | 10200.00 | ABHISHEK INTEGRATIONS LIMITED
1.32 | Supply, Installation, Testing and Commissioning of new winch with motor with suitable bracket including necessary welding and drilling required with fasteners, making connections of lantern carriage with existing iron rope all accessories complete etc., as required. | 20.00 | Nos. |  | 49000.00 | 980000.00 | 1950.00 | 39000.00 | 48000.00 | 960000.00 | 79999.00 | 1599980.00 | 39000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
1.33 | Supply of following size of XLPE insulated PVC sheathed Aluminium conductor armoured power cable of 1.1 KV grade conforming to IS-7098 Part-I amended upto date etc. complete as required. a) 4 x 10 mm2 | 1000.00 | m |  | 105.00 | 105000.00 | 120.00 | 120000.00 | 88.00 | 88000.00 | 115.00 | 115000.00 | 88000.00 | ABHISHEK INTEGRATIONS LIMITED
1.34 | Supply of LED traffic signal light fitting. Size 200 / 300mm dia, poly carbonate body, visible upto 500m and suitable for operation on 230V, 50Hz single phase supply. Colour Red - Static | 2.00 | Nos. |  | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 3800.00 | 7600.00 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
1.35 | Supply of LED traffic signal light fitting. Size 200 / 300mm dia, poly carbonate body, visible upto 500m and suitable for operation on 230V, 50Hz single phase supply. Colour Green - Static | 2.00 | Nos. |  | 3000.00 | 6000.00 | 7500.00 | 15000.00 | 3800.00 | 7600.00 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
1.36 | Supply of LED traffic signal light fitting. Size 200 / 300mm dia, poly carbonate body, visible upto 500m and suitable for operation on 230V, 50Hz single phase supply. Colour Amber-flashing. | 2.00 | Nos. |  | 3000.00 | 6000.00 | 8500.00 | 17000.00 | 3800.00 | 7600.00 | 2000.00 | 4000.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 15714788.00 |  | 17463000.00 |  | 16675461.00 |  | 16564497.84
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(15714788.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management Services of GLF, Apron Flood Lighting, Perimeter Lighting System etc. at Chennai Airport. Tender ID: 2021_AAI_84168_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 15714788.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 16564497.84 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 16675461.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 17463000.00 | L4