## BoQ1
Government eProcurement System Created By: THIRUNAVUKKARASU M Created Date/Time: 01-Sep-2021 04:37 PM Tender Title: ARMO of E and M Installations at Chennai Airport 2021-2024. SH CMC of Unitary Air Conditioners, VRF air conditioners and Water Coolers at Chennai Airport Tender ID: 2021_AAI_84190_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ SR, Chennai Airport, Chennai - 600027
Name of Work: ARMO of E&M Installations at Chennai Airport 2021-2024. SH: CMC of Unitary Air Conditioners, VRF air conditioners and Water Coolers at Chennai Airport.
Contract No: 2021_AAI_84190_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | M/s Cooltec(GSTN-33CZOPS9421C1Z6) |  | Aqua Cool Co.Pvt Ltd(GSTN-27AAICA1835E1ZX) |  | ROSHAN REFRIGERATION AND ELECTRICALS(GSTN-23AAJFR9192B1Z5) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | KELVIN FAHREN AIRTECH PVT. LTD.(GSTN-29AADCK2735L1Z8)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Comprehensive maintenance of split type air conditioners of all makes of 1TR capacity at different locations including and providing all necessary consumables and spares complete as required as per special conditions.
1.10 | First Year(2021-2022) | 16.00 | Each | Item No.1 | 15200.00 | 17936.00 | 84000.00 | 99120.00 | 17600.00 | 20768.00 | 32000.00 | 37760.00 | 31680.00 | 37382.00 | 15200.00 | M/s Cooltec | 17936.00 | M/s Cooltec
1.20 | Second Year(2022-2023) | 16.00 | Each | Item No.2 | 15200.00 | 17936.00 | 87200.00 | 102896.00 | 17600.00 | 20768.00 | 33600.00 | 39648.00 | 31680.00 | 37382.00 | 15200.00 | M/s Cooltec | 17936.00 | M/s Cooltec
1.30 | Third Year(2023-2024) | 16.00 | Each | Item No.3 | 15200.00 | 17936.00 | 90400.00 | 106672.00 | 17600.00 | 20768.00 | 35200.00 | 41536.00 | 31680.00 | 37382.00 | 15200.00 | M/s Cooltec | 17936.00 | M/s Cooltec
2.00 | Comprehensive maintenance of split type air conditioners of all makes of 1.5TR capacity at different locations including and providing all necessary consumables and spares complete as required as per special conditions.
2.10 | First Year(2021-2022) | 98.00 | Each | Item No.4 | 147000.00 | 173460.00 | 514500.00 | 607110.00 | 205800.00 | 242844.00 | 245000.00 | 289100.00 | 246960.00 | 291413.00 | 147000.00 | M/s Cooltec | 173460.00 | M/s Cooltec
2.20 | Second Year(2022-2023) | 98.00 | Each | Item No.5 | 147000.00 | 173460.00 | 534100.00 | 630238.00 | 205800.00 | 242844.00 | 254800.00 | 300664.00 | 246960.00 | 291413.00 | 147000.00 | M/s Cooltec | 173460.00 | M/s Cooltec
2.30 | Third Year(2023-2024) | 98.00 | Each | Item No.6 | 147000.00 | 173460.00 | 553700.00 | 653366.00 | 205800.00 | 242844.00 | 264600.00 | 312228.00 | 246960.00 | 291413.00 | 147000.00 | M/s Cooltec | 173460.00 | M/s Cooltec
3.00 | Comprehensive maintenance of split type air conditioners of all makes of 2.0 TR capacity at different locations including and providing all necessary consumables and spares complete as required as per special conditions.
3.10 | First Year(2021-2022) | 31.00 | Each | Item No.7 | 52700.00 | 62186.00 | 162750.00 | 192045.00 | 68200.00 | 80476.00 | 99200.00 | 117056.00 | 111600.00 | 131688.00 | 52700.00 | M/s Cooltec | 62186.00 | M/s Cooltec
3.20 | Second Year(2022-2023) | 31.00 | Each | Item No.8 | 52700.00 | 62186.00 | 168950.00 | 199361.00 | 68200.00 | 80476.00 | 102300.00 | 120714.00 | 111600.00 | 131688.00 | 52700.00 | M/s Cooltec | 62186.00 | M/s Cooltec
3.30 | Third Year(2023-2024) | 31.00 | Each | Item No.9 | 52700.00 | 62186.00 | 175150.00 | 206677.00 | 68200.00 | 80476.00 | 105400.00 | 124372.00 | 111600.00 | 131688.00 | 52700.00 | M/s Cooltec | 62186.00 | M/s Cooltec
4.00 | Comprehensive maintenance of split/cassette/Ductable type air conditioners of all makes of 3.0 TR capacity at different locations including and providing all necessary consumables and spares complete as required as per special conditions.
4.10 | First Year(2021-2022) | 41.00 | Each | Item No.10 | 159900.00 | 188682.00 | 198850.00 | 234643.00 | 123000.00 | 145140.00 | 184500.00 | 217710.00 | 169740.00 | 200293.00 | 123000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 145140.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.20 | Second Year(2022-2023) | 41.00 | Each | Item No.11 | 159900.00 | 188682.00 | 202950.00 | 239481.00 | 123000.00 | 145140.00 | 188600.00 | 222548.00 | 169740.00 | 200293.00 | 123000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 145140.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.30 | Third Year(2023-2024) | 41.00 | Each | Item No.12 | 159900.00 | 188682.00 | 215250.00 | 253995.00 | 123000.00 | 145140.00 | 192700.00 | 227386.00 | 169740.00 | 200293.00 | 123000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 145140.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.00 | Comprehensive maintenance of split type air conditioners of all makes of 4.0 TR capacity at different locations including and providing all necessary consumables and spares complete as required as per special conditions .
5.10 | First Year(2021-2022) | 18.00 | Each | Item No.13 | 72000.00 | 84960.00 | 94500.00 | 111510.00 | 72000.00 | 84960.00 | 99000.00 | 116820.00 | 81000.00 | 95580.00 | 72000.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS | 84960.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS
5.20 | Second Year(2022-2023) | 18.00 | Each | Item No.14 | 72000.00 | 84960.00 | 98100.00 | 115758.00 | 72000.00 | 84960.00 | 102600.00 | 121068.00 | 81000.00 | 95580.00 | 72000.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS | 84960.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS
5.30 | Third Year(2023-2024) | 18.00 | Each | Item No.15 | 72000.00 | 84960.00 | 101700.00 | 120006.00 | 72000.00 | 84960.00 | 106200.00 | 125316.00 | 81000.00 | 95580.00 | 72000.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS | 84960.00 | M/s Cooltec, ROSHAN REFRIGERATION AND ELECTRICALS
6.00 | Comprehensive maintenance of 5.5 TR Ductable Split type ( R407C Refrigerant ) air conditioners with 1 No 5.5 TR Outdoor units of duct and Refrigerant piping etc. VOLTAS makes including and providing all necessary consumables and spares complete as required as per special conditions.
6.10 | First Year(2021-2022) | 1.00 | Job | Item No.16 | 5200.00 | 6136.00 | 6750.00 | 7965.00 | 4000.00 | 4720.00 | 12500.00 | 14750.00 | 5400.00 | 6372.00 | 4000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 4720.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.20 | Second Year(2022-2023) | 1.00 | Job | Item No.17 | 5200.00 | 6136.00 | 6850.00 | 8083.00 | 4000.00 | 4720.00 | 13500.00 | 15930.00 | 5400.00 | 6372.00 | 4000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 4720.00 | ROSHAN REFRIGERATION AND ELECTRICALS
6.30 | Third Year(2023-2024) | 1.00 | Job | Item No.18 | 5200.00 | 6136.00 | 6950.00 | 8201.00 | 4000.00 | 4720.00 | 14500.00 | 17110.00 | 5400.00 | 6372.00 | 4000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 4720.00 | ROSHAN REFRIGERATION AND ELECTRICALS
7.00 | Comprehensive maintenance of 11 TR Ductable Split type ( R407C Refrigerant ) air conditioners with 2 No's 5.5 TR Outdoor units of duct and Refrigerant piping etc. VOLTAS makes including and providing all necessary consumables and spares complete as required as per special conditions.
7.10 | First Year(2021-2022) | 7.00 | Job | Item No.19 | 52500.00 | 61950.00 | 47250.00 | 55755.00 | 105000.00 | 123900.00 | 115500.00 | 136290.00 | 55440.00 | 65419.00 | 47250.00 | Aqua Cool Co.Pvt Ltd | 55755.00 | Aqua Cool Co.Pvt Ltd
7.20 | Second Year(2022-2023) | 7.00 | Job | Item No.20 | 52500.00 | 61950.00 | 47950.00 | 56581.00 | 105000.00 | 123900.00 | 122500.00 | 144550.00 | 55440.00 | 65419.00 | 47950.00 | Aqua Cool Co.Pvt Ltd | 56581.00 | Aqua Cool Co.Pvt Ltd
7.30 | Third Year(2023-2024) | 7.00 | Job | Item No.21 | 52500.00 | 61950.00 | 48650.00 | 57407.00 | 105000.00 | 123900.00 | 129500.00 | 152810.00 | 55440.00 | 65419.00 | 48650.00 | Aqua Cool Co.Pvt Ltd | 57407.00 | Aqua Cool Co.Pvt Ltd
8.00 | Comprehensive maintenance VRF Airconditioning System Consisting of 12 HP Outdoor Unit with top discharge, 6 Numbers of 2 TR Ductable Indoor Unit( R410A Refrigerant ) of BLUESTAR MAKE including and providing all necessary consumables and spares complete as required as per special conditions.
8.10 | First Year(2021-2022) | 1.00 | Job | Item No.22 | 42000.00 | 49560.00 | 6750.00 | 7965.00 | 72000.00 | 84960.00 | 32400.00 | 38232.00 | 36000.00 | 42480.00 | 6750.00 | Aqua Cool Co.Pvt Ltd | 7965.00 | Aqua Cool Co.Pvt Ltd
8.20 | Second Year(2022-2023) | 1.00 | Job | Item No.23 | 45000.00 | 53100.00 | 6850.00 | 8083.00 | 72000.00 | 84960.00 | 33400.00 | 39412.00 | 36000.00 | 42480.00 | 6850.00 | Aqua Cool Co.Pvt Ltd | 8083.00 | Aqua Cool Co.Pvt Ltd
8.30 | Third Year(2023-2024) | 1.00 | Job | Item No.24 | 46000.00 | 54280.00 | 6950.00 | 8201.00 | 72000.00 | 84960.00 | 34400.00 | 40592.00 | 36000.00 | 42480.00 | 6950.00 | Aqua Cool Co.Pvt Ltd | 8201.00 | Aqua Cool Co.Pvt Ltd
9.00 | Comprehensive maintenance VRF Airconditiong System Consisting of 12 HP Outdoor Unit with top discharge, 3 Numbers of 1.3 TR Ductable Indoor Units and 3 number of 2.8 TR Cassette Type Indoor Units ( R410A Refrigerant ) of BLUESTAR MAKE including and providing all necessary consumablesand spares complete as required as per special conditions.
9.10 | First Year(2021-2022) | 1.00 | Job | Item No.25 | 42000.00 | 49560.00 | 6750.00 | 7965.00 | 72000.00 | 84960.00 | 32400.00 | 38232.00 | 36000.00 | 42480.00 | 6750.00 | Aqua Cool Co.Pvt Ltd | 7965.00 | Aqua Cool Co.Pvt Ltd
9.20 | Second Year(2022-2023) | 1.00 | Job | Item No.26 | 45500.00 | 53690.00 | 6850.00 | 8083.00 | 72000.00 | 84960.00 | 33400.00 | 39412.00 | 36000.00 | 42480.00 | 6850.00 | Aqua Cool Co.Pvt Ltd | 8083.00 | Aqua Cool Co.Pvt Ltd
9.30 | Third Year(2023-2024) | 1.00 | Job | Item No.27 | 46000.00 | 54280.00 | 6950.00 | 8201.00 | 72000.00 | 84960.00 | 34400.00 | 40592.00 | 36000.00 | 42480.00 | 6950.00 | Aqua Cool Co.Pvt Ltd | 8201.00 | Aqua Cool Co.Pvt Ltd
10.00 | Comprehensive maintenance VRF Airconditioning System Consisting of 24 HP Outdoor Unit with top discharge, 5 Numbers of 4 TR Ductable Indoor Unit( R410A Refrigerant ) of BLUESTAR MAKE including and providing all necessary consumables and spares complete as required as per special conditions.
10.10 | First Year(2021-2022) | 1.00 | Job | Item No.28 | 84000.00 | 99120.00 | 6750.00 | 7965.00 | 96000.00 | 113280.00 | 64800.00 | 76464.00 | 72000.00 | 84960.00 | 6750.00 | Aqua Cool Co.Pvt Ltd | 7965.00 | Aqua Cool Co.Pvt Ltd
10.20 | Second Year(2022-2023) | 1.00 | Job | Item No.29 | 84000.00 | 99120.00 | 6850.00 | 8083.00 | 96000.00 | 113280.00 | 65800.00 | 77644.00 | 72000.00 | 84960.00 | 6850.00 | Aqua Cool Co.Pvt Ltd | 8083.00 | Aqua Cool Co.Pvt Ltd
10.30 | Third Year(2023-2024) | 1.00 | Job | Item No.30 | 84000.00 | 99120.00 | 6950.00 | 8201.00 | 96000.00 | 113280.00 | 66800.00 | 78824.00 | 72000.00 | 84960.00 | 6950.00 | Aqua Cool Co.Pvt Ltd | 8201.00 | Aqua Cool Co.Pvt Ltd
11.00 | Comprehensive maintenance VRF Airconditioning System Consisting of 20 HP Outdoor Unit with top discharge, 4 Numbers of 4 TR Ductable Indoor Unit( R410A Refrigerant ) of BLUESTAR MAKE including and providing all necessary consumables and spares complete as required as per special conditions.
11.10 | First Year(2021-2022) | 1.00 | Job | Item No.31 | 70000.00 | 82600.00 | 6750.00 | 7965.00 | 96000.00 | 113280.00 | 54000.00 | 63720.00 | 54000.00 | 63720.00 | 6750.00 | Aqua Cool Co.Pvt Ltd | 7965.00 | Aqua Cool Co.Pvt Ltd
11.20 | Second Year(2022-2023) | 1.00 | Job | Item No.32 | 75500.00 | 89090.00 | 6850.00 | 8083.00 | 96000.00 | 113280.00 | 55000.00 | 64900.00 | 54000.00 | 63720.00 | 6850.00 | Aqua Cool Co.Pvt Ltd | 8083.00 | Aqua Cool Co.Pvt Ltd
11.30 | Third Year(2023-2024) | 1.00 | Job | Item No.33 | 81500.00 | 96170.00 | 6950.00 | 8201.00 | 96000.00 | 113280.00 | 56000.00 | 66080.00 | 54000.00 | 63720.00 | 6950.00 | Aqua Cool Co.Pvt Ltd | 8201.00 | Aqua Cool Co.Pvt Ltd
12.00 | Comprehensive maintenance VRF Airconditioning System Consisting of 10 HP Outdoor Unit with top discharge, 3 Numbers of 2.56 TR Indoor Unit( R410A Refrigerant ) of BLUESTAR MAKE including and providing all necessary consumables and spares complete as required as per special conditions.
12.10 | First Year(2021-2022) | 2.00 | Job | Item No.34 | 70000.00 | 82600.00 | 11500.00 | 13570.00 | 130000.00 | 153400.00 | 54000.00 | 63720.00 | 59400.00 | 70092.00 | 11500.00 | Aqua Cool Co.Pvt Ltd | 13570.00 | Aqua Cool Co.Pvt Ltd
12.20 | Second Year(2022-2023) | 2.00 | Job | Item No.35 | 75600.00 | 89208.00 | 11700.00 | 13806.00 | 130000.00 | 153400.00 | 56000.00 | 66080.00 | 59400.00 | 70092.00 | 11700.00 | Aqua Cool Co.Pvt Ltd | 13806.00 | Aqua Cool Co.Pvt Ltd
12.30 | Third Year(2023-2024) | 2.00 | Job | Item No.36 | 81000.00 | 95580.00 | 11900.00 | 14042.00 | 130000.00 | 153400.00 | 58000.00 | 68440.00 | 59400.00 | 70092.00 | 11900.00 | Aqua Cool Co.Pvt Ltd | 14042.00 | Aqua Cool Co.Pvt Ltd
13.00 | Dismantling and shifting of Indoor and outdoor units to AAI store /any location specified by AAI, including gas pumping down, pipes, cables etc.,complete as required.(This item will be executed As and when required)
13.10 | 1.5 TR capacity split AC | 10.00 | Job | Item No.37 | 3000.00 | 3540.00 | 3000.00 | 3540.00 | 4000.00 | 4720.00 | 1500.00 | 1770.00 | 4500.00 | 5310.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED | 1770.00 | SNOWMEX ENGINEERS LIMITED
13.20 | 2.0 TR capacity split AC | 2.00 | Job | Item No.38 | 600.00 | 708.00 | 600.00 | 708.00 | 800.00 | 944.00 | 400.00 | 472.00 | 900.00 | 1062.00 | 400.00 | SNOWMEX ENGINEERS LIMITED | 472.00 | SNOWMEX ENGINEERS LIMITED
13.30 | 3.0 TR capacity split AC | 5.00 | Job | Item No.39 | 1500.00 | 1770.00 | 1500.00 | 1770.00 | 2000.00 | 2360.00 | 1250.00 | 1475.00 | 2250.00 | 2655.00 | 1250.00 | SNOWMEX ENGINEERS LIMITED | 1475.00 | SNOWMEX ENGINEERS LIMITED
13.40 | 4.0 TR capacity split AC | 1.00 | Job | Item No.40 | 300.00 | 354.00 | 377.00 | 445.00 | 400.00 | 472.00 | 300.00 | 354.00 | 450.00 | 531.00 | 300.00 | M/s Cooltec, SNOWMEX ENGINEERS LIMITED | 354.00 | M/s Cooltec, SNOWMEX ENGINEERS LIMITED
14.00 | Installation,testing and commissioning of following air conditioner including fixing the interconnection suction and delivery pipe line with cable between condensor and evaporator units, top up the gas etc as required.(This item will be execuited As and when required)
14.10 | 1 TR capacity AC | 5.00 | Job | Item No.41 | 4500.00 | 5310.00 | 2500.00 | 2950.00 | 2000.00 | 2360.00 | 500.00 | 590.00 | 7650.00 | 9027.00 | 500.00 | SNOWMEX ENGINEERS LIMITED | 590.00 | SNOWMEX ENGINEERS LIMITED
14.20 | 1.5 TR capacity AC | 10.00 | Job | Item No.42 | 9000.00 | 10620.00 | 5000.00 | 5900.00 | 4500.00 | 5310.00 | 1500.00 | 1770.00 | 15300.00 | 18054.00 | 1500.00 | SNOWMEX ENGINEERS LIMITED | 1770.00 | SNOWMEX ENGINEERS LIMITED
14.30 | 2.0 TR capacity AC | 2.00 | Job | Item No.43 | 1800.00 | 2124.00 | 1000.00 | 1180.00 | 900.00 | 1062.00 | 400.00 | 472.00 | 3060.00 | 3611.00 | 400.00 | SNOWMEX ENGINEERS LIMITED | 472.00 | SNOWMEX ENGINEERS LIMITED
14.40 | 3.0 TR capacity AC | 5.00 | Job | Item No.44 | 4500.00 | 5310.00 | 2500.00 | 2950.00 | 2250.00 | 2655.00 | 1250.00 | 1475.00 | 10800.00 | 12744.00 | 1250.00 | SNOWMEX ENGINEERS LIMITED | 1475.00 | SNOWMEX ENGINEERS LIMITED
14.50 | 4.0 TR capacity AC | 3.00 | Job | Item No.45 | 3000.00 | 3540.00 | 1500.00 | 1770.00 | 1650.00 | 1947.00 | 900.00 | 1062.00 | 6480.00 | 7646.00 | 900.00 | SNOWMEX ENGINEERS LIMITED | 1062.00 | SNOWMEX ENGINEERS LIMITED
15.00 | Dismantling, Shifting, Re-installation of Indoor unit to any location specified by AAI, Including pipe connection and topup the gas etc as required.(This item will be execuited As and when required)
15.10 | 1 TR capacity AC | 5.00 | Job | Item No.46 | 1500.00 | 1770.00 | 1500.00 | 1770.00 | 1250.00 | 1475.00 | 2500.00 | 2950.00 | 2250.00 | 2655.00 | 1250.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 1475.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.20 | 1.5 TR capacity AC | 15.00 | Job | Item No.47 | 4500.00 | 5310.00 | 4500.00 | 5310.00 | 3750.00 | 4425.00 | 9750.00 | 11505.00 | 6750.00 | 7965.00 | 3750.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 4425.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.30 | 2.0 TR capacity AC | 2.00 | Job | Item No.48 | 600.00 | 708.00 | 600.00 | 708.00 | 500.00 | 590.00 | 1500.00 | 1770.00 | 900.00 | 1062.00 | 500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 590.00 | ROSHAN REFRIGERATION AND ELECTRICALS
15.40 | 3.0 TR capacity AC | 5.00 | Job | Item No.49 | 1500.00 | 1770.00 | 1500.00 | 1770.00 | 2250.00 | 2655.00 | 4250.00 | 5015.00 | 2250.00 | 2655.00 | 1500.00 | M/s Cooltec, Aqua Cool Co.Pvt Ltd | 1770.00 | M/s Cooltec, Aqua Cool Co.Pvt Ltd
15.50 | 4.0 TR capacity AC | 3.00 | Job | Item No.50 | 1200.00 | 1416.00 | 900.00 | 1062.00 | 1650.00 | 1947.00 | 2850.00 | 3363.00 | 1350.00 | 1593.00 | 900.00 | Aqua Cool Co.Pvt Ltd | 1062.00 | Aqua Cool Co.Pvt Ltd
16.00 | Dismantling, Shifting, Re-installation of outdoor unit to any location specified by AAI,including pipe connection and top up the gas etc as required.(This item will be executed As and when required)
16.10 | 1 TR capacity AC | 5.00 | Job | Item No.51 | 2500.00 | 2950.00 | 1500.00 | 1770.00 | 1250.00 | 1475.00 | 1250.00 | 1475.00 | 2250.00 | 2655.00 | 1250.00 | ROSHAN REFRIGERATION AND ELECTRICALS, SNOWMEX ENGINEERS LIMITED | 1475.00 | ROSHAN REFRIGERATION AND ELECTRICALS, SNOWMEX ENGINEERS LIMITED
16.20 | 1.5 TR capacity AC | 10.00 | Job | Item No.52 | 5000.00 | 5900.00 | 3000.00 | 3540.00 | 2500.00 | 2950.00 | 3000.00 | 3540.00 | 4500.00 | 5310.00 | 2500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 2950.00 | ROSHAN REFRIGERATION AND ELECTRICALS
16.30 | 2.0 TR capacity AC | 2.00 | Job | Item No.54 | 1000.00 | 1180.00 | 600.00 | 708.00 | 500.00 | 590.00 | 700.00 | 826.00 | 900.00 | 1062.00 | 500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 590.00 | ROSHAN REFRIGERATION AND ELECTRICALS
16.40 | 3.0 TR capacity AC | 5.00 | Job | Item No.55 | 15000.00 | 17700.00 | 1500.00 | 1770.00 | 2250.00 | 2655.00 | 3250.00 | 3835.00 | 2250.00 | 2655.00 | 1500.00 | Aqua Cool Co.Pvt Ltd | 1770.00 | Aqua Cool Co.Pvt Ltd
16.50 | 4.0 TR capacity AC | 2.00 | Job | Item No.56 | 6000.00 | 7080.00 | 600.00 | 708.00 | 1100.00 | 1298.00 | 1500.00 | 1770.00 | 900.00 | 1062.00 | 600.00 | Aqua Cool Co.Pvt Ltd | 708.00 | Aqua Cool Co.Pvt Ltd
17.00 | Supply of copper refrigerant pipeline for suction and delivered line.(This item will be executed As and when required)
17.10 | Supply of copper refrigerant pipeline suitable for 1.5TR split AC units. | 50.00 | Mtrs | Item No.57 | 47500.00 | 56050.00 | 37500.00 | 44250.00 | 7500.00 | 8850.00 | 22500.00 | 26550.00 | 27000.00 | 31860.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 8850.00 | ROSHAN REFRIGERATION AND ELECTRICALS
17.20 | Supply of copper refrigerant pipeline suitable for 2 TR split AC units. | 20.00 | Mtrs | Item No.58 | 20000.00 | 23600.00 | 15000.00 | 17700.00 | 3000.00 | 3540.00 | 11000.00 | 12980.00 | 10800.00 | 12744.00 | 3000.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 3540.00 | ROSHAN REFRIGERATION AND ELECTRICALS
17.30 | Supply of copper refrigerant pipeline suitable for 3TR split AC units. | 50.00 | Mtrs | Item No.59 | 60000.00 | 70800.00 | 37500.00 | 44250.00 | 7500.00 | 8850.00 | 30000.00 | 35400.00 | 31500.00 | 37170.00 | 7500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 8850.00 | ROSHAN REFRIGERATION AND ELECTRICALS
17.40 | Supply of copper refrigerant pipeline suitable for 4 TR split AC units. | 30.00 | Mtrs | Item No.60 | 42000.00 | 49560.00 | 22500.00 | 26550.00 | 4500.00 | 5310.00 | 19500.00 | 23010.00 | 18900.00 | 22302.00 | 4500.00 | ROSHAN REFRIGERATION AND ELECTRICALS | 5310.00 | ROSHAN REFRIGERATION AND ELECTRICALS
18.00 | Comprehensive maintenance of water coolers of all makes of 40/80 ltrs capacity at different locations including providing all necessary consumables and spares, etc., complete as required as per special conditions
18.10 | First Year(2021-2022) | 2.00 | Each | Item No.61 | 1600.00 | 1888.00 | 9500.00 | 11210.00 | 7000.00 | 8260.00 | 5000.00 | 5900.00 | 6480.00 | 7646.00 | 1600.00 | M/s Cooltec | 1888.00 | M/s Cooltec
18.20 | Second Year(2022-2023) | 2.00 | Each | Item No.62 | 1600.00 | 1888.00 | 9700.00 | 11446.00 | 7000.00 | 8260.00 | 5200.00 | 6136.00 | 6480.00 | 7646.00 | 1600.00 | M/s Cooltec | 1888.00 | M/s Cooltec
18.30 | Third Year(2023-2024) | 2.00 | Each | Item No.63 | 1800.00 | 2124.00 | 9900.00 | 11682.00 | 7000.00 | 8260.00 | 5400.00 | 6372.00 | 6480.00 | 7646.00 | 1800.00 | M/s Cooltec | 2124.00 | M/s Cooltec
19.00 | CMC of bottom loading Water dispensers (Make:Blue star BDHPCF4 )at various locations including and providing all necessary consumables and spares complete as required as per special conditions.
19.10 | First Year(2021-2022) | 75.00 | Each | Item No.64 | 71250.00 | 84075.00 | 206250.00 | 243375.00 | 127500.00 | 150450.00 | 90000.00 | 106200.00 | 135000.00 | 159300.00 | 71250.00 | M/s Cooltec | 84075.00 | M/s Cooltec
19.20 | Second Year(2022-2023) | 75.00 | Each | Item No.65 | 71250.00 | 84075.00 | 221250.00 | 261075.00 | 127500.00 | 150450.00 | 97500.00 | 115050.00 | 135000.00 | 159300.00 | 71250.00 | M/s Cooltec | 84075.00 | M/s Cooltec
19.30 | Third Year(2023-2024) | 75.00 | Each | Item No.66 | 71250.00 | 84075.00 | 228750.00 | 269925.00 | 127500.00 | 150450.00 | 105000.00 | 123900.00 | 135000.00 | 159300.00 | 71250.00 | M/s Cooltec | 84075.00 | M/s Cooltec
20.00 | CMC of RO purification water system including and providing all necessary consumables and spares complete as required as per special conditions.(10 LPH Purifier with 10 Ltr storage- 04 Nos. and 30 LPH Purifier - 01 No.)
20.10 | First Year(2021-2022) | 5.00 | Each | Item No.67 | 6000.00 | 7080.00 | 16250.00 | 19175.00 | 32500.00 | 38350.00 | 12500.00 | 14750.00 | 11250.00 | 13275.00 | 6000.00 | M/s Cooltec | 7080.00 | M/s Cooltec
20.20 | Second Year(2022-2023) | 5.00 | Each | Item No.68 | 6000.00 | 7080.00 | 17250.00 | 20355.00 | 32500.00 | 38350.00 | 13000.00 | 15340.00 | 11250.00 | 13275.00 | 6000.00 | M/s Cooltec | 7080.00 | M/s Cooltec
20.30 | Third Year(2023-2024) | 5.00 | Each | Item No.69 | 7000.00 | 8260.00 | 18250.00 | 21535.00 | 32500.00 | 38350.00 | 13500.00 | 15930.00 | 11250.00 | 13275.00 | 7000.00 | M/s Cooltec | 8260.00 | M/s Cooltec
| Total in Figures |  |  |  | 2959850.00 | 3492623.00 | 4447577.00 | 5248141.00 | 3743800.00 | 4417684.00 | 3653150.00 | 4310717.00 | 3499740.00 | 4129690.00

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Chennai Airport 2021-2024. SH CMC of Unitary Air Conditioners, VRF air conditioners and Water Coolers at Chennai Airport Tender ID: 2021_AAI_84190_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Cooltec | 3492623.00 | L1
| 2 | KELVIN FAHREN AIRTECH PVT. LTD. | 4129690.00 | L2
| 3 | SNOWMEX ENGINEERS LIMITED | 4310717.00 | L3
| 4 | ROSHAN REFRIGERATION AND ELECTRICALS | 4417684.00 | L4
| 5 | Aqua Cool Co.Pvt Ltd | 5248141.00 | L5