## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 03-Sep-2021 05:40 PM Tender Title: Provision of Drinking Water Fountain alongwith Bottle Filling Station and 5 stage RO system in Terminal building under Accessible India Campaign at Hubballi Airport Tender ID: 2021_AAI_84658_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi Airport.
Name of Work:Provision of Drinking Water Fountain along with Bottle Filling Station and 5 stage RO system in Terminal building under Accessible India Campaign at Hubballi Airport
Contract No: 2021_AAI_84658 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | WACORP HYUNDAI INDIA LTD.(GSTN-09AAJCS0376H1Z4) |  | Oasis WFS (P) Ltd.(GSTN-07AABCO6540R1ZX)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply installation, testing and commissioning of Wall mounted /recessed dual bubbler bi level drinking water fountain (2 Nos), with touch less and push button based fountain and touch less bottle filler unit, double ss finish bubbler and one bottel filling station Drinking water fountain with 8GPH cooling capacity, stainless steel body, Min size approx size 1003mmX Depth 400 mmX height 1162mm, flexible bubbler guard operated , chilling unit suitable for R134a refrigerant, adjustable thermo state,With anti microbial surface finish, suitable for operation at 230v (+10%), 50HZ, AC supply i/c all required accessories, valves, inter connecting water & drain piping/ hardware like stopvalve, approx 100 micron strainer, trap with suitable size etc complete as per actual site requirement with required civil work. The bottle filler station shall have normal and cold water inlet facility. It has to be placed at different location of Terminal building at Hubballi Airport. Unit shall work on sensor based as well as with push button.Unit shall be supplied with all accessories and shall be certified for GRIHA (Green Rating for Integrated Habitate Assesment). Agency has to execute all minor civil work for installing the water fountain for proper functioning and aesthetic view as directed by the E.I.C without any extra cost. Model- M8CRSBF or equivalent ( Make- Oasis/Filtrine/Murdock, ELKAY, HASLEY, WAE/HWAS) | 3.00 | EACH |  | 107000.00 | 321000.00 | 169750.00 | 509250.00 | 321000.00 | WACORP HYUNDAI INDIA LTD.
2.00 | Supply , fabrication and installation of Stainless steel (SS) structure / enclosure of grade 304, to enclose the 50 LPH RO system along with 60 LPHT HTP Pressure wave tank. | 150.00 | KG |  | 850.00 | 127500.00 | 1050.00 | 157500.00 | 127500.00 | WACORP HYUNDAI INDIA LTD.
3.00 | Supply, Installation, Testing and Commissioning of Reverse Osmosis system of 50 LPH 5 stage filtration system, 20 inch commercial grade filter 400 GPD RO membrane with point of use UV sanitization including 60 Liter HTP tank, complete instrumentation: pressure gauge, rota meter and auto flush system complete as required as per the tender specifications. Pressure boosting device consisting of hydro pneumatic tank of suitable capacity for each spout/ fountain and other suitable accessories required to meet the operating pressure range 20-120PSI at the water fountain/ spout complete as per the specifications. Agency has to execute all minor civil work for installing the RO system in connection with drinking water fountain for proper functioning and aesthetic view as directed by the E.I.C without any extra cost.(MAKE : OASIS, EUREKA FORBES, KENT, WAE) | 3.00 | Each |  | 55000.00 | 165000.00 | 44500.00 | 133500.00 | 133500.00 | Oasis WFS (P) Ltd.
4.00 | Supply, Installation, Testing and Commissioning of RO+UV online water purification kit of capcity 50 LPH with 5 stage filtration system (min.), and suitable for brakish water, tap & municipal water supply, suitable to work on 230 +/- Volt, 50 Hz single phase power supply including all accessories. Agency has to execute all minor civil work for installing the RO +UV online water purification Kit system with proper piping suitable to connect in existing water cooler with auto cut-off facility and for proper functioning and aesthetic view as directed by the E.I.C without any extra cost. (MAKE : OASIS, EUREKA FORBES, KENT, WAE) | 3.00 | Each |  | 35000.00 | 105000.00 | 24500.00 | 73500.00 | 73500.00 | Oasis WFS (P) Ltd.
| Total in Figures |  |  |  |  | 718500.00 |  | 873750.00
Lowest Amount Quoted BY: WACORP HYUNDAI INDIA LTD.(718500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Drinking Water Fountain alongwith Bottle Filling Station and 5 stage RO system in Terminal building under Accessible India Campaign at Hubballi Airport Tender ID: 2021_AAI_84658_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WACORP HYUNDAI INDIA LTD. | 718500.00 | L1
| 2 | Oasis WFS (P) Ltd. | 873750.00 | L2