## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 01-Sep-2021 03:13 PM Tender Title: Annual Maintenance Contract of Fire Alarm and Detection System at Operational Office Complex, New Hanger Building, ASM Directorate and ER Building at Safdarjung Airport, New Delhi for Two years (2021-22, 2022-23) Tender ID: 2021_AAI_84887_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: Annual Maintenance Contract of Fire Alarm and Detection System at Operational Office Complex, New Hanger Building, ASM Directorate and ER Building at Safdarjung Airport, New Delhi for Two years (2021-22, 2022-23)
Tender ID: 2020_AAI_84887__1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Katyayni Engineering And Services(GSTN-07ADZPV0433A1ZG) |  | PRUDENT EPC PRIVATE LIMITED(GSTN-27AAKCP4656L1ZS) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | COSMOS SYSTEMS(GSTN-07AAJFC3954E1ZI) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | REIMER TECHNOLOGIES PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Maintenance of Conventional & Addressable fire alarm and detection system at following locations involving repairs & maintenance, faults finding, attending breakdowns and taking rectification action, ensuring serviceability, satifactory working condition of the system, including providing minor consumables, tools & tackle, carrying out preventive maintenance on daily, weekly, fortnightly, monthly, quarterly basis and maintenance of records/documentation etc. on all days by deploying adequate skilled and unskilled manpower as per special conditions of contract complete as required. Locations: (i) Operational Office Complex (Agni, 8 Zone Fire Alarm Panel with connected detectors, MCPs, RI, hooters, wiring and all other associated devices). (ii) New Hanger Building (Firelite-Honeywell, 04 loop Fire Alarm Panel with connected detectors, MCPs, RI, hooters, wiring and all other associated devices). (iii) ASM Directorate (Simplex, 01 loop Fire Alarm Panel with connected detectors, MCPs, RI, hooters, wiring and all other associated devices). (iv) ER Building (Morley IAS-Honeywell 02 loop Fire Alarm Panel with connected detectors, MCPs, RI, hooters, wiring and all other associated devices). | 24.00 | Months |  | 19984.00 | 479616.00 | 18300.00 | 439200.00 | 28230.00 | 677520.00 | 25384.00 | 609216.00 | 27000.00 | 648000.00 | 29740.00 | 713760.00 | 439200.00 | PRUDENT EPC PRIVATE LIMITED
2.00 | Supplying of following Materials/ Spares as per list of approved makes in compatible with panels located at above sites as and when required
2.01 | Intellegent microprocessor intellegent soft addressable smoke detectors; (make: Honeywell Firelite) | 15.00 | Each |  | 3000.00 | 45000.00 | 3360.00 | 50400.00 | 1800.00 | 27000.00 | 1865.00 | 27975.00 | 1300.00 | 19500.00 | 2200.00 | 33000.00 | 19500.00 | NATIONAL SAFETY ENGINEERS
2.02 | Intellegent microprocessor intellegent soft addressable smoke detectors; (make: Honeywell Morley) | 5.00 | Each |  | 3000.00 | 15000.00 | 2400.00 | 12000.00 | 1400.00 | 7000.00 | 1550.00 | 7750.00 | 1600.00 | 8000.00 | 1600.00 | 8000.00 | 7000.00 | Manish Electricals
2.03 | Addressable type multi criteria sensor type detector (Make -Honeywell Firelite) | 5.00 | Each |  | 3000.00 | 15000.00 | 3450.00 | 17250.00 | 1850.00 | 9250.00 | 2268.00 | 11340.00 | 1350.00 | 6750.00 | 2300.00 | 11500.00 | 6750.00 | NATIONAL SAFETY ENGINEERS
2.04 | Addressable type multi criteria sensor detector (Make -Honeywell Morley) | 3.00 | Each |  | 3000.00 | 9000.00 | 2450.00 | 7350.00 | 1200.00 | 3600.00 | 2117.00 | 6351.00 | 1650.00 | 4950.00 | 1650.00 | 4950.00 | 3600.00 | Manish Electricals
2.05 | Adressable type Manual Call Point; (make: Honeywell) | 4.00 | Each |  | 2100.00 | 8400.00 | 3700.00 | 14800.00 | 1800.00 | 7200.00 | 2520.00 | 10080.00 | 1800.00 | 7200.00 | 2700.00 | 10800.00 | 7200.00 | Manish Electricals, NATIONAL SAFETY ENGINEERS
2.06 | Adressable type hooter/ sounder; (make: Honeywell) | 5.00 | Each |  | 2100.00 | 10500.00 | 3400.00 | 17000.00 | 2200.00 | 11000.00 | 2520.00 | 12600.00 | 2000.00 | 10000.00 | 2200.00 | 11000.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
2.07 | Addresssable type Smoke Detector (make: Simplex) | 15.00 | Each |  | 1550.00 | 23250.00 | 3400.00 | 51000.00 | 1400.00 | 21000.00 | 1814.00 | 27210.00 | 1000.00 | 15000.00 | 2250.00 | 33750.00 | 15000.00 | NATIONAL SAFETY ENGINEERS
2.08 | Conventional type Smoke Detector (Make: Apollo) | 25.00 | Each |  | 1550.00 | 38750.00 | 2400.00 | 60000.00 | 700.00 | 17500.00 | 706.00 | 17650.00 | 600.00 | 15000.00 | 1500.00 | 37500.00 | 15000.00 | NATIONAL SAFETY ENGINEERS
2.09 | Conventional Manual Call Point (Make: Agni) | 5.00 | Each |  | 1550.00 | 7750.00 | 1500.00 | 7500.00 | 300.00 | 1500.00 | 175.00 | 875.00 | 170.00 | 850.00 | 650.00 | 3250.00 | 850.00 | NATIONAL SAFETY ENGINEERS
2.10 | Conventional type Hooter/ sounder (Make: Agni) | 5.00 | Each |  | 980.00 | 4900.00 | 1500.00 | 7500.00 | 700.00 | 3500.00 | 212.00 | 1060.00 | 450.00 | 2250.00 | 700.00 | 3500.00 | 1060.00 | COSMOS SYSTEMS
2.11 | Conventional type Response Indicator (make: Agni) | 10.00 | Each |  | 850.00 | 8500.00 | 100.00 | 1000.00 | 70.00 | 700.00 | 40.00 | 400.00 | 20.00 | 200.00 | 70.00 | 700.00 | 200.00 | NATIONAL SAFETY ENGINEERS
2.12 | Zonal card for 8 zones conventional fire Control Panel (Make: Agni) | 1.00 | Each |  | 3580.00 | 3580.00 | 10000.00 | 10000.00 | 2200.00 | 2200.00 | 4536.00 | 4536.00 | 500.00 | 500.00 | 3000.00 | 3000.00 | 500.00 | NATIONAL SAFETY ENGINEERS
2.13 | Loop card for Addressable Panel (Firelite-Honeywell, 04 loop panel / Simplex, 01 loop panel/ Morley IAS-Honeywell 2 loop Panel ) | 1.00 | Each |  | 5800.00 | 5800.00 | 65000.00 | 65000.00 | 40000.00 | 40000.00 | 38304.00 | 38304.00 | 35000.00 | 35000.00 | 22000.00 | 22000.00 | 5800.00 | Katyayni Engineering And Services
2.14 | Motherboard for Agni 8 Zone Panel | 1.00 | Each |  | 2500.00 | 2500.00 | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 5040.00 | 5040.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 2500.00 | Katyayni Engineering And Services
2.15 | 7AH, 12V maintenance free battery for fire Alarm panels | 4.00 | Each |  | 950.00 | 3800.00 | 1000.00 | 4000.00 | 700.00 | 2800.00 | 756.00 | 3024.00 | 750.00 | 3000.00 | 1200.00 | 4800.00 | 2800.00 | Manish Electricals
2.16 | Supplying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 50.00 | Meter |  | 380.00 | 19000.00 | 198.00 | 9900.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 50.00 | 2500.00 | 125.00 | 6250.00 | 2500.00 | NATIONAL SAFETY ENGINEERS
2.17 | Supplying 1.5 sqmm dia FRLS PVC insulated copper conductor, single core cable | 90.00 | Meter |  | 410.00 | 36900.00 | 40.00 | 3600.00 | 15.00 | 1350.00 | 15.00 | 1350.00 | 10.00 | 900.00 | 22.00 | 1980.00 | 900.00 | NATIONAL SAFETY ENGINEERS
3.00 | Supplying and fixing of following sizes of ISI marked steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
3.01 | 20 mm | 30.00 | Meter |  | 85.00 | 2550.00 | 200.00 | 6000.00 | 80.00 | 2400.00 | 148.00 | 4440.00 | 80.00 | 2400.00 | 55.00 | 1650.00 | 1650.00 | REIMER TECHNOLOGIES PRIVATE LIMITED
3.02 | 25 mm | 30.00 | Meter |  | 85.00 | 2550.00 | 250.00 | 7500.00 | 80.00 | 2400.00 | 173.00 | 5190.00 | 85.00 | 2550.00 | 65.00 | 1950.00 | 1950.00 | REIMER TECHNOLOGIES PRIVATE LIMITED
4.00 | Supply, Installation, Testing,commissioning and programming of of 2 loop Morley IAS Fire Alarm Panel compatible to existing detectors and accessories at ER Building, Safdarjung airport, complete etc. as required. | 1.00 | Each |  | 85000.00 | 85000.00 | 70000.00 | 70000.00 | 100000.00 | 100000.00 | 59926.00 | 59926.00 | 90000.00 | 90000.00 | 70000.00 | 70000.00 | 59926.00 | COSMOS SYSTEMS
5.00 | Laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable EPR insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete saddles, screws as required on surface or in recess. | 50.00 | Meter |  | 150.00 | 7500.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 45.00 | 2250.00 | 1500.00 | PRUDENT EPC PRIVATE LIMITED, Manish Electricals
6.00 | Visit of Specialized Authorized Engineer for any of the (Make: - Firelite-Honeywell 4 loop panel/ Morley IAS 2 loop panel/ Simplex One loop Panel) addressable fire detection alarm panels (both hardaware & software) with connected accessories to attend critical complaints or breakdowns on need basis which also includes, programming of devices (if required) and reporting faults/ deficiencies to E-I-C, and submitting the report to E-I-C. | 2.00 | visit |  | 8500.00 | 17000.00 | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 16000.00 | 32000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 10000.00 | Manish Electricals, REIMER TECHNOLOGIES PRIVATE LIMITED
7.00 | Visit of Specialized Authorized Engineer for Agni make 8 Zone Conventional fire detection and alarm panel (both hardaware & software) with connected accessories to attend critical complaints or breakdowns on need basis which also includes, programming of devices (if required) and reporting faults/ deficiencies to E-I-C, and submitting the report to E-I-C. | 1.00 | visit |  | 8500.00 | 8500.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 9600.00 | 9600.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2000.00 | REIMER TECHNOLOGIES PRIVATE LIMITED
| Total in Figures |  |  |  |  | 860346.00 |  | 917500.00 |  | 962920.00 |  | 903917.00 |  | 900050.00 |  | 1001590.00
Lowest Amount Quoted BY: Katyayni Engineering And Services(860346.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Alarm and Detection System at Operational Office Complex, New Hanger Building, ASM Directorate and ER Building at Safdarjung Airport, New Delhi for Two years (2021-22, 2022-23) Tender ID: 2021_AAI_84887_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Katyayni Engineering And Services | 860346.00 | L1
| 2 | NATIONAL SAFETY ENGINEERS | 900050.00 | L2
| 3 | COSMOS SYSTEMS | 903917.00 | L3
| 4 | PRUDENT EPC PRIVATE LIMITED | 917500.00 | L4
| 5 | Manish Electricals | 962920.00 | L5
| 6 | REIMER TECHNOLOGIES PRIVATE LIMITED | 1001590.00 | L6