## BoQ1
Government eProcurement System Created By: RAM MOHAN S Created Date/Time: 20-Oct-2021 11:13 AM Tender Title: ARMO 21-22 SH- Operation and Maintenance contract for all Electrical and Mechanical installations related to Colony and Cargo areas at Mangaluru International Airport Tender ID: 2021_AAI_85003_1
Tender Inviting Authority:Asst. Gen. Manager(Engg-E), AAI Mangaluru International Airport.
Name of Work: ARMO 21-22 SH: Operation and Maintenance contract for all Electrical and Mechanical installations related to Colony and Cargo areas at Mangaluru International Airport.
Tender ID: 2021_AAI_85003_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sri Skanda Consultancy(GSTN-29AFCPK1991H1Z9) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | Bharat Electrical And Instrumentation(GSTN-29AABPF4977E1ZN) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-27AAIAB4511C1Z9) |  | S S ELECTRICALS(GSTN-29ASDPS9111M1Z6) |  | POWER WAY SOLUTIONS(GSTN-NA) |  | Raaj Power solutions and Facilities(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance contract of all E&M Installations of Colony and cargo areas which involves maintenance, attending to complaint/fault/breakdowns, carrying out minor repairs and taking rectification action ensuring serviceability/ satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records and documentation etc. on all days including sundays & holidays. The work shall be carried out as per General & Special conditions of the contract and instructions issued time to time by engineer-in-charge. | 24.00 | Months | 0.00 | 120000.00 | 2880000.00 | 141000.00 | 3384000.00 | 128578.00 | 3085872.00 | 138000.00 | 3312000.00 | 122340.00 | 2936160.00 | 108000.00 | 2592000.00 | 199999.00 | 4799976.00 | 120000.00 | 2880000.00 | 123483.00 | 2963592.00 | 2592000.00 | S S ELECTRICALS
2.00 | Providing unskilled workers for temporary nature of work/works unsusceptible to measure as and when required including necessary T&P works like (shifting of store items/office, verification of annual stock, shifting of material / ladders and other similar type of works) as directed by EIC. | 100.00 | Labour | 0.00 | 625.00 | 62500.00 | 570.00 | 57000.00 | 600.00 | 60000.00 | 800.00 | 80000.00 | 539.00 | 53900.00 | 1500.00 | 150000.00 | 500.00 | 50000.00 | 605.00 | 60500.00 | 577.00 | 57700.00 | 50000.00 | POWER WAY SOLUTIONS
3.00 | Lifting & lowering of different size submersible pump including pipe line, cable, dismantling the defective motor pump set and installing the new repaired motor & pump set, arranging T & P and consumables as and when required basis. (charges for repairing or rectification of pump/motor need not be included) | 2.00 | Job | 0.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 7600.00 | 15200.00 | 9500.00 | 19000.00 | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED
4.00 | Rewinding of 3phase, 415 V, 50HZ submersible pump motors of upto 7.5 HP with suitable size super enameled electrical grade copper wire and insulation including transportation from site to workshop and back as and when required basis. (Credit for burnt copper winding wire shall be considered while quoating) | 2.00 | Job | 0.00 | 6500.00 | 13000.00 | 7500.00 | 15000.00 | 3500.00 | 7000.00 | 7800.00 | 15600.00 | 4700.00 | 9400.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 6450.00 | 12900.00 | 6000.00 | 12000.00 | 7000.00 | Manish Electricals
5.00 | Rewinding of 3phase, 415 V, 50HZ monoblock pump motors of upto 7.5 HP with suitable size super enameled electrical grade copper wire and insulation including transportation from site to workshop and back as and when required basis. (Credit for burnt copper winding wire shall be considered while quoting) | 2.00 | Job | 0.00 | 6500.00 | 13000.00 | 7500.00 | 15000.00 | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 3700.00 | 7400.00 | 12000.00 | 24000.00 | 6500.00 | 13000.00 | 6450.00 | 12900.00 | 6000.00 | 12000.00 | 7400.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
6.00 | Supply & Replacement of faulty bearings of the ceiling/wall mounted/exhaust/cabin fan, overhauling etc complete as and when required basis | 60.00 | Each | 0.00 | 150.00 | 9000.00 | 150.00 | 9000.00 | 150.00 | 9000.00 | 400.00 | 24000.00 | 150.00 | 9000.00 | 650.00 | 39000.00 | 450.00 | 27000.00 | 160.00 | 9600.00 | 80.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Rewinding of ceiling fan of all sizes as and when required basis. (Credit for burnt copper winding wire shall be considered while quoting) | 30.00 | Each | 0.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 400.00 | 12000.00 | 800.00 | 24000.00 | 250.00 | 7500.00 | 1000.00 | 30000.00 | 800.00 | 24000.00 | 520.00 | 15600.00 | 300.00 | 9000.00 | 7500.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
8.00 | Rewinding of exhaust fan of 300mm sizes as and when required basis. (Credit for burnt copper winding wire shall be considered while quoting) | 10.00 | Nos | 0.00 | 700.00 | 7000.00 | 650.00 | 6500.00 | 300.00 | 3000.00 | 800.00 | 8000.00 | 650.00 | 6500.00 | 1200.00 | 12000.00 | 750.00 | 7500.00 | 710.00 | 7100.00 | 350.00 | 3500.00 | 3000.00 | Manish Electricals
9.10 | Carrying out dehydration / filtration of Transformer oil till the required BDV value is reached including conducting acidity test from recognized agency/institution and submission of reports of the above test and topping up of available Transformer oil etc as required 250 KVA, 11000/440V indoor Transformer with oil capacity of 300 ltrs. First Year | 1.00 | Job | 0.00 | 7000.00 | 7000.00 | 12000.00 | 12000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 28000.00 | 28000.00 | 500.00 | 500.00 | 6950.00 | 6950.00 | 5000.00 | 5000.00 | 500.00 | POWER WAY SOLUTIONS
9.20 | Carrying out dehydration / filtration of Transformer oil till the required BDV value is reached including conducting acidity test from recognized agency/institution and submission of reports of the above test and topping up of available Transformer oil etc as required 250 KVA, 11000/440V indoor Transformer with oil capacity of 300 ltrs. Second Year | 1.00 | Job | 0.00 | 7500.00 | 7500.00 | 13000.00 | 13000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 35000.00 | 35000.00 | 4000.00 | 4000.00 | 7400.00 | 7400.00 | 5000.00 | 5000.00 | 3000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
10.00 | Supply of transformer oil of the required grade as used in present transformer as and when required. | 20.00 | Litre | 0.00 | 120.00 | 2400.00 | 150.00 | 3000.00 | 210.00 | 4200.00 | 180.00 | 3600.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 200.00 | 4000.00 | 125.00 | 2500.00 | 130.00 | 2600.00 | 2400.00 | Sri Skanda Consultancy
11.00 | Supply of silica gel crystals for use in transformer breather as and when required | 1.00 | Kg | 0.00 | 400.00 | 400.00 | 400.00 | 400.00 | 600.00 | 600.00 | 300.00 | 300.00 | 350.00 | 350.00 | 1500.00 | 1500.00 | 1260.00 | 1260.00 | 425.00 | 425.00 | 350.00 | 350.00 | 300.00 | Bharat Electrical And Instrumentation
12.00 | Supply of ISI marked 6 Amps piano type One Way switch suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 100.00 | Each | 0.00 | 18.00 | 1800.00 | 20.00 | 2000.00 | 20.00 | 2000.00 | 60.00 | 6000.00 | 12.00 | 1200.00 | 50.00 | 5000.00 | 25.00 | 2500.00 | 17.00 | 1700.00 | 13.00 | 1300.00 | 1200.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
13.00 | Supply of ISI marked 6 Amps 3 pin piano type socket outlet suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 40.00 | Each | 0.00 | 30.00 | 1200.00 | 50.00 | 2000.00 | 30.00 | 1200.00 | 75.00 | 3000.00 | 21.00 | 840.00 | 55.00 | 2200.00 | 33.75 | 1350.00 | 30.50 | 1220.00 | 24.00 | 960.00 | 840.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
14.00 | Supply of ISI marked 6 Amps, 3 Pin Plug Top suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 20.00 | Each | 0.00 | 60.00 | 1200.00 | 40.00 | 800.00 | 30.00 | 600.00 | 100.00 | 2000.00 | 37.00 | 740.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 59.50 | 1190.00 | 42.00 | 840.00 | 600.00 | Manish Electricals
15.00 | Supply of ISI marked 6 Amps Piano type Two Way switch suitable to operate in 230V 50 Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 30.00 | 300.00 | 25.00 | 250.00 | 30.00 | 300.00 | 75.00 | 750.00 | 22.00 | 220.00 | 65.00 | 650.00 | 26.25 | 262.50 | 29.00 | 290.00 | 23.00 | 230.00 | 220.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
16.00 | Supply of ISI marked 6 Amps bell switch suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 25.00 | 250.00 | 30.00 | 300.00 | 30.00 | 300.00 | 75.00 | 750.00 | 25.00 | 250.00 | 65.00 | 650.00 | 27.50 | 275.00 | 24.00 | 240.00 | 23.00 | 230.00 | 230.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supply of piano type, rotory step type 100W fan regulator (1 module) suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 50.00 | Each | 0.00 | 170.00 | 8500.00 | 190.00 | 9500.00 | 150.00 | 7500.00 | 750.00 | 37500.00 | 131.00 | 6550.00 | 500.00 | 25000.00 | 181.25 | 9062.50 | 171.00 | 8550.00 | 166.00 | 8300.00 | 6550.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
18.00 | Supply of piano type, rotory step type 100W Fan regulator (2 module) suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 210.00 | 10500.00 | 150.00 | 7500.00 | 225.00 | 11250.00 | 157.00 | 7850.00 | 700.00 | 35000.00 | 203.75 | 10187.50 | 201.00 | 10050.00 | 187.00 | 9350.00 | 7500.00 | Manish Electricals
19.00 | Supply of ISI marked 15/20 Amps Piano type One Way switch with two fixing holes suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 20.00 | Each | 0.00 | 70.00 | 1400.00 | 90.00 | 1800.00 | 50.00 | 1000.00 | 140.00 | 2800.00 | 61.00 | 1220.00 | 60.00 | 1200.00 | 70.00 | 1400.00 | 70.50 | 1410.00 | 63.00 | 1260.00 | 1000.00 | Manish Electricals
20.00 | Supply of ISI marked 15 Amps, 3 pin Plug Top suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 70.00 | 700.00 | 85.00 | 850.00 | 40.00 | 400.00 | 180.00 | 1800.00 | 52.50 | 525.00 | 80.00 | 800.00 | 62.50 | 625.00 | 70.50 | 705.00 | 89.00 | 890.00 | 400.00 | Manish Electricals
21.00 | Supply of ISI marked single pole MCB, C series, 6 Amps, 230V, breaking capacity of 10kA suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 15.00 | Each | 0.00 | 180.00 | 2700.00 | 140.00 | 2100.00 | 160.00 | 2400.00 | 125.00 | 1875.00 | 96.00 | 1440.00 | 280.00 | 4200.00 | 168.75 | 2531.25 | 182.00 | 2730.00 | 112.00 | 1680.00 | 1440.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
22.00 | Supply of ISI marked single pole MCB, C series, 20 Amps, 230V, breaking capacity of 10kA suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 20.00 | Each | 0.00 | 180.00 | 3600.00 | 140.00 | 2800.00 | 210.00 | 4200.00 | 250.00 | 5000.00 | 96.00 | 1920.00 | 450.00 | 9000.00 | 168.75 | 3375.00 | 182.00 | 3640.00 | 112.00 | 2240.00 | 1920.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
23.00 | Supply of ISI marked double pole MCB, C series, 25 Amps, 230/415V, breaking capacity of 10kA suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 550.00 | 5500.00 | 425.00 | 4250.00 | 210.00 | 2100.00 | 230.00 | 2300.00 | 380.00 | 3800.00 | 500.00 | 5000.00 | 495.00 | 4950.00 | 545.00 | 5450.00 | 400.00 | 4000.00 | 2100.00 | Manish Electricals
24.00 | Supply of ISI marked four pole MCB, C series, 40 Amps, 415V, breaking capacity of 10kA suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 4.00 | Each | 0.00 | 1500.00 | 6000.00 | 660.00 | 2640.00 | 1015.00 | 4060.00 | 350.00 | 1400.00 | 1081.50 | 4326.00 | 550.00 | 2200.00 | 1562.50 | 6250.00 | 1450.00 | 5800.00 | 1207.00 | 4828.00 | 1400.00 | Bharat Electrical And Instrumentation
25.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Red colour | 90.00 | Metres | 0.00 | 20.00 | 1800.00 | 18.50 | 1665.00 | 15.00 | 1350.00 | 15.00 | 1350.00 | 17.00 | 1530.00 | 60.00 | 5400.00 | 18.35 | 1651.50 | 21.00 | 1890.00 | 20.00 | 1800.00 | 1350.00 | Manish Electricals, Bharat Electrical And Instrumentation
26.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Yellow colour | 90.00 | Metres | 0.00 | 20.00 | 1800.00 | 18.50 | 1665.00 | 15.00 | 1350.00 | 15.00 | 1350.00 | 17.00 | 1530.00 | 60.00 | 5400.00 | 18.35 | 1651.50 | 21.00 | 1890.00 | 20.00 | 1800.00 | 1350.00 | Manish Electricals, Bharat Electrical And Instrumentation
27.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Blue colour | 90.00 | Metres | 0.00 | 20.00 | 1800.00 | 18.50 | 1665.00 | 15.00 | 1350.00 | 15.00 | 1350.00 | 17.00 | 1530.00 | 60.00 | 5400.00 | 18.35 | 1651.50 | 21.00 | 1890.00 | 20.00 | 1800.00 | 1350.00 | Manish Electricals, Bharat Electrical And Instrumentation
28.00 | Supply of ISI marked 1.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Black colour | 90.00 | Metres | 0.00 | 20.00 | 1800.00 | 18.50 | 1665.00 | 15.00 | 1350.00 | 15.00 | 1350.00 | 17.00 | 1530.00 | 60.00 | 5400.00 | 18.35 | 1651.50 | 21.00 | 1890.00 | 20.00 | 1800.00 | 1350.00 | Manish Electricals, Bharat Electrical And Instrumentation
29.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Red colour | 90.00 | Metres | 0.00 | 30.00 | 2700.00 | 29.00 | 2610.00 | 30.00 | 2700.00 | 22.00 | 1980.00 | 25.00 | 2250.00 | 75.00 | 6750.00 | 29.64 | 2667.60 | 30.00 | 2700.00 | 31.00 | 2790.00 | 1980.00 | Bharat Electrical And Instrumentation
30.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Yellow colour | 90.00 | Metres | 0.00 | 30.00 | 2700.00 | 29.00 | 2610.00 | 30.00 | 2700.00 | 22.00 | 1980.00 | 25.00 | 2250.00 | 100.00 | 9000.00 | 29.64 | 2667.60 | 30.00 | 2700.00 | 31.00 | 2790.00 | 1980.00 | Bharat Electrical And Instrumentation
31.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Blue colour | 90.00 | Metres | 0.00 | 30.00 | 2700.00 | 29.00 | 2610.00 | 30.00 | 2700.00 | 22.00 | 1980.00 | 25.00 | 2250.00 | 100.00 | 9000.00 | 29.64 | 2667.60 | 30.00 | 2700.00 | 31.00 | 2790.00 | 1980.00 | Bharat Electrical And Instrumentation
32.00 | Supply of ISI marked 2.5 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Black colour | 90.00 | Metres | 0.00 | 30.00 | 2700.00 | 29.00 | 2610.00 | 30.00 | 2700.00 | 22.00 | 1980.00 | 25.00 | 2250.00 | 100.00 | 9000.00 | 29.64 | 2667.60 | 30.00 | 2700.00 | 31.00 | 2790.00 | 1980.00 | Bharat Electrical And Instrumentation
33.00 | Supply of ISI marked 4 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Red colour | 90.00 | Metres | 0.00 | 50.00 | 4500.00 | 43.00 | 3870.00 | 50.00 | 4500.00 | 30.00 | 2700.00 | 35.00 | 3150.00 | 100.00 | 9000.00 | 45.00 | 4050.00 | 51.00 | 4590.00 | 47.00 | 4230.00 | 2700.00 | Bharat Electrical And Instrumentation
34.00 | Supply of ISI marked 4 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Yellow colour | 90.00 | Metres | 0.00 | 50.00 | 4500.00 | 43.00 | 3870.00 | 50.00 | 4500.00 | 30.00 | 2700.00 | 35.00 | 3150.00 | 100.00 | 9000.00 | 45.00 | 4050.00 | 51.00 | 4590.00 | 47.00 | 4230.00 | 2700.00 | Bharat Electrical And Instrumentation
35.00 | Supply of ISI marked 4 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Blue colour | 90.00 | Metres | 0.00 | 50.00 | 4500.00 | 43.00 | 3870.00 | 50.00 | 4500.00 | 30.00 | 2700.00 | 35.00 | 3150.00 | 80.00 | 7200.00 | 45.00 | 4050.00 | 51.00 | 4590.00 | 47.00 | 4230.00 | 2700.00 | Bharat Electrical And Instrumentation
36.00 | Supply of ISI marked 4 Sqmm PVC insulated single core unsheathed industrial, multistrand bare copper conductor FRLSH flexible cables of 1.1 KV grade confirming to IS 694 amendments upto date complete as required as per list of approved makes - Black colour | 90.00 | Metres | 0.00 | 50.00 | 4500.00 | 43.00 | 3870.00 | 50.00 | 4500.00 | 30.00 | 2700.00 | 35.00 | 3150.00 | 80.00 | 7200.00 | 45.00 | 4050.00 | 51.00 | 4590.00 | 47.00 | 4230.00 | 2700.00 | Bharat Electrical And Instrumentation
37.00 | Supply of 14W-CDL (cool day light) LED bulb with B-22 base suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 20.00 | Each | 0.00 | 200.00 | 4000.00 | 270.00 | 5400.00 | 180.00 | 3600.00 | 300.00 | 6000.00 | 185.00 | 3700.00 | 4500.00 | 90000.00 | 237.50 | 4750.00 | 190.00 | 3800.00 | 248.00 | 4960.00 | 3600.00 | Manish Electricals
38.00 | Supply of 4 feet 20W LED tubelight suitable to retrofit for existing T8 FTL lamps (Make: Philips, Model No: Stellar Bright TLED or equivalent) suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 310.00 | 15500.00 | 450.00 | 22500.00 | 380.00 | 19000.00 | 301.00 | 15050.00 | 6500.00 | 325000.00 | 225.00 | 11250.00 | 195.00 | 9750.00 | 798.00 | 39900.00 | 9750.00 | Raaj Power solutions and Facilities
39.00 | Supply of Angle Holder 6A, with metal ring, white/ivory colour suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 25.00 | 250.00 | 40.00 | 400.00 | 30.00 | 300.00 | 80.00 | 800.00 | 25.00 | 250.00 | 6500.00 | 65000.00 | 33.75 | 337.50 | 25.00 | 250.00 | 72.00 | 720.00 | 250.00 | Sri Skanda Consultancy, Raaj Power solutions and Facilities, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
40.00 | Supply of 2.5 Micro Farad Capacitor for use with ceiling fans suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 50.00 | Each | 0.00 | 25.00 | 1250.00 | 20.00 | 1000.00 | 25.00 | 1250.00 | 200.00 | 10000.00 | 22.00 | 1100.00 | 350.00 | 17500.00 | 33.75 | 1687.50 | 25.00 | 1250.00 | 17.00 | 850.00 | 850.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Supply of Ding Dong type Door call bell suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 250.00 | 2500.00 | 260.00 | 2600.00 | 160.00 | 1600.00 | 450.00 | 4500.00 | 103.00 | 1030.00 | 300.00 | 3000.00 | 125.00 | 1250.00 | 245.00 | 2450.00 | 168.00 | 1680.00 | 1030.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
42.00 | Supply of 3 phase, 7.5HP, 415 V, 50 Hz, DOL Starter with start-stop button in sheet steel enclosure, relay range of 9-14/15A with all accessaries confirming to relevant standard etc complete as required. | 2.00 | Each | 0.00 | 1750.00 | 3500.00 | 2750.00 | 5500.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 1921.00 | 3842.00 | 6500.00 | 13000.00 | 3000.00 | 6000.00 | 1750.00 | 3500.00 | 5350.00 | 10700.00 | 3500.00 | Sri Skanda Consultancy, Raaj Power solutions and Facilities
43.00 | Supply of G13 Lamp Holder for T8 Tube light fixture suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each | 0.00 | 35.00 | 350.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 15.00 | 150.00 | 50.00 | 500.00 | 18.75 | 187.50 | 35.00 | 350.00 | 64.00 | 640.00 | 150.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
44.00 | Supply of Add-On auxillary contact block front mounting (1NO+1NC) suitable for L&T make MNX single phase power contactors confirms relavent IS (Make: L&T, Type: MNX A2) or equivalent as per list of approved makes. | 5.00 | Each | 0.00 | 290.00 | 1450.00 | 620.00 | 3100.00 | 3000.00 | 15000.00 | 425.00 | 2125.00 | 254.00 | 1270.00 | 3500.00 | 17500.00 | 350.00 | 1750.00 | 285.00 | 1425.00 | 2093.00 | 10465.00 | 1270.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
45.00 | Supply of 3 pole power contactor confirms relevent IS (Make: L&T, Type: MNX 18) or equivalent as per list of approved makes. | 2.00 | Each | 0.00 | 900.00 | 1800.00 | 2850.00 | 5700.00 | 4800.00 | 9600.00 | 1100.00 | 2200.00 | 841.00 | 1682.00 | 4500.00 | 9000.00 | 1110.00 | 2220.00 | 905.00 | 1810.00 | 910.00 | 1820.00 | 1682.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
46.00 | Supply of 3 pole power contactor confirms relevent IS (Make: L&T, Type: MNX 32) or equivalent as per list of approved makes. | 2.00 | Each | 0.00 | 2450.00 | 4900.00 | 2260.00 | 4520.00 | 6000.00 | 12000.00 | 2500.00 | 5000.00 | 2257.00 | 4514.00 | 4500.00 | 9000.00 | 2250.00 | 4500.00 | 2440.00 | 4880.00 | 2525.00 | 5050.00 | 4500.00 | POWER WAY SOLUTIONS
47.00 | Supply of Red coloured LED type Indication Lamp suitable to operate with 240V AC/24V DC for panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 95.00 | 1900.00 | 140.00 | 2800.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 27.00 | 540.00 | 300.00 | 6000.00 | 56.25 | 1125.00 | 90.00 | 1800.00 | 128.00 | 2560.00 | 540.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
48.00 | Supply of Yellow coloured LED Indication Lamp suitable to operate with 240V AC/24V DC for panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 95.00 | 1900.00 | 140.00 | 2800.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 27.00 | 540.00 | 300.00 | 6000.00 | 56.25 | 1125.00 | 90.00 | 1800.00 | 128.00 | 2560.00 | 540.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
49.00 | Supply of Blue coloured LED Indication Lamp suitable to operate with 240V AC/24V DC for panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 95.00 | 1900.00 | 140.00 | 2800.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 27.00 | 540.00 | 300.00 | 6000.00 | 93.75 | 1875.00 | 90.00 | 1800.00 | 193.00 | 3860.00 | 540.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
50.00 | Supply of Green coloured LED Indication Lamp suitable to operate with 240V AC/24V DC for Panels as required as per list of approved makes. | 20.00 | Each | 0.00 | 95.00 | 1900.00 | 160.00 | 3200.00 | 200.00 | 4000.00 | 120.00 | 2400.00 | 27.00 | 540.00 | 300.00 | 6000.00 | 56.25 | 1125.00 | 90.00 | 1800.00 | 128.00 | 2560.00 | 540.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
51.00 | Supply of ISI marked 1 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnant capacitor (Make: EPCOS, Model: ENDC - B32457L5001A011) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 400.00 | 400.00 | 230.00 | 230.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 175.00 | 175.00 | 2500.00 | 2500.00 | 400.00 | 400.00 | 405.00 | 405.00 | 856.00 | 856.00 | 175.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
52.00 | Supply of ISI marked 2 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnated capacitor (Make: EPCOS, Model: ENDC - B32457L5002A011) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 800.00 | 800.00 | 320.00 | 320.00 | 1800.00 | 1800.00 | 1800.00 | 1800.00 | 350.00 | 350.00 | 3000.00 | 3000.00 | 800.00 | 800.00 | 810.00 | 810.00 | 1712.00 | 1712.00 | 320.00 | LAKSHMI ELECTRICAL ENTERPRISES
53.00 | Supply of ISI marked 3 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnated capacitor (Make: MEHER, Model: MPP-D, Cat.No. 26D3030B1) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 1200.00 | 1200.00 | 440.00 | 440.00 | 2400.00 | 2400.00 | 2000.00 | 2000.00 | 577.00 | 577.00 | 3500.00 | 3500.00 | 2400.00 | 2400.00 | 1220.00 | 1220.00 | 2568.00 | 2568.00 | 440.00 | LAKSHMI ELECTRICAL ENTERPRISES
54.00 | Supply of ISI marked 4 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnated capacitor (Make: MEHER, Model: MPP-D, Cat.No. 26D3040B1) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 1650.00 | 1650.00 | 620.00 | 620.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 770.00 | 770.00 | 4500.00 | 4500.00 | 3200.00 | 3200.00 | 1650.00 | 1650.00 | 3424.00 | 3424.00 | 620.00 | LAKSHMI ELECTRICAL ENTERPRISES
55.00 | Supply of ISI marked 5 KVAR, 3 phase, 440V, 50Hz Square type heavy duty NPCB impregnated capacitor (Make: EPCOS, Model: ENDC - B32457L5005A011) or equivalent as per list of approved makes. | 1.00 | Each | 0.00 | 1750.00 | 1750.00 | 650.00 | 650.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 874.00 | 874.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 1800.00 | 1800.00 | 4280.00 | 4280.00 | 650.00 | LAKSHMI ELECTRICAL ENTERPRISES
56.00 | Supply of automatic transfer switch (ATS) for rated ampere 125A, upto 440V, 50Hz, four pole, with enclosure comply with IS/IEC:60947-6-1 suitable for automatic and manual operation for replacement of existing automatic transfer switch (Make: Havells, Cat. No.: IHYFCDE125) as required as per list of approved makes. (Replacement of existing automatic transfer switch). | 1.00 | Each | 0.00 | 40000.00 | 40000.00 | 25000.00 | 25000.00 | 3500.00 | 3500.00 | 9000.00 | 9000.00 | 48185.00 | 48185.00 | 3500.00 | 3500.00 | 75000.00 | 75000.00 | 39900.00 | 39900.00 | 42800.00 | 42800.00 | 3500.00 | Manish Electricals, S S ELECTRICALS
57.00 | Supply of 8 steps automatic power factor controller of dimension 144x144x100 with single CT sensing, suitable to operate at 415V, 50Hz (Make: L&T, Model: Reactive Power Manager (RPM-8)) or equivalent as required as per list of approved makes. | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 2300.00 | 2300.00 | 16000.00 | 16000.00 | 10000.00 | 10000.00 | 9734.00 | 9734.00 | 3800.00 | 3800.00 | 12000.00 | 12000.00 | 9900.00 | 9900.00 | 17629.00 | 17629.00 | 2300.00 | LAKSHMI ELECTRICAL ENTERPRISES
58.00 | Supply of LCD type energy meter flush mounting accuracy class 1 having dimensions 96x96mm, CT/PT site programmable suitable to operate with 3 phase AC supply suitable for panels (Make: L&T, Model: 400 series, Cat: WC400010OOOO) or equivalent as per list of approved makes. | 2.00 | Each | 0.00 | 2400.00 | 4800.00 | 720.00 | 1440.00 | 6000.00 | 12000.00 | 2000.00 | 4000.00 | 2071.00 | 4142.00 | 10010.00 | 20020.00 | 3800.00 | 7600.00 | 2390.00 | 4780.00 | 2996.00 | 5992.00 | 1440.00 | LAKSHMI ELECTRICAL ENTERPRISES
59.00 | Supply of Ring type Current Transformer (CT) made of cast resin, having ration 400/5 A, burden 15VA, accuracy class 1 suitable work at 440V, 50Hz as required. | 3.00 | Each | 0.00 | 375.00 | 1125.00 | 800.00 | 2400.00 | 600.00 | 1800.00 | 900.00 | 2700.00 | 1200.00 | 3600.00 | 15000.00 | 45000.00 | 1450.00 | 4350.00 | 375.00 | 1125.00 | 8560.00 | 25680.00 | 1125.00 | Sri Skanda Consultancy, Raaj Power solutions and Facilities
60.00 | Supply of single phase electronic energy meter in polycarbonate body with LCD type display in accuracy class 1.0 of rating 5-30A, 240V, 50Hz, only kWh compact meter with meter box with sealing screw provision complete as required suitable for residential use (Make L&T, Cat. no. WM101BC5DL0BOX) or equivalent as per list of approved makes. | 5.00 | Each | 0.00 | 1200.00 | 6000.00 | 1650.00 | 8250.00 | 2600.00 | 13000.00 | 2000.00 | 10000.00 | 1222.00 | 6110.00 | 20000.00 | 100000.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 1766.00 | 8830.00 | 6000.00 | Sri Skanda Consultancy, Raaj Power solutions and Facilities
61.00 | Supply of three phase electronic energy meter in polycarbonate body with LCD type display in accuracy class 1.0 of rating 10-60A, 3x240V, 50Hz with transparent box complete as required suitable for residential use (Make L&T, Cat. no. WR301BC7D10) or equivalent as per list of approved makes. | 2.00 | Each | 0.00 | 3500.00 | 7000.00 | 4000.00 | 8000.00 | 3300.00 | 6600.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 22000.00 | 44000.00 | 6500.00 | 13000.00 | 3500.00 | 7000.00 | 3371.00 | 6742.00 | 6600.00 | Manish Electricals
62.00 | Supply of ISI marked RCCB double pole, 40 Amps, 230 Volts, 30mA sensitivity, breaking capacity of 10kA as per list of approved makes. | 20.00 | Each | 0.00 | 2000.00 | 40000.00 | 2580.00 | 51600.00 | 3000.00 | 60000.00 | 2750.00 | 55000.00 | 1600.00 | 32000.00 | 10000.00 | 200000.00 | 2050.00 | 41000.00 | 2060.00 | 41200.00 | 2247.00 | 44940.00 | 32000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
| Total in Figures |  |  |  |  | 3261275.00 |  | 3773840.00 |  | 3504082.00 |  | 3783670.00 |  | 3265576.00 |  | 4149670.00 |  | 5249413.65 |  | 3261025.00 |  | 3409708.00
Lowest Amount Quoted BY: Raaj Power solutions and Facilities(3261025.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 21-22 SH- Operation and Maintenance contract for all Electrical and Mechanical installations related to Colony and Cargo areas at Mangaluru International Airport Tender ID: 2021_AAI_85003_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Raaj Power solutions and Facilities | 3261025.00 | L1
| 2 | Sri Skanda Consultancy | 3261275.00 | L2
| 3 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 3265576.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 3409708.00 | L4
| 5 | Manish Electricals | 3504082.00 | L5
| 6 | LAKSHMI ELECTRICAL ENTERPRISES | 3773840.00 | L6
| 7 | Bharat Electrical And Instrumentation | 3783670.00 | L7
| 8 | S S ELECTRICALS | 4149670.00 | L8
| 9 | POWER WAY SOLUTIONS | 5249413.65 | L9