## BoQ1
Government eProcurement System Created By: SHALENDERA KUMAR Created Date/Time: 10-Sep-2021 10:43 AM Tender Title: Provision Of Energy Efficient Split Type Air Conditioners And Water Cooler For Various Locations In Place Of Old ACs At Imphal International Airport (Year 2021-22). Tender ID: 2021_AAI_85320_1
Tender Inviting Authority: Asstt. General Manager (Engg-Electrical)-II, AAI, Imphal Airport.
Name of Work: Provision of energy efficient split type Air Conditioners and Water Cooler for various locations in place of old A/Cs at Imphal International Airport ( Year 2021-22) .
Contract No: 2021_AAI_85320_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RS COOLING APPLIANCES(GSTN-18AALFR2502H3Z8) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Mercantile Agency(GSTN-19AALFM1805G1ZB)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 TR, Highwall Split A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units,Condenser coil- Copper, including remote control operation for temperature adjuistment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temparalure i/c standard lengh of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 16.00 | Each |  | 43000.00 | 688000.00 | 38500.00 | 616000.00 | 42000.00 | 672000.00 | 33290.00 | 532640.00 | 532640.00 | Mercantile Agency
2.00 | Supply of 2 TR, Highwall Split A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units,Condenser coil- Copper, including remote control operation for temperature adjuistment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temparalure i/c standard lengh of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 18.00 | Each |  | 52000.00 | 936000.00 | 43200.00 | 777600.00 | 52000.00 | 936000.00 | 40990.00 | 737820.00 | 737820.00 | Mercantile Agency
3.00 | Supply of 2 TR, Cassette A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units,Condenser coil- Copper, including remote control operation for temperature adjuistment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temparalure i/c standard lengh of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 4.00 | Each |  | 78000.00 | 312000.00 | 82750.00 | 331000.00 | 85000.00 | 340000.00 | 76875.00 | 307500.00 | 307500.00 | Mercantile Agency
4.00 | Supply, installation, testing and commisssioning of water cooler suitable for operation on 230 V, 50 Hz AC supply with RO + UV purification, 80 ltrs storage capacity and 60 LPH water flow rate through the faucets, etc. complete as per technical specification. | 6.00 | Each |  | 65000.00 | 390000.00 | 70000.00 | 420000.00 | 50000.00 | 300000.00 | 76990.00 | 461940.00 | 300000.00 | jaydeep agency corporation
5.00 | Installation testing and Commissioning of following capacity Airconditioning Unit Including making of necessary hole on concrete/brick wall and making good the same i/c providing suitable size PVC pipe for drawing the /drain pipe and wire etc through the concrete/brick wall as required.
5.10 | 1.5 TR High wall Split AC (Invertor type) | 16.00 | Job |  | 2500.00 | 40000.00 | 2000.00 | 32000.00 | 1000.00 | 16000.00 | 2000.00 | 32000.00 | 16000.00 | jaydeep agency corporation
5.20 | 2 TR High wall Split AC (Invertor type) | 18.00 | Job |  | 2500.00 | 45000.00 | 2000.00 | 36000.00 | 1000.00 | 18000.00 | 2000.00 | 36000.00 | 18000.00 | jaydeep agency corporation
5.30 | 2 TR Cassette AC (Invertor type) | 4.00 | Job |  | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 4100.00 | 16400.00 | 6000.00 | jaydeep agency corporation
6.00 | Supply, fixing, testing and commisssioning of wall mounting type automatic electronic voltage stablizer suitable for split Air Conditioners single phase and auto voltage range of 180-270 V with high/low voltage cut off on delay etc complete as required.
6.10 | 3 KVA | 6.00 | Job |  | 3000.00 | 18000.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 2500.00 | 15000.00 | 9000.00 | VOLKS ENERGIE PVT LTD
6.20 | 4 KVA | 16.00 | Job |  | 4000.00 | 64000.00 | 1500.00 | 24000.00 | 3000.00 | 48000.00 | 2500.00 | 40000.00 | 24000.00 | VOLKS ENERGIE PVT LTD
6.30 | 5 KVA | 22.00 | Job |  | 5000.00 | 110000.00 | 2000.00 | 44000.00 | 3500.00 | 77000.00 | 3500.00 | 77000.00 | 44000.00 | VOLKS ENERGIE PVT LTD
7.00 | Supply of following sizes XLPE insulated PVC sheathed unarmoured copper conductor flexible cable etc, complete as required.
7.10 | 4 core X 2.5 Sqmm. | 250.00 | Meter |  | 127.00 | 31750.00 | 105.00 | 26250.00 | 125.00 | 31250.00 | 181.00 | 45250.00 | 26250.00 | VOLKS ENERGIE PVT LTD
8.00 | Supply, installation testing and commisssioning of extra refrigent copper pipe suitable for 1 TR, 1.5 TR and 2 TR invertor type AC including leakage testing and providing fixing of insulation, soldering, necessary clamping arrangement etc. of following size as reqiured.
8.10 | 1/2 | 150.00 | Meter |  | 460.00 | 69000.00 | 300.00 | 45000.00 | 300.00 | 45000.00 | 465.00 | 69750.00 | 45000.00 | VOLKS ENERGIE PVT LTD, jaydeep agency corporation
8.20 | 1/4 | 150.00 | Meter |  | 460.00 | 69000.00 | 165.00 | 24750.00 | 200.00 | 30000.00 | 315.00 | 47250.00 | 24750.00 | VOLKS ENERGIE PVT LTD
8.30 | 5/8 | 100.00 | Meter |  | 660.00 | 66000.00 | 360.00 | 36000.00 | 300.00 | 30000.00 | 545.00 | 54500.00 | 30000.00 | jaydeep agency corporation
8.40 | 3/8 | 100.00 | Meter |  | 590.00 | 59000.00 | 230.00 | 23000.00 | 200.00 | 20000.00 | 345.00 | 34500.00 | 20000.00 | jaydeep agency corporation
9.00 | Supply & fixing of 6mm thick Nitrile Rubber Tube Insulation for 1 TR, 1.5 TR and 2 TR refrigerant piping to prevents condensation, reduces energy losses and protects against frost on pipes of following sizes.
9.10 | 1/2 | 150.00 | Meter |  | 90.00 | 13500.00 | 24.00 | 3600.00 | 100.00 | 15000.00 | 29.00 | 4350.00 | 3600.00 | VOLKS ENERGIE PVT LTD
9.20 | 1/4 | 150.00 | Meter |  | 90.00 | 13500.00 | 14.00 | 2100.00 | 100.00 | 15000.00 | 19.00 | 2850.00 | 2100.00 | VOLKS ENERGIE PVT LTD
9.30 | 5/8 | 100.00 | Meter |  | 90.00 | 9000.00 | 30.00 | 3000.00 | 100.00 | 10000.00 | 33.00 | 3300.00 | 3000.00 | VOLKS ENERGIE PVT LTD
9.40 | 3/8 | 100.00 | Meter |  | 90.00 | 9000.00 | 20.00 | 2000.00 | 100.00 | 10000.00 | 25.00 | 2500.00 | 2000.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply, installation testing and commisssioning of UPVC pipes complete with fittings and 'U' traps for condensate drain piping with supports and thermal insulation as per specifications of following sizes.
10.10 | 25 mm | 120.00 | Meter |  | 180.00 | 21600.00 | 140.00 | 16800.00 | 40.00 | 4800.00 | 120.00 | 14400.00 | 4800.00 | jaydeep agency corporation
10.20 | 32 mm | 30.00 | Meter |  | 180.00 | 5400.00 | 180.00 | 5400.00 | 50.00 | 1500.00 | 175.00 | 5250.00 | 1500.00 | jaydeep agency corporation
11.00 | Supply, installation testing and commisssioning of MS frame L/chair type stand for fixing outdoor units of 1 TR, 1.5 TR & 2 TR split A/Cs complete as required. | 38.00 | Each |  | 900.00 | 34200.00 | 400.00 | 15200.00 | 300.00 | 11400.00 | 600.00 | 22800.00 | 11400.00 | jaydeep agency corporation
12.00 | Supply of following sizes XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV Grade confirming to IS:7098 (Part 1) with upto date amendment etc. complete as required.
12.10 | 4 core X 25 Sqmm. | 40.00 | Meter |  | 230.00 | 9200.00 | 152.00 | 6080.00 | 150.00 | 6000.00 | 339.00 | 13560.00 | 6000.00 | jaydeep agency corporation
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
13.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 40.00 | Meter |  | 120.00 | 4800.00 | 70.00 | 2800.00 | 40.00 | 1600.00 | 74.50 | 2980.00 | 1600.00 | jaydeep agency corporation
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
14.10 | 4 X 25 sq. mm (28mm) | 2.00 | Set |  | 78.00 | 156.00 | 1000.00 | 2000.00 | 120.00 | 240.00 | 132.00 | 264.00 | 156.00 | RS COOLING APPLIANCES
15.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required .
15.10 | 4 Way TPN, Double Door | 1.00 | Each |  | 8803.00 | 8803.00 | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 3250.00 | 3250.00 | 1800.00 | jaydeep agency corporation
16.00 | Supplying and fixing of following amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
16.10 | 25 A SP | 7.00 | Each |  | 175.00 | 1225.00 | 150.00 | 1050.00 | 150.00 | 1050.00 | 234.00 | 1638.00 | 1050.00 | VOLKS ENERGIE PVT LTD, jaydeep agency corporation
16.20 | 40 A 4P | 1.00 | Each |  | 1680.00 | 1680.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 495.60 | 495.60 | 495.60 | Mercantile Agency
17.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 125.00 | Meter |  | 42.00 | 5250.00 | 200.00 | 25000.00 | 300.00 | 37500.00 | 93.22 | 11652.50 | 5250.00 | RS COOLING APPLIANCES
18.00 | Supply, installation, testing and commissioning of 20 ampere Modular Socket Box with inbuilt 20 ampere SP, C curve Mini MCB, Plastic enclosure & unbreakable heavy duty with ISI mark plug top and necessary connection complete as reqiured. | 14.00 | Each |  | 1081.00 | 15134.00 | 1000.00 | 14000.00 | 1200.00 | 16800.00 | 1999.00 | 27986.00 | 14000.00 | VOLKS ENERGIE PVT LTD
19.00 | Dismantling of different capacity existing A/Cs & Water Cooler i/c transportation of dismantled items upto AAI dismantle store complete as require. | 32.00 | Job |  | 200.00 | 6400.00 | 500.00 | 16000.00 | 300.00 | 9600.00 | 600.00 | 19200.00 | 6400.00 | RS COOLING APPLIANCES
| Total in Figures |  |  |  |  | 3074598.00 |  | 2575130.00 |  | 2724540.00 |  | 2644026.10
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(2575130.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision Of Energy Efficient Split Type Air Conditioners And Water Cooler For Various Locations In Place Of Old ACs At Imphal International Airport (Year 2021-22). Tender ID: 2021_AAI_85320_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 2575130.00 | L1
| 2 | Mercantile Agency | 2644026.10 | L2
| 3 | jaydeep agency corporation | 2724540.00 | L3
| 4 | RS COOLING APPLIANCES | 3074598.00 | L4