## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 20-Sep-2021 06:19 PM Tender Title: ARMO works of E and M Installations at Madurai Airport during 2021 2022 SH Comprehensive Annual Maintenance Contract of Unitary Airconditioners,Walk in type cold storage facility, Water coolers, RO Plant and Water Dispensers at Madurai Airport Tender ID: 2021_AAI_86595_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO works of E&M Installations at Madurai Airport during 2021-2022. SH: Comprehensive Annual Maintenance Contract of Unitary Air-conditioners, Walk in type cold storage facility, Water coolers, RO Plant & Water Dispensers at Madurai Airport
Contract No: AAI/MDU/E-E/MDU-309/NIT-01/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CAC ENGINEERS PVT LTD(GSTN-33AAECC2301D2ZK) |  | M/s Cooltec(GSTN-33CZOPS9421C1Z6) |  | VEERABABU COMFORT COOL SYSTEM(GSTN-37BKKPM2510E1ZF) |  | RAM ENGINEERING GROUPS(GSTN-33AANPU3943P1ZW) |  | GENIUS AIRCON PRIVATE LIMITED(GSTN-33AAECG9150C1ZY) |  | Supertech Engineers(GSTN-07AAMPS2459M1ZZ) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation, preventive and breakdown maintenance of various AC’s, water Coolers,walk in type cold storage facilities,water dispensers, RO units etc installed at Nav-aids, OTB, Engineering offices,residential colony etc as detailed in “ANNEXURE-B” at Madurai Airport on general duty / shift duty / need basis in line with the requirements indicated in the tender document as required. (Two Skilled Technicians) The bidder shall not quote below the Prevailing Minimum wages for this item as per SPC - Clause-12 of Page No.5 | 12.00 | Months |  | 49000.00 | 588000.00 | 52500.00 | 630000.00 | 47000.00 | 564000.00 | 48500.00 | 582000.00 | 60000.00 | 720000.00 | 50000.00 | 600000.00 | 55000.00 | 660000.00 | 564000.00 | VEERABABU COMFORT COOL SYSTEM
2.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares , consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Ductable split type - 8.5 Ton | 2.00 | Each per Year |  | 8000.00 | 16000.00 | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 9000.00 | 18000.00 | 14000.00 | 28000.00 | 12000.00 | 24000.00 | 12780.00 | 25560.00 | 15000.00 | VEERABABU COMFORT COOL SYSTEM
3.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Hide away split type - 7.5 Ton | 2.00 | Each per Year |  | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 12000.00 | 24000.00 | 11000.00 | 22000.00 | 10950.00 | 21900.00 | 14000.00 | CAC ENGINEERS PVT LTD, VEERABABU COMFORT COOL SYSTEM
4.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Non-ductable split type with hide away fan coil units - 5 Ton | 2.00 | Each per Year |  | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 4800.00 | 9600.00 | 4500.00 | 9000.00 | 12000.00 | 24000.00 | 4500.00 | 9000.00 | 8500.00 | 17000.00 | 5000.00 | M/s Cooltec
5.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Cassette type Split - 4 Ton | 5.00 | Each per Year |  | 3600.00 | 18000.00 | 2800.00 | 14000.00 | 4000.00 | 20000.00 | 4200.00 | 21000.00 | 6500.00 | 32500.00 | 4450.00 | 22250.00 | 5000.00 | 25000.00 | 14000.00 | M/s Cooltec
6.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Vertical Split type - 3 Ton | 12.00 | Each per Year |  | 2700.00 | 32400.00 | 2800.00 | 33600.00 | 3500.00 | 42000.00 | 3800.00 | 45600.00 | 2800.00 | 33600.00 | 3175.00 | 38100.00 | 4850.00 | 58200.00 | 32400.00 | CAC ENGINEERS PVT LTD
7.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares, consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 2Ton | 22.00 | Each per Year |  | 1600.00 | 35200.00 | 2100.00 | 46200.00 | 2900.00 | 63800.00 | 2950.00 | 64900.00 | 1000.00 | 22000.00 | 2365.00 | 52030.00 | 1000.00 | 22000.00 | 22000.00 | GENIUS AIRCON PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
8.00 | All inclusive comprehensive maintenance of all types, makes and capacities of Air conditioning units including replacement of all defective parts with new spares ,consumables, voltage stabilizer, gas Charging, painting etc attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. Split type - 1.5Ton | 49.00 | Each per Year |  | 1500.00 | 73500.00 | 2000.00 | 98000.00 | 2500.00 | 122500.00 | 2950.00 | 144550.00 | 1000.00 | 49000.00 | 1100.00 | 53900.00 | 850.00 | 41650.00 | 41650.00 | NATIONAL SAFETY ENGINEERS
9.00 | All inclusive comprehensive maintenance of all types, makes and capacities of water coolers including routine and preventive maintenance, breakdown repairs, replacing of all defective parts with new spares ,consumables, painting etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 40/80 liter water cooler | 4.00 | Each per Year |  | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 800.00 | 3200.00 | 3850.00 | 15400.00 | 6000.00 | 24000.00 | 2350.00 | 9400.00 | 1800.00 | 7200.00 | 3200.00 | VEERABABU COMFORT COOL SYSTEM
10.00 | All inclusive Comprehensive Maintenance of 16 ltrs capacity hot & cold water dispensers with separate freezer compartment including water container for 20 ltrs capacity suitable for operation on 230V 50Hz AC supply including replacing spares, consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. | 6.00 | Each per Year |  | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 800.00 | 4800.00 | 1000.00 | 6000.00 | 6000.00 | 36000.00 | 2000.00 | 12000.00 | 2500.00 | 15000.00 | 4800.00 | VEERABABU COMFORT COOL SYSTEM
11.00 | Trans-installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 1.5 TR Split A/C | 1.00 | Job |  | 300.00 | 300.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 300.00 | CAC ENGINEERS PVT LTD
12.00 | Trans-installation of split airconditioners of following tonnages including dismantling, gas charging, modifying and joining of old pipelines etc utilizing the workman engaged vide job contract (Item No-I) complete as required. 2.0 TR split A/C | 1.00 | Job |  | 350.00 | 350.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 350.00 | CAC ENGINEERS PVT LTD
13.00 | Supply of 1/4" & 1/2" insulated copper pipe as per site requirement | 10.00 | Mtr |  | 450.00 | 4500.00 | 1000.00 | 10000.00 | 1180.00 | 11800.00 | 375.00 | 3750.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 3500.00 | GENIUS AIRCON PRIVATE LIMITED
14.00 | All inclusive comprehensive maintenance of Clear Aqua make 6 stage wall mounted 50 LPH R.O Purifier including replacing all spares , consumables etc utilizing the workman engaged vide job contract (Item No-I) complete as required. | 2.00 | Each per Year |  | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 7000.00 | 14000.00 | 1950.00 | 3900.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 3900.00 | RAM ENGINEERING GROUPS
15.00 | All inclusive comprehensive maintenance of 40/80 liter water cooler with 50 LPH inbuilt RO purifier including replacing spares, consumables, etc.attending break down maintenance, carrying routine and preventive maintenance utilizing the workman engaged vide job contract (Item No-I) complete as required. | 21.00 | Each per Quarter |  | 3000.00 | 63000.00 | 3200.00 | 67200.00 | 1600.00 | 33600.00 | 750.00 | 15750.00 | 5000.00 | 105000.00 | 1700.00 | 35700.00 | 1200.00 | 25200.00 | 15750.00 | RAM ENGINEERING GROUPS
16.00 | Half yearly testing of water quality for both chemical & bacterlogical examination At approved lab and furnishing the test report to AAI (Viz Appearance, color, order, turbidity, E.C, TDS, PH, alkalinity, hardness, Ca, Mg, Na, K, Fe, Mn, NH3, No2, No3, CI, F, SO4, PO4, Tidy's, E.coli count & TC) etc. as required. | 16.00 | Job |  | 1000.00 | 16000.00 | 4500.00 | 72000.00 | 400.00 | 6400.00 | 2000.00 | 32000.00 | 1680.00 | 26880.00 | 1300.00 | 20800.00 | 3000.00 | 48000.00 | 6400.00 | VEERABABU COMFORT COOL SYSTEM
17.00 | All inclusive Comprehensive Maintenance of 2 X 5MT walk in type cold storage facility at cargo complex including replacing defective parts like fan motors, blades, electric controls, wiring, thermostats, compressors, condensors, Cabin lights, siren, arresting water leakages of the cold storage room and refrigerant gas charging etc by utilizing the workman engaged vide job contract (Item No-I) complete as required. | 1.00 | Each per Year |  | 25000.00 | 25000.00 | 15000.00 | 15000.00 | 15062.61 | 15062.61 | 8900.00 | 8900.00 | 10000.00 | 10000.00 | 18000.00 | 18000.00 | 105000.00 | 105000.00 | 8900.00 | RAM ENGINEERING GROUPS
| Total in Figures |  |  |  |  | 922250.00 |  | 1091000.00 |  | 945762.61 |  | 990750.00 |  | 1150880.00 |  | 931180.00 |  | 1084710.00
Lowest Amount Quoted BY: CAC ENGINEERS PVT LTD(922250.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO works of E and M Installations at Madurai Airport during 2021 2022 SH Comprehensive Annual Maintenance Contract of Unitary Airconditioners,Walk in type cold storage facility, Water coolers, RO Plant and Water Dispensers at Madurai Airport Tender ID: 2021_AAI_86595_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CAC ENGINEERS PVT LTD | 922250.00 | L1
| 2 | Supertech Engineers | 931180.00 | L2
| 3 | VEERABABU COMFORT COOL SYSTEM | 945762.61 | L3
| 4 | RAM ENGINEERING GROUPS | 990750.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 1084710.00 | L5
| 6 | M/s Cooltec | 1091000.00 | L6
| 7 | GENIUS AIRCON PRIVATE LIMITED | 1150880.00 | L7