## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 29-Sep-2021 03:09 PM Tender Title: All INCLUSIVE CMC OF SPLIT/ CASSETTTEE TYPE AC AND WATER COOLER AT VARIOUS LOCATIONS OF CARVED AREA, AAI, RHQ, NER, GUWAHATI (2021-23) Tender ID: 2021_AAI_87644_1
Tender Inviting Authority:
Name of Work: All INCLUSIVE CMC OF SPLIT/ CASSETTTEE TYPE AC AND WATER COOLER AT VARIOUS LOCATIONS OF CARVED AREA, AAI, RHQ, NER, GUWAHATI (2021-23).
Contract No: 2021_AAI_87644_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RS COOLING APPLIANCES(GSTN-18AALFR2502H3Z8) |  | M/s S.T. Electricals(GSTN-18AJRPK5206C1ZA) |  | Tirupati Balaji Refrigeration and Electricals(GSTN-20AAFCT7915H1ZG)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | AICMC of Cassettee/split air-conditioner of all makes of 1.0/1.5 TR capacity, 230 V, 50Hz, 1 Phase, inclusive of quarterly preventive maintenance visit, unlimited breakdown call, replacement of all defective parts and all complete associated accessories including consumables and top up with suitable refrigerant up to required level etc. complete as per special conditions of contract.
2.00 | a) For 1st Year | 25.00 | Each | 0.00 | 2200.00 | 55000.00 | 1800.00 | 45000.00 | 4500.00 | 112500.00 | 45000.00 | M/s S.T. Electricals
3.00 | b) For 2nd Year | 30.00 | Each | 0.00 | 2200.00 | 66000.00 | 1800.00 | 54000.00 | 4800.00 | 144000.00 | 54000.00 | M/s S.T. Electricals
4.00 | AICMC of Cassettee/split air-conditioner of all makes of 1.8/2.0 TR capacity, 230 V, 50Hz, 1 Phase, inclusive of quarterly preventive maintenance visit, unlimited breakdown call, replacement of all defective parts and all complete associated accessories including consumables and top up with suitable refrigerant up to required level etc. complete as per special conditions of contract.
5.00 | a) For 1st Year | 5.00 | Each | 0.00 | 2500.00 | 12500.00 | 1800.00 | 9000.00 | 4500.00 | 22500.00 | 9000.00 | M/s S.T. Electricals
6.00 | b) For 2nd Year | 35.00 | Each | 0.00 | 2500.00 | 87500.00 | 1800.00 | 63000.00 | 4800.00 | 168000.00 | 63000.00 | M/s S.T. Electricals
7.00 | AICMC of Cassettee/split air-conditioner of all makes of 3.0/3.5 TR capacity, 415 V, 50Hz, 3 Phase, inclusive of quarterly preventive maintenance visit, unlimited breakdown call, replacement of all defective parts and all complete associated accessories including consumables and top up with suitable refrigerant up to required level etc. complete as per special conditions of contract.
8.00 | a) For 1st Year | 10.00 | Each | 0.00 | 4000.00 | 40000.00 | 2600.00 | 26000.00 | 7000.00 | 70000.00 | 26000.00 | M/s S.T. Electricals
9.00 | b) For 2nd Year | 10.00 | Each | 0.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 7200.00 | 72000.00 | 30000.00 | M/s S.T. Electricals
10.00 | Annual cleaning, servicing, repair & maintenance of solar water heater up to the capacity of 500 ltr. i/c unlimited breakdown call replacement of all defective parts and all complete associated accessories and parts complete as required as per special condition of contract.
11.00 | a) For 1st Year | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 120000.00 | 240000.00 | 10000.00 | RS COOLING APPLIANCES, M/s S.T. Electricals
12.00 | b) For 2nd Year | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 130000.00 | 260000.00 | 10000.00 | RS COOLING APPLIANCES, M/s S.T. Electricals
13.00 | AICMC of all type storage type water cooler cum purifier (60 to 120 ltr. storage capacity), 230 V, 50Hz, 1 Phase, inclusive of quarterly preventive maintenance visit, unlimited breakdown call, replacement of all defective parts including consumables and top up with suitable refrigerant up to required level etc. complete as per special conditions of contract.
14.00 | a) For 1st Year | 2.00 | Each | 0.00 | 3000.00 | 6000.00 | 5500.00 | 11000.00 | 6500.00 | 13000.00 | 6000.00 | RS COOLING APPLIANCES
15.00 | b) For 2nd Year | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 5500.00 | 55000.00 | 6800.00 | 68000.00 | 30000.00 | RS COOLING APPLIANCES
16.00 | Dismantling and Shifting of split AC units of all types and makes 1.0 to 3.5 TR capacity located at different site to AAI store complete i/c closing left out holes as required.
17.00 | a) For 1st Year | 6.00 | Nos. | 0.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 2500.00 | 15000.00 | 6000.00 | M/s S.T. Electricals
18.00 | b) For 2nd Year | 10.00 | Nos. | 0.00 | 1500.00 | 15000.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 10000.00 | M/s S.T. Electricals
19.00 | Dismantling and Shifting of cassettee AC units of all types and makes of 1.0 to 3.5 TR capacity located at different site to AAI store complete i/c closing left out holes as required
20.00 | a) For 1st Year | 5.00 | Nos. | 0.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 3500.00 | 17500.00 | 6000.00 | M/s S.T. Electricals
21.00 | b) For 2nd Year | 5.00 | Nos. | 0.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 4000.00 | 20000.00 | 6000.00 | M/s S.T. Electricals
22.00 | Re-Installation of dismantled/used split AC units of all types and makes of 1.0 to 3.5 TR capacity including necessary servicing, topping up of refrigerent, testing and commissioning complete as required
23.00 | a) For 1st Year | 10.00 | Nos. | 0.00 | 2600.00 | 26000.00 | 1650.00 | 16500.00 | 3000.00 | 30000.00 | 16500.00 | M/s S.T. Electricals
24.00 | b) For 2nd Year | 10.00 | Nos. | 0.00 | 2600.00 | 26000.00 | 1700.00 | 17000.00 | 3200.00 | 32000.00 | 17000.00 | M/s S.T. Electricals
25.00 | Re-Installation of dismantled/used cassettee AC units of all types and makes of 1.0 to 3.5 TR capacity including necessary servicing, topping up of refrigerent, testing and commissioning complete as required
26.00 | a) For 1st Year | 5.00 | Nos. | 0.00 | 2000.00 | 10000.00 | 2200.00 | 11000.00 | 3200.00 | 16000.00 | 10000.00 | RS COOLING APPLIANCES
27.00 | b) For 2nd Year | 5.00 | Nos. | 0.00 | 2000.00 | 10000.00 | 2200.00 | 11000.00 | 3500.00 | 17500.00 | 10000.00 | RS COOLING APPLIANCES
28.00 | Supply and fixing of following items at different locations as and when required.
29.00 | a) Angle Iron stand for different types of outdoor units. | 10.00 | Nos. | 0.00 | 1200.00 | 12000.00 | 1000.00 | 10000.00 | 750.00 | 7500.00 | 7500.00 | Tirupati Balaji Refrigeration and Electricals
30.00 | b) Copper refrigerent pipings with nitrile insulation of (1/2'' & 1/4'') sizes. | 30.00 | Mtrs. | 0.00 | 800.00 | 24000.00 | 700.00 | 21000.00 | 650.00 | 19500.00 | 19500.00 | Tirupati Balaji Refrigeration and Electricals
31.00 | c) Copper refrigerent pipings with nitrile insulation of (3/4'' & 1/2'') sizes. | 30.00 | Mtrs. | 0.00 | 900.00 | 27000.00 | 850.00 | 25500.00 | 850.00 | 25500.00 | 25500.00 | M/s S.T. Electricals, Tirupati Balaji Refrigeration and Electricals
32.00 | d) 25 mm dia size heavy duty PVC pipe for drain line. | 30.00 | Mtrs. | 0.00 | 140.00 | 4200.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 3000.00 | M/s S.T. Electricals, Tirupati Balaji Refrigeration and Electricals
33.00 | e) Thermostate for Hot water Geyser of all sizes. | 5.00 | Nos. | 0.00 | 1500.00 | 7500.00 | 700.00 | 3500.00 | 750.00 | 3750.00 | 3500.00 | M/s S.T. Electricals
34.00 | f) Heating element of Water Geyser 1.5 kw/2.0 kw | 5.00 | Nos. | 0.00 | 2500.00 | 12500.00 | 2200.00 | 11000.00 | 2000.00 | 10000.00 | 10000.00 | Tirupati Balaji Refrigeration and Electricals
35.00 | Submission of quarterly water potability report of water samples from different locations as shown in the measurement sheet from the approved district/ state water analysis laboratory.
36.00 | a) For 1st Year | 4.00 | Quarter | 0.00 | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 3500.00 | 14000.00 | 6000.00 | RS COOLING APPLIANCES
37.00 | b) For 2nd Year | 4.00 | Quarter | 0.00 | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 3800.00 | 15200.00 | 6000.00 | RS COOLING APPLIANCES
| Total in Figures |  |  |  |  | 572200.00 |  | 490500.00 |  | 1446450.00
Lowest Amount Quoted BY: M/s S.T. Electricals(490500.00)

## BOQ Summary
BOQ Summary Details Tender Title: All INCLUSIVE CMC OF SPLIT/ CASSETTTEE TYPE AC AND WATER COOLER AT VARIOUS LOCATIONS OF CARVED AREA, AAI, RHQ, NER, GUWAHATI (2021-23) Tender ID: 2021_AAI_87644_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s S.T. Electricals | 490500.00 | L1
| 2 | RS COOLING APPLIANCES | 572200.00 | L2
| 3 | Tirupati Balaji Refrigeration and Electricals | 1446450.00 | L3