## BoQ1
Government eProcurement System Created By: Ravinder Deepak Created Date/Time: 04-Oct-2021 05:13 PM Tender Title: Annual Maintenance Contract of 11KV 415V Substation Equipment ic Operation and Maintenance of the complete power supply system at Indian Aviation Academy and Hostel block of Indian Aviation Academy Vasant Kunj New Delhi Tender ID: 2021_AAI_87654_1
Tender Inviting Authority: Manager (Engg.-Elect.)
Name of Work: Annual Maintenance Contract of 11KV/415V Substation Equipment i/c Operation & Maintenance of the complete power supply system at Indian Aviation Academy & Hostel block of Indian Aviation Academy, Vasant Kunj, New Delhi.
Contract No: IAA/Engg.(E)/NIT/AMC/ Power-House/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ADWPA8366N1ZP) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | Suncity Enterprises(GSTN-08AFJPG5246E1ZK)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Operation & Maintenance of Substation installation
1.01 | Operation & Maintenance of 11KV/415V Sub-station equipments i/c HT panel, Transformers, Gensets & MV Panels including trouble shooting, preventive maintenance and break down maintenance as required as per good engineering practice, recommendations of the manufacture and instructions of Engineer-In-Charge and as per specification enclosed located at IAA substation by deploying following manpower on all working days i/c Sunday & Holidays.
1.02 | Senior Supervisor in G Shift i/c Sunday & Holidays (1 no. in each shift & Reliever shall be provided on Weekly Off) | 24.00 | Month | 30173.00 | 22000.00 | 528000.00 | 57000.00 | 1368000.00 | 27890.00 | 669360.00 | 70000.00 | 1680000.00 | 528000.00 | ANAND AND COMPANTY
1.03 | Electrician on round the clock basis i/c Sunday & Holidays (1 no. in each shift & Reliever shall be provided on Weekly Off) | 24.00 | Month | 83277.00 | 52000.00 | 1248000.00 | 42000.00 | 1008000.00 | 76900.00 | 1845600.00 | 50000.00 | 1200000.00 | 1008000.00 | SRS ENGINEERS
1.04 | DG Operator on round the clock basis i/c Sunday & Holidays (1 no. in each shift & Reliever shall be provided on Weekly Off) | 24.00 | Month | 83277.00 | 52000.00 | 1248000.00 | 42000.00 | 1008000.00 | 76900.00 | 1845600.00 | 50000.00 | 1200000.00 | 1008000.00 | SRS ENGINEERS
1.05 | Khallasi on round the clock basis i/c Sunday & Holidays (1 no. in each shift & Reliever shall be provided on Weekly Off) & (1 nos. in General Shift 6 days a week). | 24.00 | Month | 88312.00 | 50000.00 | 1200000.00 | 28500.00 | 684000.00 | 81550.00 | 1957200.00 | 45000.00 | 1080000.00 | 684000.00 | SRS ENGINEERS
2.00 | Extra Manpower required for misc. works in case of any emergency for following manpower as & when required:-
2.01 | Wireman (Skilled) | 200.00 | Hours | 113.00 | 10.00 | 2000.00 | 50.00 | 10000.00 | 98.00 | 19600.00 | 1500.00 | 300000.00 | 2000.00 | ANAND AND COMPANTY
2.02 | Khallasi (Unskilled) | 200.00 | Hours | 93.00 | 10.00 | 2000.00 | 35.00 | 7000.00 | 81.00 | 16200.00 | 1000.00 | 200000.00 | 2000.00 | ANAND AND COMPANTY
3.00 | SH-II: R & M Works
4.00 | Dehydration & Filtration of Transformer oil with High Vaccum Filtration Machine to achieve BDV up to the level of relavent IS Dielectric strength as required i/c submission of oil test reports from government approved laboratory after dehydration of oil as and when required. | 3200.00 | Ltr. | 11.00 | 8.00 | 25600.00 | 7.00 | 22400.00 | 2.00 | 6400.00 | 8.00 | 25600.00 | 6400.00 | NATIONAL SAFETY ENGINEERS
5.00 | Testing of Dielectric strength (BDV) of Transformer oil on yearly basis or as & when required for 02 nos. 2 MVA transformers & submission of report from government approved laboratory i/c collection of sample from site, transportation to lab complete as required. (1 Job includes complete testing of oil sample from 01 transformer) | 4.00 | Job | 2200.00 | 3500.00 | 14000.00 | 1500.00 | 6000.00 | 100.00 | 400.00 | 10000.00 | 40000.00 | 400.00 | NATIONAL SAFETY ENGINEERS
6.00 | Supply & Toping up the transformer oil in conservator tank upto the recommended level with fresh/treated transformer oil as & when required. | 100.00 | Ltr. | 170.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 10.00 | 1000.00 | 90.00 | 9000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
7.00 | Complete Testing & Calibration of all type of Relays of 12 KV Compact VCB HT Panel i/c submission of report for the same complete as per site requirement. | 5.00 | Each | 2000.00 | 2500.00 | 12500.00 | 1800.00 | 9000.00 | 50.00 | 250.00 | 25000.00 | 125000.00 | 250.00 | NATIONAL SAFETY ENGINEERS
8.00 | Servicing & Testing of 12 KV Compact VCB HT Panel i/c servicing of 05 Nos. 630A rating compact VCB Breaker, 2 Nos. PT i/c checking & tightening of connections etc. i/c submission of report from OEM or its Authorised Dealer complete as required on yearly basis. (01 Job- Complete servicing & testing of complete HT panel i/c all the compact VCB breakers, PTs etc.) | 5.00 | Job | 7500.00 | 9000.00 | 45000.00 | 7400.00 | 37000.00 | 1000.00 | 5000.00 | 25000.00 | 125000.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
9.00 | Overhauling and Servicing of following rating ABB make ACB of LT Panel.
9.01 | 800 Amp | 3.00 | Each | 1500.00 | 1500.00 | 4500.00 | 1400.00 | 4200.00 | 700.00 | 2100.00 | 17000.00 | 51000.00 | 2100.00 | NATIONAL SAFETY ENGINEERS
9.02 | 1000 Amp | 3.00 | Each | 2000.00 | 1500.00 | 4500.00 | 1900.00 | 5700.00 | 800.00 | 2400.00 | 17000.00 | 51000.00 | 2400.00 | NATIONAL SAFETY ENGINEERS
9.03 | 1250 Amp | 3.00 | Each | 2500.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 900.00 | 2700.00 | 17000.00 | 51000.00 | 2700.00 | NATIONAL SAFETY ENGINEERS
9.04 | 1600 Amp | 1.00 | Each | 2500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 17000.00 | 17000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
9.05 | 3200 Amp | 3.00 | Each | 3000.00 | 1500.00 | 4500.00 | 2200.00 | 6600.00 | 1200.00 | 3600.00 | 17000.00 | 51000.00 | 3600.00 | NATIONAL SAFETY ENGINEERS
10.00 | Rewinding of following openwell pump motors as & when required with enemelled copper winding wire, varnishing i/c greasing replacement of bearings/ bush, repairing of shaft including transporatation charges completed as required. (All dismantle material belongs to the contractor)
10.01 | 3.0 HP, 3 Phase Submersible Pumps | 1.00 | Each | 4000.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 1000.00 | 1000.00 | 10000.00 | 10000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
10.02 | 5.0 HP, 3 Phase Submersible Pumps | 2.00 | Each | 5500.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 1200.00 | 2400.00 | 15000.00 | 30000.00 | 2400.00 | NATIONAL SAFETY ENGINEERS
11.00 | Supply of following consumables, registers & other material:
11.01 | Old Cotton Dhoti (nominal size 2m x 1m) | 200.00 | Each | 20.00 | 20.00 | 4000.00 | 10.00 | 2000.00 | 2.00 | 400.00 | 20.00 | 4000.00 | 400.00 | NATIONAL SAFETY ENGINEERS
11.02 | PVC Cotton (ISI make) (1.80cm x 8mm x 0.125 mm) | 50.00 | Each | 50.00 | 20.00 | 1000.00 | 9.00 | 450.00 | 2.00 | 100.00 | 500.00 | 25000.00 | 100.00 | NATIONAL SAFETY ENGINEERS
11.03 | HT Tape (1 Roll of 3 Nos.) | 2.00 | Each | 300.00 | 50.00 | 100.00 | 100.00 | 200.00 | 3.00 | 6.00 | 1000.00 | 2000.00 | 6.00 | NATIONAL SAFETY ENGINEERS
11.04 | CRC Bottle (500ml) | 8.00 | Each | 300.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 10.00 | 80.00 | 450.00 | 3600.00 | 80.00 | NATIONAL SAFETY ENGINEERS
11.05 | Distilled Water | 50.00 | Ltr. | 10.00 | 15.00 | 750.00 | 5.00 | 250.00 | 2.00 | 100.00 | 50.00 | 2500.00 | 100.00 | NATIONAL SAFETY ENGINEERS
11.06 | Log Book DG Sets | 8.00 | Each | 200.00 | 120.00 | 960.00 | 120.00 | 960.00 | 3.00 | 24.00 | 100.00 | 800.00 | 24.00 | NATIONAL SAFETY ENGINEERS
11.07 | Log Book Power House | 8.00 | Each | 200.00 | 200.00 | 1600.00 | 150.00 | 1200.00 | 3.00 | 24.00 | 100.00 | 800.00 | 24.00 | NATIONAL SAFETY ENGINEERS
11.08 | Maintenance Registers | 8.00 | Each | 200.00 | 100.00 | 800.00 | 40.00 | 320.00 | 3.00 | 24.00 | 300.00 | 2400.00 | 24.00 | NATIONAL SAFETY ENGINEERS
11.09 | Supply of Silica Gel for Breather | 8.00 | kg | 400.00 | 250.00 | 2000.00 | 120.00 | 960.00 | 10.00 | 80.00 | 300.00 | 2400.00 | 80.00 | NATIONAL SAFETY ENGINEERS
12.00 | SH- III DSR ITEMS
12.01 | DSR Items Percentage above/below CPWD Schedule of Rates for E&M (2018) works totaling to Rs.1,00,000/- (Item to be executed as per the site requirement) (All DSR items Rate to be taken excluding GST) | 1.00 | As per DSR'2018 | 100000.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 70000.00 | 70000.00 | 100000.00 | 100000.00 | 50000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 4433410.00 |  | 4319940.00 |  | 6452648.00 |  | 6389100.00
Lowest Amount Quoted BY: SRS ENGINEERS(4319940.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of 11KV 415V Substation Equipment ic Operation and Maintenance of the complete power supply system at Indian Aviation Academy and Hostel block of Indian Aviation Academy Vasant Kunj New Delhi Tender ID: 2021_AAI_87654_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRS ENGINEERS | 4319940.00 | L1
| 2 | ANAND AND COMPANTY | 4433410.00 | L2
| 3 | Suncity Enterprises | 6389100.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 6452648.00 | L4