## BoQ1
Government eProcurement System Created By: Rajeev Ranjan Created Date/Time: 29-Sep-2021 01:02 PM Tender Title: Annual Operation and Maintenance Contract for E and M Installations at Terminal Building Hindon Airport for Two Years. (Year 2021-22 to 2023-24). Tender ID: 2021_AAI_87815_1
Tender Inviting Authority: AGM (Engg-E),AAI, RHQ-NR, New Delhi
Name of Work: Annual Operation & Maintenance Contract for E&M Installations at Terminal Building, Hindon Airport for Two Years. (Year 2021-22 to 2023-24).
Tender Id: 2021_AAI_87815 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | SKYLINE ELECTRICALS(GSTN-36AHNPJ7347K1ZR) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | SPARK UTILITY SERVICES PRIVATE LIMITED(GSTN-NA) |  | K Sharma Electricals Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance Running operation & maintenance of Internal and External electrical installations on all days at Hindon Airport and as per the requirement of works. The contractor has to deploy the following minimum man power per day including Saturday , Sunday & holidays etc, as per the instructions of Engineer-in-charge or his authorized representative. (a) Electrician - Skilled - 04 No. (b) Opeartor for pump -Semi-Skilled - 1 Nos. (c) khallasi - Unskilled - 04 Nos. | 24.00 | Month |  | 220000.00 | 5280000.00 | 214280.00 | 5142720.00 | 270000.00 | 6480000.00 | 205117.00 | 4922808.00 | 199730.00 | 4793520.00 | 186205.00 | 4468920.00 | 172300.00 | 4135200.00 | 210000.00 | 5040000.00 | 4135200.00 | SPARK UTILITY SERVICES PRIVATE LIMITED
2.00 | SH : II - Maintenance of Internal & External E & M Installations Testing the BDV value by applying minimum 40 KV for 1 minute of 500 KVA transformer's oil including submission of report as required. | 8.00 | JOB |  | 800.00 | 6400.00 | 2000.00 | 16000.00 | 5000.00 | 40000.00 | 600.00 | 4800.00 | 1000.00 | 8000.00 | 1650.00 | 13200.00 | 5000.00 | 40000.00 | 12000.00 | 96000.00 | 4800.00 | SKYLINE ELECTRICALS
3.00 | Filteration & Dehydration of transformer oil at site as per relavent IS Dielectric strength for transformers including submission of test reports before & after dehydration of oil & replacement of gasket if required installed at Hindon Airport. (Item is to be executed if the BDV value of transformer oil is found below the stipulated value & after prior approval of EIC). | 1500.00 | LTR |  | 2.00 | 3000.00 | 12.00 | 18000.00 | 10.00 | 15000.00 | 5.00 | 7500.00 | 5.00 | 7500.00 | 10.00 | 15000.00 | 20.00 | 30000.00 | 150.00 | 225000.00 | 3000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Supply and Toping up the transformer oil in conservator tank upto a required level with new treated transformer oil (As per IS and approved make) as and when required. | 125.00 | LTR |  | 20.00 | 2500.00 | 120.00 | 15000.00 | 199.00 | 24875.00 | 130.00 | 16250.00 | 160.00 | 20000.00 | 121.00 | 15125.00 | 130.00 | 16250.00 | 110.00 | 13750.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
5.00 | Inspection ,servicing, setting, testing & calibration of Numerical IDMT+INST. O/C & E/F RELAY model CGI 14C/CGI 14N /CGXH1 of CG make for exisiting 11 KV HT panel & checking the following parameters & submitting test reports to Engineer-in-charge as and when required. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting trips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of IDMT element D) Tripping from the transformer's buchholz relay, high temperature. etc i/c wiring check & inspection etc. | 10.00 | JOB |  | 500.00 | 5000.00 | 3000.00 | 30000.00 | 100.00 | 1000.00 | 12500.00 | 125000.00 | 1700.00 | 17000.00 | 3500.00 | 35000.00 | 7500.00 | 75000.00 | 7500.00 | 75000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Inspection ,servicing, setting, testing & calibration of Numerica IDMT+INST. O/C & E/F RELAY model MICOM P127 of Schneider make for exisiting LT panel & checking the following parameters & submitting test reports to Engineer-in-charge as and when required.. A) General Inspection. B) Wiring Check. C) Continuity of plug shifting trips & plug bridge shorting contacts. D) Secondary injection test i/c pick up current of IDMT element etc. | 8.00 | JOB |  | 500.00 | 4000.00 | 3000.00 | 24000.00 | 90.00 | 720.00 | 6500.00 | 52000.00 | 1800.00 | 14400.00 | 3500.00 | 28000.00 | 7500.00 | 60000.00 | 8500.00 | 68000.00 | 720.00 | NATIONAL SAFETY ENGINEERS
7.00 | Servicing, Checking and Testing of the following Make & Capacity Schneider make Air circuit breakers(ACB) through OEM/ authorised service agency of OEM as per OEM's recommendation and submission of test report to AAI complete as and when required. (Job includes checking of internal wiring of ACB and Panel and taking corrective action for proper operation of breaker/panel).
7.01 | 800A, Make: Schneider, 4 pole , Model: NW08 H1/NW08HA | 5.00 | JOB |  | 500.00 | 2500.00 | 3000.00 | 15000.00 | 500.00 | 2500.00 | 10000.00 | 50000.00 | 3500.00 | 17500.00 | 8000.00 | 40000.00 | 15000.00 | 75000.00 | 25000.00 | 125000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
8.00 | Servicing, Checking,Inspection, Repairing, overhauing and testing of CG Make, 12KV,800A HT Vacuum Circuit Breaker (Main breaker) through OEM/ authorised service agency of OEM, as per OEM's recommendation and submission of test report to AAI complete as and when required. (Job includes checking of internal wiring of VCB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works.)
8.01 | 12KV, Make: CG, 800A | 4.00 | JOB |  | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 600.00 | 2400.00 | 10000.00 | 40000.00 | 8500.00 | 34000.00 | 20000.00 | 80000.00 | 15000.00 | 60000.00 | 27000.00 | 108000.00 | 2400.00 | NATIONAL SAFETY ENGINEERS
9.00 | Servicing, Checking,Inspection, Repairing, overhauing and testing of CG Make, 12KV,600A HT Vacuum Circuit Breaker (Bus Coupler) through OEM/ authorised service agency of OEM as per recommended standards and submission of test report to AAI complete as and when required. (Job includes checking of internal wiring of VCB and Panel and taking corrective action for proper operation of breaker/panel including minor repairing works.)
9.01 | 12KV, Make: CG, 600A | 1.00 | JOB |  | 1000.00 | 1000.00 | 6000.00 | 6000.00 | 550.00 | 550.00 | 10000.00 | 10000.00 | 8500.00 | 8500.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 550.00 | NATIONAL SAFETY ENGINEERS
10.00 | Annual Comprehensive Maintenance Contract for 15 KVA UPS system along with battery bank (Make: Eaton) installed in Terminal Building and Power house at Hindon Airport. Job include quarterly visit of engineer, through OEM/ authorised service agency of OEM, performing periodincal maintenance as per OEM's recommendations, attending unlimited complaints / breakdown calls, taking rectification action, supply and replacement of all spare parts as and when required except batteries, ensuring serviceability/ satisfactory working condition of the system, preparing records/ submission of reports etc. as per terms and conditions complete as and when required.
10.01 | First Year (Rate per UPS per Year) | 4.00 | EACH |  | 2500.00 | 10000.00 | 43000.00 | 172000.00 | 1000.00 | 4000.00 | 35000.00 | 140000.00 | 50000.00 | 200000.00 | 30000.00 | 120000.00 | 30000.00 | 120000.00 | 5000.00 | 20000.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
10.02 | Second Year (Rate per UPS per Year) | 4.00 | EACH |  | 2500.00 | 10000.00 | 48000.00 | 192000.00 | 1200.00 | 4800.00 | 35000.00 | 140000.00 | 50000.00 | 200000.00 | 30000.00 | 120000.00 | 30000.00 | 120000.00 | 6000.00 | 24000.00 | 4800.00 | NATIONAL SAFETY ENGINEERS
11.00 | Annual Comprehensive maintenance contract of existing one number of 10.5 meter long electrically operated trolley gate including Servicing, repairing, supply and replacement of minor/ major spares as per requirement and to attend breakdown/ maintenance calls as and when required and ensure safe functioning of trolley gate to the satisfaction of Engineer-in-charge including technical support and spares from OEM. The Single track Trolley gate consists of automation system make- CAME, motor drive (580 W, 230 V), Sr.No- S00007S2I ,Electronic components, power transmitting device, chain, control panel, cable winder, cables, all safety devices, MS Structure of gate, track, roller, bearings, shafts, stoppers, etc and i/c all accessories. a) Size: 10.5 mtr long (approx.), Qty: 01 no. The work involves quarterly visit of engineer, through OEM/ service agency of OEM, as per recommended standards performing periodincal maintenance as per OEM's recommendations, attending unlimited complaints / breakdown calls, taking rectification action i/c submission of reports etc.as and when required.
11.01 | For First Year | 1.00 | JOB |  | 1500.00 | 1500.00 | 150000.00 | 150000.00 | 2000.00 | 2000.00 | 15000.00 | 15000.00 | 70000.00 | 70000.00 | 25000.00 | 25000.00 | 40000.00 | 40000.00 | 15000.00 | 15000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.02 | For Second Year | 1.00 | JOB |  | 1500.00 | 1500.00 | 185000.00 | 185000.00 | 2200.00 | 2200.00 | 18000.00 | 18000.00 | 80000.00 | 80000.00 | 25000.00 | 25000.00 | 40000.00 | 40000.00 | 16000.00 | 16000.00 | 1500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | Annual Comprehensive maintenance contract of automatic sliding doors including Servicing, repairing, supply and replacement of spares as per requirement and to attend breakdown/ maintenance calls as and when required and ensure safe functioning of automatic sliding door to the satisfaction of Engineer-in-charge including technical support and spares from OEM. The Automatic Sliding Door consists of automation system make Geze BY - Motor, Controller, Electronic components, power transmitting device, sensors, belt, clamp, rollars, cable winder, cables, all safety devices, stoppers, i/c all accessories. a) Frameless Biparting glass door set with side panel to provide clear sliding door opening The work involves quarterly visit of engineer, through OEM/ service agency of OEM as per recommended standards performing periodincal maintenance as per OEM's recommendations, attending unlimited complaints / breakdown calls, taking rectification action i/c submission of reports etc as and when required.
12.01 | For First Year (Rate per sliding door per Year) | 5.00 | EACH |  | 1500.00 | 7500.00 | 15000.00 | 75000.00 | 1000.00 | 5000.00 | 12000.00 | 60000.00 | 15000.00 | 75000.00 | 35000.00 | 175000.00 | 30000.00 | 150000.00 | 2000.00 | 10000.00 | 5000.00 | NATIONAL SAFETY ENGINEERS
12.02 | For Second Year (Rate per sliding door per Year) | 5.00 | EACH |  | 1500.00 | 7500.00 | 15000.00 | 75000.00 | 1100.00 | 5500.00 | 12000.00 | 60000.00 | 15000.00 | 75000.00 | 36000.00 | 180000.00 | 35000.00 | 175000.00 | 3000.00 | 15000.00 | 5500.00 | NATIONAL SAFETY ENGINEERS
13.00 | AICMC for Drinking Water Fountain along with RO System shall include monthly visit, servicing of Oasis Drinking Water Fountain, Model PG8ACY on comprehensive basis. The CMC shall include consumables like RO Membrane, Different type of Filters,pumps & other spare parts. The job includes visit charges of Service personnel through OEM/ authorize service center for carrying out Minimum 01(One) Monthly Preventive Maintenance visit for satisfactory working condition of the system , Breakdown maintenance visit as and when required basis till the complete rectification of the system, complete as required.
13.01 | For First Year (Rate per RO water Fountain per Year) | 4.00 | EACH |  | 1800.00 | 7200.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 8000.00 | 32000.00 | 15000.00 | 60000.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
13.02 | For Second Year (Rate per RO water Fountain per Year) | 4.00 | EACH |  | 1800.00 | 7200.00 | 4000.00 | 16000.00 | 1650.00 | 6600.00 | 4000.00 | 16000.00 | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 10000.00 | 40000.00 | 18000.00 | 72000.00 | 6600.00 | NATIONAL SAFETY ENGINEERS
14.00 | AICMC of Kent RO System, 25LPH shall include monthly visit, servicing of all the said products on comprehensive basis. The CMC shall include consumables like RO Membrane, Different type of Filters & other spare parts. The job includes visit charges of Service personnel through OEM/ authorize service center for carrying out Minimum 01(One) Monthly Preventive Maintenance visit for satisfactory working condition of the system , Breakdown maintenance visit as and when required basis till the complete rectification of the system, complete as required.
14.01 | Rate for First Year | 1.00 | EACH |  | 2200.00 | 2200.00 | 4000.00 | 4000.00 | 1000.00 | 1000.00 | 4500.00 | 4500.00 | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 4000.00 | 4000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
14.02 | Rate for Second Year | 1.00 | EACH |  | 2200.00 | 2200.00 | 4000.00 | 4000.00 | 1100.00 | 1100.00 | 2500.00 | 2500.00 | 12000.00 | 12000.00 | 12000.00 | 12000.00 | 20000.00 | 20000.00 | 4500.00 | 4500.00 | 1100.00 | NATIONAL SAFETY ENGINEERS
15.00 | AICMC for Water cooler Make: Voltas, Cooling Capacity: 40L/hr. Storage capacity: 80Ltrs shall include monthly visit, servicing of all the said products on comprehensive basis. The CMC shall includes consumables and replacement of unserviceable spare parts like tap, sensor, pumps, compressor etc with new one. The job includes visit charges of Service personnel through OEM/ authorize service center for carrying out Minimum 01(One) Monthly Preventive Maintenance visit for satisfactory working condition of the system , Breakdown maintenance visit as and when required basis till the complete rectification of the system, complete as required.
15.01 | Rate for First Year | 1.00 | EACH |  | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 4000.00 | 4000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
15.02 | Rate for Second Year | 1.00 | EACH |  | 1000.00 | 1000.00 | 6000.00 | 6000.00 | 1100.00 | 1100.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 18000.00 | 18000.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
16.00 | SH- III: Maintenance of Fire Alarm System Annual Maintenance Contract of Apollo make (model RS Elite) intelligent Addressable fire detection and alarm system complete (02 nos) (excluding batteries), detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at Hindon Airport through OEM or authorized service provider of OEM. Job include bimonthly visit of Engineer from OEM or OEM's authorized service provider, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints received through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required. Note :- Spares such as smoke detectors/ Heat Detectors/ Response indicator/Control Module/MCPs will be provided by AAI.
16.01 | Rate for First Year | 1.00 | JOB |  | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 30000.00 | 30000.00 | 22000.00 | 22000.00 | 70000.00 | 70000.00 | 317961.00 | 317961.00 | 25000.00 | 25000.00 | 10000.00 | 10000.00 | 10000.00 | K Sharma Electricals Private Limited
16.02 | Rate for Second Year | 1.00 | JOB |  | 20000.00 | 20000.00 | 70000.00 | 70000.00 | 33000.00 | 33000.00 | 25000.00 | 25000.00 | 75000.00 | 75000.00 | 333859.00 | 333859.00 | 30000.00 | 30000.00 | 12000.00 | 12000.00 | 12000.00 | K Sharma Electricals Private Limited
17.00 | SH-IV: Miscellaneous minor repair works for E&M installations, as per specification,as & when required with prior approval of Engineer in charge. Servicing, repairing of fully automatic sensor type hand dryers (Make: Euronics) including replacement of wornout / defective parts i/c sensors, and transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 4.00 | JOB |  | 500.00 | 2000.00 | 3000.00 | 12000.00 | 500.00 | 2000.00 | 5000.00 | 20000.00 | 4500.00 | 18000.00 | 11000.00 | 44000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
18.00 | Servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bearings, bolts & nuts i/c dismanteling, reinstallation of fan at the existing location as per requirement. | 10.00 | JOB |  | 100.00 | 1000.00 | 450.00 | 4500.00 | 50.00 | 500.00 | 650.00 | 6500.00 | 200.00 | 2000.00 | 440.00 | 4400.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 500.00 | NATIONAL SAFETY ENGINEERS
19.00 | Rewinding of the following ceiling fan, Exhaust Fan etc i/c dismanteling, transportation to workshop & back. (Dismantled material shall be the property of tenderer)
19.01 | Ceiling fan of all makes and models. | 10.00 | JOB |  | 150.00 | 1500.00 | 300.00 | 3000.00 | 100.00 | 1000.00 | 550.00 | 5500.00 | 250.00 | 2500.00 | 220.00 | 2200.00 | 700.00 | 7000.00 | 700.00 | 7000.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
19.02 | Exhaust Fan of all makes & model up to 450 mm. | 5.00 | JOB |  | 100.00 | 500.00 | 450.00 | 2250.00 | 110.00 | 550.00 | 650.00 | 3250.00 | 550.00 | 2750.00 | 242.00 | 1210.00 | 800.00 | 4000.00 | 1200.00 | 6000.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
20.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. ( charges for repairing or rectification of fault of pump/ motor will be paid separately). | 3.00 | JOB |  | 1000.00 | 3000.00 | 3500.00 | 10500.00 | 500.00 | 1500.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 3300.00 | 9900.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 1500.00 | NATIONAL SAFETY ENGINEERS
21.00 | Rewinding of the following Fire fighting/water pump motors and replacement of Bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning at site, as reqd. (Dismantled material shall be retained by the contractor).
21.01 | 1.5 HP, 3-phase, mono block, pump- motor | 1.00 | JOB |  | 500.00 | 500.00 | 2500.00 | 2500.00 | 500.00 | 500.00 | 2300.00 | 2300.00 | 1200.00 | 1200.00 | 2200.00 | 2200.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
21.02 | 3 HP, 3-phase, mono block, pump-motor | 1.00 | JOB |  | 500.00 | 500.00 | 3000.00 | 3000.00 | 700.00 | 700.00 | 3450.00 | 3450.00 | 2300.00 | 2300.00 | 3300.00 | 3300.00 | 1500.00 | 1500.00 | 8500.00 | 8500.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.03 | 3 HP, 3-phase, submersible pump-motor | 2.00 | JOB |  | 500.00 | 1000.00 | 3000.00 | 6000.00 | 800.00 | 1600.00 | 3450.00 | 6900.00 | 2500.00 | 5000.00 | 3080.00 | 6160.00 | 2500.00 | 5000.00 | 12000.00 | 24000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.04 | 5 HP, 3-phase, mono block pump-motor | 1.00 | JOB |  | 500.00 | 500.00 | 4500.00 | 4500.00 | 1000.00 | 1000.00 | 5175.00 | 5175.00 | 5000.00 | 5000.00 | 3630.00 | 3630.00 | 4000.00 | 4000.00 | 12500.00 | 12500.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.05 | 7.5 HP, 3-phase, Jockey pump-motor | 1.00 | JOB |  | 500.00 | 500.00 | 5000.00 | 5000.00 | 1200.00 | 1200.00 | 7475.00 | 7475.00 | 8500.00 | 8500.00 | 5500.00 | 5500.00 | 5000.00 | 5000.00 | 14000.00 | 14000.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
21.06 | 40 HP, 3-phase, Main Fire pump-motor | 1.00 | JOB |  | 500.00 | 500.00 | 40000.00 | 40000.00 | 1500.00 | 1500.00 | 34500.00 | 34500.00 | 18500.00 | 18500.00 | 13200.00 | 13200.00 | 20000.00 | 20000.00 | 100000.00 | 100000.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.00 | Repairing of following capacity of Fire fighting/submersible/ monoblock/water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust coller/ intermediate bowl bearing/ pump shaft/ Suction inlet/ suction adopter/ pump motor coupling / water seal /rotar polishing & tunning of roter etc i/c lath work, dismanteling, transportation to workshop & back and reinstallation i/c , testing & commissioning as reqd. (Dismantled material shall be retained by the contractor).
22.01 | 1.5 HP, 3-phase, mono block pump | 1.00 | JOB |  | 100.00 | 100.00 | 2000.00 | 2000.00 | 600.00 | 600.00 | 1725.00 | 1725.00 | 800.00 | 800.00 | 2200.00 | 2200.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.02 | 3 HP, 3-phase, mono block pump | 1.00 | JOB |  | 100.00 | 100.00 | 2200.00 | 2200.00 | 700.00 | 700.00 | 2588.00 | 2588.00 | 1500.00 | 1500.00 | 3300.00 | 3300.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.03 | 3 HP, 3-phase, submersible pump | 1.00 | JOB |  | 100.00 | 100.00 | 2200.00 | 2200.00 | 900.00 | 900.00 | 2588.00 | 2588.00 | 2500.00 | 2500.00 | 3080.00 | 3080.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.04 | 5 HP, 3-phase, mono block pump | 1.00 | JOB |  | 100.00 | 100.00 | 2200.00 | 2200.00 | 1000.00 | 1000.00 | 3882.00 | 3882.00 | 3500.00 | 3500.00 | 3850.00 | 3850.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.05 | 7.5 HP, 3-phase, Jockey pump | 1.00 | JOB |  | 100.00 | 100.00 | 3500.00 | 3500.00 | 1200.00 | 1200.00 | 5606.00 | 5606.00 | 4500.00 | 4500.00 | 5500.00 | 5500.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
22.06 | 40 HP, 3-phase, Main Fire pump | 1.00 | JOB |  | 100.00 | 100.00 | 35000.00 | 35000.00 | 2000.00 | 2000.00 | 10350.00 | 10350.00 | 15000.00 | 15000.00 | 13200.00 | 13200.00 | 1000.00 | 1000.00 | 25000.00 | 25000.00 | 100.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
23.00 | SH- V: Supply of the following items for day to maintenance as per specifications & reqired Makes, as and when required with prior approval of engineer in charge. 6 Amp. SP MCB 10 KA 'C series Make -Havells or equivalent approved make. | 10.00 | EACH |  | 35.00 | 350.00 | 180.00 | 1800.00 | 50.00 | 500.00 | 170.00 | 1700.00 | 115.00 | 1150.00 | 101.00 | 1010.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 350.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
24.00 | 10 Amp. SP MCB 10 KA 'C' series , Make -Havells or equivalent approved make. | 10.00 | EACH |  | 35.00 | 350.00 | 180.00 | 1800.00 | 50.00 | 500.00 | 170.00 | 1700.00 | 115.00 | 1150.00 | 105.00 | 1050.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 350.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
25.00 | 16 Amp. SP MCB 10 KA 'C' series , Make -Havells or equivalent approved make. | 10.00 | EACH |  | 35.00 | 350.00 | 180.00 | 1800.00 | 50.00 | 500.00 | 170.00 | 1700.00 | 115.00 | 1150.00 | 105.00 | 1050.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 350.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
26.00 | 20 Amp. SP MCB 10 KA 'C' series , Make -Havells or equivalent approved make. | 5.00 | EACH |  | 35.00 | 175.00 | 180.00 | 900.00 | 50.00 | 250.00 | 170.00 | 850.00 | 115.00 | 575.00 | 105.00 | 525.00 | 100.00 | 500.00 | 120.00 | 600.00 | 175.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
27.00 | 32 Amp. SP MCB 10 KA 'C' series , Make -Havells or equivalent approved make. | 5.00 | EACH |  | 35.00 | 175.00 | 180.00 | 900.00 | 50.00 | 250.00 | 170.00 | 850.00 | 115.00 | 575.00 | 105.00 | 525.00 | 100.00 | 500.00 | 120.00 | 600.00 | 175.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
28.00 | 63 Amp. DP MCB 10 KA 'C' series,Make -Havells or equivalent approved make. | 5.00 | EACH |  | 100.00 | 500.00 | 700.00 | 3500.00 | 100.00 | 500.00 | 852.00 | 4260.00 | 730.00 | 3650.00 | 690.00 | 3450.00 | 600.00 | 3000.00 | 650.00 | 3250.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
29.00 | 63 Amp. FP MCB 10 KA 'C' series , Make -Havells or equivalent approved make. | 5.00 | EACH |  | 100.00 | 500.00 | 1000.00 | 5000.00 | 150.00 | 750.00 | 1850.00 | 9250.00 | 2200.00 | 11000.00 | 1186.00 | 5930.00 | 1000.00 | 5000.00 | 950.00 | 4750.00 | 500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
30.00 | 32 Amp, SPN,240 V/415 V, RCBO, 300mA ,Make -Havells or equivalent approved make. | 2.00 | EACH |  | 100.00 | 200.00 | 600.00 | 1200.00 | 100.00 | 200.00 | 3200.00 | 6400.00 | 2400.00 | 4800.00 | 2222.00 | 4444.00 | 2500.00 | 5000.00 | 300.00 | 600.00 | 200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
31.00 | 40 Amp, TPN,240V/415V, RCBO, 300mA, Make -Havells or equivalent approved make. | 2.00 | EACH |  | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 200.00 | 400.00 | 3800.00 | 7600.00 | 3300.00 | 6600.00 | 3037.00 | 6074.00 | 3200.00 | 6400.00 | 950.00 | 1900.00 | 400.00 | NATIONAL SAFETY ENGINEERS
32.00 | 63 Amp,TPN,240V/415V, RCBO, 300mA , Make -Havells or equivalent approved make. | 2.00 | EACH |  | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 250.00 | 500.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 3714.00 | 7428.00 | 4500.00 | 9000.00 | 1200.00 | 2400.00 | 500.00 | NATIONAL SAFETY ENGINEERS
33.00 | Smoke Detector, Model: 58000-650 , Make: APOLLO | 10.00 | EACH |  | 100.00 | 1000.00 | 2500.00 | 25000.00 | 150.00 | 1500.00 | 1260.00 | 12600.00 | 1300.00 | 13000.00 | 2585.00 | 25850.00 | 1000.00 | 10000.00 | 4500.00 | 45000.00 | 1000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
34.00 | Heat Detector, Model: 58000-450, Make: APOLLO | 2.00 | EACH |  | 100.00 | 200.00 | 3000.00 | 6000.00 | 150.00 | 300.00 | 1620.00 | 3240.00 | 3900.00 | 7800.00 | 2695.00 | 5390.00 | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
35.00 | Response Indicator, Model: 53832-070, Make: APOLLO | 5.00 | EACH |  | 100.00 | 500.00 | 2200.00 | 11000.00 | 50.00 | 250.00 | 540.00 | 2700.00 | 475.00 | 2375.00 | 3575.00 | 17875.00 | 1000.00 | 5000.00 | 3000.00 | 15000.00 | 250.00 | NATIONAL SAFETY ENGINEERS
36.00 | Control Module, Model: 55000-820, Make: APOLLO | 1.00 | EACH |  | 500.00 | 500.00 | 2000.00 | 2000.00 | 200.00 | 200.00 | 2520.00 | 2520.00 | 1900.00 | 1900.00 | 385.00 | 385.00 | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 200.00 | NATIONAL SAFETY ENGINEERS
37.00 | 2.5 MFD 230V /440 AC capictor (Make: Havells or equivalent approved make) | 10.00 | EACH |  | 20.00 | 200.00 | 50.00 | 500.00 | 10.00 | 100.00 | 144.00 | 1440.00 | 23.00 | 230.00 | 17.00 | 170.00 | 500.00 | 5000.00 | 30.00 | 300.00 | 100.00 | NATIONAL SAFETY ENGINEERS
38.00 | 12 volt 180AH sealed maintenance free battery for DG set, with 18 months replacement warrantee, Make: Exide Xpresso | 3.00 | EACH |  | 2500.00 | 7500.00 | 18000.00 | 54000.00 | 1000.00 | 3000.00 | 16680.00 | 50040.00 | 13500.00 | 40500.00 | 17600.00 | 52800.00 | 18000.00 | 54000.00 | 800.00 | 2400.00 | 2400.00 | K Sharma Electricals Private Limited
39.00 | 12 volt, 26 AH nominal SMF battery for UPS. at site etc complete as required.make :-Aamaron Quanta or equivalent | 100.00 | EACH |  | 240.00 | 24000.00 | 3500.00 | 350000.00 | 500.00 | 50000.00 | 2580.00 | 258000.00 | 2400.00 | 240000.00 | 2959.00 | 295900.00 | 2300.00 | 230000.00 | 500.00 | 50000.00 | 24000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
40.00 | 12 volt, 7 AH nominal SMF battery for Fire panel make :-Aamaron Quanta or equivalent | 2.00 | EACH |  | 100.00 | 200.00 | 2000.00 | 4000.00 | 200.00 | 400.00 | 840.00 | 1680.00 | 1150.00 | 2300.00 | 836.00 | 1672.00 | 1000.00 | 2000.00 | 800.00 | 1600.00 | 200.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
41.00 | 5/6 amp 3 pin Plug Top, Make: north west (CAT NO.-P9111) | 5.00 | EACH |  | 1.00 | 5.00 | 30.00 | 150.00 | 10.00 | 50.00 | 78.00 | 390.00 | 75.00 | 375.00 | 73.00 | 365.00 | 70.00 | 350.00 | 25.00 | 125.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
42.00 | 15/16 amp 3 pin Plug Top, Make- northwest (CAT NO.-P9131) | 5.00 | EACH |  | 1.00 | 5.00 | 45.00 | 225.00 | 20.00 | 100.00 | 114.00 | 570.00 | 110.00 | 550.00 | 103.00 | 515.00 | 145.00 | 725.00 | 50.00 | 250.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
43.00 | 6 Amp 1 way modular type switch Make: Northwest TYPE -NOWA (CAT NO.-A0110) | 10.00 | EACH |  | 1.00 | 10.00 | 70.00 | 700.00 | 15.00 | 150.00 | 38.00 | 380.00 | 75.00 | 750.00 | 72.00 | 720.00 | 55.00 | 550.00 | 100.00 | 1000.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
44.00 | 16 Amp 1 way modular type switch Make: Northwest ,TYPE -NOWA (CAT NO.-A0130) | 5.00 | EACH |  | 1.00 | 5.00 | 120.00 | 600.00 | 20.00 | 100.00 | 82.00 | 410.00 | 115.00 | 575.00 | 111.00 | 555.00 | 95.00 | 475.00 | 150.00 | 750.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
45.00 | 6 Amp, 3 pin modular type socket-2M, Make:Northwest, TYPE-NOVA (CAT NO.1332) | 5.00 | EACH |  | 1.00 | 5.00 | 110.00 | 550.00 | 20.00 | 100.00 | 74.00 | 370.00 | 250.00 | 1250.00 | 231.00 | 1155.00 | 75.00 | 375.00 | 300.00 | 1500.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.00 | 16 Amp, 3 pin modular type socket-2M, Make:Northwest, TYPE-NOVA (CAT NO.1352) | 5.00 | EACH |  | 1.00 | 5.00 | 120.00 | 600.00 | 25.00 | 125.00 | 117.00 | 585.00 | 300.00 | 1500.00 | 295.00 | 1475.00 | 95.00 | 475.00 | 450.00 | 2250.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
47.00 | Electronic Steped type modular fan regulator Make:NORTHWEST,Type-NOWA(CAT NO-A1900). | 5.00 | EACH |  | 1.00 | 5.00 | 210.00 | 1050.00 | 30.00 | 150.00 | 168.00 | 840.00 | 430.00 | 2150.00 | 426.00 | 2130.00 | 250.00 | 1250.00 | 650.00 | 3250.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
48.00 | 6 Amp Switch Socket Combined, TYPE-Penta (Code NO.-38820), (Make -Anchor or equivalent approved make). | 10.00 | EACH |  | 1.00 | 10.00 | 150.00 | 1500.00 | 10.00 | 100.00 | 117.00 | 1170.00 | 85.00 | 850.00 | 44.00 | 440.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 10.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
49.00 | 16 Amp Switch Socket Combined, TYPE-Penta (Code NO.-39998), (Make -Anchor or equivalent approved make). | 5.00 | EACH |  | 1.00 | 5.00 | 150.00 | 750.00 | 15.00 | 75.00 | 201.00 | 1005.00 | 79.00 | 395.00 | 44.00 | 220.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 5.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
50.00 | 1.5 sqmm, FR-LSH, PVC single core copper cable (90 mtr. length ). complete as required.(Make -Havells or equivalent approved make). | 6.00 | COIL |  | 750.00 | 4500.00 | 1350.00 | 8100.00 | 200.00 | 1200.00 | 1662.00 | 9972.00 | 1650.00 | 9900.00 | 1426.00 | 8556.00 | 1700.00 | 10200.00 | 4000.00 | 24000.00 | 1200.00 | NATIONAL SAFETY ENGINEERS
51.00 | 2.5 sqmm, FR-LSH, PVC single core copper cable (90 mtr. length ). complete as required.(Make -Havells or equivalent approved make). | 2.00 | COIL |  | 900.00 | 1800.00 | 2350.00 | 4700.00 | 250.00 | 500.00 | 2700.00 | 5400.00 | 2700.00 | 5400.00 | 2295.00 | 4590.00 | 2600.00 | 5200.00 | 6500.00 | 13000.00 | 500.00 | NATIONAL SAFETY ENGINEERS
52.00 | 4 sqmm, FR-LSH, PVC single core copper cable (90 mtr. length ). complete as required.(Make -Havells or equivalent approved make). | 4.00 | COIL |  | 1000.00 | 4000.00 | 5400.00 | 21600.00 | 300.00 | 1200.00 | 4107.00 | 16428.00 | 3900.00 | 15600.00 | 3533.00 | 14132.00 | 4500.00 | 18000.00 | 10500.00 | 42000.00 | 1200.00 | NATIONAL SAFETY ENGINEERS
53.00 | 3 core having 2.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible,(100mtr Length) 1100 volts, confirming to IS 694. (Make -Havells or equivalent approved make). | 1.00 | COIL |  | 1000.00 | 1000.00 | 9000.00 | 9000.00 | 350.00 | 350.00 | 13860.00 | 13860.00 | 8900.00 | 8900.00 | 7271.00 | 7271.00 | 7000.00 | 7000.00 | 12000.00 | 12000.00 | 350.00 | NATIONAL SAFETY ENGINEERS
54.00 | 3 core having 4 sqmm. nominal area of conductor PVC insulated and PVC sheathed copper conductor Flat industrial cable for submersible motor pump, 1100 volts, confirming to IS 694. (Make -Havells or equivalent approved make). | 100.00 | MTR |  | 35.00 | 3500.00 | 120.00 | 12000.00 | 5.00 | 500.00 | 160.00 | 16000.00 | 135.00 | 13500.00 | 133.00 | 13300.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 500.00 | NATIONAL SAFETY ENGINEERS
55.00 | 4Cx 16 sqmm aluminium XLPE insulated /PVC sheathed armoured 1.1KV grade conforming to IS:7098 (Part-1) 1988 with up to date amendments power cable etc.(Make -Havells or equivalent approved make). | 200.00 | MTR |  | 50.00 | 10000.00 | 125.00 | 25000.00 | 50.00 | 10000.00 | 168.00 | 33600.00 | 86.00 | 17200.00 | 132.00 | 26400.00 | 300.00 | 60000.00 | 265.00 | 53000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
56.00 | SH- VI: DSR Items To carry out the item of work as per requirement of site from the CPWD schedule of rates (Electrical DSR - 2018) as per CPWD specifications complete as required. (Total amount of Rs. 1,50000.00 (exclusive of GST) is kept for -DSR Items-2018) NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 1,35,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 1,50,000/- then Percentage will considered as 0% above/below DSR 2018. (iii) If quoted Rate is Rs. 1,65,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE QUOTED PERCENTAGE AS PER SITE REQUIRMENT. | 1.00 | JOB |  | 50000.00 | 50000.00 | 130000.00 | 130000.00 | 135000.00 | 135000.00 | 135000.00 | 135000.00 | 150000.00 | 150000.00 | 135000.00 | 135000.00 | 140000.00 | 140000.00 | 135000.00 | 135000.00 | 50000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 5534855.00 |  | 7122995.00 |  | 6898595.00 |  | 6503657.00 |  | 6577120.00 |  | 6943247.00 |  | 6048450.00 |  | 6754625.00
Lowest Amount Quoted BY: S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(5534855.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for E and M Installations at Terminal Building Hindon Airport for Two Years. (Year 2021-22 to 2023-24). Tender ID: 2021_AAI_87815_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 5534855.00 | L1
| 2 | SPARK UTILITY SERVICES PRIVATE LIMITED | 6048450.00 | L2
| 3 | SKYLINE ELECTRICALS | 6503657.00 | L3
| 4 | SRS ENGINEERS | 6577120.00 | L4
| 5 | K Sharma Electricals Private Limited | 6754625.00 | L5
| 6 | NATIONAL SAFETY ENGINEERS | 6898595.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 6943247.00 | L7
| 8 | Manish Electricals | 7122995.00 | L8