## BoQ1
Government eProcurement System Created By: Nilmani Deb Barman Created Date/Time: 08-Dec-2021 02:04 PM Tender Title: Renovation minor rectification of feeder panels LT panels and distribution panel at various location like AAI residential Colony IRP Plant and Lagoons at Kolkata Airport Tender ID: 2021_AAI_88047_1
Tender Inviting Authority: Airports Authrity of India, NSCBI Airport, Kolkata
Name of Work: Renovation / minor rectification of feeder panels, LT panels and distribution panel at various location like AAI residential Colony, IRP Plant and Lagoons at Kolkata Airport.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | SHREE GOURI ELECTRIC ENTERPRISE(GSTN-19ADDPB4683J1ZE) |  | SAHA COMMERCIAL CONSTRUCTION(GSTN-19AASFS6288A1ZN) |  | Industrial Traders(GSTN-09ACJPC1773F1ZQ) |  | Mukherjee Commercial Enterprise(GSTN-19ALVPM0307N1ZJ) |  | Rekha Enterprises(GSTN-27ADZPB3409Q1ZV) |  | BR Power Control and Automation Services(GSTN-06AREPS4024K1ZP) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | M/s J.K. Electric Engineering Works(GSTN-19AAHFJ4404E1ZL) |  | STAR ENTERPRISE(GSTN-NA) |  | RN Electro Power Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, fabrication, SITC of dust & vermin proof out door feeder pillar made of not less than 2mm thick MS sheet of suitable size confirming to IP 54 with 4 strip aluminium bus bar suitable for 100 amps capacity & including hinged lockable door on the front side of panel etc, as required. Supply and fixing of following electrical switchgears including interconnection of switchgears with suitable capacity of aluminium cable, required 3 phase ammeter and Volt meter, LED indicators, interconnection, earthing, painting, suitable cement concrete base/wall mounting arrangement as per instruction of engg-in-charge etc complete as required. 100 A, 25KA, 4 Pole MCCB-1 No. ( Incomer) 63A, DP MCB with MS Box - 10 Nos Analog Voltmeter ( 0- 500 Volts)-1 No. Analog Ammeter ( 0 to 100 A )-1 No. Selector switches for Ammeter & voltmeter.- 1 set | 1.00 | Job |  | 45000.00 | 45000.00 | 71000.00 | 71000.00 | 61000.00 | 61000.00 | 46400.00 | 46400.00 | 62000.00 | 62000.00 | 45000.00 | 45000.00 | 40219.00 | 40219.00 | 37000.00 | 37000.00 | 58000.00 | 58000.00 | 51000.00 | 51000.00 | 57419.34 | 57419.34 | 37000.00 | T K MAZUMDER
2.00 | Design, fabrication, SITC of dust & vermin proof out door feeder pillar made of not less than 2mm thick MS sheet of suitable size confirming to IP 54 with 4 strip aluminium bus bar suitable for 200 amps capacity & including hinged lockable door on the front side of panel etc, as required. Supply and fixing of following electrical switchgears including interconnection of switchgears with suitable capacity of aluminium cable, required 3 phase ammeter and Volt meter, LED indicators, interconnection, earthing, painting, suitable cement concrete base/wall mounting arrangement as per instruction of engg-in-charge etc complete as required. 200 A, 36KA, 4 Pole MCCB-1 No. ( Incomer) 100 A, 25KA, 4 Pole MCCB-2 Nos 63A DP MCB -1 No. Analog Voltmeter ( 0 to 500 Volts )-1 No. Analog Ammeter ( 0 to 200 A )-1 No. Selector switches for Ammeter & voltmeter.- 1 set | 1.00 | Job |  | 70000.00 | 70000.00 | 115000.00 | 115000.00 | 110000.00 | 110000.00 | 63800.00 | 63800.00 | 108000.00 | 108000.00 | 60000.00 | 60000.00 | 75916.00 | 75916.00 | 50000.00 | 50000.00 | 95000.00 | 95000.00 | 76000.00 | 76000.00 | 90083.96 | 90083.96 | 50000.00 | T K MAZUMDER
3.00 | Design, fabrication, SITC of dust & vermin proof out door feeder pillar made of not less than 2mm thick MS sheet of suitable size confirming to IP 54 with 4 strip aluminium bus bar suitable for 250 amps capacity & including hinged lockable door on the front side of panel etc, as required. Supply and fixing of following electrical switchgears including interconnection of switchgears with suitable capacity of aluminium cable, required 3 phase ammeter and Volt meter, LED indicators, interconnection, earthing, painting, suitable cement concrete base/wall mounting arrangement as per instruction of engg-in-charge etc complete as required 250 A, 36KA, 4 Pole MCCB-1 No. ( Incomer) 200 A, 25KA, 4 Pole MCCB-2 Nos 100 A, 25KA, 4 Pole MCCB-1 No. 63A FP, MCB -1 No. Analog Voltmeter ( 0 to 500 Volts )-1 No. Analog Ammeter ( 0 to 250 A )-1 No Selector switches for Ammeter & voltmeter.- 1 set | 1.00 | Job |  | 110000.00 | 110000.00 | 171000.00 | 171000.00 | 165000.00 | 165000.00 | 87000.00 | 87000.00 | 124000.00 | 124000.00 | 105000.00 | 105000.00 | 118837.00 | 118837.00 | 73000.00 | 73000.00 | 140000.00 | 140000.00 | 95000.00 | 95000.00 | 131582.13 | 131582.13 | 73000.00 | T K MAZUMDER
4.00 | Design fabrication, SITC of dust & vermin proof sub-main out door feeder pillar made of not less than 2 mm thick MS sheet of suitable size confirming to IP 54 with 4 strip Aluminium bus bar suitable for 400 amps capacity & including hinged lockable doors on the size of panel etc, as required. Supply and fixing of following electrical switchgears including interconnection of switchgears with suitable capacity of single core copper cable, required 3 phase ammeter and Volt meter with selector switches, LED indicators, interconnection, earthing, painting, suitable cement concrete base/wall mounting arrangement as per instruction of engg-in-charge etc complete as required. 400 A, 36KA, 4 Pole MCCB-2 Nos(Incomer) 400 A change over with fuse control - 1 Nos 250A, 35KA,4 Pole MCCB - 6 Nos 100A, 25KA,4 Pole MCCB - 2 Nos Digital Voltmeter ( 0 to 500 Volts ) -1 No. Digital Ammeter ( 0 to 400 A )-1 No. Selector switches for Ammeter & voltmeter.- 1 set | 6.00 | Job |  | 300000.00 | 1800000.00 | 476000.00 | 2856000.00 | 325000.00 | 1950000.00 | 227000.00 | 1362000.00 | 288000.00 | 1728000.00 | 260000.00 | 1560000.00 | 322691.00 | 1936146.00 | 191500.00 | 1149000.00 | 400000.00 | 2400000.00 | 200000.00 | 1200000.00 | 432017.89 | 2592107.34 | 1149000.00 | T K MAZUMDER
5.00 | Fabrication, treatment & painting of damaged portion of cabinet Box in the existing LT panel as per the site requirement upto the satisfaction of Engg-in- charge etc. complete as required. | 40.00 | Sq.mtr. |  | 1200.00 | 48000.00 | 3200.00 | 128000.00 | 850.00 | 34000.00 | 1390.00 | 55600.00 | 900.00 | 36000.00 | 1000.00 | 40000.00 | 295.00 | 11800.00 | 700.00 | 28000.00 | 2500.00 | 100000.00 | 4725.00 | 189000.00 | 960.27 | 38410.80 | 11800.00 | BR Power Control and Automation Services
6.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
6.01 | 8 way , Double door | 2.00 | Each |  | 1200.00 | 2400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 1740.00 | 3480.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 4031.00 | 8062.00 | 8000.00 | 16000.00 | 1500.00 | 3000.00 | 1700.00 | 3400.00 | 4853.64 | 9707.28 | 2400.00 | Youngmen Traders
7.00 | Supplying and fixing 63 A rating, 240/415 V, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
7.01 | Double pole | 2.00 | Each |  | 900.00 | 1800.00 | 1100.00 | 2200.00 | 1250.00 | 2500.00 | 695.00 | 1390.00 | 1000.00 | 2000.00 | 700.00 | 1400.00 | 866.00 | 1732.00 | 900.00 | 1800.00 | 1050.00 | 2100.00 | 1060.00 | 2120.00 | 853.86 | 1707.72 | 1390.00 | Industrial Traders
8.00 | Relacement of existing outdoor type feeder panel of size 1750mmx 1000mmx500mm with dust & vermin proof made of not less than 2mm thick MS sheet and confirming to IP 54 with 4 strip of aluminimum busbar suitable for 250A capacity & including hinged lockable door on the front side of panel etc, as required including earthing, painting, suitable cement concrete base/wall mounting arrangement as per instruction of engg-in-charge etc complete as required.The following switchgears and accessories i/c their interconnection with suitable size of aluminium cable shall be fitted to the above panel board. 1.Fixing of existing switchgears in the new panel (switchgears to be dismentalled from old feeder panel except one SFU units). a) 200 A, 4 Pole MCCB-1 No. ( Incomer) b )100 A,4 Pole MCCB-4 Nos 2. Supply & Fixing of following accessopries and switchgear. a) 100A,25KA 4 Pole MCCB- 1 No b)Analog ammeter( 0-250A )- 1 No c) Analog Voltmeter ( 0-500 Volts) - 1 No d)Selector switchs for ammeter & voltmeter- 1 Set e)LED indicators -1 Sets | 1.00 | Job |  | 50000.00 | 50000.00 | 205000.00 | 205000.00 | 100000.00 | 100000.00 | 71900.00 | 71900.00 | 35000.00 | 35000.00 | 90000.00 | 90000.00 | 74283.00 | 74283.00 | 61000.00 | 61000.00 | 80000.00 | 80000.00 | 119000.00 | 119000.00 | 108163.53 | 108163.53 | 35000.00 | Mukherjee Commercial Enterprise
9.00 | Dismantling of existing Fedder/ LT panel of various sizes with all end terminations and shifting the same to AAI store as per the instruction and complete satisfaction of Engg-in-charge etc. complete as required. | 9.00 | Job |  | 1500.00 | 13500.00 | 3000.00 | 27000.00 | 5000.00 | 45000.00 | 1160.00 | 10440.00 | 3600.00 | 32400.00 | 2000.00 | 18000.00 | 10848.00 | 97632.00 | 2000.00 | 18000.00 | 2000.00 | 18000.00 | 7000.00 | 63000.00 | 3092.78 | 27835.02 | 10440.00 | Industrial Traders
10.00 | Supply of 20 watt LED tube light fixtures ( 6500 K) with integral LED driver suitable to be operated with 230 V AC, diffuser / reflectors, connecting terminal, internal wiring etc. complete with all fixing accessories as required. (Similar to LHEXBLP7PN1W020 or equivalent model of approved make.) | 500.00 | Each |  | 190.00 | 95000.00 | 190.00 | 95000.00 | 195.00 | 97500.00 | 200.00 | 100000.00 | 350.00 | 175000.00 | 325.00 | 162500.00 | 301.00 | 150500.00 | 230.00 | 115000.00 | 230.00 | 115000.00 | 280.00 | 140000.00 | 359.82 | 179910.00 | 95000.00 | Youngmen Traders, SHREE GOURI ELECTRIC ENTERPRISE
11.00 | Supply of 1200mm sweep ceiling fan with energy rating not less than 5 star. (Make:Orient, Model: IS-5 or equivalent model of approved makes) | 200.00 | Each |  | 2200.00 | 440000.00 | 2400.00 | 480000.00 | 2550.00 | 510000.00 | 2200.00 | 440000.00 | 1850.00 | 370000.00 | 1850.00 | 370000.00 | 2622.00 | 524400.00 | 2586.00 | 517200.00 | 2400.00 | 480000.00 | 2000.00 | 400000.00 | 2470.54 | 494108.00 | 370000.00 | Mukherjee Commercial Enterprise, Rekha Enterprises
12.00 | Supply of 300mm dia, 900 RPM Metal Blade heavy duty exhaust fan suitable for single phase 230v.50Hz A/C supply complete with all accessories ertc. Complete as required | 100.00 | Each |  | 2000.00 | 200000.00 | 2200.00 | 220000.00 | 2350.00 | 235000.00 | 2125.00 | 212500.00 | 2850.00 | 285000.00 | 1100.00 | 110000.00 | 2552.00 | 255200.00 | 1450.00 | 145000.00 | 2450.00 | 245000.00 | 2600.00 | 260000.00 | 2511.71 | 251171.00 | 110000.00 | Rekha Enterprises
13.00 | Supply of following electrical components with all accessories suitable for fixing in feeder panel meant for borewell pumps etc. complete as required
13.01 | 3P MNX-40 Power Contactor as suitable to site requirement. | 40.00 | Each |  | 2600.00 | 104000.00 | 1487.00 | 59480.00 | 2750.00 | 110000.00 | 3229.00 | 129160.00 | 4000.00 | 160000.00 | 2330.00 | 93200.00 | 3142.00 | 125680.00 | 3108.00 | 124320.00 | 3000.00 | 120000.00 | 3000.00 | 120000.00 | 3041.57 | 121662.80 | 59480.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.02 | 3P MNX-50 Power Contactor as suitable to site requirement. | 30.00 | Each |  | 3600.00 | 108000.00 | 2020.00 | 60600.00 | 3550.00 | 106500.00 | 4380.00 | 131400.00 | 5800.00 | 174000.00 | 3165.00 | 94950.00 | 4264.00 | 127920.00 | 4219.00 | 126570.00 | 4070.00 | 122100.00 | 3800.00 | 114000.00 | 4128.31 | 123849.30 | 60600.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.03 | 4P MCX-32 Power Contactor as suitable to site requirement. | 40.00 | Each |  | 9800.00 | 392000.00 | 5500.00 | 220000.00 | 10000.00 | 400000.00 | 11985.00 | 479400.00 | 14500.00 | 580000.00 | 8650.00 | 346000.00 | 12080.00 | 483200.00 | 11539.00 | 461560.00 | 11530.00 | 461200.00 | 1100.00 | 44000.00 | 11291.67 | 451666.80 | 44000.00 | STAR ENTERPRISE
13.04 | 3P ML-2 Power Contactor as suitable to site requirement. | 40.00 | Each |  | 4400.00 | 176000.00 | 2350.00 | 94000.00 | 4750.00 | 190000.00 | 4868.00 | 194720.00 | 6800.00 | 272000.00 | 3455.00 | 138200.00 | 4825.00 | 193000.00 | 4927.75 | 197110.00 | 4700.00 | 188000.00 | 5000.00 | 200000.00 | 4510.14 | 180405.60 | 94000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.05 | 3P ML-3 Power Contactor as suitable to site requirement. | 30.00 | Each |  | 6400.00 | 192000.00 | 3450.00 | 103500.00 | 7000.00 | 210000.00 | 7186.00 | 215580.00 | 3200.00 | 96000.00 | 5100.00 | 153000.00 | 7122.00 | 213660.00 | 7272.60 | 218178.00 | 7100.00 | 213000.00 | 7000.00 | 210000.00 | 6657.52 | 199725.60 | 96000.00 | Mukherjee Commercial Enterprise
13.06 | 3P ML-1.5 Power Contactor as suitable to site requirement. | 40.00 | Each |  | 2300.00 | 92000.00 | 1268.00 | 50720.00 | 2350.00 | 94000.00 | 2620.00 | 104800.00 | 2650.00 | 106000.00 | 1865.00 | 74600.00 | 2597.00 | 103880.00 | 2653.05 | 106122.00 | 2550.00 | 102000.00 | 2500.00 | 100000.00 | 2428.03 | 97121.20 | 50720.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.07 | ML-2/ML-3 relay as suitable to site requirement. | 40.00 | Each |  | 2300.00 | 92000.00 | 1340.00 | 53600.00 | 2500.00 | 100000.00 | 2677.00 | 107080.00 | 3100.00 | 124000.00 | 1900.00 | 76000.00 | 2653.00 | 106120.00 | 2709.40 | 108376.00 | 2600.00 | 104000.00 | 3000.00 | 120000.00 | 2480.25 | 99210.00 | 53600.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.08 | MN-5 relay as suitable to site requirement. | 30.00 | Each |  | 2300.00 | 69000.00 | 1340.00 | 40200.00 | 3000.00 | 90000.00 | 3322.00 | 99660.00 | 2000.00 | 60000.00 | 2400.00 | 72000.00 | 2430.00 | 72900.00 | 2404.65 | 72139.50 | 3100.00 | 93000.00 | 3300.00 | 99000.00 | 2352.97 | 70589.10 | 40200.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.09 | MN-2 relay as suitable to site requirement. | 30.00 | Each |  | 1000.00 | 30000.00 | 550.00 | 16500.00 | 2500.00 | 75000.00 | 1649.00 | 49470.00 | 1400.00 | 42000.00 | 1250.00 | 37500.00 | 1727.00 | 51810.00 | 951.05 | 28531.50 | 1600.00 | 48000.00 | 1900.00 | 57000.00 | 1628.48 | 48854.40 | 16500.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.10 | ML- 1 relay as suitable to site requirement. | 20.00 | Each |  | 1700.00 | 34000.00 | 875.00 | 17500.00 | 2450.00 | 49000.00 | 1814.00 | 36280.00 | 1400.00 | 28000.00 | 1288.00 | 25760.00 | 1551.00 | 31020.00 | 1836.55 | 36731.00 | 1780.00 | 35600.00 | 1800.00 | 36000.00 | 1680.70 | 33614.00 | 17500.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.11 | ML-2 spare kits as suitable to site requirement. | 20.00 | Each |  | 2300.00 | 46000.00 | 1150.00 | 23000.00 | 2295.00 | 45900.00 | 2475.00 | 49500.00 | 3800.00 | 76000.00 | 1758.00 | 35160.00 | 2454.00 | 49080.00 | 2549.55 | 50991.00 | 2100.00 | 42000.00 | 2400.00 | 48000.00 | 2294.23 | 45884.60 | 23000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.12 | ML-3 spare kits as suitable to site requirement. | 20.00 | Each |  | 3800.00 | 76000.00 | 1950.00 | 39000.00 | 4075.00 | 81500.00 | 4170.00 | 83400.00 | 4250.00 | 85000.00 | 2960.00 | 59200.00 | 4134.00 | 82680.00 | 4221.65 | 84433.00 | 3500.00 | 70000.00 | 4000.00 | 80000.00 | 3863.97 | 77279.40 | 39000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.13 | MNX-40 spare kits as suitable to site requirement. | 20.00 | Each |  | 2200.00 | 44000.00 | 1100.00 | 22000.00 | 2100.00 | 42000.00 | 2275.00 | 45500.00 | 3200.00 | 64000.00 | 1615.00 | 32300.00 | 2255.00 | 45100.00 | 2303.45 | 46069.00 | 2300.00 | 46000.00 | 2300.00 | 46000.00 | 2108.21 | 42164.20 | 22000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.14 | MNX-50 spare kits as suitable to site requirement. | 20.00 | Each |  | 2300.00 | 46000.00 | 1140.00 | 22800.00 | 2150.00 | 43000.00 | 2349.00 | 46980.00 | 5050.00 | 101000.00 | 1675.00 | 33500.00 | 2329.00 | 46580.00 | 2378.20 | 47564.00 | 2350.00 | 47000.00 | 2600.00 | 52000.00 | 2176.75 | 43535.00 | 22800.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.15 | VPG-D1 Single Phase Preventor as suitable to site requirement. | 10.00 | Each |  | 1000.00 | 10000.00 | 500.00 | 5000.00 | 3100.00 | 31000.00 | 937.00 | 9370.00 | 2800.00 | 28000.00 | 910.00 | 9100.00 | 665.00 | 6650.00 | 1020.00 | 10200.00 | 1065.00 | 10650.00 | 600.00 | 6000.00 | 1054.36 | 10543.60 | 5000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.16 | VSP-2 Single Phase Preventor as suitable to site requirement. | 10.00 | Each |  | 800.00 | 8000.00 | 500.00 | 5000.00 | 2650.00 | 26500.00 | 675.00 | 6750.00 | 1200.00 | 12000.00 | 1300.00 | 13000.00 | 665.00 | 6650.00 | 542.00 | 5420.00 | 520.00 | 5200.00 | 400.00 | 4000.00 | 602.49 | 6024.90 | 4000.00 | STAR ENTERPRISE
13.17 | Add On Block for Power Contactor like MNX-40/MNX-50/MNX-32 as suitable to site requirement. | 10.00 | Each |  | 300.00 | 3000.00 | 250.00 | 2500.00 | 350.00 | 3500.00 | 380.00 | 3800.00 | 1500.00 | 15000.00 | 300.00 | 3000.00 | 397.00 | 3970.00 | 351.00 | 3510.00 | 610.00 | 6100.00 | 400.00 | 4000.00 | 358.98 | 3589.80 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.18 | Analog Timer switch as suitable to site requirement. as suitable to site requirement. | 20.00 | Each |  | 1250.00 | 25000.00 | 750.00 | 15000.00 | 1500.00 | 30000.00 | 2129.00 | 42580.00 | 2000.00 | 40000.00 | 2500.00 | 50000.00 | 1770.00 | 35400.00 | 1451.00 | 29020.00 | 1450.00 | 29000.00 | 3800.00 | 76000.00 | 1599.11 | 31982.20 | 15000.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.19 | Rotary Switch as suitable to site requirement | 5.00 | Each |  | 500.00 | 2500.00 | 300.00 | 1500.00 | 2000.00 | 10000.00 | 433.00 | 2165.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 209.00 | 1045.00 | 700.00 | 3500.00 | 650.00 | 3250.00 | 750.00 | 3750.00 | 200.83 | 1004.15 | 1004.15 | RN Electro Power Pvt. Ltd.
13.20 | 3 Phase Analog ammeter( 0-250A ) Ammeter as suitable to site requirement. | 10.00 | Each |  | 350.00 | 3500.00 | 250.00 | 2500.00 | 325.00 | 3250.00 | 364.00 | 3640.00 | 1750.00 | 17500.00 | 450.00 | 4500.00 | 887.00 | 8870.00 | 931.00 | 9310.00 | 400.00 | 4000.00 | 800.00 | 8000.00 | 858.30 | 8583.00 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
13.21 | 3 Phase Analog Voltmeter ( 0-500 Volts) as suitable to site requirement. | 10.00 | Each |  | 350.00 | 3500.00 | 250.00 | 2500.00 | 475.00 | 4750.00 | 364.00 | 3640.00 | 1200.00 | 12000.00 | 475.00 | 4750.00 | 887.00 | 8870.00 | 931.00 | 9310.00 | 400.00 | 4000.00 | 1000.00 | 10000.00 | 858.30 | 8583.00 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
14.01 | 3½ X 300 sq. mm (70mm) | 12.00 | Each |  | 675.00 | 8100.00 | 600.00 | 7200.00 | 1500.00 | 18000.00 | 928.00 | 11136.00 | 500.00 | 6000.00 | 830.00 | 9960.00 | 1287.00 | 15444.00 | 800.00 | 9600.00 | 750.00 | 9000.00 | 950.00 | 11400.00 | 1245.82 | 14949.84 | 6000.00 | Mukherjee Commercial Enterprise
14.02 | 3½ X 150 sq. mm (50mm) | 36.00 | Each |  | 350.00 | 12600.00 | 300.00 | 10800.00 | 950.00 | 34200.00 | 812.00 | 29232.00 | 400.00 | 14400.00 | 520.00 | 18720.00 | 938.00 | 33768.00 | 500.00 | 18000.00 | 350.00 | 12600.00 | 550.00 | 19800.00 | 624.92 | 22497.12 | 10800.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.03 | 3½ X 95 sq. mm (45mm) | 8.00 | Each |  | 275.00 | 2200.00 | 250.00 | 2000.00 | 750.00 | 6000.00 | 696.00 | 5568.00 | 350.00 | 2800.00 | 470.00 | 3760.00 | 632.00 | 5056.00 | 450.00 | 3600.00 | 300.00 | 2400.00 | 500.00 | 4000.00 | 440.40 | 3523.20 | 2000.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.04 | 3½ X 70 sq. mm (38mm) | 1.00 | Each |  | 250.00 | 250.00 | 200.00 | 200.00 | 650.00 | 650.00 | 580.00 | 580.00 | 350.00 | 350.00 | 360.00 | 360.00 | 432.00 | 432.00 | 420.00 | 420.00 | 270.00 | 270.00 | 400.00 | 400.00 | 391.45 | 391.45 | 200.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.05 | 4 X 50 sq. mm (35mm) | 8.00 | Each |  | 225.00 | 1800.00 | 150.00 | 1200.00 | 550.00 | 4400.00 | 464.00 | 3712.00 | 300.00 | 2400.00 | 300.00 | 2400.00 | 386.00 | 3088.00 | 400.00 | 3200.00 | 250.00 | 2000.00 | 350.00 | 2800.00 | 319.99 | 2559.92 | 1200.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.06 | 4 X 25 sq. mm /4 X 16 sq. mm (28mm) | 16.00 | Each |  | 160.00 | 2560.00 | 125.00 | 2000.00 | 450.00 | 7200.00 | 348.00 | 5568.00 | 250.00 | 4000.00 | 190.00 | 3040.00 | 386.00 | 6176.00 | 300.00 | 4800.00 | 180.00 | 2880.00 | 250.00 | 4000.00 | 203.84 | 3261.44 | 2000.00 | SHREE GOURI ELECTRIC ENTERPRISE
15.00 | Supply of 12 V, 180 AH Battery ( Make: Exide,Model -Xpress ) or equivalent make as per AAI approved makelist suitable for cranking of 38HP Kirloskar Make diesel Engine set complete with all accessories as required. | 5.00 | Each |  | 16000.00 | 80000.00 | 13000.00 | 65000.00 | 18500.00 | 92500.00 | 15660.00 | 78300.00 | 17500.00 | 87500.00 | 35000.00 | 175000.00 | 13844.00 | 69220.00 | 1500.00 | 7500.00 | 14500.00 | 72500.00 | 14000.00 | 70000.00 | 18560.04 | 92800.20 | 7500.00 | T K MAZUMDER
16.00 | Supply of 1.1KV, Power Cable with Stranded compact Sector shaped Aluminium Condector, XLPE Insulated, Colour Coded, Cores Laid up, Thermoplastic tape Inner Sheathed, Singel layer of Galvanized Flat sheet Strip Armoured and overall FRLS PVC Type (ST-2)Outer Sheathed conforming to IS: 7098 (Part-1) - 1988 as amended up to date
16.01 | 3.5 C X 120 Sq.mm. | 500.00 | Mtr. |  | 440.00 | 220000.00 | 450.00 | 225000.00 | 609.00 | 304500.00 | 520.00 | 260000.00 | 545.00 | 272500.00 | 555.00 | 277500.00 | 560.00 | 280000.00 | 538.43 | 269215.00 | 585.00 | 292500.00 | 450.00 | 225000.00 | 629.71 | 314855.00 | 220000.00 | Youngmen Traders
16.02 | 3.5 C X 50 Sq.mm. | 1000.00 | Mtr. |  | 210.00 | 210000.00 | 210.00 | 210000.00 | 290.00 | 290000.00 | 240.00 | 240000.00 | 268.00 | 268000.00 | 270.00 | 270000.00 | 265.00 | 265000.00 | 256.00 | 256000.00 | 275.00 | 275000.00 | 200.00 | 200000.00 | 321.90 | 321900.00 | 200000.00 | STAR ENTERPRISE
16.03 | 4 C x 16 Sq.mm. | 500.00 | Mtr. |  | 105.00 | 52500.00 | 110.00 | 55000.00 | 144.00 | 72000.00 | 127.00 | 63500.00 | 135.00 | 67500.00 | 135.00 | 67500.00 | 126.00 | 63000.00 | 127.44 | 63720.00 | 138.00 | 69000.00 | 120.00 | 60000.00 | 183.53 | 91765.00 | 52500.00 | Youngmen Traders
| Total in Figures |  |  |  |  | 5022210.00 |  | 5808500.00 |  | 5889350.00 |  | 4996981.00 |  | 5781850.00 |  | 4751360.00 |  | 5839996.00 |  | 4626020.00 |  | 6228350.00 |  | 4633670.00 |  | 6556581.94
Lowest Amount Quoted BY: T K MAZUMDER(4626020.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation minor rectification of feeder panels LT panels and distribution panel at various location like AAI residential Colony IRP Plant and Lagoons at Kolkata Airport Tender ID: 2021_AAI_88047_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | T K MAZUMDER | 4626020.00 | L1
| 2 | STAR ENTERPRISE | 4633670.00 | L2
| 3 | Rekha Enterprises | 4751360.00 | L3
| 4 | Industrial Traders | 4996981.00 | L4
| 5 | Youngmen Traders | 5022210.00 | L5
| 6 | Mukherjee Commercial Enterprise | 5781850.00 | L6
| 7 | SHREE GOURI ELECTRIC ENTERPRISE | 5808500.00 | L7
| 8 | BR Power Control and Automation Services | 5839996.00 | L8
| 9 | SAHA COMMERCIAL CONSTRUCTION | 5889350.00 | L9
| 10 | M/s J.K. Electric Engineering Works | 6228350.00 | L10
| 11 | RN Electro Power Pvt. Ltd. | 6556581.94 | L11