## BoQ1
Government eProcurement System Created By: Kamal Kishore Created Date/Time: 02-Nov-2021 01:53 PM Tender Title: Comprehensive Maintenance Contract of Sewage Treatment plant of 50 KLD capacity at Khajuraho Airport for 3 years Tender ID: 2021_AAI_88156_1
Tender Inviting Authority: Senior Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: "Comprehensive Maintenance Contract of Sewage Treatment plant of 50 KLD capacity at Khajuraho Airport for 3 years."
Contract No: 2021_AAI_88156_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vindhya Enviro Group(GSTN-23ALJPC4617R1ZV) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | chemeco Engineers(GSTN-09AAGFC1336D1ZV)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual comprehensive maintenance contract for 50 KLD STP system including all electrical and mechanical installations, this job also includes overhauling of motors, repair of water piping in plant, butterfly valve i/c electrical control panel with starter, incoming cable from control panel and interconnecting wiring within the plant, including supply of biomass culture for aeration tanks etc as required for maintaining STP as & when required & alternately complaints/faults/breakdown and taking rectification action for serviceability/satisfactory working condition of the system, preventive maintenance & routine maintenance also i/c supply of consumables, required chemicals, maintenance and provision of any filter elements & cleaning of related tanks once a year. Also including testing of treated water sample of sewage treatment plant from government approved laboratory and submitting the test report quarterly, complete as required.
1.10 | For 1st Year | 12.00 | Month |  | 45000.00 | 540000.00 | 32786.00 | 393432.00 | 49890.00 | 598680.00 | 393432.00 | Manish Electricals
1.20 | For 2nd Year | 12.00 | Month |  | 55000.00 | 660000.00 | 35786.00 | 429432.00 | 51890.00 | 622680.00 | 429432.00 | Manish Electricals
1.30 | For 3rd Year | 12.00 | Month |  | 65000.00 | 780000.00 | 37860.00 | 454320.00 | 55400.00 | 664800.00 | 454320.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1980000.00 |  | 1277184.00 |  | 1886160.00
Lowest Amount Quoted BY: Manish Electricals(1277184.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of Sewage Treatment plant of 50 KLD capacity at Khajuraho Airport for 3 years Tender ID: 2021_AAI_88156_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1277184.00 | L1
| 2 | chemeco Engineers | 1886160.00 | L2
| 3 | Vindhya Enviro Group | 1980000.00 | L3