## BoQ1
Government eProcurement System Created By: SUJATHA R Created Date/Time: 30-Sep-2021 01:32 PM Tender Title: Renovation of Toilet in Terminal Building and Ancillary Building at Salem Airport. SH Electrical Works Tender ID: 2021_AAI_88373_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ SR, Chennai Airport, Chennai - 600027
Name of Work: Renovation of Toilet in Terminal Building and Ancillary Building at Salem Airport.SH: Electrical Works.
Contract No: 2021_AAI_88373_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | Thirumalai Enterprises(GSTN-34AAGFT7137H1Z2)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 27.00 | Point | Item No.1 | 40500.00 | 47790.00 | 20250.00 | 23895.00 | 20250.00 | Thirumalai Enterprises | 23895.00 | Thirumalai Enterprises
2.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in existing surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 31.00 | Point | Item No.2 | 24800.00 | 29264.00 | 23250.00 | 27435.00 | 23250.00 | Thirumalai Enterprises | 27435.00 | Thirumalai Enterprises
3.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, 2 way modular switch, modular plate, suitable GI box steel and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required | 12.00 | Point | Item No.3 | 18000.00 | 21240.00 | 10200.00 | 12036.00 | 10200.00 | Thirumalai Enterprises | 12036.00 | Thirumalai Enterprises
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required.
4.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 165.00 | Meters | Item No.4 | 51150.00 | 60357.00 | 21450.00 | 25311.00 | 21450.00 | Thirumalai Enterprises | 25311.00 | Thirumalai Enterprises
5.00 | Supplying and fixing following modular switch / socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
5.10 | 1 way 6/10 amps modular switch | 6.00 | Each | Item No.5 | 540.00 | 637.00 | 330.00 | 389.00 | 330.00 | Thirumalai Enterprises | 389.00 | Thirumalai Enterprises
5.20 | 3 pin 6/10 amp modular socket outlet | 6.00 | Each | Item No.6 | 780.00 | 920.00 | 750.00 | 885.00 | 750.00 | Thirumalai Enterprises | 885.00 | Thirumalai Enterprises
5.30 | 15/16 amps switch | 15.00 | Each | Item No.7 | 2325.00 | 2744.00 | 1650.00 | 1947.00 | 1650.00 | Thirumalai Enterprises | 1947.00 | Thirumalai Enterprises
5.40 | 15/16 amp socket outlet | 15.00 | Each | Item No.8 | 2850.00 | 3363.00 | 3300.00 | 3894.00 | 2850.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3363.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Supplying and fixing following size / modules, GI box along with modular base & cover plate for modular switches in recess etc as required.
6.10 | 3 Module | 8.00 | Each | Item No.9 | 2000.00 | 2360.00 | 1616.00 | 1907.00 | 1616.00 | Thirumalai Enterprises | 1907.00 | Thirumalai Enterprises
6.20 | 6 Module | 6.00 | Each | Item No.10 | 2340.00 | 2761.00 | 1950.00 | 2301.00 | 1950.00 | Thirumalai Enterprises | 2301.00 | Thirumalai Enterprises
6.30 | 8 Module | 3.00 | Each | Item No.11 | 1380.00 | 1628.00 | 1170.00 | 1381.00 | 1170.00 | Thirumalai Enterprises | 1381.00 | Thirumalai Enterprises
6.40 | 12 Module | 6.00 | Each | Item No.12 | 3060.00 | 3611.00 | 3510.00 | 4142.00 | 3060.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3611.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supplying and fixing of 33W-36W watts recess mounting LED type luminarie suitable for operation on 230 Volt, 50 HZ AC supply complete with lamp and all accessories as per the technical specification, etc as required (Full Lit 36w ,recess mounted with ≥110Lumen/watt & 5 years warranty). | 18.00 | Each | Item No.13 | 52200.00 | 61596.00 | 45000.00 | 53100.00 | 45000.00 | Thirumalai Enterprises | 53100.00 | Thirumalai Enterprises
8.00 | Supplying and fixing of 18W-20W watts recess mounting LED type luminarie suitable for operation on 230 Volt, 50 HZ AC supply complete with lamp and all accessories as per the technical specification, etc as required. (Down Lit 18w,recess mounted LED with ≥110Lumen/watt & 5 years warranty) | 19.00 | Each | Item No.14 | 27550.00 | 32509.00 | 22800.00 | 26904.00 | 22800.00 | Thirumalai Enterprises | 26904.00 | Thirumalai Enterprises
9.00 | Supply and fixing of 18W-20 W LED tube light/ mirror lamp fittings as required. | 6.00 | Each | Item No.15 | 1920.00 | 2266.00 | 5700.00 | 6726.00 | 1920.00 | LAKSHMI ELECTRICAL ENTERPRISES | 2266.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Supply of exhaust fan upto 450mm sweep as per approved make & special conditions etc as required. | 12.00 | Each | Item No.16 | 53040.00 | 62587.00 | 66000.00 | 77880.00 | 53040.00 | LAKSHMI ELECTRICAL ENTERPRISES | 62587.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.00 | Installation of exhaust fan upto 450mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage , connection, testing and commissioning etc as required. | 12.00 | Each | Item No.17 | 6000.00 | 7080.00 | 6000.00 | 7080.00 | 6000.00 | LAKSHMI ELECTRICAL ENTERPRISES, Thirumalai Enterprises | 7080.00 | LAKSHMI ELECTRICAL ENTERPRISES, Thirumalai Enterprises
12.00 | Supply, Installation, Testing & Commissioning of SS Hand Dryer to be mounted on wall suitable for operation on single phase, 230V, 50 Hz AC supply, rated power 1600 W,drying time ≤10sec,Air temperature ≤ 20°C to 40°C complete as required as per specifications. | 6.00 | Each | Item No.18 | 72000.00 | 84960.00 | 111000.00 | 130980.00 | 72000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 84960.00 | LAKSHMI ELECTRICAL ENTERPRISES
13.00 | SITC of PIR Sensor 230VAC +/10%; 50/60Hz maximum load 10A. (2400 VA) any load. Maximum length 100m LED indicators Red LED on movement Switch off delay 1 to 30 minutes Light levels 250 to 1000 Lux (30% reflection) Detection range of Occuswitch shall be 4 to 5 meters forsmall movements and 6 by 8 meters for larger movements like walking to be covered all around 360 degree etc. as required. | 12.00 | Each | Item No.19 | 21600.00 | 25488.00 | 37800.00 | 44604.00 | 21600.00 | LAKSHMI ELECTRICAL ENTERPRISES | 25488.00 | LAKSHMI ELECTRICAL ENTERPRISES
14.00 | SITC of wall mount Automatic touchless hand sanitizer dispenser 230VAC +/10%; 50/60Hz, detection range 0-4 inch,powder coated CRC sheet body/S.S body , Sanitizer container capacity 1ltr to 1.5ltrs,sanitizer dispensing volume 1ml to 3ml,warranty-2years etc. as required. | 6.00 | Each | Item No.20 | 28800.00 | 33984.00 | 29100.00 | 34338.00 | 28800.00 | LAKSHMI ELECTRICAL ENTERPRISES | 33984.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  | 412835.00 | 487145.00 | 412826.00 | 487135.00

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilet in Terminal Building and Ancillary Building at Salem Airport. SH Electrical Works Tender ID: 2021_AAI_88373_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Thirumalai Enterprises | 487135.00 | L1
| 2 | LAKSHMI ELECTRICAL ENTERPRISES | 487145.00 | L2