## BoQ1
Government eProcurement System Created By: Ashok Kumar Created Date/Time: 13-Dec-2021 12:20 PM Tender Title: Annual Maintenance Contract of Fire Alarm and Detection system at Old Area, SAP New Delhi for 02 Years (i.e. 2021-22 and 2022-23) Tender ID: 2021_AAI_88445_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport-110003
Name of Work: Annual Maintenance Contract of Fire Alarm and Detection system at Old Area, SAP New Delhi for 02 Years (i.e. 2021-22 & 2022-23).
Contract No: AAI/SAP/Engg.(E)/OA/FDAS/2021-22
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Katyayni Engineering And Services(GSTN-07ADZPV0433A1ZG) |  | Modern Agencies(GSTN-04AAWFM7893F1ZL) |  | EXTRATECH INDIA AUTOMATION PVT. LTD.(GSTN-07AAECE9254B1ZS) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | STAR FIRE & SECURITY SYSTEMS PVT. LTD.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I- Service Maintenance
2.00 | Annual Comprehensive maintenance & servicing of fire alarm and detection system along with microprocessor based GSM Auto Dialer with complete associated components in all respect installed at following locations i/c inspection/checking ,testing and repairing of minor faults (if any) i/c fixing of spares (as mentioned in SH-II) i/c supply and fixing of spare parts such as IC,Push button,indicator,relays and other accessories(without any extra cost)of Fire Alarm Control Panel & GSM Auto Dialler as per site requirement.It also includes monthly visit of experienced Engineer/Technical Expert for checking operation & functioning of Fire Detection and Alarm System,& performance checking of all Smoke/heat Detectors ,Batteries etc.,unlimited attending of all breakdown complaint/calls as well as generating & providing Serviceability report to concern Engineer of monthly visit/check as per enclosed terms & conditions.
2.01 | 02 loop panel, Make-Bosch ,Model- FPA5000, Qty-1 no. Note: System generated report to be submitted monthly to ensure working of all device. Location: At CRSD First Floor | 24.00 | Month | 100.00 | 9005.00 | 216120.00 | 10000.00 | 240000.00 | 12000.00 | 288000.00 | 11000.00 | 264000.00 | 9000.00 | 216000.00 | 5600.00 | 134400.00 | 134400.00 | STAR FIRE & SECURITY SYSTEMS PVT. LTD.
2.02 | 01 loop panel, Make- Bosch, Model- FPA5000, Qty-3 nos. Note: System generated report to be submitted monthly to ensure working of all device. Location: At RCDU, DRC & FIU. | 24.00 | Month | 10.00 | 9005.00 | 216120.00 | 15000.00 | 360000.00 | 10500.00 | 252000.00 | 11000.00 | 264000.00 | 9000.00 | 216000.00 | 11900.00 | 285600.00 | 216000.00 | NATIONAL SAFETY ENGINEERS
2.03 | 01 loop panel, Make- Notifier, Model no. NFS 320E, Qty-1 no. Note: System generated report to be submitted monthly to ensure working of all device. Location:At RADAR Room | 24.00 | Month | 10.00 | 9005.00 | 216120.00 | 8000.00 | 192000.00 | 10300.00 | 247200.00 | 11000.00 | 264000.00 | 9000.00 | 216000.00 | 5200.00 | 124800.00 | 124800.00 | STAR FIRE & SECURITY SYSTEMS PVT. LTD.
3.00 | SH:II- Supply of following materials/ spares as and when required.
4.00 | Analogue addressable Multi Criteria (smoke+heat) detectors with inbuilt fault isolator or isolator base.- Make: Bosch/ Notifier or equivalent. | 60.00 | Each | 10.00 | 950.00 | 57000.00 | 2000.00 | 120000.00 | 650.00 | 39000.00 | 1600.00 | 96000.00 | 500.00 | 30000.00 | 3280.00 | 196800.00 | 30000.00 | NATIONAL SAFETY ENGINEERS
5.00 | Addressable intelligent Beam type smoke detector (Transmitter+ Receiver) with a minimum coverage of 70 m Make - Bosch, Model- D296 or equivalent. | 1.00 | Each | 10.00 | 35000.00 | 35000.00 | 25000.00 | 25000.00 | 35000.00 | 35000.00 | 5000.00 | 5000.00 | 1000.00 | 1000.00 | 79980.00 | 79980.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
6.00 | Addressable Control Module/ Relay Module with inbuilt fault isolator or isolator module for tripping of AHU and ventilation/ pressurisation fans/ hooter. Make - Bosch/Notifier or equivalent. | 2.00 | Each | 10.00 | 4200.00 | 8400.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 3000.00 | 6000.00 | 500.00 | 1000.00 | 4200.00 | 8400.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
7.00 | Addressable Manual call point with inbuilt fault isolator or isolator module. Make -Bosch/Notifier or equivalent. | 4.00 | Each | 10.00 | 3850.00 | 15400.00 | 2000.00 | 8000.00 | 1650.00 | 6600.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 3985.00 | 15940.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
8.00 | Addressable Hooter cum strobe with inbuilt fault isolator or isolator module. Make - Bosch/Notifier or equivalent. | 4.00 | Each | 10.00 | 1850.00 | 7400.00 | 700.00 | 2800.00 | 2200.00 | 8800.00 | 4000.00 | 16000.00 | 500.00 | 2000.00 | 6550.00 | 26200.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
9.00 | Fault isolator module - Make:Notifier or equivalent. | 1.00 | Each | 10.00 | 165000.00 | 165000.00 | 500.00 | 500.00 | 2200.00 | 2200.00 | 6000.00 | 6000.00 | 500.00 | 500.00 | 3700.00 | 3700.00 | 500.00 | Modern Agencies, NATIONAL SAFETY ENGINEERS
10.00 | Response indicators for all detectors above false ceiling. Make- Notifier or equivalent. | 1.00 | Each | 10.00 | 970.00 | 970.00 | 40.00 | 40.00 | 50.00 | 50.00 | 800.00 | 800.00 | 50.00 | 50.00 | 245.00 | 245.00 | 40.00 | Modern Agencies
11.00 | Auto Dialer compatible with Bosch FPA5000. Make- Bentel, Model- B-TEL2 or equivalent. | 1.00 | Each | 10.00 | 23500.00 | 23500.00 | 12000.00 | 12000.00 | 3000.00 | 3000.00 | 12000.00 | 12000.00 | 1000.00 | 1000.00 | 12500.00 | 12500.00 | 1000.00 | NATIONAL SAFETY ENGINEERS
| Total in Figures |  |  |  |  | 961030.00 |  | 964340.00 |  | 884850.00 |  | 937000.00 |  | 685550.00 |  | 888565.00
Lowest Amount Quoted BY: NATIONAL SAFETY ENGINEERS(685550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Fire Alarm and Detection system at Old Area, SAP New Delhi for 02 Years (i.e. 2021-22 and 2022-23) Tender ID: 2021_AAI_88445_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NATIONAL SAFETY ENGINEERS | 685550.00 | L1
| 2 | EXTRATECH INDIA AUTOMATION PVT. LTD. | 884850.00 | L2
| 3 | STAR FIRE & SECURITY SYSTEMS PVT. LTD. | 888565.00 | L3
| 4 | Manish Electricals | 937000.00 | L4
| 5 | Katyayni Engineering And Services | 961030.00 | L5
| 6 | Modern Agencies | 964340.00 | L6