## BoQ1
Government eProcurement System Created By: Ravindra singh Mehrok Created Date/Time: 26-Oct-2021 05:45 PM Tender Title: Construction of ATC Tower Cum Technical Block at CA, Vadodara. SH- Manufacturing, Supply, Installation, Testing and Commissioning of Elevators. Tender ID: 2021_AAI_88866_1
Tender Inviting Authority: Asst.Gen. Manager(E-E), AAI, CA, Vadodara
Name of Work: Construction of ATC Tower cum Technical Block at Civil Aerodrome Vadodara. SH: Manufacturing, Supply, Installation, Testing and Commissioning of Elevators.
Contract No: AAI/BO/E-E/NIT-03/ATC Elevator/2021-22/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9) |  | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | ECE Industries Limited(GSTN-NA) |  | METRO ELEVATOR CO PVT LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I :- SITC of Elevators :- Supply, Installation, Testing & Commissioning of following capacity machine room less electic traction type passenger elevators suitable for following travel height, stops & openings and entrance on all the serving floors, automatic center opening door, car enclosure provided with scratch resistant finish stainless steel panel suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable valtage and variable frequency type traction control, speed of 1.00 Mtr/sec, electromagnetic brake system, Simplex full collective operations, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, CFL type emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for suitable height, reverse phase relay on controller, fireman's switch at ground floor, digital car position indicator in car and landing at all floors with UP/DOWN direction, LED type light fixtures, ventilation fan complete with all accessories including automatic rescue device and suitable protocol for BMS etc. The traction motor of machine room less elevator shall be of gearless type and placed inside the elevator hoist way complete as per technical specifications. The elevator shall conform to the detailed specifications attached.
1.10 | 8 Passenger (minimum) capacity, 544 kg approx. having automatic center opening stainless steel doors with vision panel & stainless steel frame (car & landing doors), 13.35 mtr travel height (Approx), 4 stops & 4 opening (Ground Plus Three Floor) on same side suitable for shaft size of 2500mm x 2100mm. (Technical Block) | 2.00 | Each |  | 1287000.00 | 2574000.00 | 1525000.00 | 3050000.00 | 1150000.00 | 2300000.00 | 1125000.00 | 2250000.00 | 2250000.00 | METRO ELEVATOR CO PVT LTD
1.20 | 8 Passenger (minimum) capacity, 544 kg approx. having automatic center opening stainless steel doors with vision panel & stainless steel frame (car & landing doors), 17.9 mtr travel height (Approx), 6 stops & 6 opening (Ground plus Five floor) on same side suitable for shaft size of 2500mm x 2100mm. (ATC Tower Block) | 2.00 | Each |  | 1388000.00 | 2776000.00 | 1695000.00 | 3390000.00 | 1275000.00 | 2550000.00 | 1125000.00 | 2250000.00 | 2250000.00 | METRO ELEVATOR CO PVT LTD
2.00 | SH-II :- All Inclusive Comprehensive Maintenance Contract (AICMC):- AICMC of 8 passenger Elevator (as per item no. 1.1 of SH-I) which include routine, preventive,breakdown maintenance , monthly preventive maintenance visit of trained engineer / technician, attending any number of breakown calls during the month as and when required , and repair / replacement of wornout items with minimum downtime and carrying out renewal of lifts licenses (if applicable ) etc as per special conditions / specifications enclosed.
2.10 | For First Year After DLP | 2.00 | Each |  | 51500.00 | 103000.00 | 57600.00 | 115200.00 | 46000.00 | 92000.00 | 95000.00 | 190000.00 | 92000.00 | ECE Industries Limited
2.20 | For Second Year After DLP | 2.00 | Each |  | 54000.00 | 108000.00 | 60500.00 | 121000.00 | 49000.00 | 98000.00 | 110000.00 | 220000.00 | 98000.00 | ECE Industries Limited
2.30 | For Third Year After DLP | 2.00 | Each |  | 56800.00 | 113600.00 | 63500.00 | 127000.00 | 52000.00 | 104000.00 | 120000.00 | 240000.00 | 104000.00 | ECE Industries Limited
2.40 | For Fourth Year After DLP | 2.00 | Each |  | 59600.00 | 119200.00 | 67300.00 | 134600.00 | 55250.00 | 110500.00 | 130000.00 | 260000.00 | 110500.00 | ECE Industries Limited
2.50 | For Fifth Year After DLP | 2.00 | Each |  | 62600.00 | 125200.00 | 71350.00 | 142700.00 | 59500.00 | 119000.00 | 140000.00 | 280000.00 | 119000.00 | ECE Industries Limited
3.00 | AICMC of 8 passenger Elevator (as per item no. 1.2 of SH-I) which include routine, preventive,breakdown maintenance , monthly preventive maintenance visit of trained engineer / technician, attending any number of breakown calls during the month as and when required , and repair / replacement of wornout items with minimum downtime and carrying out renewal of lifts licenses (if applicable ) etc as per special conditions / specifications enclosed.
3.10 | For First Year After DLP | 2.00 | Each |  | 55500.00 | 111000.00 | 61000.00 | 122000.00 | 51000.00 | 102000.00 | 95000.00 | 190000.00 | 102000.00 | ECE Industries Limited
3.20 | For Second Year After DLP | 2.00 | Each |  | 58300.00 | 116600.00 | 64050.00 | 128100.00 | 54000.00 | 108000.00 | 110000.00 | 220000.00 | 108000.00 | ECE Industries Limited
3.30 | For Third Year After DLP | 2.00 | Each |  | 61200.00 | 122400.00 | 67250.00 | 134500.00 | 57000.00 | 114000.00 | 120000.00 | 240000.00 | 114000.00 | ECE Industries Limited
3.40 | For Fourth Year After DLP | 2.00 | Each |  | 64200.00 | 128400.00 | 71300.00 | 142600.00 | 60250.00 | 120500.00 | 130000.00 | 260000.00 | 120500.00 | ECE Industries Limited
3.50 | For Fifth Year After DLP | 2.00 | Each |  | 67400.00 | 134800.00 | 75600.00 | 151200.00 | 65500.00 | 131000.00 | 140000.00 | 280000.00 | 131000.00 | ECE Industries Limited
| Total in Figures |  |  |  |  | 6532200.00 |  | 7758900.00 |  | 5949000.00 |  | 6880000.00
Lowest Amount Quoted BY: ECE Industries Limited(5949000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of ATC Tower Cum Technical Block at CA, Vadodara. SH- Manufacturing, Supply, Installation, Testing and Commissioning of Elevators. Tender ID: 2021_AAI_88866_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ECE Industries Limited | 5949000.00 | L1
| 2 | OMEGA ELEVATORS | 6532200.00 | L2
| 3 | METRO ELEVATOR CO PVT LTD | 6880000.00 | L3
| 4 | Johnson Lifts Pvt Ltd | 7758900.00 | L4