## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 15-Dec-2021 01:39 PM Tender Title: MO Power supply including standby DG sets at NSCBI Airport during 2021 22 and 2022 23 SH Round the Clock Operation and Preventive Maintenance Contract of Cargo sub station Tender ID: 2021_AAI_89765_1
Tender Inviting Authority: Airports Authority of India
Name of Work: M.O. Power supply i/c standby DG sets at NSCBI Airport during 2021-22 & 2022-23. SH: - Round the Clock Operation & Preventive Maintenance Contract of Cargo sub-station.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ) |  | ANIRBAN ENTERPRISE(GSTN-19AHNPB5949D1Z6) |  | MANNA ELECTRONICS AND ELECTRICAL WORKS(GSTN-19AALFM9363P2Z6) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | M/S DURGA SUPPLY AGENCIES(GSTN-21ADAPP6465D1ZV) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH- I - Round the clock Operation & maintenance. Inspection, checking, cleaning, & monitoring 6 KV HT panels, 6 KV / 433 V, Transformers, LT panels, 2 nos. 500 KVA DG sets installed at cargo Substation i/c round the clock operation of DG sets. Carrying out all daily & weekly maintenance checks as per recommended maintenance schedule, all preventive maintenance as per specifications. All break down maintenance for all the equipments installed at Cargo Substation as when required. Providing all consumables of required quantities like cotton waste, distilled water, grease and hardware materials, control fuses, terminals blocks, ferrules, insulating tapes as per day to day maintenance requirement and all registers, log books and toos & plants etc. as per the requirement and as directed by the EIC. The minimum manpower provision as follows:- A. In general Shift Duty. (a) Electrical Engineer as per tender specification - 1 no. (b) Highly Skilled Manpower as per tender specification - 1 no. (c) Unskilled Manpower - 1 no. B. In Round the Clock Shift Duty. (a) Skilled Manpower - 2 location x 3 Shift = 6 nos. (b) Unskilled Manpower - 1 no. x 3 Shift = 3 nos. (A) Two year | 24.00 | month | 328132.00 | 290000.00 | 6960000.00 | 270000.00 | 6480000.00 | 265000.00 | 6360000.00 | 270072.00 | 6481728.00 | 256000.00 | 6144000.00 | 285000.00 | 6840000.00 | 278219.00 | 6677256.00 | 6144000.00 | L K BUILDERS
2.00 | SH-II : Maintenance of Battery Charger, planels & transformers. Checking & maintenance of batteries & battery charger sets installed at cargo substations for HT switchgears i/c. checking control wiring, tightening of all terminals after cleaning of terminals, providing petroleum jelly. Top up the batteries with distilled water etc. i/c. minors hardwares and spares complete as required. (a) First Year | 12.00 | Job | 1500.00 | 1000.00 | 12000.00 | 925.00 | 11100.00 | 900.00 | 10800.00 | 400.00 | 4800.00 | 2800.00 | 33600.00 | 100.00 | 1200.00 | 2000.00 | 24000.00 | 1200.00 | M/S DURGA SUPPLY AGENCIES
3.00 | Checking & maintenance of batteries & battery charger sets installed at cargo substations for HT switchgears i/c. checking control wiring, tightening of all terminals after cleaning of terminals, providing petroleum jelly. Top up the batteries with distilled water etc. i/c. minors hardwares and spares complete as required. (b) Second Year | 12.00 | Job | 1700.00 | 1000.00 | 12000.00 | 925.00 | 11100.00 | 900.00 | 10800.00 | 400.00 | 4800.00 | 2800.00 | 33600.00 | 100.00 | 1200.00 | 2000.00 | 24000.00 | 1200.00 | M/S DURGA SUPPLY AGENCIES
4.00 | Filtration & dehydration of transformer oil to improve the breakdown voltage of oil up to 50KV by oil filtration machine, carrying out BDV test of oil i/c. transportation of filtration machine to site etc. as required. (a) First Year | 7000.00 | Ltr. | 10.00 | 9.00 | 63000.00 | 7.00 | 49000.00 | 6.00 | 42000.00 | 5.00 | 35000.00 | 6.00 | 42000.00 | 7.00 | 49000.00 | 10.00 | 70000.00 | 35000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | Filtration & dehydration of transformer oil to improve the breakdown voltage of oil up to 50KV by oil filtration machine, carrying out BDV test of oil i/c. transportation of filtration machine to site etc. as required. (b) Second Year | 7000.00 | Ltr. | 12.00 | 9.00 | 63000.00 | 7.00 | 49000.00 | 6.00 | 42000.00 | 5.00 | 35000.00 | 6.00 | 42000.00 | 6.00 | 42000.00 | 10.00 | 70000.00 | 35000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.00 | Maintenance of APFC panel, LT panels, AMF panels (monthly minimum one time and as and when required) installed in cargo substation of the airport area for improvement of power factor i/c. checking & tightening of the all terminals, checking, control wirings if required replace the faulty portion of control wiring. Providing necessary cleaning materials, insulating tapes, minor hardwares, wires, thimble/lugs, fennels etc. as required (capacitors and major components shall be supplied by the department). (2 nos. APFC panel, 2 no. LT Non Essential Panel, 2 No. Essential LT panel, 3 nos. AMF panels). (a) First Year | 24.00 | Job | 1400.00 | 5000.00 | 120000.00 | 1250.00 | 30000.00 | 1200.00 | 28800.00 | 400.00 | 9600.00 | 22000.00 | 528000.00 | 100.00 | 2400.00 | 2000.00 | 48000.00 | 2400.00 | M/S DURGA SUPPLY AGENCIES
7.00 | Maintenance of APFC panel, LT panels, AMF panels (monthly minimum one time and as and when required) installed in cargo substation of the airport area for improvement of power factor i/c. checking & tightening of the all terminals, checking, control wirings if required replace the faulty portion of control wiring. Providing necessary cleaning materials, insulating tapes, minor hardwares, wires, thimble/lugs, fennels etc. as required (capacitors and major components shall be supplied by the department). (2 nos. APFC panel, 2 no. LT Non Essential Panel, 2 No. Essential LT panel, 3 nos. AMF panels). (b) Second Year | 24.00 | Job | 1600.00 | 5000.00 | 120000.00 | 1425.00 | 34200.00 | 1400.00 | 33600.00 | 400.00 | 9600.00 | 22000.00 | 528000.00 | 100.00 | 2400.00 | 2400.00 | 57600.00 | 2400.00 | M/S DURGA SUPPLY AGENCIES
8.00 | Cleaning of luminaries, maintaining serviceability of emergency light in and around S/S building i/c. Up keeping of Electrical sub-station by i/c cleaning, uprooting of bushes / jungles etc. within the periphery of sub-station, as and when required as directed by Engg. I/C. (a) First Year | 12.00 | Job | 1500.00 | 1000.00 | 12000.00 | 950.00 | 11400.00 | 1000.00 | 12000.00 | 400.00 | 4800.00 | 800.00 | 9600.00 | 110.00 | 1320.00 | 1000.00 | 12000.00 | 1320.00 | M/S DURGA SUPPLY AGENCIES
9.00 | Cleaning of luminaries, maintaining serviceability of emergency light in and around S/S building i/c. Up keeping of Electrical sub-station by i/c cleaning, uprooting of bushes / jungles etc. within the periphery of sub-station, as and when required as directed by Engg. I/C. (b) Second Year | 12.00 | Job | 1800.00 | 1000.00 | 12000.00 | 1250.00 | 15000.00 | 1100.00 | 13200.00 | 400.00 | 4800.00 | 800.00 | 9600.00 | 90.00 | 1080.00 | 1000.00 | 12000.00 | 1080.00 | M/S DURGA SUPPLY AGENCIES
10.00 | Topping up of transformer oil in the transformer by oil filtering machine including transportation and opening and closing nut / bolts / valves etc. as required. (a) First Year | 1200.00 | Ltr. | 45.00 | 130.00 | 156000.00 | 35.00 | 42000.00 | 30.00 | 36000.00 | 12.00 | 14400.00 | 10.00 | 12000.00 | 4.50 | 5400.00 | 120.00 | 144000.00 | 5400.00 | M/S DURGA SUPPLY AGENCIES
11.00 | Topping up of transformer oil in the transformer by oil filtering machine including transportation and opening and closing nut / bolts / valves etc. as required. (b) Second Year | 1200.00 | Ltr. | 48.00 | 130.00 | 156000.00 | 35.00 | 42000.00 | 35.00 | 42000.00 | 12.00 | 14400.00 | 10.00 | 12000.00 | 4.50 | 5400.00 | 130.00 | 156000.00 | 5400.00 | M/S DURGA SUPPLY AGENCIES
12.00 | Checking earth pit i/c. measurering the earth resistance bimonthly and repairing of earth pit wherever required by making necessary work, replacement of watering funnel, nut and bolts washers etc. and change broken cover by new cover i/c. cleaning, painting etc. as required. (a) First Year | 20.00 | job | 1000.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 50.00 | 1000.00 | 3000.00 | 60000.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
13.00 | Checking earth pit i/c. measurering the earth resistance bimonthly and repairing of earth pit wherever required by making necessary work, replacement of watering funnel, nut and bolts washers etc. and change broken cover by new cover i/c. cleaning, painting etc. as required. (b) Second Year | 20.00 | job | 1200.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 600.00 | 12000.00 | 400.00 | 8000.00 | 500.00 | 10000.00 | 50.00 | 1000.00 | 3000.00 | 60000.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
14.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at cargo substation with dehydration / filtration transformer oil etc. (a) Upto 500 KVA | 1.00 | job | 22000.00 | 25000.00 | 25000.00 | 15500.00 | 15500.00 | 15000.00 | 15000.00 | 11000.00 | 11000.00 | 60000.00 | 60000.00 | 15000.00 | 15000.00 | 8000.00 | 8000.00 | 8000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
15.00 | Overhauling & servicing of arresting leakage of transformer HT and LT side, conservator tank, Bucholz relay, top cover, all radiators, Bushing changing etc. of transformers at cargo substation with dehydration / filtration transformer oil etc. (b) Above 500 KVA and up to 2000 KVA Transformer. | 2.00 | job | 25000.00 | 25000.00 | 50000.00 | 18300.00 | 36600.00 | 18000.00 | 36000.00 | 14000.00 | 28000.00 | 80000.00 | 160000.00 | 16500.00 | 33000.00 | 9000.00 | 18000.00 | 18000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
16.00 | SH-III Maintenance of VCB / OCB & ACBs etc. Overhauling and servicing of existing LT ACB's of various makes up to 3200 Amp. Rating installed at cargo Sub-Stations at NSCBI Airport. | 15.00 | Job | 3800.00 | 2800.00 | 42000.00 | 1950.00 | 29250.00 | 2000.00 | 30000.00 | 2500.00 | 37500.00 | 4000.00 | 60000.00 | 2000.00 | 30000.00 | 4000.00 | 60000.00 | 29250.00 | Youngmen Traders
17.00 | Overhauling and servicing of existing HT 6 KV / 11 KV OCB's / VCB's of various makes installed at cargo Sub-Stations at NSCBI Airport. | 10.00 | Job | 3500.00 | 2500.00 | 25000.00 | 1900.00 | 19000.00 | 1800.00 | 18000.00 | 2000.00 | 20000.00 | 10000.00 | 100000.00 | 3000.00 | 30000.00 | 10000.00 | 100000.00 | 18000.00 | ANIRBAN ENTERPRISE
18.00 | Replacement of faulty WTI & OTI of the existing transformer located at cargo Sub-Stations, NSCBI Airport. | 2.00 | Job | 8500.00 | 7000.00 | 14000.00 | 5100.00 | 10200.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 3000.00 | M/S DURGA SUPPLY AGENCIES
19.00 | SITC of silica gel breather as per sample in the existing transformer located at cargo Sub-Stations ,NSCBI Airport. | 4.00 | Job | 5700.00 | 1500.00 | 6000.00 | 2200.00 | 8800.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 50.00 | 200.00 | 700.00 | 2800.00 | 200.00 | M/S DURGA SUPPLY AGENCIES
20.00 | SH- IV - Painting etc. Cleaning the existing surface of cubicle panel at cargo substations & spray painting the same with two coats of ISI marked synthetic enamel paint of approved colour etc. as required. | 100.00 | Sq.mt | 310.00 | 30.00 | 3000.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 10.00 | 1000.00 | 100.00 | 10000.00 | 1000.00 | M/S DURGA SUPPLY AGENCIES
21.00 | Scrubbing, cleaning, the old paint from the existing surface of rolling shutters at cargo substations and painting the same with two coats of ISI marked synthetic enamel paint of approved colour etc. as required. | 300.00 | Sq.mt | 290.00 | 30.00 | 9000.00 | 150.00 | 45000.00 | 125.00 | 37500.00 | 105.00 | 31500.00 | 100.00 | 30000.00 | 10.00 | 3000.00 | 100.00 | 30000.00 | 3000.00 | M/S DURGA SUPPLY AGENCIES
22.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo substations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminum paint or as per existing paint of approved colour etc. as required. (a) Upto 500 KVA | 1.00 | Job | 12000.00 | 1000.00 | 1000.00 | 7100.00 | 7100.00 | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 800.00 | 800.00 | 100.00 | 100.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
23.00 | Scrubbing, cleaning the old paint from the existing surface of power transformer of following capacity located at cargo substations and spray painting the same transformers with two coats of ISI marked synthetic enamel paint / aluminum paint or as per existing paint of approved colour etc. as required. (b) Above 500 KVA upto 2000 KVA Transformer. | 2.00 | Job | 15000.00 | 2000.00 | 4000.00 | 10500.00 | 21000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
24.00 | Lettering of maximum 2" size (Alpha / numerical) on the finished painted surface of feeder pillar / panel / earth pits with synthetic enamel paint of approved colour etc. as required. | 1000.00 | No | 9.00 | 5.00 | 5000.00 | 5.00 | 5000.00 | 4.00 | 4000.00 | 4.00 | 4000.00 | 100.00 | 100000.00 | 10.00 | 10000.00 | 50.00 | 50000.00 | 4000.00 | ANIRBAN ENTERPRISE, MANNA ELECTRONICS AND ELECTRICAL WORKS
25.00 | Cleaning, rubbing the old paint from the existing surface of DG set installed at cargo power houses and painting the same with heat proof spray painting with two coats of synthetic enamel paint of approved colour i/c. lettering, numbering etc. as required. Upto 500 KVA DG sets | 3.00 | Job | 22000.00 | 4000.00 | 12000.00 | 12500.00 | 37500.00 | 12000.00 | 36000.00 | 11000.00 | 33000.00 | 5000.00 | 15000.00 | 1000.00 | 3000.00 | 10000.00 | 30000.00 | 3000.00 | M/S DURGA SUPPLY AGENCIES
26.00 | Cleaning the surface of chequered plates at cargo sub-stations and painting with two coats of synthetic enamel black paint etc. as required. | 120.00 | Sq.mt | 200.00 | 20.00 | 2400.00 | 150.00 | 18000.00 | 100.00 | 12000.00 | 85.00 | 10200.00 | 100.00 | 12000.00 | 10.00 | 1200.00 | 5000.00 | 600000.00 | 1200.00 | M/S DURGA SUPPLY AGENCIES
27.00 | Repairing of existing rolling shutter at cargo substations of various sizes after removing the same from existing frame and frame work, shutter rail, shaft, side guides and arrangement for inside operation etc. including all servicing, greasing, oiling, repairing of locking arrangement complete fixing as per direction of Engineer-in- charge . | 10.00 | Job | 1875.00 | 750.00 | 7500.00 | 1300.00 | 13000.00 | 1200.00 | 12000.00 | 900.00 | 9000.00 | 5000.00 | 50000.00 | 250.00 | 2500.00 | 4000.00 | 40000.00 | 2500.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 7911900.00 |  | 7082750.00 |  | 6915700.00 |  | 6879128.00 |  | 8082400.00 |  | 7088100.00 |  | 8373956.00
Lowest Amount Quoted BY: MANNA ELECTRONICS AND ELECTRICAL WORKS(6879128.00)

## BOQ Summary
BOQ Summary Details Tender Title: MO Power supply including standby DG sets at NSCBI Airport during 2021 22 and 2022 23 SH Round the Clock Operation and Preventive Maintenance Contract of Cargo sub station Tender ID: 2021_AAI_89765_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 6879128.00 | L1
| 2 | ANIRBAN ENTERPRISE | 6915700.00 | L2
| 3 | Youngmen Traders | 7082750.00 | L3
| 4 | M/S DURGA SUPPLY AGENCIES | 7088100.00 | L4
| 5 | EASTERN POWER ENGINEERING | 7911900.00 | L5
| 6 | L K BUILDERS | 8082400.00 | L6
| 7 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 8373956.00 | L7