## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 21-Oct-2021 04:15 PM Tender Title: ARMO of EandM Installations of DWR Building for IMD at DBAI Airport, Nagpur Year 2021-22 SH- Operation and Maintenance of EandM Installations. Tender ID: 2021_AAI_90210_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of E&M Installations of DWR Building for IMD at DBAI Airport, Nagpur (Year 2021-22). SH: Operation & Maintenance of E&M Installations.
Contract No: AAI/NGP/E-E/2021-22/08/DWR-AMC/NIT-02 Date: 06.10.2021
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD(GSTN-27AAIAB4511C1Z9) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance
1.01 | Operation & Maintenance Contract of E&M Installations installed at Doppler Weather Radar Building (DWR-IMD Department) at Nagpur Airport round the clock on all days including Sundays & holidays. Job involves operation, maintenance, attending complaints, preventive / routine / breakdown maintenance, documentation etc. as per terms & conditions and directions of Engineer-in-charge as required. 04 Nos. Skilled (Electrician / Wireman / DG optr.) Total manpower not less than 04 persons. | 12.00 | Per Month | 95769.00 | 88000.00 | 1056000.00 | 89000.00 | 1068000.00 | 88001.00 | 1056012.00 | 87786.00 | 1053432.00 | 93000.00 | 1116000.00 | 1053432.00 | Manish Electricals
2.00 | Minor Repairs & Maintenance Works
2.01 | Filtration of insulating oil of 1 No. 250 KVA Transformer (Oil tank capacity - Approx. 340 Litres) including de-hydration with replacement of Silica Gel, testing & commissioning as per relevant IS codes & submission of BDV, acidity and water content test report etc. complete as required. (Total Oil Quantity - 340 litres). | 1.00 | Job | 11896.00 | 40000.00 | 40000.00 | 7500.00 | 7500.00 | 10000.00 | 10000.00 | 9000.00 | 9000.00 | 7500.00 | 7500.00 | 7500.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
2.02 | Supply of new transformer oil having properties confirming to IS-335 for topping up in the existing transformer etc. as required. | 20.00 | Ltr. | 100.00 | 110.00 | 2200.00 | 100.00 | 2000.00 | 95.00 | 1900.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 1900.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
3.00 | CMC of Air Conditioners & Water Cooler cum Purifiers.
3.01 | Annual comprehensive maintenance contract for air conditioners at DWR building which involves comprehensive maintenance of different types of air conditioners of different makes at different locations including supply of spares and consumables as per the contract terms and conditions and instructions of Engineer-in-charge etc. as required.
3.01 | 17 TR Ductable AC units. - 4 Nos | 12.00 | Per Month | 14424.00 | 3825.00 | 45900.00 | 8000.00 | 96000.00 | 5500.00 | 66000.00 | 6600.00 | 79200.00 | 12000.00 | 144000.00 | 45900.00 | Sew Engineering Works Pvt Ltd
3.01 | 2.0 TR Cassette type AC units. - 5 Nos | 12.00 | Per Month | 1630.00 | 5500.00 | 66000.00 | 1500.00 | 18000.00 | 3500.00 | 42000.00 | 1800.00 | 21600.00 | 1250.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
3.01 | 2.0 TR Split type AC units. - 10 Nos | 12.00 | Per Month | 1520.00 | 4500.00 | 54000.00 | 1500.00 | 18000.00 | 5500.00 | 66000.00 | 3300.00 | 39600.00 | 1500.00 | 18000.00 | 18000.00 | ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
3.01 | 1.5 TR Split type AC units. - 2 Nos | 12.00 | Per Month | 424.00 | 4000.00 | 48000.00 | 500.00 | 6000.00 | 2000.00 | 24000.00 | 450.00 | 5400.00 | 300.00 | 3600.00 | 3600.00 | ABHISHEK INTEGRATIONS LIMITED
3.02 | 1.5 TR Inverter Split type AC units. - 2 Nos | 12.00 | Per Month | 530.00 | 4000.00 | 48000.00 | 500.00 | 6000.00 | 2500.00 | 30000.00 | 485.00 | 5820.00 | 400.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
3.02 | Annual comprehensive maintenance contract for water cooler at DWR building which involves comprehensive maintenance of water cooler including supply of spares & consumables as per the contract terms and conditions and instructions of Engineer-in-charge as required.
3.02 | Water Cooler - 60 Litres Capacity. - 1 No. | 12.00 | Month | 182.00 | 474.00 | 5688.00 | 1000.00 | 12000.00 | 555.00 | 6660.00 | 300.00 | 3600.00 | 150.00 | 1800.00 | 1800.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | ACMC of Vertive make 40 KVA UPS
4.01 | Comprehensive Maintenance Contract of 01 No. Vertive make 40 KVA UPS system through OEM / Authorized dealer of OEM for continuous power supply. Job includes quarterly visit and checking of UPS system unit & repairing / replacement of essential components as per OEM recommendations i/c replacement of all PCBs, fans etc. & any other essential services including breakdown calls if any. | 4.00 | Quarter | 43556.00 | 18000.00 | 72000.00 | 26250.00 | 105000.00 | 10101.00 | 40404.00 | 33500.00 | 134000.00 | 35000.00 | 140000.00 | 40404.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.00 | Supply of following electrical spares as per the specifications mentioned and directions of E-I-C etc. as required.
5.01 | Supply of 20 W, T8 Type LED fixture with having 125 lumen / watt lumen output, LED lamp suitable to operate with 230V AC power supply, made of Extruded aluminum housing, pre-wired, high quality PC diffuser, electronic driver, shall comply with IS 10322 requirements and technical specifications etc. as required. (Make: Crompton / Model: Bright Linea CCS-100-20-65-HL2-DP-NWH or similar) | 40.00 | Nos. | 623.00 | 250.00 | 10000.00 | 475.00 | 19000.00 | 350.00 | 14000.00 | 585.00 | 23400.00 | 265.00 | 10600.00 | 10000.00 | Sew Engineering Works Pvt Ltd
5.01 | Supply of high efficiency and low power consumption 45 watt LED street light fixture having minimum 4400 lumens output with powder coated pressure die-cast aluminium housing and toughened glass / polycarbonate cover, IP 65 protection, weatherproof gasket for lamp and control gear accessories, integral electronics with in-built short circuit, over voltage, over load protection, suitable for mounting on existing bracket arm of 40 mm outer dia. pipe bracket, complete with electronic driver and accessories etc, suitable for outdoor applications as per technical specifications etc. as required. (Make: Crompton Freedom Neo LSTS-45-CDL-M / Wipro LR02-501-XXX-57-G1 or similar). | 6.00 | Nos. | 4253.00 | 2600.00 | 15600.00 | 1500.00 | 9000.00 | 3500.00 | 21000.00 | 3950.00 | 23700.00 | 1643.00 | 9858.00 | 9000.00 | M/s BHARAT ELECTRIC, NAGPUR
5.01 | 36 W, 4 Pin, PL CFL Lamp (Make: Crompton or similar) | 70.00 | Nos. | 134.00 | 190.00 | 13300.00 | 85.00 | 5950.00 | 775.00 | 54250.00 | 150.00 | 10500.00 | 142.00 | 9940.00 | 5950.00 | M/s BHARAT ELECTRIC, NAGPUR
5.01 | 10 W, 2 Pin, PL CFL Tube (Make: Crompton or similar) | 6.00 | Nos. | 89.00 | 135.00 | 810.00 | 70.00 | 420.00 | 150.00 | 900.00 | 90.00 | 540.00 | 94.00 | 564.00 | 420.00 | M/s BHARAT ELECTRIC, NAGPUR
5.01 | LED Indicator Lamp, Voltage 240 V AC (Red) (Make: L&T Gen Next Pro 22.5 mm / Havells or similar). | 15.00 | Nos. | 81.00 | 122.00 | 1830.00 | 75.00 | 1125.00 | 25.00 | 375.00 | 90.00 | 1350.00 | 86.00 | 1290.00 | 375.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.01 | LED Indicator Lamp, Voltage 240 V AC (Blue) (Make: L&T Gen Next Pro 22.5 mm / Havells or similar). | 15.00 | Nos. | 140.00 | 122.00 | 1830.00 | 125.00 | 1875.00 | 25.00 | 375.00 | 90.00 | 1350.00 | 86.00 | 1290.00 | 375.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.02 | LED Indicator Lamp, Voltage 240 V AC (Yellow) (Make: L&T Gen Next Pro 22.5 mm / Havells or similar). | 15.00 | Nos. | 81.00 | 122.00 | 1830.00 | 75.00 | 1125.00 | 25.00 | 375.00 | 90.00 | 1350.00 | 86.00 | 1290.00 | 375.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.02 | LED Indicator Lamp, Voltage 240 V AC (Green) (Make: L&T Gen Next Pro 22.5 mm / Havells or similar). | 10.00 | Nos. | 81.00 | 165.00 | 1650.00 | 75.00 | 750.00 | 25.00 | 250.00 | 90.00 | 900.00 | 86.00 | 860.00 | 250.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.02 | 6/16 A Switch Socket Combined with 4 fixing holes without box. (Make: Anchor 39998 / Havells - REOAHETOXW204 or similar). | 3.00 | Nos. | 95.00 | 190.00 | 570.00 | 100.00 | 300.00 | 200.00 | 600.00 | 90.00 | 270.00 | 74.00 | 222.00 | 222.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | 6A Pendant Holder (Make: Anchor 14706 or similar) | 5.00 | Nos. | 27.00 | 40.00 | 200.00 | 25.00 | 125.00 | 25.00 | 125.00 | 25.00 | 125.00 | 19.00 | 95.00 | 95.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | 6A, 3Pin Plug Top (Make: Anchor 38626 / C&S CG28014NR or similar) | 5.00 | Nos. | 45.00 | 75.00 | 375.00 | 45.00 | 225.00 | 36.00 | 180.00 | 30.00 | 150.00 | 42.00 | 210.00 | 150.00 | Manish Electricals
5.02 | 6A, Pilot 3 Plate Ceiling Rose (Make: Anchor 39072 / C&S ACCR001NR or similar) | 10.00 | Nos. | 26.00 | 419.00 | 4190.00 | 25.00 | 250.00 | 35.00 | 350.00 | 30.00 | 300.00 | 21.00 | 210.00 | 210.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | 2A, 80 KA, F1 size, Type HG HRC Fuse (Make: L&T ST30726 or similar) | 5.00 | Nos. | 35.00 | 44.00 | 220.00 | 35.00 | 175.00 | 112.00 | 560.00 | 25.00 | 125.00 | 37.00 | 185.00 | 125.00 | Manish Electricals
5.02 | 4A, 80 KA, F1 size, Type HG HRC Fuse (Make: L&T ST30726 or similar) | 5.00 | Nos. | 35.00 | 107.00 | 535.00 | 35.00 | 175.00 | 112.00 | 560.00 | 30.00 | 150.00 | 37.00 | 185.00 | 150.00 | Manish Electricals
5.02 | 25 mm PVC pipe (Make: Precision PRCS 25L or similar). | 36.00 | Metre | 39.00 | 27.00 | 972.00 | 40.00 | 1440.00 | 27.00 | 972.00 | 40.00 | 1440.00 | 21.00 | 756.00 | 756.00 | ABHISHEK INTEGRATIONS LIMITED
5.03 | 25 mm PVC Flexible pipe (Fire Retardant Poly Propylene - Make: Precision PCFR 25 or similar). | 25.00 | Metre | 30.00 | 60.00 | 1500.00 | 15.00 | 375.00 | 15.00 | 375.00 | 25.00 | 625.00 | 21.00 | 525.00 | 375.00 | M/s BHARAT ELECTRIC, NAGPUR, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | 25 mm PVC Bend (Make: Precision PRBN 25 or similar) | 24.00 | Nos. | 18.00 | 25.00 | 600.00 | 15.00 | 360.00 | 5.00 | 120.00 | 15.00 | 360.00 | 19.00 | 456.00 | 120.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | 25 mm PVC Junction / Intersection (Circular) Box 4 way with lid & screw (Make: Precision PRCB 254 or similar) | 12.00 | Nos. | 37.00 | 35.00 | 420.00 | 40.00 | 480.00 | 5.00 | 60.00 | 42.00 | 504.00 | 32.00 | 384.00 | 60.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | 25mm PVC Space Bar Saddle (of make precision PRBS 25 or similar). | 100.00 | Nos. | 11.00 | 13.00 | 1300.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 5.00 | 500.00 | 12.00 | 1200.00 | 500.00 | Manish Electricals
5.03 | PVC Gujja Pkt | 5.00 | Pkt. | 40.00 | 25.00 | 125.00 | 10.00 | 50.00 | 10.00 | 50.00 | 30.00 | 150.00 | 42.00 | 210.00 | 50.00 | M/s BHARAT ELECTRIC, NAGPUR, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | 10 A, 11 KV DO Fuse Element | 6.00 | Nos. | 54.00 | 46.00 | 276.00 | 50.00 | 300.00 | 11.00 | 66.00 | 50.00 | 300.00 | 57.00 | 342.00 | 66.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | 25 X 7 R K Wooden Screw | 1.00 | Pkt. | 85.00 | 27.00 | 27.00 | 100.00 | 100.00 | 55.00 | 55.00 | 90.00 | 90.00 | 53.00 | 53.00 | 27.00 | Sew Engineering Works Pvt Ltd
5.03 | 35 X 7 R K Wooden Screw | 1.00 | Pkt. | 63.00 | 45.00 | 45.00 | 100.00 | 100.00 | 63.00 | 63.00 | 80.00 | 80.00 | 53.00 | 53.00 | 45.00 | Sew Engineering Works Pvt Ltd
5.03 | 60 X 8 R K Wooden Screw | 1.00 | Pkt. | 157.00 | 87.00 | 87.00 | 200.00 | 200.00 | 85.00 | 85.00 | 150.00 | 150.00 | 85.00 | 85.00 | 85.00 | ABHISHEK INTEGRATIONS LIMITED, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.03 | Surge protection device / arrester suitable for 45W LED Street Light (Make: Crompton or similar) | 10.00 | Nos. | 280.00 | 1640.00 | 16400.00 | 700.00 | 7000.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 297.00 | 2970.00 | 2970.00 | ABHISHEK INTEGRATIONS LIMITED
5.04 | 63A, 10 kA, C-Curve TP MCB (Make: Hager NCN363N / L&T BB30630C or similar). | 5.00 | Nos. | 1385.00 | 1120.00 | 5600.00 | 900.00 | 4500.00 | 800.00 | 4000.00 | 1050.00 | 5250.00 | 1189.00 | 5945.00 | 4000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.04 | 63A, 10 kA, C-Curve FP MCB (Make: Hager NCN463N / L&T BB40630C or similar). | 5.00 | Nos. | 1740.00 | 1420.00 | 7100.00 | 1150.00 | 5750.00 | 2300.00 | 11500.00 | 1250.00 | 6250.00 | 1491.00 | 7455.00 | 5750.00 | M/s BHARAT ELECTRIC, NAGPUR
5.04 | Digital Ammeter, Single phase, LED Display - CL 1.0 of size 96 X 96 mm (Make: Schneider ConzervTM DM1110 / L&T WL111010OOOO or similar). | 10.00 | Nos. | 619.00 | 1200.00 | 12000.00 | 575.00 | 5750.00 | 700.00 | 7000.00 | 490.00 | 4900.00 | 560.00 | 5600.00 | 4900.00 | Manish Electricals
5.04 | Digital Voltmeter, Single phase, LED Display - CL 1.0 of size 96 X96 mm (Make: Schneider ConzervTM DM1210 / L&T WL112010OOOO or similar). | 1.00 | Nos. | 619.00 | 1200.00 | 1200.00 | 575.00 | 575.00 | 1000.00 | 1000.00 | 490.00 | 490.00 | 560.00 | 560.00 | 490.00 | Manish Electricals
5.04 | Indoor Tape Insulated Ring Type "BPL" Low Tension Current Transformer - Ratio 50/5A, , Rated Burden : 5 VA | 1.00 | Nos. | 361.00 | 450.00 | 450.00 | 300.00 | 300.00 | 300.00 | 300.00 | 400.00 | 400.00 | 383.00 | 383.00 | 300.00 | M/s BHARAT ELECTRIC, NAGPUR, BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
5.04 | Indoor Tape Insulated Ring Type "BPL" Low Tension Current Transformer - Ratio 200/5A, , Rated Burden : 15 VA | 2.00 | Nos. | 755.00 | 920.00 | 1840.00 | 350.00 | 700.00 | 500.00 | 1000.00 | 495.00 | 990.00 | 800.00 | 1600.00 | 700.00 | M/s BHARAT ELECTRIC, NAGPUR
5.04 | Indoor Tape Insulated Ring Type "BPL" Low Tension Current Transformer - Ratio 400/5A, , Rated Burden : 15 VA | 2.00 | Nos. | 361.00 | 450.00 | 900.00 | 500.00 | 1000.00 | 700.00 | 1400.00 | 400.00 | 800.00 | 383.00 | 766.00 | 766.00 | ABHISHEK INTEGRATIONS LIMITED
5.04 | 3 Pole, AC3 Rating, MNX 12 Power Contactor with 1 No. NO of make L&T, Type MNX Cat. No. CS94108. | 1.00 | Nos. | 651.00 | 1350.00 | 1350.00 | 725.00 | 725.00 | 800.00 | 800.00 | 1200.00 | 1200.00 | 690.00 | 690.00 | 690.00 | ABHISHEK INTEGRATIONS LIMITED
5.04 | Supply of following size PVC insulated and FR PVC Round Sheathed, Copper Conductor (Flexible) industrial cable confirming to IS :694, for voltages up to 1100 volt as per list of approved makes.
5.04 | 3 CORE X 1.5 SQ.MM round cable (Make: Havells WHMFDSKB31X5 / Polycab or similar). | 100.00 | Metre | 64.00 | 99.00 | 9900.00 | 55.00 | 5500.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 51.00 | 5100.00 | 5000.00 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD
| Total in Figures |  |  |  |  | 1552820.00 |  | 1415200.00 |  | 1474722.00 |  | 1452741.00 |  | 1524632.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(1415200.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EandM Installations of DWR Building for IMD at DBAI Airport, Nagpur Year 2021-22 SH- Operation and Maintenance of EandM Installations. Tender ID: 2021_AAI_90210_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 1415200.00 | L1
| 2 | Manish Electricals | 1452741.00 | L2
| 3 | BANESHWAR ELECTRICAL AND ELECTRONICS A. S. SANSTHA , AURANGABAD | 1474722.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 1524632.00 | L4
| 5 | Sew Engineering Works Pvt Ltd | 1552820.00 | L5