## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 11-Nov-2021 12:14 PM Tender Title: Extension of Runway 36 Towards 18 side by 1300 feet and allied works at Civil Airport Jammu. SH SITC of SAPL Tender ID: 2021_AAI_90249_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Extension of Runway 36 (Towards 18 side) by 1300 feet and allied works at Civil Airport Jammu. [SH:- SITC of SAPL]
Tender ID No.2021_AAI_90249
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | REWINDER TECHNO ELECTRICALS(GSTN-18AAFFR7457K1ZL) |  | BOSE ENGINEERING AND MARKETING COMPANY(GSTN-19AHMPB0264G1ZJ) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | NSC Projects Pvt. Ltd.(GSTN-07AADCN4958N1ZU) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | SH I: SITC of SAPL Supply and Fixing of 5 KV grade 50 Hz, series type isolating transformers, encapsulated in polyester resin, finally moulded with neoprene type rubber with primary and secondary connections as specified in particular specifications complete as required. a) 6.6/6.6 Amps 200 Watt. | 20.00 | Job | 4399.00 | 4741.50 | 94830.00 | 4200.00 | 84000.00 | 3300.00 | 66000.00 | 4000.00 | 80000.00 | 4700.00 | 94000.00 | 5000.00 | 100000.00 | 66000.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.02 | Supply and fixing of 6 mm thick duly painted MS cover plate and suitable MS bend welded on plate with gasket & 6 nos. M10 SS bolt on existing CI box etc. complete as reqired. | 15.00 | Job | 1160.00 | 1035.00 | 15525.00 | 1500.00 | 22500.00 | 1400.00 | 21000.00 | 1200.00 | 18000.00 | 1000.00 | 15000.00 | 1500.00 | 22500.00 | 15000.00 | NSC Projects Pvt. Ltd.
1.03 | Supply and Fixing of Two pin secondary Plug assembly for AUN.ALN and ALD Fittings having Following length Complete as required. a) 2.5 Mtr. | 17.00 | Job | 1252.00 | 768.90 | 13071.30 | 900.00 | 15300.00 | 800.00 | 13600.00 | 1500.00 | 25500.00 | 800.00 | 13600.00 | 1600.00 | 27200.00 | 13071.30 | Vardhman Airport Solutions Pvt Ltd
1.04 | b) 6 Mtr. | 15.00 | Job | 2450.00 | 1356.00 | 20340.00 | 1000.00 | 15000.00 | 1500.00 | 22500.00 | 2000.00 | 30000.00 | 1200.00 | 18000.00 | 2000.00 | 30000.00 | 15000.00 | REWINDER TECHNO ELECTRICALS
1.05 | Supply of elevated Halogen type unidirectional high intensity approach light fittings suitable for use with 200W,6.6 halogen lamp complete with all accessories, complete clear lens, lens holder, lens clamping mechanism, pre focus lamp holder, central column assembly, breakable coupling,spring and plain washers rubber gasket,and other accessories and lamp and omni directional lens but without base plate confirming to specified particular specifications as per ICAO,FAA(Make M/s AMA or equivalent) | 18.00 | Nos | 8541.00 | 8652.00 | 155736.00 | 10000.00 | 180000.00 | 10000.00 | 180000.00 | 7000.00 | 126000.00 | 9500.00 | 171000.00 | 10000.00 | 180000.00 | 126000.00 | Anil Kumar Sharma
1.06 | Supply of Unidirectional inset approach Halogen light fitting for use in 6.6A airfield lighting circuit normally supplied from 200W isolating transformer,Halogen lights fitting complete with O-ring gasket, Six M10 screws for light fastening, cable lead side entry, One L-823 two-pole socket, stly 7, Hight 150mm, 12" aluminium shallow base, 12" shallow base cable lead and bolt, cable lead with L-823 plug, Three lamps 105W 6.6 A with reflector and other accessories complete in all respect as required and confirming to latest ICAO specifications and particular specifications, complete as required. | 2.00 | Nos | 48016.00 | 63557.59 | 127115.18 | 75000.00 | 150000.00 | 70500.00 | 141000.00 | 56000.00 | 112000.00 | 60000.00 | 120000.00 | 66000.00 | 132000.00 | 112000.00 | Anil Kumar Sharma
1.07 | Supply of Omnidirectional inset taxi way LED light fitting for use in 6.6A airfield lighting circuit normally supplied from 45W isolating transformer, LED lights fitting complete with O-ring gasket, Six M10 screws for light fastening, cable lead side entry, One L-823 two-pole socket, stly 7, Hight 150mm, 8" aluminium shallow base, 8" shallow base cable lead and bolt, cable lead with L-823 plug, suitable lamps with reflector, dichroic blue filters and other accessories complete in all respect as required and confirming to latest ICAO specifications and particular specifications, complete as required. | 12.00 | Nos | 38782.00 | 37169.18 | 446030.16 | 45000.00 | 540000.00 | 4500.00 | 54000.00 | 35000.00 | 420000.00 | 36000.00 | 432000.00 | 38000.00 | 456000.00 | 54000.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.08 | Supply of C.I. Transformer housing box, water tight, round type, metal container of outside size 330mm dia and 450 mm height made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer power cable and having a clear hole centre at the opposite side surface, centre 3" above bottom surface suitable to receive One/two No. of 50mm. dia "B" class GI pipe & check nuts as required. The box should have two earth bolts of M 10 X 30 mm. welded inside near the cable entry hole side, 4" away from the hole centre and having a drain hole at the bottom suitably tapped to receive 15 mm. dia. "B" class GI pipe and having clear opening of 220 mm. at the top surface and 6 nos M10 tapped hole at the hole centre 260 mm. dia. to receive fititng base plate and bolts as required as per the Specification. a) Double Hall | 15.00 | Each | 3299.00 | 4943.40 | 74151.00 | 6500.00 | 97500.00 | 4400.00 | 66000.00 | 4500.00 | 67500.00 | 4700.00 | 70500.00 | 5000.00 | 75000.00 | 66000.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.09 | SITC of indoor type microprocessor based air cooled constant current regulator of Thyristor control electronic type suitable for use on 415v AC ,50/60Hz,input AC supply with below mentioned output power at 6.6 amps with 5 steps variation of current output suitable for local and remote control operation with 24/48v DC control supply complete with output current indicated on malfunction digital ,over current ,over voltage,earth fault protection and earth leakage meter,positive back inidication equipments relay contactor etc.as required as per specification of following rating: a)7.5 KW MP CCR at 6.6Amp,supply voltage 415V AC | 2.00 | Job | 346272.00 | 265200.00 | 530400.00 | 250000.00 | 500000.00 | 250000.00 | 500000.00 | 295000.00 | 590000.00 | 210000.00 | 420000.00 | 300000.00 | 600000.00 | 420000.00 | NSC Projects Pvt. Ltd.
1.10 | Installation, testing, commissioning of elevated halogen type unidirectional high intensity approach light fittings on the existing pole mast including installation of isolating transformers with essna connector, lens, filters, lamps and other accessories alignment, levelling and making transformer connections earth connections etc complete as required. | 14.00 | Job | 438.00 | 144.00 | 2016.00 | 200.00 | 2800.00 | 200.00 | 2800.00 | 500.00 | 7000.00 | 500.00 | 7000.00 | 120.00 | 1680.00 | 1680.00 | JCC ENGINEERS PRIVATE LIMITED
1.11 | Installation, Testing & commissioning of Inset type LED type approach light/Taxi way Light fittings on the existing transformer housing boxes including installation of transformers with essna connector, lens, filters, lamps and other accessories including cutting the bitumins/concrete by cutting with machine tools for required size or core, fixing the inset fitting of shallow base with suitable compound etc. as required. | 14.00 | Job | 13403.00 | 6600.00 | 92400.00 | 4000.00 | 56000.00 | 200.00 | 2800.00 | 6000.00 | 84000.00 | 10000.00 | 140000.00 | 8000.00 | 112000.00 | 2800.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.12 | Installation of C.I. transformer housing box with a base concrete of 1:3:6 of size 1000 X 1000 X 100mm thick and all around concrete of 1:2:4 ,150mm thick & top sloped as specified including providing and fixing 10" long 1/2" dia 'B'class G I pipe with check - nuts at the bottom surface for driange of water including excavation of side shoulder, allignment (wherever the transformer are in a line the same has to be aligned in suck a way the centres fall in a straight line) and refilling and as per specifications. | 15.00 | Job | 2338.00 | 3240.00 | 48600.00 | 3000.00 | 45000.00 | 700.00 | 10500.00 | 2000.00 | 30000.00 | 2800.00 | 42000.00 | 2500.00 | 37500.00 | 10500.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.13 | Providing & Laying of 2" dia medium class G.I pipe in ground i/c excavation alginment of pipe with transformer housing boxes, providing check nuts, plastering, fininishing etc. as regd. (from trasformer housing box to housing box and road crossing). | 30.00 | Mtr | 803.00 | 389.93 | 11697.90 | 900.00 | 27000.00 | 800.00 | 24000.00 | 450.00 | 13500.00 | 580.00 | 17400.00 | 500.00 | 15000.00 | 11697.90 | Vardhman Airport Solutions Pvt Ltd
1.14 | Supply of 5KV grade plug & receptacle of type-1 class B connector & suitable field attachment suitable for following size 5KV grade PVC insulated PVC sheathed single core standard copper conductor cable confirming to IS : 1554 (Part-II) etc. as required. a) 6 Sqmm | 30.00 | Each | 72.00 | 561.60 | 16848.00 | 600.00 | 18000.00 | 700.00 | 21000.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 550.00 | 16500.00 | 15000.00 | Anil Kumar Sharma, NSC Projects Pvt. Ltd.
1.15 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (1.2 cm depth)and re-filling etc as required. A) 50 mm Dia. | 30.00 | Mtr | 909.00 | 926.21 | 27786.30 | 900.00 | 27000.00 | 800.00 | 24000.00 | 500.00 | 15000.00 | 580.00 | 17400.00 | 600.00 | 18000.00 | 15000.00 | Anil Kumar Sharma
1.16 | SITC of fragile mast of following Height by providing mast foundation of size 450MMX450MMX600MM of cement concrete of 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) with Four Foundation Bolt of length 330MM grade M20 ,8 Nos. of Nut and Washer of M20 grade steel,Bottom Hinge Base Plate,foundation template including excavation and refilling suitable finishing on surface above the ground level etc complete as required. 0.93 meter height. 0.93 meter frangible pole with Ø 90mm pole dia with adjustable length for mounting single approach light,with complete supporting kit and Accessories, colour Aviation Yellow(Make M/s SGS Frangile towers Model : PL 9001 BP or equivalent) | 1.00 | Job | 11410.00 | 13080.00 | 13080.00 | 50000.00 | 50000.00 | 14000.00 | 14000.00 | 13000.00 | 13000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 13000.00 | Anil Kumar Sharma
1.17 | 2.01 meter height. 2.01 meter frangible pole with Ø 90mm pole dia with adjustable length for mounting single approach light,with complete supporting kit and Accessories, colour Aviation Yellow(Make M/s SGS Frangile towers Model : PL 9002 BP or equivalent) | 4.00 | Job | 25914.00 | 27930.00 | 111720.00 | 50000.00 | 200000.00 | 27000.00 | 108000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 25000.00 | 100000.00 | 100000.00 | JCC ENGINEERS PRIVATE LIMITED, Anil Kumar Sharma, NSC Projects Pvt. Ltd.
1.18 | 3.09 meter height. 3.09 meter frangible pole with Ø 90mm pole dia with adjustable length for mounting single approach light,with complete supporting kit and Accessories, colour Aviation Yellow(Make M/s SGS Frangile towers Model : PL 9003 BP or equivalent) | 1.00 | Job | 35584.00 | 36840.00 | 36840.00 | 50000.00 | 50000.00 | 38000.00 | 38000.00 | 32000.00 | 32000.00 | 33000.00 | 33000.00 | 32000.00 | 32000.00 | 32000.00 | JCC ENGINEERS PRIVATE LIMITED, Anil Kumar Sharma
1.19 | SITC of fragile lattice mast of following height by providing mast foundation of size 1000MMX1000MMX600MM foundation of cement concrete of grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) with Four Foundation Bolt of size M24X553 mm,8 Nos. of Nut and Washer of M24 grade steel,bottom Hinge Base Plate,foundation template with complete Accessories including excavation and refilling suitable finishing on surface above the ground level etc complete as required. 2.0 meter height. 500 x 500 mm Frangible lattice mast of height 2.0 meter, Cross arm length 2.7 Mtr having mounting support of 2 nos. approach Light with complete supporting kit and Accessories,, colour Aviation Yellow.(Make M/s SGS Frangile towers Model :AL 5002 BH or equivalent) | 4.00 | Job | 89182.00 | 87936.00 | 351744.00 | 75000.00 | 300000.00 | 91000.00 | 364000.00 | 85000.00 | 340000.00 | 75000.00 | 300000.00 | 85000.00 | 340000.00 | 300000.00 | REWINDER TECHNO ELECTRICALS, NSC Projects Pvt. Ltd.
1.20 | 2.0 meter height. 500 x 500 mm Frangible lattice mast of height 2.0 meter, Cross arm length 5.4 Mtr having mounting support of 3 nos. approach Light with complete supporting kit and Accessories,, colour Aviation Yellow.(Make M/s SGS Frangile towers Model :AL 5002 BH or equivalent) | 2.00 | Job | 94017.00 | 91500.00 | 183000.00 | 84000.00 | 168000.00 | 95000.00 | 190000.00 | 84000.00 | 168000.00 | 78000.00 | 156000.00 | 120000.00 | 240000.00 | 156000.00 | NSC Projects Pvt. Ltd.
1.21 | 4.35 meter height. 500 x 500 mm Frangible lattice mast of height 4.35 meter, Cross arm length 1 Mtr having mounting support of 1 nos. approach Light with complete supporting kit and Accessories,, colour Aviation Yellow.(Make M/s SGS Frangile towers Model :AL 5005 BH or equivalent) | 2.00 | Job | 94017.00 | 109320.00 | 218640.00 | 120000.00 | 240000.00 | 114000.00 | 228000.00 | 105000.00 | 210000.00 | 93000.00 | 186000.00 | 125000.00 | 250000.00 | 186000.00 | NSC Projects Pvt. Ltd.
1.22 | 4.35 meter height. 500 x 500 mm Frangible lattice mast of height 4.35 meter, Frangile Cross arm length 5.4 Mtr having mounting support of 3 nos. approach Light with complete supporting kit and Accessories, and Accessories, colour Aviation Yellow.(Make M/s SGS Frangile towers Model :AL 5005 BH or equivalent) | 3.00 | Job | 103686.00 | 118824.00 | 356472.00 | 120000.00 | 360000.00 | 120000.00 | 360000.00 | 110000.00 | 330000.00 | 101000.00 | 303000.00 | 150000.00 | 450000.00 | 303000.00 | NSC Projects Pvt. Ltd.
1.23 | Supplying and embedding 50MM dia (Medium Class) GI pipe in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as required | 30.00 | Mtr | 843.00 | 713.87 | 21416.10 | 800.00 | 24000.00 | 800.00 | 24000.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 600.00 | 18000.00 | 15000.00 | Anil Kumar Sharma
1.24 | SH II Supply and Laying of cable, End termination, Earthing Supply of 5 KV grade single core stranded copper conductor PVC insulated , PVC sheathed, anti-termite and anti rodent treated underground airport lighting cable generally confirming to IS 1554 Part-II 1981 with upto date amendments as required. a) 1X6 Sqmm | 1200.00 | Mtr | 104.00 | 99.84 | 119808.00 | 100.00 | 120000.00 | 220.00 | 264000.00 | 120.00 | 144000.00 | 110.00 | 132000.00 | 120.00 | 144000.00 | 119808.00 | Vardhman Airport Solutions Pvt Ltd
1.25 | Supply of 5 KV grade Two core stranded copper conductor PVC insulated , PVC sheathed, anti-termite and anti rodent treated underground airport lighting cable generally confirming to IS 1554 Part-II 1981 with upto date amendments as required. (a) 2X6 Sqmm | 3000.00 | Mtr | 280.00 | 239.40 | 718200.00 | 150.00 | 450000.00 | 220.00 | 660000.00 | 235.00 | 705000.00 | 250.00 | 750000.00 | 250.00 | 750000.00 | 450000.00 | REWINDER TECHNO ELECTRICALS
1.26 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 11KV grade of following size in the existing RCC/HUME/METAL pipe as required. (a) Upto 120 Sq.mm. | 4150.00 | Mtr | 62.00 | 24.00 | 99600.00 | 30.00 | 124500.00 | 20.00 | 83000.00 | 50.00 | 207500.00 | 25.00 | 103750.00 | 25.00 | 103750.00 | 83000.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.27 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground ( 1.2 m below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. a) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 3600.00 | Mtr | 244.00 | 202.92 | 730512.00 | 220.00 | 792000.00 | 220.00 | 792000.00 | 158.00 | 568800.00 | 115.00 | 414000.00 | 175.00 | 630000.00 | 414000.00 | NSC Projects Pvt. Ltd.
1.28 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. (a) Upto 120 Sq.mm. | 50.00 | Mtr | 50.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 40.00 | 2000.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 1250.00 | JCC ENGINEERS PRIVATE LIMITED, NSC Projects Pvt. Ltd.
1.29 | Supply of following sizes of aluminium conductor, armoured, XLPE / PVC insulated and PVC sheathed power cable for working voltage up to and including 1100 volts conforming to IS-7098 (Part-1) / IS:1554 (Part-1) etc. complete as required. a) 4 x 25 Sq mm | 25.00 | Mtr | 161.00 | 167.58 | 4189.50 | 150.00 | 3750.00 | 300.00 | 7500.00 | 170.00 | 4250.00 | 520.00 | 13000.00 | 200.00 | 5000.00 | 3750.00 | REWINDER TECHNO ELECTRICALS
1.30 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 4x 25 Sq. mm | 2.00 | Set | 246.00 | 586.20 | 1172.40 | 400.00 | 800.00 | 400.00 | 800.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 800.00 | REWINDER TECHNO ELECTRICALS, BOSE ENGINEERING AND MARKETING COMPANY
1.31 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. a) Upto 35 sq. mm. | 25.00 | Mtr | 23.00 | 30.00 | 750.00 | 50.00 | 1250.00 | 30.00 | 750.00 | 50.00 | 1250.00 | 30.00 | 750.00 | 25.00 | 625.00 | 625.00 | JCC ENGINEERS PRIVATE LIMITED
1.32 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having licking arrangment and watering pipe etc. (with charcoal/coke and salt) as required. | 4.00 | Job | 6404.00 | 6810.00 | 27240.00 | 8400.00 | 33600.00 | 8000.00 | 32000.00 | 6500.00 | 26000.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 26000.00 | Anil Kumar Sharma
1.33 | Providing and laying earth conncection from earth electrode with 6 SWG dia G.I. wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 40.00 | Mtr | 296.00 | 297.00 | 11880.00 | 350.00 | 14000.00 | 30.00 | 1200.00 | 200.00 | 8000.00 | 280.00 | 11200.00 | 200.00 | 8000.00 | 1200.00 | BOSE ENGINEERING AND MARKETING COMPANY
1.34 | Providing and fixing 6 SWG dia G.I wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 25.00 | Mtr | 37.00 | 25.20 | 630.00 | 30.00 | 750.00 | 30.00 | 750.00 | 25.00 | 625.00 | 30.00 | 750.00 | 30.00 | 750.00 | 625.00 | Anil Kumar Sharma
1.35 | supply and laying 6 SWG dia G.I wire to run along with airfield cable and terminated with CI Box as required. | 4200.00 | Mtr | 40.00 | 22.80 | 95760.00 | 30.00 | 126000.00 | 20.00 | 84000.00 | 25.00 | 105000.00 | 30.00 | 126000.00 | 30.00 | 126000.00 | 84000.00 | BOSE ENGINEERING AND MARKETING COMPANY
| Total in Figures |  |  |  |  | 4780700.84 |  | 4840250.00 |  | 4402700.00 |  | 4615925.00 |  | 4302100.00 |  | 5067755.00
Lowest Amount Quoted BY: NSC Projects Pvt. Ltd.(4302100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of Runway 36 Towards 18 side by 1300 feet and allied works at Civil Airport Jammu. SH SITC of SAPL Tender ID: 2021_AAI_90249_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NSC Projects Pvt. Ltd. | 4302100.00 | L1
| 2 | BOSE ENGINEERING AND MARKETING COMPANY | 4402700.00 | L2
| 3 | Anil Kumar Sharma | 4615925.00 | L3
| 4 | Vardhman Airport Solutions Pvt Ltd | 4780700.84 | L4
| 5 | REWINDER TECHNO ELECTRICALS | 4840250.00 | L5
| 6 | JCC ENGINEERS PRIVATE LIMITED | 5067755.00 | L6