## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 11-Nov-2021 12:16 PM Tender Title: ITC of 1010KVA DG SET with ancillary works for strengthening of power supply system at CA Jammu Tender ID: 2021_AAI_90288_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: ITC of 1010kVA DG SET with ancillary works for strengthening of power supply system at CA Jammu.
Tender ID No. 2021_AAI_90288
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Fedin Engineering Pvt. Ltd.(GSTN-07AADCF0896P1Z1) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Mona Generator Services Pvt. Ltd.(GSTN-07AAFCM4263P1ZZ) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | SH: I ITC of DG sets Installation, testing & commissioning in place at designated location of 3-phase, 415 volt, 1500 RPM, 50 Hz, Existing Silent Diesel generator set of 1010 KVA at 0.8 pf lagging diesel engine alternator set mounted on common base frame in outdoor type acoustic enclosure( Cummins Model No. KTA 38-G5), day tank capacity of 990 liters, with Microprocessor controller, battery, batter charger, return fuel cooler, anti vibration mounting pads including residential silencer, engine, alternator, safeties with accessories as per tender specifications given complete as required including B check of DG Sets etc complete as per OEM in all respect including relevant approvals/ clerances from Regulatory Central/ State Govt authorities, complete as per EIC.( However the fees deposited shall be reimbursed as per actual on production of receipt). | 1.00 | Set | 88801.00 | 288520.00 | 288520.00 | 38500.00 | 38500.00 | 355807.55 | 355807.55 | 150000.00 | 150000.00 | 38500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.02 | SH II Replacement of ACB with New ACB Replacement of existing 800 A, FP, EDO ACB with 1600 A, 50 KA, 4P, EDO ACB with 230 V A.C. spring charged motor and with built-in microprocessor based releases for OC, S/C & E/F protection (IDMTL + instantaneous (high set)) is the existing LT panel i/c replacement of male/ female connections changing Bus link or bus bar suitable for 2k Amp and connections of controls etc. complete as required. (Model No. of 1600 Amp Electric Draw out ACB:MVS16N4NW6A or Equivalaent )(The old 800A ACB,Bus Link,Male/Female connectors has to be returned to AAI) | 2.00 | Job | 512606.00 | 211110.00 | 422220.00 | 317885.00 | 635770.00 | 245000.00 | 490000.00 | 450000.00 | 900000.00 | 422220.00 | Fedin Engineering Pvt. Ltd.
1.03 | SH III Supply of Cable Supply of LT power cable of 1.1 KV grade of 3.5C x 400 sq.mm sizes aluminum conductor XLPE insulated PVC sheathed armored cable confirming to IS 7098 Part-I-1988 with up to date amendment as required. | 360.00 | Mtr | 2023.00 | 2075.00 | 747000.00 | 2150.00 | 774000.00 | 2179.00 | 784440.00 | 1900.00 | 684000.00 | 684000.00 | Anil Kumar Sharma
1.04 | Supply of LT Control cable of 1.1 KV grade of 12C x 2.5 sq.mm sizes aluminum conductor XLPE insulated PVC sheathed armored cable confirming to IS 7098 Part-I-1988 with up to date amendment as required. | 90.00 | Mtr | 492.00 | 770.00 | 69300.00 | 560.00 | 50400.00 | 435.00 | 39150.00 | 500.00 | 45000.00 | 39150.00 | Mona Generator Services Pvt. Ltd.
1.05 | SH IV Laying and End Termination of Cable Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 35 Sqmm | 10.00 | Mtr | 342.00 | 295.00 | 2950.00 | 35.00 | 350.00 | 120.00 | 1200.00 | 300.00 | 3000.00 | 350.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.06 | Above 185 sqmm & Up to 400 sqmm | 20.00 | Mtr | 408.00 | 700.00 | 14000.00 | 125.00 | 2500.00 | 200.00 | 4000.00 | 400.00 | 8000.00 | 2500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.07 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. Upto 35 Sqmm | 20.00 | Mtr | 248.00 | 295.00 | 5900.00 | 25.00 | 500.00 | 70.00 | 1400.00 | 200.00 | 4000.00 | 500.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.10 | Above 185 sqmm & Up to 400 sqmm | 40.00 | Mtr | 313.00 | 700.00 | 28000.00 | 85.00 | 3400.00 | 125.00 | 5000.00 | 300.00 | 12000.00 | 3400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.11 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 Sqmm | 20.00 | Mtr | 22.00 | 490.00 | 9800.00 | 30.00 | 600.00 | 23.00 | 460.00 | 20.00 | 400.00 | 400.00 | Anil Kumar Sharma
1.12 | Above 185 sq. mm and up to 400 sq. mm | 40.00 | Mtr | 88.00 | 490.00 | 19600.00 | 95.00 | 3800.00 | 80.00 | 3200.00 | 60.00 | 2400.00 | 2400.00 | Anil Kumar Sharma
1.13 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray as required. Upto 35 Sqmm(clamped with 1mm thick Saddle) | 130.00 | Mtr | 30.00 | 490.00 | 63700.00 | 40.00 | 5200.00 | 26.00 | 3380.00 | 30.00 | 3900.00 | 3380.00 | Mona Generator Services Pvt. Ltd.
1.14 | Above 185 sq. mm and up to 400 sq. mm (clamped with 40x3mm MS flat clamp) | 260.00 | Mtr | 168.00 | 490.00 | 127400.00 | 145.00 | 37700.00 | 100.00 | 26000.00 | 150.00 | 39000.00 | 26000.00 | Mona Generator Services Pvt. Ltd.
1.15 | Supply and making end termination with brass compression gland and aluminum lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminum conductor cable 1.1 KV grade of following sizes. 3.5 x 400 sq.mm (82 mm) | 12.00 | Each | 1130.00 | 2810.00 | 33720.00 | 1875.00 | 22500.00 | 1340.00 | 16080.00 | 1000.00 | 12000.00 | 12000.00 | Anil Kumar Sharma
1.16 | SH V Earthing Strip Laying Correction of Earthing defect in existing copper earth plate 600 mm x 600mm x3mm thick by providing CI/MS cover plate hinged to frame with locking arrangement,Funnel for water Pipe,Common burnt clay F.P.S(non modular) bricks with sand and Cement for masonry enclosure connection with earthing strip etc complete as required as per EIC. | 4.00 | set | 1018.00 | 5625.00 | 22500.00 | 850.00 | 3400.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 3400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.17 | Correction of Earthing defect in existing GI earth plate 600 mm x 600mm x6mm thick by providing CI/MS cover plate hinged to frame with locking arrangement,Funnel for water Pipe,Common burnt clay F.P.S with sand and Cement for masonry enclosure connection with earthing strip etc complete as required as per EIC. | 4.00 | set | 1018.00 | 5625.00 | 22500.00 | 850.00 | 3400.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 3400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.18 | Providing and fixing of 25 mm x 5 mm copper strip on surface or in recess for connections etc. as required. | 40.00 | Mtr | 936.00 | 630.00 | 25200.00 | 1185.00 | 47400.00 | 970.00 | 38800.00 | 1000.00 | 40000.00 | 25200.00 | Fedin Engineering Pvt. Ltd.
1.19 | Providing and fixing of 25 mm x 5 mm G.I. strip on surface or in recess for connections etc. as required. | 40.00 | Mtr | 191.00 | 210.00 | 8400.00 | 78.00 | 3120.00 | 130.00 | 5200.00 | 200.00 | 8000.00 | 3120.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.20 | SH VI SITC of Fuel Pipe and Exhaust Supplying and laying of fuel piping with M.S. ‘C’ class pipes of dia 32 mm along with Suitable Valve, the pipes should conform IS: 1239, should be laid under ground/ on surface etc. complete as per specification etc. as reqd. | 40.00 | Mtr | 286.00 | 1125.00 | 45000.00 | 685.00 | 27400.00 | 665.00 | 26600.00 | 300.00 | 12000.00 | 12000.00 | Anil Kumar Sharma
1.21 | Supply of wrapping coating (pipe kote coal tar tape) for 32 mm dia MS fuel pipe to be laid underground. | 40.00 | Mtr | 336.00 | 770.00 | 30800.00 | 175.00 | 7000.00 | 325.00 | 13000.00 | 300.00 | 12000.00 | 7000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.22 | SITC of Brass Forged Ball Valve of 32mm Dia in existing fuel pipe as complete as required as per specification etc. | 2.00 | Each | 975.00 | 3515.00 | 7030.00 | 950.00 | 1900.00 | 900.00 | 1800.00 | 1000.00 | 2000.00 | 1800.00 | Mona Generator Services Pvt. Ltd.
1.23 | Extension of exhaust pipe of Existing 1010 KVA DG Set with MS C Class of 300mm Dia pipe with aluminium sheet clading on glass wool insulation of 50mm thick inclusive of welding and cutting of pipe etc complete as required as per specification. | 12.00 | Mtr | 4889.00 | 8440.00 | 101280.00 | 3500.00 | 42000.00 | 5000.00 | 60000.00 | 6000.00 | 72000.00 | 42000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
1.24 | Supply and fixing of C section MS channel of size 125mmx65mmx6.6 mm(ISLC) to support the exhaust pipe of DG Set inclusive welding and cutting etc complete as required as per specification. | 20.00 | Mtr | 2386.00 | 1405.00 | 28100.00 | 850.00 | 17000.00 | 810.00 | 16200.00 | 2500.00 | 50000.00 | 16200.00 | Mona Generator Services Pvt. Ltd.
1.25 | SH VII Automation,Clearance & Warranty Extension Modification in the existing PLC programming through OEM(PLC-M/s Allen-Bradley,Relay-M/s-Stuck Group,Panel-M/s Peaton Electrical company Ltd.) According to requirement of New 1010KVA DG Set parameter to cater the requirement of existing System as per EIC. | 1.00 | Job | 98727.00 | 140740.00 | 140740.00 | 205000.00 | 205000.00 | 90000.00 | 90000.00 | 120000.00 | 120000.00 | 90000.00 | Mona Generator Services Pvt. Ltd.
1.26 | Extension of Warranty of 1010 KVA rating DG Sets upto 12 Months after actual date of completion from OEM i.e.M/s Sudhir Power Ltd. | 1.00 | Job | 202000.00 | 175925.00 | 175925.00 | 55000.00 | 55000.00 | 100000.22 | 100000.22 | 120000.00 | 120000.00 | 55000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
| Total in Figures |  |  |  |  | 2439585.00 |  | 1987840.00 |  | 2097717.77 |  | 2307700.00
Lowest Amount Quoted BY: Metropolitan Infrabuild Development And Services Pvt Ltd(1987840.00)

## BOQ Summary
BOQ Summary Details Tender Title: ITC of 1010KVA DG SET with ancillary works for strengthening of power supply system at CA Jammu Tender ID: 2021_AAI_90288_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Metropolitan Infrabuild Development And Services Pvt Ltd | 1987840.00 | L1
| 2 | Mona Generator Services Pvt. Ltd. | 2097717.77 | L2
| 3 | Anil Kumar Sharma | 2307700.00 | L3
| 4 | Fedin Engineering Pvt. Ltd. | 2439585.00 | L4