## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 03-Nov-2021 04:14 PM Tender Title: Annual Comprehensive Maintenance Contract (2021-22) of Air-Conditioning Units at Operational Area, Technical Block, GAGAN and AAI Residential Colony Guest House, Bangalore Airport Tender ID: 2021_AAI_90882_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Annual Comprehensive Maintenance Contract (2021-22) of Air-Conditioning Units at Operational Area, Technical Block, GAGAN and AAI Residential Colony Guest House, Bangalore Airport
Contract No: 2021__90882_AAI_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | Opal HVAC Services(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Comprehensive Maintenance of different make Split type / Inverter split type Airconditioners ,including gas charging, repair/replacement of all defective parts and other associated accessories, compressor, cooling coil, blower condenser, refrigerant, thermostat, electonic parts like PC Boards, sensors, transformer,trandsducer etc and electrical parts upto socket outlet etc., along with voltage stabilizer with original/company repaired parts, labour charges etc. attending breakdowns as and when required, at different locations including providing all necessary consumables and spares complete as required to keep the Equipment in serviceable Condition , as per AAI Special Conditions and site requirement and as per EIC instructions.
1.10 | 1.5 TR capacity split type, single phase A/C unit | 10.00 | Each per Annum |  | 3500.00 | 35000.00 | 4000.00 | 40000.00 | 35000.00 | COOL STAR
1.20 | 2.0 TR capacity split type, single phase A/C unit | 3.00 | Each per Annum |  | 4100.00 | 12300.00 | 4500.00 | 13500.00 | 12300.00 | COOL STAR
1.30 | 1.5 TR capacity Inverter split type, single phase A/C unit | 18.00 | Each per Annum |  | 3300.00 | 59400.00 | 3000.00 | 54000.00 | 54000.00 | Opal HVAC Services
1.40 | 1.5 TR capacity Inverter split type, single phase A/C unit( (Excluding compressor) | 10.00 | Each per Annum |  | 2200.00 | 22000.00 | 2500.00 | 25000.00 | 22000.00 | COOL STAR
1.50 | 1.0 TR Capacity Inverter split type, single phase A/C Units (Excluding Compressor) | 12.00 | Each per Annum |  | 1950.00 | 23400.00 | 2500.00 | 30000.00 | 23400.00 | COOL STAR
1.60 | 2.0 TR capacity Inverter split type, single phase A/C unit | 13.00 | Each per Annum |  | 3900.00 | 50700.00 | 4500.00 | 58500.00 | 50700.00 | COOL STAR
| Total in Figures |  |  |  |  | 202800.00 |  | 221000.00
Lowest Amount Quoted BY: COOL STAR(202800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Comprehensive Maintenance Contract (2021-22) of Air-Conditioning Units at Operational Area, Technical Block, GAGAN and AAI Residential Colony Guest House, Bangalore Airport Tender ID: 2021_AAI_90882_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COOL STAR | 202800.00 | L1
| 2 | Opal HVAC Services | 221000.00 | L2