## BoQ1
Government eProcurement System Created By: Shailendra Chaudhary Created Date/Time: 26-Oct-2021 04:19 PM Tender Title: Annual Maintenance Contract of Electrical Installations at Juhu Airport ARSR, PHHL Qtrs, Tx station Andheri west RR Station Dahisar and Outer Marker Vashi Mumbai for the year 2021 23 Tender ID: 2021_AAI_91177_1
Tender Inviting Authority: AAI
Name of work: Annual Maintenance Contract of Electrical Installations at Juhu Airport, ARSR, PHHL Qtrs, Tx station Andheri (west), R/R Station Dahisar & Outer Marker Vashi, Mumbai for the year 2021-23.
Contract No: 2021_AAI_91177
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | SH-I AMC for the year 1 ST Year. Rewinding of following Monoblock pump's motor with suitable gauge of copper wire i/c dismantling, cutting of burnt wire including replacing of insulator & varnishing, baking transportation etc., as required. (Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). Capacity: 0.5 HP to 1.5 HP | 2.00 | Job |  | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | Manish Electricals
1.20 | Capacity: 3 HP to 5 HP | 2.00 | Job |  | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 8000.00 | Manish Electricals
1.30 | Capacity: 7.5 HP to 10hp | 2.00 | Job |  | 15000.00 | 30000.00 | 6500.00 | 13000.00 | 13000.00 | Manish Electricals
1.40 | Rewinding of following Submersible pump's motor with suitable gauge of copper wire i/c dismantling, cutting of burnt wire including replacing of insulator, baking transportation etc., as required. (Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). Capacity: Upto 5 HP | 2.00 | Job |  | 9000.00 | 18000.00 | 6000.00 | 12000.00 | 12000.00 | Manish Electricals
1.50 | Capacity: 7.5 HP to 10hp | 2.00 | Job |  | 17000.00 | 34000.00 | 7000.00 | 14000.00 | 14000.00 | Manish Electricals
1.60 | Rewinding of 35 Hp, 3 phase submersible portable sludge dewatering (Non-Clog) pump motor set with original no of turns and same wire gauge insulated copper wire including replacement of all the internal worn out / defective parts i.e. bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, job also includes transportation of motor, dismantling, termination of connecting leads, connections, testing& commissioning etc complete as and when required.(Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). | 2.00 | Job |  | 40000.00 | 80000.00 | 28000.00 | 56000.00 | 56000.00 | Manish Electricals
1.70 | Lifting and lowering of underground well submersible pump motor set of capacity 5hp to 10 hp due to defect in existing pump on urgent basis within a short notices including connection of cables jointing of cables etc with successful testing & commosioning ets complete as and when required. | 3.00 | Job |  | 8000.00 | 24000.00 | 8500.00 | 25500.00 | 24000.00 | DOSHI ELECTRIC ENGG. CO.
1.80 | Servicing repairing rewinding and replacement of defective part like bearing, bushing etc. and also transportation from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors (Dismantle material belongs to Contractor) 300 mm to 600 mm sweep exhaust fan | 20.00 | Job |  | 1200.00 | 24000.00 | 600.00 | 12000.00 | 12000.00 | Manish Electricals
1.90 | 1200 mm sweep Ceiling Fan | 25.00 | Job |  | 800.00 | 20000.00 | 350.00 | 8750.00 | 8750.00 | Manish Electricals
2.00 | Scrubbing, Cleaning and then painting of Street light poles with bracket upto 9 mtrs height with one coat of red-oxide and two coats of silver enamel paint etc. as required. | 100.00 | Job |  | 400.00 | 40000.00 | 200.00 | 20000.00 | 20000.00 | Manish Electricals
2.10 | Scrubbing, Cleaning and then painting of LT Panels, Outdoor Feeder Pillars at various locations of Juhu Airport, Andheri Transmitting Station, RR Station Dahisar, Outer Marker Vashi with one coat of red-oxide and two coats of enamel paint as directed by Engineer in Charge etc. as required. | 80.00 | sq. mtr |  | 500.00 | 40000.00 | 150.00 | 12000.00 | 12000.00 | Manish Electricals
2.20 | Replacement of loop in loop out box for Street light poles (Sintex Make) of following sizes, including DIP rail for mounting of MCB's / connectors, making interconnections as required. 240 X 130 X 95 (Model No GS-JB-2817) | 25.00 | Job |  | 3000.00 | 75000.00 | 1800.00 | 45000.00 | 45000.00 | Manish Electricals
2.30 | Making base foundation for the existing old street light pole including dismantling of old base & old cable etc., with cement concrete 1:2:4 ratio collar of size 0.4 mtr. dia at a height of 0.5 mtr.from the ground level 0.5 mtr height & PCC flat form of 0.5 mtr x 0.4 x 0.4 mtr. in the ground level around the steel light poles as required. | 20.00 | Job |  | 3200.00 | 64000.00 | 1800.00 | 36000.00 | 36000.00 | Manish Electricals
2.40 | Making base foundation for the existing old decorative street light pole including dismantling of old base & old cable etc., with cement concrete 1:2:4 ratio collar of size 0.3 mtr. dia at a height of 0.75 mtr.from the ground level, 0.25 mtr deep from the ground level & PCC flat form of 50 x 50 x 150 mm. in the ground level around the steel light poles as required. | 30.00 | Job |  | 2800.00 | 84000.00 | 1500.00 | 45000.00 | 45000.00 | Manish Electricals
2.50 | Filtration of 200KVA / 250KVA,11KV / 0.415 KV Transformer oil , i/c dehydration of oil & breather etc. as per requirement, breakdown strength of oil should be 40KV after filtration i/c submission of test report for the oil filtration and test report for re- commissioning of Transformer to be arranged by contractor.(to be done by Authorized Service provider/agent.) | 3.00 | Job |  | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 15000.00 | DOSHI ELECTRIC ENGG. CO.
2.60 | Supply of transformer oil as per IS 335 with upto date amendments for topping of existing transformer i/c initial filtration to attain breakdown strength of 40KV as per IS-335. | 200.00 | Litre |  | 200.00 | 40000.00 | 175.00 | 35000.00 | 35000.00 | Manish Electricals
2.70 | Servicing of 11 KV HT VCB panel make Kirloskar of following relays, comprising of incomer/outgoing including fault rectification as and when required and carrying out preventive maintenance as per schedule, replacement of minor spares like control fuses and neutral links etc, job includes carrying out preventive maintenance checks, attending breakdowns, including calibration of relays etc. as required. (service to be done by Authorized Service provider/agent.) 630A, (1 incoming + 1 outgoing 11 KV HT panel ) - 1 set at Andheri Transmitting Station, D N. Nagar. | 1.00 | Job |  | 20000.00 | 20000.00 | 22000.00 | 22000.00 | 20000.00 | DOSHI ELECTRIC ENGG. CO.
2.80 | 800A, (1 incoming + 2 outgoing, 11 KV HT panel )- 1 set at ARSR Radar, Juhu Airport. | 1.00 | Job |  | 25000.00 | 25000.00 | 17000.00 | 17000.00 | 17000.00 | Manish Electricals
2.90 | Detection of Cable fault in LT UG cable of rating 1.1 KV Grade, 3/3.5/4 core Aluminium conductor of all sizes identifying pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 7.00 | Each |  | 15000.00 | 105000.00 | 8500.00 | 59500.00 | 59500.00 | Manish Electricals
3.00 | Comprehensive Maintenance Contract of water purifier "Eureka Forbes" model-Hi / low machines with pre-cooler attachment (at least quarterly service to be done by Authorized Service provider) including replacement of parts etc. as required.(atleast quarterly service must be done) 8 Units x 4 Quarters = 32 Jobs | 32.00 | Job |  | 2500.00 | 80000.00 | 1500.00 | 48000.00 | 48000.00 | Manish Electricals
3.10 | Comprehensive maintenance Contract of 4 nos of Water cooler cum inbuilt water purifier of capacity (60 LPH/80 L) (of 2nos Blue Star Make (model no.SWCSDLX6080UVE) & 2 nos Conway make (Model no. 125 WHC)) i/c all necessary consumables and spares, replacing of faulty compressor,filters as and when required, carrying out servicing, cleaning of Water tank, fault finding, rectification, gas charging, labour charges etc as per special conditions completly for the period of one year complete as required 4 Units x 12 Months = 48 Jobs | 48.00 | Job |  | 3000.00 | 144000.00 | 200.00 | 9600.00 | 9600.00 | Manish Electricals
3.20 | Providing of following materials for Celebration of Yoga day at Juhu Offices as per the requirements shown below. 1. Hiring & Erection of 15'x10' stage (1.5 feet) + white back drop. 2. Hiring and Erection of side covering (masking length) length 90 meters, height 10'. 3. Hiring and Erection of full half carpeting + white chadar (30 metre X 20 metre) 4. Hiring and Erection of outside area gate covering (masking length) length 10 metres. 5. Hiring of Pedestal 15 nos. fans with installation 6. Hiring and Erection of 15 nos table + cover + frills 7. Hiring and Erection of 10 nos VIP chairs. 8. Hiring and erection of Music system, 2 cordless mics and speakers etc. 9. Hiring and Erection of 1 no Podium. 10. Hiring 1 no Air Cooler with Installation 11. Hiring of 10 nos LED lights with Installation | 1.00 | Job |  | 100000.00 | 100000.00 | 90000.00 | 90000.00 | 90000.00 | Manish Electricals
3.30 | Decoration of Juhu Offices with LED serial lighting and RGB pattern lighting on special occasions / nationally important days as per the requirements shown below. For Republic Day :- 1. Hiring and erection of 20' X 14' stage -1 No 2. Hiring and eretion of steps - 2 Nos 3. Hiring and erection of 20' X 8' Back Drop - 1 No 4. Hiring and erection of 30 X 8.5 stage covering - 1 No 5. Hiring and erection of steel sofas with coverings - 6 Nos 6. Hiring and erection of chairs - 200 Nos 7. Hiring and erection of Tables with coverings - 10 Nos 8. Hiring and erection of 150 X 6 woollen carpet - 1 No 9. Hiring and erection of White LED Lights (100 w Flood Light) - 10 Nos 10. Hiring and erection of Sound System colour LED for stage - 1 No 11. Hiring and erection of Balloons - 1000 Nos 12. Hiring and erection of Pedestal Fans - 20 Nos 13. Hiring and erection of VIP Chairs - 10 Nos 14. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Republlic day to 6.00 hrs on the day after Republlic day) 15. Hiring and erection of Halogen / Flood Light in Tri Colour Theme (Saffron, White & Green) - at Main Gate, Juhu Office . (Starting from 18.00 hrs on day before Republlic day to 6.00 hrs on the day after Republlic day) | 1.00 | Job |  | 200000.00 | 200000.00 | 105000.00 | 105000.00 | 105000.00 | Manish Electricals
3.40 | For Independence Day :- 1. Hiring and erection of 20' X 14' stage -1 No 2. Hiring and eretion of steps - 2 Nos 3. Hiring and erection of 20' X 8' Back Drop - 1 No 4. Hiring and erection of 30 X 8.5 stage covering - 1 No 5. Hiring and erection of steel sofas with coverings - 6 Nos 6. Hiring and erection of chairs - 200 Nos 7. Hiring and erection of Tables with coverings - 10 Nos 8. Hiring and erection of 150 X 6 woollen carpet - 1 No 9. Hiring and erection of White LED Lights (100 w Flood Light) - 10 Nos 10. Hiring and erection of Sound System colour LED for stage - 1 No 11. Hiring and erection of Balloons - 1000 Nos 12. Hiring and erection of Pedestal Fans - 20 Nos 13. Hiring and erection of VIP Chairs - 10 Nos 14. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Independence day to 6.00 hrs on the day after Independence day) 15. Hiring and erection of Halogen / Flood Light in Tri Colour Theme (Saffron, White & Green) - at Main Gate, Juhu Office . (Starting from 18.00 hrs on day before Independence day) to 6.00 hrs on the day after Independence day) | 1.00 | Job |  | 200000.00 | 200000.00 | 105000.00 | 105000.00 | 105000.00 | Manish Electricals
3.50 | Decoration of Juhu Offices with LED series lighting with RGB pattern lighting on AAI Foundation day (Starting from 18.00 hrs on day before foundation day to 6.00 hrs on the day after foundation day) Each occasion in an year. 1. Hiring and erection of LED series light not less than 500 Meters | 1.00 | Job |  | 50000.00 | 50000.00 | 75000.00 | 75000.00 | 50000.00 | DOSHI ELECTRIC ENGG. CO.
3.60 | Decoration of Juhu Offices with with LED serial lighting and RGB pattern lighting on special occasions / festival days as per the requirements shown below. 1. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Diwali day to 6.00 hrs on the day after Bhai Dhuj day) 2. Hiring and Erection of Diwali Kandil / Lantern including lamp holder and connecting wire complete as required - Not Less than 50 Nos ( four days - starting from 18:00 hrs on day before Diwali, Diwali day, Bhai Dhooj Day and till 6:00 hrs on day after Bhai Dhooj day) | 1.00 | Job |  | 70000.00 | 70000.00 | 85000.00 | 85000.00 | 70000.00 | DOSHI ELECTRIC ENGG. CO.
3.70 | Decoration of entry gatewith RGB Focus lights (25 nos.high lumens/wattage) on the occasion of diwali festivals for 4 days as per site requirement. | 1.00 | Job |  | 50000.00 | 50000.00 | 85000.00 | 85000.00 | 50000.00 | DOSHI ELECTRIC ENGG. CO.
3.80 | Decoration of Juhu Offices with with LED serial lighting and RGB pattern lighting on Chrisrmas & New Year as per the requirements shown below. 1. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Christmas i.e. 24th December to 6.00 hrs on the day after 1st January day) 2. Hiring and Erection of Star Kandil / Lantern including lamp holder and connecting wire complete as required - Not Less than 50 Nos. | 1.00 | Job |  | 50000.00 | 50000.00 | 85000.00 | 85000.00 | 50000.00 | DOSHI ELECTRIC ENGG. CO.
3.90 | Hiring of 12 Meter Height, truck mounted boom lift including Diesel for 8 working hours excluding lunch break of 1 hr. | 10.00 | day |  | 13000.00 | 130000.00 | 8000.00 | 80000.00 | 80000.00 | Manish Electricals
4.00 | Hiring of 45 Meter Height, truck mounted boom lift including Diesel for 8 working hours excluding lunch break of 1 hr. | 2.00 | day |  | 35000.00 | 70000.00 | 18000.00 | 36000.00 | 36000.00 | Manish Electricals
4.10 | Hiring of JCB With driver including Diesel for 9 working hours including lunch break of 1 hr. | 30.00 | Job |  | 13000.00 | 390000.00 | 7500.00 | 225000.00 | 225000.00 | Manish Electricals
4.20 | Hire charges of 1 no. Hydra crane With driver, fuel for shifting and installing submersible pump sets on precautionary measures during cyclone and rainy season for 9 working hours including lunch break of 1 hr. etc complete as required. | 10.00 | Job |  | 18000.00 | 180000.00 | 15000.00 | 150000.00 | 150000.00 | Manish Electricals
4.30 | Hire charges for providing One Number Bolero/TUV 300+,Air-conditioned or Equivalent Vehicle along with driver cum electrcian, fuel, insurance, all consumables etc. for all days including sunday and holidays. monthly usage is limited to 1500 Kms and period of useage is round the clock [24 Hrs.] | 12.00 | Month |  | 65000.00 | 780000.00 | 28000.00 | 336000.00 | 336000.00 | Manish Electricals
4.40 | Servicing & Repairing of APFC panel installed at ARSR, Juhu Airport power house & Tx station power house including diagnosis of fault, replacement of required spares/parts, checking & testing of the panel etc complete as and when required. | 2.00 | Job |  | 35000.00 | 70000.00 | 15000.00 | 30000.00 | 30000.00 | Manish Electricals
4.50 | Annual Maintenance Contract of 1X 62.5 KVA, 3 phase Ashok Leyland make DG set including other accessories. Job includes monthly visits for carrying out preventive maintenance attending any number of breakdown calls as and when required.(service to be done by Authorized Service dealer) 2 Units x 12 Months = 24 Job | 24.00 | Job |  | 6000.00 | 144000.00 | 2800.00 | 67200.00 | 67200.00 | Manish Electricals
4.60 | Supply of B check kit for 1X 62.5 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 9000.00 | 18000.00 | 4000.00 | 8000.00 | 8000.00 | Manish Electricals
4.70 | Supply of C check kit for 1X 62.5 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 32000.00 | 64000.00 | 17000.00 | 34000.00 | 34000.00 | Manish Electricals
4.80 | Annual Maintenance Contract of 1X 10 KVA, single phase, Ashok Leyland make DG set including other accessories. Job includes monthly visits for carrying out preventive maintenance attending any number of breakdown calls as and when required.(service to be done by Authorized Service dealer) 2 Units x 12 Months = 24 Job | 24.00 | Job |  | 2000.00 | 48000.00 | 1800.00 | 43200.00 | 43200.00 | Manish Electricals
4.90 | Supply of B check kit for 1X 10 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 4000.00 | 8000.00 | 1500.00 | 3000.00 | 3000.00 | Manish Electricals
5.00 | Supply of C check kit for 1X 10 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 15000.00 | 30000.00 | 14500.00 | 29000.00 | 29000.00 | Manish Electricals
5.10 | Supply of following type batteries for DG sets and other installations. All the batteries shall have a warranty of at least two years. 12V, 88 Ah, lead acid battery | 2.00 | Each |  | 11000.00 | 22000.00 | 2200.00 | 4400.00 | 4400.00 | Manish Electricals
5.20 | 12V, 120 Ah, lead acid battery | 4.00 | Each |  | 15000.00 | 60000.00 | 6500.00 | 26000.00 | 26000.00 | Manish Electricals
5.30 | 12V, 150 Ah, lead acid battery | 7.00 | Each |  | 20000.00 | 140000.00 | 10500.00 | 73500.00 | 73500.00 | Manish Electricals
5.40 | Repairing/servicing of motorized sliding gate of following sizes including oiling and greasing, replacement of required spares/parts, checking & testing of the control drive etc complete as and when required. size: 7200 x 2000 mm | 1.00 | Job |  | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 20000.00 | DOSHI ELECTRIC ENGG. CO.
5.50 | Overhauling, servicing and testing of High Mast of Following Sizes involving repair , maintenance , attending complaints/ faults/breakdowns, replacement of defective items and taking rectification action, ensuring serviceability / satisfactory working condition of the systems etc complete as and when required. 12.5 Meter High Mast | 2.00 | Job |  | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 20000.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
5.60 | 16 Meter High Mast | 2.00 | Job |  | 15000.00 | 30000.00 | 12000.00 | 24000.00 | 24000.00 | Manish Electricals
5.70 | 20 Meter High Mast | 3.00 | Job |  | 20000.00 | 60000.00 | 15000.00 | 45000.00 | 45000.00 | Manish Electricals
5.80 | Providing 1 no. Computer Operator (Highly Skilled Manpower) for office records upkeep / computer operation on all days excluding Sunday. | 12.00 | Month |  | 25000.00 | 300000.00 | 23800.00 | 285600.00 | 285600.00 | Manish Electricals
5.90 | Hiring of unskilled labour during monsoon season 8 hours per day in all working days (including sundays) | 120.00 | day |  | 500.00 | 60000.00 | 710.00 | 85200.00 | 60000.00 | DOSHI ELECTRIC ENGG. CO.
6.00 | Execution of complete item from (chapter 1 to 10 ) of CPWD delhi schedule of rates (electrical) 2018.[up to a celling limit of Rs. 500000.00] The materials used for executing the DSR items shall be as per the approved make list of AAI.(rates shall be quoted in multiples e.g 0.99 or 1.01% above/below) | 500000.00 | Job |  | .90 | 450000.00 | .70 | 350000.00 | 350000.00 | Manish Electricals
6.10 | SH-II AMC for the year 2 nd Year. Rewinding of following Monoblock pump's motor with suitable gauge of copper wire i/c dismantling, cutting of burnt wire including replacing of insulator & varnishing, baking transportation etc., as required. (Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). Capacity: 0.5 HP to 1.5 HP | 2.00 | Job |  | 3700.00 | 7400.00 | 3100.00 | 6200.00 | 6200.00 | Manish Electricals
6.20 | Capacity: 3 HP to 5 HP | 2.00 | Job |  | 6300.00 | 12600.00 | 4100.00 | 8200.00 | 8200.00 | Manish Electricals
6.30 | Capacity: 7.5 HP | 2.00 | Job |  | 15750.00 | 31500.00 | 6600.00 | 13200.00 | 13200.00 | Manish Electricals
6.40 | Rewinding of following Submersible pump's motor with suitable gauge of copper wire i/c dismantling, cutting of burnt wire including replacing of insulator, baking transportation etc., as required. (Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). Capacity: Upto 5 HP | 2.00 | Job |  | 9450.00 | 18900.00 | 6100.00 | 12200.00 | 12200.00 | Manish Electricals
6.50 | Capacity: 7.5 HP to 10hp | 2.00 | Job |  | 17850.00 | 35700.00 | 7100.00 | 14200.00 | 14200.00 | Manish Electricals
6.60 | Rewinding of 35 Hp, 3 phase submersible portable sludge dewatering (Non-Clog) pump motor set with original no of turns and same wire gauge insulated copper wire including replacement of all the internal worn out / defective parts i.e. bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, job also includes transportation of motor, dismantling, termination of connecting leads, connections, testing& commissioning etc complete as and when required.(Credit towards dismantled copper wire & damage parts which are replaced to be consider while quoting the rate). | 2.00 | Job |  | 42000.00 | 84000.00 | 28100.00 | 56200.00 | 56200.00 | Manish Electricals
6.70 | Lifting and lowering of underground well submersible pump motor set of capacity 5hp to 10 hp due to defect in existing pump on urgent basis within a short notices including connection of cables jointing of cables etc with successful testing & commosioning ets complete as and when required. | 3.00 | Job |  | 8400.00 | 25200.00 | 8600.00 | 25800.00 | 25200.00 | DOSHI ELECTRIC ENGG. CO.
6.80 | Servicing repairing rewinding and replacement of defective part like bearing, bushing etc. and also transportation from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors (Dismantle material belongs to Contractor) 300 mm to 600 mm sweep exhaust fan | 20.00 | Job |  | 1260.00 | 25200.00 | 650.00 | 13000.00 | 13000.00 | Manish Electricals
6.90 | 1200 mm sweep Ceiling Fan | 25.00 | Job |  | 840.00 | 21000.00 | 400.00 | 10000.00 | 10000.00 | Manish Electricals
7.00 | Scrubbing, Cleaning and then painting of Street light poles with bracket upto 9 mtrs height with one coat of red-oxide and two coats of silver enamel paint etc. as required. | 100.00 | Job |  | 945.00 | 94500.00 | 210.00 | 21000.00 | 21000.00 | Manish Electricals
7.10 | Scrubbing, Cleaning and then painting of LT Panels, Outdoor Feeder Pillars at various locations of Juhu Airport, Andheri Transmitting Station, RR Station Dahisar, Outer Marker Vashi with one coat of red-oxide and two coats of enamel paint as directed by Engineer in Charge etc. as required. | 80.00 | sq. mtr |  | 525.00 | 42000.00 | 170.00 | 13600.00 | 13600.00 | Manish Electricals
7.20 | Replacement of loop in loop out box for Street light poles (Sintex Make) of following sizes, including DIP rail for mounting of MCB's / connectors, making interconnections as required. 240 X 130 X 95 (Model No GS-JB-2817) | 25.00 | Job |  | 3150.00 | 78750.00 | 1900.00 | 47500.00 | 47500.00 | Manish Electricals
7.30 | Making base foundation for the existing old street light pole including dismantling of old base & old cable etc., with cement concrete 1:2:4 ratio collar of size 0.4 mtr. dia at a height of 0.5 mtr.from the ground level 0.5 mtr height & PCC flat form of 0.5 mtr x 0.4 x 0.4 mtr. in the ground level around the steel light poles as required. | 20.00 | Job |  | 3360.00 | 67200.00 | 1900.00 | 38000.00 | 38000.00 | Manish Electricals
7.40 | Making base foundation for the existing old decorative street light pole including dismantling of old base & old cable etc., with cement concrete 1:2:4 ratio collar of size 0.3 mtr. dia at a height of 0.75 mtr.from the ground level, 0.25 mtr deep from the ground level & PCC flat form of 50 x 50 x 150 mm. in the ground level around the steel light poles as required. | 30.00 | Job |  | 2940.00 | 88200.00 | 1600.00 | 48000.00 | 48000.00 | Manish Electricals
7.50 | Filtration of 200KVA / 250KVA,11KV / 0.415 KV Transformer oil , i/c dehydration of oil & breather etc. as per requirement, breakdown strength of oil should be 40KV after filtration i/c submission of test report for the oil filtration and test report for re- commissioning of Transformer to be arranged by contractor.(to be done by Authorized Service provider/agent.) | 3.00 | Job |  | 5250.00 | 15750.00 | 8200.00 | 24600.00 | 15750.00 | DOSHI ELECTRIC ENGG. CO.
7.60 | Supply of transformer oil as per IS 335 with upto date amendments for topping of existing transformer i/c initial filtration to attain breakdown strength of 40KV as per IS-335. | 200.00 | Litre |  | 210.00 | 42000.00 | 180.00 | 36000.00 | 36000.00 | Manish Electricals
7.70 | Servicing of 11 KV HT VCB panel make Kirloskar of following relays, comprising of incomer/outgoing including fault rectification as and when required and carrying out preventive maintenance as per schedule, replacement of minor spares like control fuses and neutral links etc, job includes carrying out preventive maintenance checks, attending breakdowns, including calibration of relays etc. as required. (service to be done by Authorized Service provider/agent.) 630A, (1 incoming + 1 outgoing 11 KV HT panel ) - 1 set at Andheri Transmitting Station, D N. Nagar. | 1.00 | Job |  | 21000.00 | 21000.00 | 22100.00 | 22100.00 | 21000.00 | DOSHI ELECTRIC ENGG. CO.
7.80 | 800A, (1 incoming + 2 outgoing, 11 KV HT panel )- 1 set at ARSR Radar, Juhu Airport. | 1.00 | Job |  | 26250.00 | 26250.00 | 17100.00 | 17100.00 | 17100.00 | Manish Electricals
7.90 | Detection of Cable fault in LT UG cable of rating 1.1 KV Grade, 3/3.5/4 core Aluminium conductor of all sizes identifying pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 7.00 | Each |  | 15750.00 | 110250.00 | 8600.00 | 60200.00 | 60200.00 | Manish Electricals
8.00 | Comprehensive Maintenance Contract of water purifier "Eureka Forbes" model-Hi / low machines with pre-cooler attachment (at least quarterly service to be done by Authorized Service provider) including replacement of parts etc. as required.(atleast quarterly service must be done) 8 Units x 4 Quarters = 32 Jobs | 32.00 | Job |  | 2625.00 | 84000.00 | 1600.00 | 51200.00 | 51200.00 | Manish Electricals
8.10 | Comprehensive maintenance Contract of 4 nos of Water cooler cum inbuilt water purifier of capacity (60 LPH/80 L) (of 2nos Blue Star Make (model no.SWCSDLX6080UVE) & 2 nos Conway make (Model no. 125 WHC)) i/c all necessary consumables and spares, replacing of faulty compressor,filters as and when required, carrying out servicing, cleaning of Water tank, fault finding, rectification, gas charging, labour charges etc as per special conditions completly for the period of one year complete as required 4 Units x 12 Months = 48 Jobs | 48.00 | Job |  | 3150.00 | 151200.00 | 210.00 | 10080.00 | 10080.00 | Manish Electricals
8.20 | Providing of following materials for Celebration of Yoga day at Juhu Offices as per the requirements shown below. 1. Hiring & Erection of 15'x10' stage (1.5 feet) + white back drop. 2. Hiring and Erection of side covering (masking length) length 90 meters, height 10'. 3. Hiring and Erection of full half carpeting + white chadar (30 metre X 20 metre) 4. Hiring and Erection of outside area gate covering (masking length) length 10 metres. 5. Hiring of Pedestal 15 nos. fans with installation 6. Hiring and Erection of 15 nos table + cover + frills 7. Hiring and Erection of 10 nos VIP chairs. 8. Hiring and erection of Music system, 2 cordless mics and speakers etc. 9. Hiring and Erection of 1 no Podium. 10. Hiring 1 no Air Cooler with Installation 11. Hiring of 10 nos LED lights with Installation | 1.00 | Job |  | 105000.00 | 105000.00 | 91000.00 | 91000.00 | 91000.00 | Manish Electricals
8.30 | Decoration of Juhu Offices with LED serial lighting and RGB pattern lighting on special occasions / nationally important days as per the requirements shown below. For Republic Day :- 1. Hiring and erection of 20' X 14' stage -1 No 2. Hiring and eretion of steps - 2 Nos 3. Hiring and erection of 20' X 8' Back Drop - 1 No 4. Hiring and erection of 30 X 8.5 stage covering - 1 No 5. Hiring and erection of steel sofas with coverings - 6 Nos 6. Hiring and erection of chairs - 200 Nos 7. Hiring and erection of Tables with coverings - 10 Nos 8. Hiring and erection of 150 X 6 woollen carpet - 1 No 9. Hiring and erection of White LED Lights (100 w Flood Light) - 10 Nos 10. Hiring and erection of Sound System colour LED for stage - 1 No 11. Hiring and erection of Balloons - 1000 Nos 12. Hiring and erection of Pedestal Fans - 20 Nos 13. Hiring and erection of VIP Chairs - 10 Nos 14. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Republlic day to 6.00 hrs on the day after Republlic day) 15. Hiring and erection of Halogen / Flood Light in Tri Colour Theme (Saffron, White & Green) - at Main Gate, Juhu Office . (Starting from 18.00 hrs on day before Republlic day to 6.00 hrs on the day after Republlic day) | 1.00 | Job |  | 210000.00 | 210000.00 | 105000.00 | 105000.00 | 105000.00 | Manish Electricals
8.40 | For Independence Day :- 1. Hiring and erection of 20' X 14' stage -1 No 2. Hiring and eretion of steps - 2 Nos 3. Hiring and erection of 20' X 8' Back Drop - 1 No 4. Hiring and erection of 30 X 8.5 stage covering - 1 No 5. Hiring and erection of steel sofas with coverings - 6 Nos 6. Hiring and erection of chairs - 200 Nos 7. Hiring and erection of Tables with coverings - 10 Nos 8. Hiring and erection of 150 X 6 woollen carpet - 1 No 9. Hiring and erection of White LED Lights (100 w Flood Light) - 10 Nos 10. Hiring and erection of Sound System colour LED for stage - 1 No 11. Hiring and erection of Balloons - 1000 Nos 12. Hiring and erection of Pedestal Fans - 20 Nos 13. Hiring and erection of VIP Chairs - 10 Nos 14. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Independence day to 6.00 hrs on the day after Independence day) 15. Hiring and erection of Halogen / Flood Light in Tri Colour Theme (Saffron, White & Green) - at Main Gate, Juhu Office . (Starting from 18.00 hrs on day before Independence day) to 6.00 hrs on the day after Independence day) | 1.00 | Job |  | 210000.00 | 210000.00 | 105000.00 | 105000.00 | 105000.00 | Manish Electricals
8.50 | Decoration of Juhu Offices with LED series lighting with RGB pattern lighting on AAI Foundation day (Starting from 18.00 hrs on day before foundation day to 6.00 hrs on the day after foundation day) Each occasion in an year. 1. Hiring and erection of LED series light not less than 500 Meters | 1.00 | Job |  | 52500.00 | 52500.00 | 75100.00 | 75100.00 | 52500.00 | DOSHI ELECTRIC ENGG. CO.
8.60 | Decoration of Juhu Offices with with LED serial lighting and RGB pattern lighting on special occasions / festival days as per the requirements shown below. 1. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Diwali day to 6.00 hrs on the day after Bhai Dhuj day) 2. Hiring and Erection of Diwali Kandil / Lantern including lamp holder and connecting wire complete as required - Not Less than 50 Nos ( four days - starting from 18:00 hrs on day before Diwali, Diwali day, Bhai Dhooj Day and till 6:00 hrs on day after Bhai Dhooj day) | 1.00 | Job |  | 73500.00 | 73500.00 | 85100.00 | 85100.00 | 73500.00 | DOSHI ELECTRIC ENGG. CO.
8.70 | Decoration of entry gatewith RGB Focus lights (25 nos.high lumens/wattage) on the occasion of diwali festivals for 4 days as per site requirement. | 1.00 | Job |  | 52500.00 | 52500.00 | 85100.00 | 85100.00 | 52500.00 | DOSHI ELECTRIC ENGG. CO.
8.80 | Decoration of Juhu Offices with with LED serial lighting and RGB pattern lighting on Chrisrmas & New Year as per the requirements shown below. 1. Hiring and erection of LED series light not less than 500 Meters (Starting from 18.00 hrs on day before Christmas i.e. 24th December to 6.00 hrs on the day after 1st January day) 2. Hiring and Erection of Star Kandil / Lantern including lamp holder and connecting wire complete as required - Not Less than 50 Nos. | 1.00 | Job |  | 52500.00 | 52500.00 | 85100.00 | 85100.00 | 52500.00 | DOSHI ELECTRIC ENGG. CO.
8.90 | Hiring of 12 Meter Height, truck mounted boom lift including Diesel for 8 working hours excluding lunch break of 1 hr. | 10.00 | day |  | 13650.00 | 136500.00 | 8100.00 | 81000.00 | 81000.00 | Manish Electricals
9.00 | Hiring of 45 Meter Height, truck mounted boom lift including Diesel for 8 working hours excluding lunch break of 1 hr. | 2.00 | day |  | 36750.00 | 73500.00 | 18100.00 | 36200.00 | 36200.00 | Manish Electricals
9.10 | Hiring of JCB With driver including Diesel for 9 working hours including lunch break of 1 hr. | 30.00 | Job |  | 13650.00 | 409500.00 | 7600.00 | 228000.00 | 228000.00 | Manish Electricals
9.20 | Hire charges of 1 no. Hydra crane With driver, fuel for shifting and installing submersible pump sets on precautionary measures during cyclone and rainy season for 9 working hours including lunch break of 1 hr. etc complete as required. | 10.00 | Job |  | 18900.00 | 189000.00 | 15100.00 | 151000.00 | 151000.00 | Manish Electricals
9.30 | Hire charges for providing One Number Bolero/TUV 300+,Air-conditioned or Equivalent Vehicle along with driver cum electrcian, fuel, insurance, all consumables etc. for all days including sunday and holidays. monthly usage is limited to 1500 Kms and period of useage is round the clock [24 Hrs.] | 12.00 | Month |  | 68250.00 | 819000.00 | 28500.00 | 342000.00 | 342000.00 | Manish Electricals
9.40 | Servicing & Repairing of APFC panel installed at ARSR, Juhu Airport power house & Tx station power house including diagnosis of fault, replacement of required spares/parts, checking & testing of the panel etc complete as and when required. | 2.00 | Job |  | 36750.00 | 73500.00 | 15500.00 | 31000.00 | 31000.00 | Manish Electricals
9.50 | Annual Maintenance Contract of 1X 62.5 KVA, 3 phase Ashok Leyland make DG set including other accessories. Job includes monthly visits for carrying out preventive maintenance attending any number of breakdown calls as and when required.(service to be done by Authorized Service dealer) 2 Units x 12 Months = 24 Job | 24.00 | Job |  | 6300.00 | 151200.00 | 2850.00 | 68400.00 | 68400.00 | Manish Electricals
9.60 | Supply of B check kit for 1X 62.5 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 9450.00 | 18900.00 | 4100.00 | 8200.00 | 8200.00 | Manish Electricals
9.70 | Supply of C check kit for 1X 62.5 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 33600.00 | 67200.00 | 17100.00 | 34200.00 | 34200.00 | Manish Electricals
9.80 | Annual Maintenance Contract of 1X 10 KVA, single phase, Ashok Leyland make DG set including other accessories. Job includes monthly visits for carrying out preventive maintenance attending any number of breakdown calls as and when required.(service to be done by Authorized Service dealer) 2 Units x 12 Months = 24 Job | 24.00 | Job |  | 2100.00 | 50400.00 | 1900.00 | 45600.00 | 45600.00 | Manish Electricals
9.90 | Supply of B check kit for 1X 10 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 4200.00 | 8400.00 | 1600.00 | 3200.00 | 3200.00 | Manish Electricals
10.00 | Supply of C check kit for 1X 10 KVA Ashok Leyland make DG set. 2 Units x 1 Job per year = 2 Jobs | 2.00 | Job |  | 15750.00 | 31500.00 | 15000.00 | 30000.00 | 30000.00 | Manish Electricals
10.10 | Supply of following type batteries for DG sets and other installations. All the batteries shall have a warranty of at least two years. 12V, 88 Ah, lead acid battery | 2.00 | Each |  | 11550.00 | 23100.00 | 2500.00 | 5000.00 | 5000.00 | Manish Electricals
10.20 | 12V, 120 Ah, lead acid battery | 4.00 | Each |  | 15750.00 | 63000.00 | 6600.00 | 26400.00 | 26400.00 | Manish Electricals
10.30 | 12V, 150 Ah, lead acid battery | 7.00 | Each |  | 21000.00 | 147000.00 | 11000.00 | 77000.00 | 77000.00 | Manish Electricals
10.40 | Repairing/servicing of motorized sliding gate of following sizes including oiling and greasing, replacement of required spares/parts, checking & testing of the control drive etc complete as and when required. size: 7200 x 2000 mm | 1.00 | Job |  | 21000.00 | 21000.00 | 35100.00 | 35100.00 | 21000.00 | DOSHI ELECTRIC ENGG. CO.
10.50 | Overhauling, servicing and testing of High Mast of Following Sizes involving repair , maintenance , attending complaints/ faults/breakdowns, replacement of defective items and taking rectification action, ensuring serviceability / satisfactory working condition of the systems etc complete as and when required. 12.5 Meter High Mast | 2.00 | Job |  | 10500.00 | 21000.00 | 12000.00 | 24000.00 | 21000.00 | DOSHI ELECTRIC ENGG. CO.
10.60 | 16 Meter High Mast | 2.00 | Job |  | 15750.00 | 31500.00 | 12000.00 | 24000.00 | 24000.00 | Manish Electricals
10.70 | 20 Meter High Mast | 3.00 | Job |  | 21000.00 | 63000.00 | 15000.00 | 45000.00 | 45000.00 | Manish Electricals
10.80 | Providing 1 no. Computer Operator (Highly Skilled Manpower) for office records upkeep / computer operation on all days excluding Sunday. | 12.00 | Month |  | 26250.00 | 315000.00 | 24000.00 | 288000.00 | 288000.00 | Manish Electricals
10.90 | Hiring of unskilled labour during monsoon season 8 hours per day in all working days (including sundays) | 120.00 | day |  | 525.00 | 63000.00 | 750.00 | 90000.00 | 63000.00 | DOSHI ELECTRIC ENGG. CO.
11.00 | Execution of complete item from (chapter 1 to 10 ) of CPWD delhi schedule of rates (electrical) 2018.[up to a celling limit of Rs. 500000.00] The materials used for executing the DSR items shall be as per the approved make list of AAI.(rates shall be quoted in multiples e.g 0.99 or 1.01% above/below) | 500000.00 | Job |  | .95 | 475000.00 | .70 | 350000.00 | 350000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 9884800.00 |  | 6351530.00
Lowest Amount Quoted BY: Manish Electricals(6351530.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Electrical Installations at Juhu Airport ARSR, PHHL Qtrs, Tx station Andheri west RR Station Dahisar and Outer Marker Vashi Mumbai for the year 2021 23 Tender ID: 2021_AAI_91177_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 6351530.00 | L1
| 2 | DOSHI ELECTRIC ENGG. CO. | 9884800.00 | L2